*Olerup* SSP® DRB5\*01:08N

Product number: 101.812-12 – including *Taq* polymerase

 101.812-12u – without *Taq* polymerase

Lot number: 6E5

Expiry date: 2019-06-01

Number of tests: 12

Number of wells per test: 2+1

The DRB5\*01:08N primer set is unchanged compared to the previous lot.

The number of wells is unchanged.

Allele coverage:

The DRB5\*01:08N allele will give rise to a unique amplification pattern by the primers in the DRB5\*01:08N kit; [www.ebi.ac.uk/imgt/hla](http://www.ebi.ac.uk/imgt/hla), 2016-July-14, release 3.25.0.

Resolution in DRB5\*01:08N homozygotes:

Excellent.

Influence on the interpretation of DRB5\*01:08N subtypings by non- DRB5\*01:08N alleles:

None of importance.

Modifications made due to comments from customers:

No comments received.