PHOTO DOCUMENT

Olerup SSP AB

Olerup SSPTM A-B-DR Combi Tray

Prod. No:	101.701-24/06 – including Taq pol.

101.701-24u/06u – without Taq pol.

Lot No:    	X84

Expiry Date:    	2009-May-01

Name:________________Sample ID:_______________

DNA Extract Date:_________ Conc.(ng/ul):_________

Test  Date: _________Review Date:_______________

Tested By: _________Reviewed By:_______________

Interpretation HLA-A:___________________________

Interpretation HLA-B:___________________________

Interpretation HLA-DR:__________________________

Specificities and sizes of the PCR products of the 24 primer mixes used for HLA-A low resolution SSP typing.

| Primer Mix | Size of spec. PCR product1 | Size of control band2 | HLA-A serology3 | Amplified HLA-A alleles4,9 |
| --- | --- | --- | --- | --- |
| 1 | 145 bp | 800 bp | A1, A36 | 01010101-0104N, 0106-0125, 3601-3604 |
| 26 | 135, 200, 255 bp | 1070 bp | A2 | 02010101-0222, 0224-023501, 0236-0247, 0249-0297, 0299, 9201-9204, 9206-9215 |
| 37 | 205, 235 bp | 1070 bp | A1, A3, A34, A36 | 0112, 0119, 0121, 03010101-0317, 0319-0329, 1125, 3204, 3402-3404, 3407, 3408, 3602 |
| 47 | 190 bp | 800 bp | A1, A2, A3, A11, A26, A30, A36 | 01010101-0104N, 0106, 0107, 0109-0111N, 0113, 0116N-0118N, 0120-0125, 0278, 0312, 0318, 110101-1130, 2619, 3008, 3604 |
| 5 | 160, 535 bp | 800 bp | A23, A24, A31, A32 | 2301-2315, 24020101-2411N, 2413-2415, 2417-2476, 3108, 3205, 3213 |
| 6 | 175, 220 bp | 800 bp | A23, A24, A26, A29 | 2301-2315, 2405, 2424, 2465, 2633, 2907 |
| 7 | 175, 205 bp | 1070 bp | A2, A23, A24, A26 | 021701-021702weakly, 2314, 24020101-2411N, 2413, 2417-2450, 2454-2456, 2458-2463, 2465-2476, 2616 |
| 8 | 165, 200 bp | 800 bp | A2, A3, A11, A25, A26, A32, A34, A66, A68, A69 | 0255, 0324, 1110, 250101-2506, 260101-2606, 2608-2615, 2617, 2618, 2620-2634, 3215, 3401-3408, 6601-6606, 680101-6838, 6901 |
| 95 | 75 bp | 800 bp | A25, A32 | 250101-2506, 320101-3202, 3204, 3206-3215 |
| 105 | 85 bp | 1070 bp | A26 | 260101-2602, 2604, 260701-2618, 2620, 2622-2629, 2632-2634 |
| 115,7 | 80, 215 bp | 800 bp | A1, A3, A11, A24, A26, A31, A34, A66 | 0112, 0113, 0119, 0310, 110101-1130, 2419, 2444, 2451, 2603, 2606, 2621, 3103, 3401-3408, 6601, 6604-6606 |
| 12 | 185 bp | 800 bp | A11, A25, A26, A31, A34, A43, A66 | 1111, 2506, 2609, 3103, 3104, 3401-3408, 4301, 6602, 6603 |
| 137 | 175, 225 bp | 1070 bp | A1, A2, A3, A25, A26, A34, A43, A66 | 0113, 0234-023502, 0256, 0262, 9203, 03010101-0307, 0309-0311N, 0313-0329, 250101-2505, 260101-260105, 2602weakly, 2603, 2605-2608, 2610-2633, 3408, 4301, 6601, 6604-6606 |
| 14 | 200, 240 bp | 1070 bp | A29 | 29010101-2916 |
| 155 | 90 bp | 1070 bp | A30 | 300101-3004, 3006-3021 |
| 16 | 180, 210 bp | 1070 bp | A29, A31 | 2914, 310102-3117 |
| 17 | 180 bp | 1070 bp | A29, A32 | 2913, 320101-3203, 3205-3215 |
| 18 | 200 bp | 1070 bp | A33, A68 | 3301, 330301-3310, 6829 |
| 19 | 160, 200 bp | 800 bp | A74 | 7401-7412N |
| 20 | 155, 240 bp | 800 bp | A2, A25, A30, A68 | 0210, 0234-023502, 0239, 0246, 0248, 0250, 0252, 0256, 0262, 0270, 0273, 0278, 0293, 0295, 9203, 9210, 9214, 2505, 3008, 680101-6838 |
| 21 | 240, 375 bp | 800 bp | A2, A26, A68, A69 | 0255, 2622, 6829, 6901 |
| 225,8 | 85, 240 bp | 800 bp | A2, A30, A36 | 0234-023502, 0246, 0248, 0256, 0262, 0270, 0278, 9203, 3008, 3601-3604 |
| 235 | 75, 160 bp | 800 bp | A2, A26, A68, A80 | 0255, 2603, 2605, 2606, 2621, 2630, 2633, 6805, 6815, 6820, 8001 |
| 24 | 360 bp | 1070 bp | A1, A11, A36, A74, A80 | 01010101-0104N, 0106, 0108-0125, 110101-1111, 1113-1117, 1119-1130, 3601-3604, 7410, 8001 |

1Alleles are assigned by the presence of specific PCR product(s). However, the sizes of the specific PCR products may be helpful in the interpretation of HLA-A low resolution SSP typings.

When the primers in a primer mix can give rise to specific PCR products of more than one length this is indicated if the size difference is 20 bp or more. Size differences shorter than 20 bp are not given. For high resolution SSP kits the length of the specific PCR product(s) of the alleles amplified by these primer mixes are given.

Nonspecific amplifications, i.e. a ladder or a smear of bands, may sometimes be seen. GC-rich primers have a higher tendency of giving rise to nonspecific amplifications than other primers.

PCR fragments longer than the control band may sometimes be observed. Such bands can be disregarded and do not influence the interpretation of the SSP typings.

2The internal positive control primer pairs amplify segments of the human growth hormone gene. The two different control primer pairs give rise to either an internal positive control band of 1070 base pairs, for most tubes, or a band of 800 base pairs, for some tubes.

Tube number 1 contains the primer pair giving rise to the shorter, 800 bp, internal positive control band in order to help in the correct orientation of the HLA-A low resolution typing.

In addition, tubes number 4, 5, 6, 8, 9, 11, 12, 19 to 23 contain the primer pair giving rise to the shorter, 800 bp, internal positive control band in order to allow kit identification.

In the presence of a specific amplification the intensity of the control band often decreases.

3The serological reactivity of all HLA-A alleles is not known. In this table we used the information published in Tissue Antigens 1999: 54: 409-437, also available at the www.worldmarrow.org web site and also inferred the serological grouping from the naming of the sequence-defined allele.

4For several HLA-A alleles only partial 1st exon nucleotide sequences are available. We assume that unknown sequences are conserved within allelic groups.

The nucleotide sequences of the A*9205 and A*9216 alleles are not yet retrievable from the GenBank or EMBL data banks.

5Specific PCR fragments shorter than 125 base pairs have a lower intensity than longer PCR bands.

6The primer pairs in vial 2 will in most samples give rise to two specific PCR fragments.

7Primer mixes 3, 4, 11 and 13 may give rise to nonspecific amplifications.

8Primer mix 22 might faintly amplify most A*11 alleles.

9The A*0318 and A*2619 alleles will give rise to identical amplification patterns. These two alleles can be separated by the respective high resolution SSP primer sets.

The A*2314, A*2405, A*2424 and A*2465 alleles will give rise to identical amplification patterns. These four alleles can be separated by the respective high resolution SSP primer sets.

1The nucleotide sequences of the A*9205 and A*9216 alleles are not yet retrievable from the GenBank or EMBL data banks.

The A*0318 and A*2619 alleles will give rise to identical amplification patterns. These two alleles can be separated by the respective high resolution SSP primer sets.

The A*2314, A*2405, A*2424 and A*2465 alleles will give rise to identical amplification patterns. These four alleles can be separated by the respective high resolution SSP primer sets.

The sequence of the A*0105N has been shown to be identical to A*0104N. The sequence of the A*0223 allele has been shown to be identical to A*0222. The sequence of the A*0298 allele has been shown to be identical to A*0296. The  sequence of the A*2401 allele has been shown to be in error. The sequence of the A*2412 allele has been shown to be identical to A*2408. The A*2416 allele has been renamed to A*3108. The sequence of the A*3005 allele has been shown to be identical to A*3004. The sequence of the A*31011 allele has been shown to be identical to A*31012. The sequence of the A*3302 allele has been shown to be identical to A*3303.

2The serological reactivity of all HLA-A alleles is not known. In this table we used the information published in Tissue Antigens 1999: 54: 409-437, also available at the www.worldmarrow.org web site and also inferred the serological grouping from the naming of the sequence-defined allele.

‘w’, might be weakly amplified.

Specificities and sizes of the PCR products of the 48 primer mixes used for HLA-B low resolution SSP typing.

| Primer Mix | Size of spec. PCR product1 | Size of control band2 | HLA-B serol.3 | Amplified HLA-B alleles4 |
| --- | --- | --- | --- | --- |
| 255,6 | 110 bp | 800 bp | 7, 37, 40, 41, 42, 48 | 070201-0718, 0720-0732, 0734-0739, 0741-0747, 0749N, 0750, 0752, 0754, 3707, 4015, 4016, 4023, 4032, 4108, 420501-420502, 4805, 4808, 4815 |
| 26 | 215 bp | 1070 bp | 8 | 080101-0825, 0827-0833, 4449 |
| 276,8 | 140, 235 bp | 1070 bp | 7, 8, 13, 15, 35, 4005, 44 | 0720, 0724, 0821, 0825, 1301-1304, 1306-1308, 1310-1317, 1507, 1536, 1545, 1555, 1568, 1589, 9526, 3505, 3516, 3517, 3522, 3530, 3551, 3558, 3572, 4005, 4071, 4408, Cw*0305, Cw*0325, Cw*0327 |
| 286,8 | 130, 265 bp | 1070 bp | 13, 14, 15, 35, 40, 41, 44, 45, 47, 49, 50 | 1301-1304, 1306-1313, 1315-1317, 1401-1404, 1407N, 1546, 1553, 9506, 3547, 3563, 400101-400105, 4007, 4010, 401401-4016, 4022N, 4023, 4025, 4030-4034, 4036, 4038, 4042, 4043, 4045, 4047-4049, 4051-4055, 4058-4063, 4065-4067, 4069, 4072, 4073, 4101-4108, 44020101-4405, 4409-4439, 4441-4443, 4445-4453, 4501-4507, 47010101-4705, 4901, 4902, 4904, 4905, 5001, 5002, 5004 |
| 299 | 185, 235 bp | 1070 bp | 14, 16, 37, 38, 39, 47, 64, 67 | 1401, 1407N, 2701-270402, 270502-2706, 2708-2710, 2712, 2713, 2716-2718, 2720, 2723, 2726, 2727, 2729, 2731, 2735-2737, 3702, 380101-3803, 3807-3816, 39010101-39010102L, 390103-390201, 3903, 3905-390602, 3907?, 3908, 3909, 3911, 3914, 3915, 3918, 3922, 3924-3941, 4704, 4705, 670101 |
| 309 | 185 bp | 800 bp | 14, 35, 38, 39, 65 | 140201-140602, 3526, 3805, 3904, 3907? |
| 31 | 290 bp | 1070 bp | 15, 62, 63, 75, 76, 77, 46 | 15010101-150103, 1502, 1504-1508, 151101-1515, 15170101-151702, 1519-1521, 1524-1528, 1530-1536, 1538-1540, 1542-1546, 1548, 1550, 1555-1558, 1560, 1563, 1565, 1566, 1568, 1570, 1571, 1573, 1575-1579N, 1581-1589, 1592, 1594N, 1596, 1597, 9501, 9502, 9504-9507, 9509-9513, 9516-9518, 9520-9522, 9525, 9526, 9528, 9529, 460101-4610 |
| 32 | 165, 220, 330 bp | 1070 bp | 8, 15, 37, 40, 41, 42, 44, 45, 51, 56, 57, 70, 71, 72 | 080101-0805, 0808N-0812, 0815-0819N, 0821-0824, 0826, 0827, 0829-0833, 1503, 1509, 1510, 1518, 1523, 1529, 1537, 1546, 1547, 1549, 1551-1554, 1561, 1562, 1564, 1568, 1569, 1572, 1574, 1580, 1583, 1590, 1591, 1593, 1598, 1599, 9503, 9506, 9508, 9514, 9515, 9519, 9523, 9524, 9527, 3712, 4012, 4101-4103, 4105-4108, 4201, 4202, 4204-4208, 4414, 4415, 4418, 4420, 4501-4507, 5108, 5120, 5136, 5144N, 5613, 5709, 8201, 8202, Cw*0746 |
| 3310,11 | 165, 390 bp | 800 bp | 15, 40, 51, 52, 56, 58, 62, 63, 70, 78 | 150102, 1509, 1516-151702, 1567, 1595, 350402, 4026, 4028, 510101-510103, 510105-5109, 5111N, 5112, 511302, 5114, 5117-5120, 5122, 5123, 5126-5130, 5132, 5133, 5137-5141N, 5143, 5144N, 5146-5148, 520101-5207, 5209-5211, 560501-5606, 5808, 7801-7805 |
| 349 | 180, 395 bp | 800 bp | 13, 15, 40, 55, 62, 70, 71, 72, 75 | 1301-130204, 1307N-1309, 1311, 1314-1317, 1509, 1510, 1518, 1521, 1523, 1537, 1544, 1551, 1552, 1566, 1572, 1580, 1590, 1593, 1599, 9508, 9514, 9515, 9519, 9524, 4048, 5522, 5524 |
| 355,6 | 105, 195 bp | 1070 bp | 7, 8, 15, 27, 38, 39, 40, 44, 45, 48, 72 | 0727, 0750, 0804, 0817, 1503, 1547, 1549, 1554, 1561, 1562, 1564, 1568, 1569, 1591, 1598, 9503, 9523, 9527, 2718, 2729, 3803, 390201-390202, 3908, 391301-391302, 3923, 3939, 4012, 4046, 4410, 4415, 4418, 4440, 4444, 4501, 4505-4507, 480101-4805, 4807-4816, 5002, 5518, 8201, 8202 |
| 36 | 275 bp | 1070 bp | 7, 8, 13, 15, 18, 35, 39, 40, 44, 46, 48, 53, 55, 56, 57, 58, 62, 63, 70, 71, 72, 75, 76, 77 | 0709, 0711, 0717, 0828, 1304, 1310, 15010101-1508, 151101-1516, 1518-1521, 1523-1529, 1531-1536, 1538-1540, 1543, 1544, 1546, 1547, 1549-1557, 1560-1562, 1564-1572, 1574-1576, 1578-1582, 1584, 1585, 1587-1589, 1591-1598, 9501-9529, 180101-1815, 1817N-1825, 350101-350106, 3505, 3507-350802, 3510, 3511, 351401-3517, 3519-3521, 3523-3530, 3532, 3535, 3537, 3540N-3543, 3545-3554, 3557, 3558, 3561-3564, 3566-3569, 3571-3573, 3907, 4003, 4020, 4038, 4052, 4059, 4060, 4209, 4417, 4443, 460101-4610, 4802, 4814, 4904, 4905, 5137, 5145, 530101-5303, 5305, 5306, 5308-5312, 5406, 5409, 5514, 5523, 5603, 5609, 5618, 570101-570103, 5706, 5708, 5710, 5711, 5801, 5802, 5804-5807, 5809-5815 |
| 37 | 195 bp | 1070 bp | 15, 35, 37, 44, 58, 76 | 1512, 1514, 1519, 1591, 3545, 3571, 370101-3709, 3712, 4417, 4443, 5807 |
| 386 | 105, 435 | 1070 bp | 7, 15, 41, 42, 59, 62, 63, 77 | 0704, 0725, 1513, 1516-151702, 1523, 1524, 1567, 1587, 1595, 4108, 420501-420502 |
| 396 | 115 bp | 1070 bp | 18 | 180101-1815, 1817N-1826 |
| 406 | 80 bp | 1070 bp | 27, 40, 44 | 2701-270402, 270502-2721, 2723-2737, 4046, 4440, 4444 |
| 41 | 150 bp | 1070 bp | 13, 15, 27, 35, 37, 40, 44, 47, 48, 51, 53, 55, 56, 57, 58, 62, 75, 77 | 1301, 1306, 1307N, 1312, 1313, 1317, 1502, 1513, 1520, 1521, 1525, 1536, 1544, 1562, 1577, 1580, 1585, 1588, 1589, 9506, 9512, 9521, 1822, 2719, 2730, 350101-350402, 3506-350802, 3510-3517, 3519-3521, 3523-3530, 3533-3536, 3538-3542, 3545-3550, 3552, 3554-3557, 3559, 3561-3563, 3565Q, 3569-3571, 3573, 3574, 370101-370104, 3703N-3706, 3708, 3710, 3711, 4028, 44020101-4414, 4416, 4417, 4419N, 4421-4430, 4432-4440, 4442-4446, 4448-4452N, 4802, 5104, 5142, 5146, 530101-5312, 5514, 5609, 5611, 5612, 570101-5710, 5712, 5801, 5804, 5805, 5809-5815, 8301 |
| 426 | 135 bp | 1070 bp | 18, 35, 37, 39, 56, 78 | 0832, 180101-1808, 1810-1815, 1817N-1826, 350101-3518, 3520-3524, 3528-3545, 3548, 3550-3555, 3557-3562, 3564-3575, 3711, 3919, 5606, 7801-7805 |
| 436,11 | 245, 400 bp | 1070 bp | 15, 62, 63, 70, 71, 72, 75, 76, 77, 40, 44 | 15010101-1521, 1523-1540, 1542-1558, 1560-1599, 9501-9529, 4012, 4410, 8201, 8202 |
| 445,6,11 | 205 bp | 800 bp | 7, 8, 15, 18, 37, 38 | 0727, 0802, 9515, 1809, 370101-3704, 3705weakly, 3706-3710, 3712, 380201-3804, 3808, 3815 |
| 45 | 170 bp | 800 bp | 15, 35, 38, 39, 67 | 1569, 3535, 380101-3809, 3811-3816, 39010101-39010102L, 390103-3920, 3922-3924, 3926-3929, 3931, 3935, 3937-3941, 670101-6702 |
| 466 | 110 bp | 1070 bp | 38 | 380101-3803, 3805, 3808-3816 |
| 47 | 400 bp | 1070 bp | 14, 38, 39, 64, 65 | 1401-1407N, 380101-380202, 3804, 3805, 3808-3816, 39010101-39010102L, 390103-390104, 3903-3907, 3909, 3911, 3912, 3914, 3915, 3918, 3919, 3922, 3924-3938Q, 3940N, 3941 |
| 48 | 430 bp | 1070 bp | 7, 8, 14, 39, 40, 41, 42, 45, 48, 50, 60, 64, 65, 67, 73 | 070201-0726, 0728-0735, 0737, 0739-0754, 080101-080104, 0804-0833, 1401-1407N, 39010101-39010102L, 390103-3920, 3922-3941, 400101-400105, 4007, 4009-4011?, 401401-4016?, 4018?. 4021?, 4022N?, 4023, 4024-4038?, 4040?, 4042-4046?, 4048-4050?, 4051, 4052-4058?, 4059, 4060, 4061-4069?, 4071-4074?, 4101-4108, 4201, 4202, 4204-4209, 4501-4507, 480101-4816, 5001, 5002, 5004, 670101-6702, 7301, 8102 |
| 4911,12 | 175 bp | 1070 bp | 15, 40, 44, 48, 60 | 9516, 9524, 400101-400105, 4007, 4010, 4012, 4021-4023, 4025, 4033, 4036, 4038, 4042, 4043, 4046-4049, 4051, 4052, 4054, 4055, 4060-4063, 4065-4067, 4069, 4073, 4074, 4431, 4606, 480301-480302 |
| 506 | 130 bp | 1070 bp | 40, 61 | 400201-400602, 4008, 4009, 4011, 4013, 4018-4020, 4024, 4026-4029, 4035, 4037, 4039, 4040, 4044, 4050, 4056, 4057, 4064, 4068, 4070, 4071, 4074 |
| 516 | 110 bp | 1070 bp | 7, 8, 41, 42, 55 | 0704, 0719, 0725, 080101-0805, 0807-0812, 0814-0819N, 0821-0824, 0826-0833, 4101-4108, 4201, 4202, 4204-4207, 4209, 5520 |
| 52 | 325 bp | 1070 bp | 7, 15, 27, 42, 45, 46, 54, 55, 56, 67, 73, 81 | 070201-070204, 0704-0707, 0709-0712, 0713weakly, 0714, 0715weakly, 0717-0726, 0728-0731, 0733-0736, 0739-0749N, 0751-0754, 1576, 9501, 2701-270402, 270502-2711, 2713-2715, 2717, 2719-2721, 2724-2728, 2730-2737, 4201, 4202, 4204-4206, 4208, 4209, 4506, 460101-460102, 4602weakly, 4603-4610, 5401-5411, 550101-5505, 5507-5517, 5519-5526, 5601-5616, 5618-5620, 670101-670102, 6702weakly, 7301, 8101, 8102, 8201, 8202, 8301 |
| 536,13 | 110, 195, 225, 260 bp | 1070 bp | 35, 37, 44, 47, 51, 57 | 3538, 3545, 3571, 370101-370104, 3703N-3706, 3708, 3710-3712, 44020101-4414, 4416, 4417, 4419N-4436, 4438-4453, 5142, 5707, 5709, 8301 |
| 54 | 215 bp | 800 bp | 8, 12, 15, 41, 42, 44, 45, 49, 51, 52, 53, 56, 58 | 0809, 1583, 4101, 4105-4107, 4204, 4406, 4415, 4418, 4420, 4501-4507, 510101, 510103-510201, 5103, 5104, 5106-5114, 5116-5124, 5126-5146, 5148, 520102, 520104-5203, 5206, 5209, 5306, 5520, 5613, 5808 |
| 556 | 130, 270 bp | 1070 bp | 35, 37, 40, 46, 51, 53, 58 | 1822, 3521, 3524, 3704, 4028, 460101-4610, 5104, 5146, 5302, 5306, 5809 |
| 566 | 90, 410 bp | 1070 bp | 27, 47, 54, 55, 56, 78, 81 | 2702-270402, 270502-2711, 2713-2715, 2717, 2719-2721, 2724-2728, 2730-2737, 47010101-4703, 5401-5411, 550101-5505, 5507-5517, 5519-5526, 5601-5616, 5618-5620, 8101, 8201, 8202, 8301 |
| 576 | 90, 175 bp | 1070 bp | 15, 27, 35, 40, 48, 62, 75, 77, 81 | 1502, 1508, 151101-151103, 1513, 1515, 1521, 1531, 1544, 1555, 1588, 1589, 9512, 9521, 2724, 3546, 4031, 4045, 480101-480102, 4804, 4806, 4807, 4809, 4811, 4815, 4816, 8101, 8102 |
| 586 | 145 bp | 1070 bp | 40, 44, 49 | 4013, 4019, 4418, 4425, 4450, 4901, 4904, 4905 |
| 596 | 120, 210 bp | 800 bp | 13, 15, 45, 49, 50, 51, 52, 55, 56, 58, 62, 63, 78 | 1316, 1516, 1542, 1567, 1595, 4901-4905, 5001, 5002, 5004, 510101-5103, 5105, 5107-5109, 5111N-5114, 5116-1524, 5126-5141N, 5143, 5144N, 5147, 5148, 520101-5211, 550101-550104, 5503, 5505, 5509, 5511, 5515, 5517, 5521, 5524, 5525, 560501-5606, 5808, 7801-7805 |
| 60 | 430 bp | 1070 bp | 27, 40, 44, 45, 51, 52, 53, 57, 58, 59 | 2702, 2730, 4013, 4019, 4406, 4425, 4450, 510101-5124, 5126-5148, 520101-5211, 530101-5302, 5304-5308, 5310, 570101-5711, 5801, 5802, 5804-5815, 5902 |
| 616 | 145 bp | 1070 bp | 15, 35, 40, 41, 44, 45, 47, 50, 72 | 1546, 1553, 9506, 3519, 3547, 3563, 400101-4011, 401401-4018, 4020, 4022N-4040, 4042-4045, 4048-4074, 4101-4104, 4105?, 4106-4108, 4409, 4446, 4501-4507, 4702, 5001, 5002, 5004 |
| 629 | 300 bp | 1070 bp | 13, 15, 18, 27, 35, 37, 38, 39, 40, 41, 44, 45, 47, 48, 49, 50, 52, 62, 72, 76, 78 | 0754, 0817, 1301-1304, 1306, 1308-1317, 15010101-150104, 1503-1507, 1512, 1514, 1519, 1520, 1524-1527, 1530, 1532-1536, 1538-1540, 1542, 1543, 1545-1550, 1553, 1554, 1556-1558, 1560-1563, 1565, 1566, 1568-1571, 1573-1575, 1577-1579N, 1581-1587, 1591, 1592, 1594N, 1596-1598, 9502-9507, 9509-9511N, 9513, 9516-9518, 9522, 9523, 9525-9529, 1812, 2701-270402, 270502-2721, 2724-2737, 3510, 3513, 3516, 3528, 3563, 3569, 370101-3707, 3709-3712, 3803, 3804, 390201-390202, 3908, 391301-391302, 3922, 3923, 400101-4007, 4009-4016, 4018-4024, 4026-4040, 4042-4067, 4070-4074, 4101-4108, 44020101-4405, 4407-4411, 4413-4453, 4501-4505, 4507, 4610, 47010101-4705, 480101-4805, 4807-4815, 4901-4905, 5001, 5002, 5004, 520101-5211, 5518, 5712, 5815, 7805 |
| 63 | 160, 215 bp | 1070 bp | 15, 44, 54 | 150104, 370104, 44020101-440204, 4406, 4408, 4409, 4411, 4412, 4416, 4419N-4424, 4427, 4433, 4434, 4441, 4444, 4448, 4449, 4451-4453, 5401-5411, 8301 |
| 649 | 180, 210 bp | 1070 bp | 13, 15, 18, 35, 39, 40, 51, 54, 55, 56, 59, 78 | 1306, 1542, 1586, 1804, 3560, 3917, 4058, 5401, 5402, 5405N, 5407, 5408N, 5410, 550101-5503, 5505, 5507, 5510-5513, 5515, 5516, 5518, 5519, 5521, 5525, 5526, 560501, 5606, 5610, 5901, 7801, 780202, 7803 |
| 6514 | 180 bp | 1070 bp | 13, 15, 44, 45, 49, 50, 51, 56 | 1303, 1573, 4071, 4410, 4415, 4418, 4501, 4504-4507, 4901-4903, 5001, 5002, 5004, 5115, 5403, 5601, 5602, 5604, 5607, 5608, 5613, 5614, 5616, 5617, 5620, 8201, 8202 |
| 666 | 90, 240 bp | 800 bp | 55, 57 | 5514, 570101-5712 |
| 676,15 | 90 bp | 1070 bp | 13, 15, 39, 40, 56, 58 | 1311, 1573, 3917, 4048, 4071, 5602, 5604, 5610, 5801, 5802, 5804-5815 |
| 686 | 95 bp | 1070 bp | 18, 35, 38, 39, 44, 51, 52, 53, 56, 78 | 0832, 180101-1811, 1813-1815, 1817N-1826, 350101-350902, 3511, 3512, 351401-3515, 3517, 3518, 3520-3524, 3527, 3529-3545, 3548, 3550-3562, 3564-3568, 3570-3575, 3708, 3806, 3807, 3919, 4406, 510101-5124, 5126-5148, 530101-5312, 7801-7804 |
| 696,11 | 115, 150 bp | 1070 bp | 15, 18, 27, 35, 39, 46, 56, 62, 73, 75, 76 | 15010101-150104, 1504, 1507, 1508, 151101-1512, 1514, 1515, 1519, 1524, 1526N-1528, 1530, 1532, 1534, 1535, 1538, 1543, 1545, 1546, 1550, 1553, 1554, 1556-1558, 1560, 1563, 1566, 1568, 1570, 1571, 1573, 1575-1577, 1579N, 1581, 1582, 1585, 1587, 1592, 1594N, 1596, 1597, 9501, 9502, 9504, 9505, 9509-9511N, 9513, 9517, 9518, 9520, 9522, 9525, 9526, 9528, 9529, 1819, 2725, 351401-351402, 3543, 3544, 3562, 3567, 3918, 3936, 460101-4602, 4604, 4605, 4607N, 4609, 4610, 5406, 5521, 5603, 7301 |
| 70 | 360 bp | 1070 bp | Bw416 |  |
| 71 | 355 bp | 1070 bp | Bw6 |  |
| 7211 | 290 bp | 1070 bp | 7, 8, 35, 37, 40, 41, 42, 48, 81 | 070201-0706, 0708-0732, 0734-0752, 0754, 080101-0808N, 0810, 0811, 0813-0815, 0817-0830N, 0832, 0833, 3566, 3707, 4015, 4016, 4030-4032, 4034, 4045, 4059, 4102, 4104, 4201, 4202, 420501-4207, 4209, 480101-480102, 4805-4812, 4814-4816, 8101, 8102 |

1Alleles are assigned by the presence of specific PCR product(s). However, the sizes of the specific PCR products may be helpful in the interpretation of HLA-B low resolution SSP typings.

When the primers in a primer mix can give rise to specific PCR products of more than one length this is indicated if the size difference is 20 bp or more. Size differences shorter than 20 bp are not given. For high resolution SSP kits the length of the specific PCR product(s) of the alleles amplified by these primer mixes are given.

Nonspecific amplifications, i.e. a ladder or a smear of bands, may sometimes be seen. GC-rich primers have a higher tendency of giving rise to nonspecific amplifications than other primers, e.g. the primers in tubes 29, 30, 62, 64.

PCR fragments longer than the control band may sometimes be observed. Such bands can be disregarded and do not influence the interpretation of the SSP typings.

2The internal positive control primer pairs amplify segments of the human growth hormone gene. The two different control primer pairs give rise to either an internal positive control band of 1070 base pairs, for most tubes, or a band of 800 base pairs, for some tubes.

Tube number 1 contains the primer pair giving rise to the shorter, 800 bp, internal positive control band in order to help in the correct orientation of the HLA-B low resolution typing.

In addition, tubes number 30, 33, 34, 44, 45, 54, 59 and 66 contain the primer pair giving rise to the shorter, 800 bp, internal positive control band in order to allow kit identification.

In the presence of a specific amplification the intensity of the control band often decreases.

3The serological reactivity of all HLA-B alleles is not known. In this table we used the information published in Tissue Antigens 1999: 54: 409-437, also available at the www.worldmarrow.org web site and also inferred the serological grouping from the naming of the sequence-defined allele.

4For several HLA-B alleles only partial nucleotide sequences are available, especially for the 1st exon. In these instances it is not known whether some of the primers of the HLA-B low resolution SSP set are completely matched with the target sequences or not. We assume that unknown sequences are conserved within allelic groups.

The nucleotide sequences of the B*0755, B*1318, B*3713, B*4075 and B*5412 alleles are not yet retrievable from the GenBank or EMBL data banks.

The B*0826 and B*4207 alleles give rise to identical amplification patterns with the HLA-B low resolution primer set. These alleles can be separated by the respective high resolution primer sets.

The B*5504, B*5508, B*5513 and B*5615 and B*5619N give rise to identical amplification patterns wih the HLA-B low resolution primer set. These alleles can be separated by the respective high resolution primer sets.

The B*5523 and B*5618 give rise to identical amplification patterns wih the HLA-B low resolution primer set. These alleles can be separated by the respective high resolution primer sets.

5Primer mix 25 may give rise to a primer oligomer artifact.

6Specific PCR fragments shorter than 125 base pairs have a lower intensity and are less sharp than longer PCR bands.

7Primer mix 27 will amplify the Cw*0305, Cw*0325 and Cw*0327 alleles.

8Primer mix 28 may yield less specific PCR product than the other HLA-B low resolution primer mixes in B*40, B*41, B*45, B*49 and B*50 alleles.

9Primer mixes 29, 30, 34, 62 and 64 have a higher tendency than other primer mixes to give rise to nonspecific amplifications.

10The B*57 and B*58 alleles might be faintly amplified by primer mix 33.

11Primer mixes 33, 43, 44, 49, 69 and 72 have a tendency of giving rise a primer oligomer artifact.

12The Cw*1701 to Cw*1704 alleles might be faintly amplified by primer mix 49.

13Primer mix 53 might generate a false band of about 500 base pairs. This band should be disregarded when interpreting HLA-B low resolution typings.

14TheCw*0312 allele might be faintly amplified by primer mix 65.

15Primer mix 67 might amplify the Cw*0206 allele.

16The Bw4-associated HLA-A specificities A23, A24, A2403, A25 and A32 are not amplified by the primer pair in primer mix 70.

‘?’, nucleotide sequence information not available for the primer matching sequence.

1The nucleotide sequences of the B*0755, B*1318, B*3713, B*4075 and B*5412 alleles are not yet retrievable from the GenBank or EMBL data banks.

The sequence of the B*0701 allele has been shown to be in error. The sequence of the B*1305 allele has been shown to be identical to B*1304.

The B*1522 allele has been renamed B*3543. The sequence of the B*1541 allele has been shown to be identical to B*1539.

The sequence of the B*1816 allele has been shown to be identical to B*1814. The B*1559 allele has been renamed B*3544.

The sequence of the B*27051 allele has been shown to be identical to B*27052. The sequence of the B*2722 allele has been shown to be identical to the corrected B*2706 sequence.

The sequence of the B*39012 allele has been shown to be identical to B*39011. The sequence of the B*3921 allele has been shown to be identical to B*3924.

The sequence of the B*4017 allele has been shown to be identical to B*4016. The sequence of the B*4041 allele has been shown to be identical to B*4040.

The sequence of the B*4203 allele has been shown to be in error. The sequence of the B*4401 allele has been shown to be identical to B*4402.

The sequence of the B*5003 allele has been shown to be identical to B*5002. The sequence of the B*5125 allele has been shown to be identical to B*5122.

The sequence of the B*5506 allele has been shown to be identical to B*5504. The sequence of the B*5803 allele has never been assigned.

The B*7901 allele has been renamed B*1518.

2The serological reactivity of all HLA-B alleles is not known. In this table we used the information published in Tissue Antigens 1999: 54: 409-437, also available at the www.worldmarrow.org web site.

6The B*0826 and B*4207 alleles give rise to identical amplification patterns with the HLA-B low resolution primer set. These alleles can be separated by the respective high resolution primer sets.

The B*5504, B*5508, B*5513, B*5615 and B*5619N alleles give rise to identical amplification patterns wih the HLA-B low resolution primer set. These alleles can be separated by the respective high resolution primer sets.

The B*5523 and B*5618 give rise to identical amplification patterns wih the HLA-B low resolution primer set. These alleles can be separated by the respective high resolution primer sets.

‘ser’, serological HLA specificity.

‘w’, might be weakly amplified.

‘?’, nucleotide sequence information not available for the primer matching sequence.

Specificities and sizes of the PCR products of the 23 primer mixes used for HLA-DR low resolution SSP typing.

| Primer Mix | Size of spec. PCR product1 | Size of control band2 | DR serology3 | Amplified HLA-DRB alleles4 |
| --- | --- | --- | --- | --- |
| 738 | 205 bp | 515 bp | 1 | 010101-010204, 0104-0116 |
| 74 | 195 bp | 430 bp | 103 | 0103 |
| 75 | 215, 260 bp | 430 bp | 15 | 150101-1522 |
| 76 | 210 bp | 430 bp | 16 | 160101-160502, 1607-1611 |
| 77 | 220 bp | 430 bp | 3, 17, 18, 11 | 030101-0335, 1107, 1153 |
| 785,6 | 80, 210 bp | 430 bp | 3, 17, 11, 13, 14 | 030101-030104, 0304-0306, 0308-0316, 0318-0320, 0322, 0323, 0325, 0326, 0328, 0330, 0331, 0333, 110201-1103, 111101-111102, 111401-111402, 1116, 1120, 1121, 1136, 1140, 1141, 1148, 1159, 130101-1304, 1308, 1310, 1315-1317, 1319, 1320, 1322-1324, 1327-1329, 1331-1341, 1343, 1345, 1348, 1351-1354, 1357, 1359, 1361, 1363-1366, 1368-1379, 1416, 1419, 1421 |
| 795,6 | 80, 210 bp | 430 bp | 3, 18, 11, 13, 14 | 030201-0303, 0327, 0329, 1126, 1134, 1315, 1319, 1326, 1344, 1353, 1357, 1402-140302, 1406, 1409, 1412, 1413, 1417-1421, 1424, 1427, 1429, 1430, 1433, 1440, 1441, 1447-1449, 1451, 1463 |
| 805,6 | 100, 175 bp | 430 bp | 4 | 040101-0464 |
| 81 | 205, 230 bp | 430 bp | 7, 13, 14 | 070101-070102, 0703-0712, 1317, 1450 |
| 825,6 | 165, 215, 250 bp | 515 bp | 8, 12, 14 | 080101-080203, 080302-0819, 0821-0832, 1204, 1411, 1415 |
| 835, 8 | 85, 130, 180 bp | 430 bp | 3, 9, 11 | 0308, 090102-0906, 1107, 1153 |
| 84 | 205 bp | 430 bp | 10 | 100101-100102 |
| 859 | 100, 170 bp | 430 bp | 11, 3, 4, 8 | 0308, 0415, 0461, 0831, 110101-1160, 1162 |
| 865 | 85, 105 bp | 430 bp | 12, 8 | 0832, 120101-120202, 120302-1215 |
| 87 | 210 bp | 430 bp | 13, 8, 11, 14 | 0820, 110101-110403, 110601-110602, 110801-111202, 111401-1116, 1118-1121, 1123-1125, 112701-1133, 1135-1151, 115401-115402, 1156-1160, 1162, 130101-1308, 1310-1316, 1318-1343, 1345-1379, 140301-140302, 1412, 1416, 1419, 1421, 1422, 1425, 1427, 1440, 1453, 1463 |
| 886 | 195, 210 bp | 430 bp | 13, 8, 11, 12, 14 | 080101-080203, 080401-0809, 0811, 0816, 0817, 0820-0822, 0824, 0826, 0828, 0831, 110101-110602, 1109-111202, 111401-1116, 1120, 1121, 1123-1125, 112701-1130, 1132, 1133, 1135-1141, 1143, 1144, 1146-1151, 115401-1156, 1158-1160, 1162, 120201-120202, 1213, 1215, 130101-130201, 1304-130502, 130701-1309, 1311, 131401-1324, 1326-1329, 1331, 1332, 1334-1336, 1338-1343, 1345-1355, 1357, 1359, 1361-1365, 1367-1379, 1415, 1416, 1422, 1424, 1425, 1427, 1437, 1453 |
| 89 | 175 bp | 430 bp | 3, 13, 14, 8 | 030101-0307, 0309, 0311-0333, 0335, 0820, 130101-1316, 1318-1342, 1344, 1346-1366, 1368-1379, 1402-140302, 140501-1406, 1409, 1412-1414, 1417-1421, 142301, 1424, 1427, 1429, 1430, 1433, 1436, 1437, 1440-1445, 1447, 1448, 1451, 1456, 1459, 1463-1465 |
| 905-7 | 100, 140 bp | 430 bp | 14, 4, 8,13 | 0462, 0808, 1345, 140101-140102, 1404, 140701-140702, 1410, 1416, 1422, 1425, 1426, 1428, 1431, 1432, 1435, 1437-1439, 1449, 1450, 1453-1455, 1457, 1458, 1460-1462, 1466 |
| 915-7,10 | 110, 135, 170 bp | 515 bp | 14, 3, 9, 11, 12, 13 | 0308, 0310, 090102-0902, 0904-0906, 1109, 1110, 111202, 1113, 1116, 1117, 1120, 1122, 1140, 1146, 1152, 1158, 1159, 1204, 1343, 140101-1402, 1404-1411, 1413, 1414, 1416-142302, 1426, 1428-1436, 1438, 1439, 1441, 1443-1452, 1454-1457, 1459-1462, 1464-1466 |
| 925-7 | 110, 175, 225 bp | 430 bp | 14, 3, 8, 11, 13, 15, 16 | 0310, 0809, 0820, 0821, 0832, 1113, 1117, 1123, 1125, 1131, 1145, 1152, 1155, 1313, 1318, 1343, 1345, 1347, 1355, 140101-140103, 140301-140503, 140701-1408, 1410-1412, 1414-1416, 1418, 1422-142302, 1425-1428, 1431, 1432, 1434-1436, 1438-1440, 1442-1445, 1449, 1450, 1453-1466, 1521weakly, 1604weakly |
| 93 | 230 bp | 430 bp | 52 | DRB3*01010201-0111, 0201-0222, 030101-0303 |
| 9411 | 215 bp | 430 bp | 53 | DRB4*010101-0107 |
| 95 | 260 bp | 430 bp | 51 | DRB5*010101-0113, 0202-0205 |

1Alleles are assigned by the presence of specific PCR product(s). However, the sizes of the specific PCR products may be helpful in the interpretation of DR low resolution SSP typings.

When the primers in a primer mix can give rise to specific PCR products of more than one length this is indicated if the size difference is 20 bp or more. Size differences shorter than 20 bp are not given. For high resolution SSP kits the length of the specific PCR product(s) of the alleles amplified by these primer mixes are given.

Nonspecific amplifications, i.e. a ladder or a smear of bands, may sometimes be seen. GC-rich primers have a higher tendency of giving rise to nonspecific amplifications than other primers, e.g. the primers in tubes 75, 90, 91 and 92.

PCR fragments longer than the control band may sometimes be observed. Such bands can be disregarded and do not influence the interpretation of the SSP typings.

2The internal positive control primer pairs amplify segments of the human growth hormone gene. The two different control primer pairs give rise to either an internal positive control band of 430 base pairs, for most tubes, or a band of 515 base pairs, for some tubes.

Tube number 73 contains the primer pair giving rise to the longer, 515 bp, internal positive control band in order to help in the correct orientation of the DR low resolution typing.

In addition, tubes number 82 and 91 contain the primer pair giving rise to the longer, 515 bp, internal positive control band in order to allow kit identification.

In the presence of a specific amplification the intensity of the control band often decreases.

3The serological reactivity of all DRB alleles is not known. In this table we used the information published in Tissue Antigens 1999: 54: 409-437, also available at the www.worldmarrow.org web site and also inferred the serological grouping from the naming of the sequence-defined allele.

4For several DRB alleles only partial second exon nucleotide sequences are available. In these instances it is not known whether some of the primers of the SSP set are completely matched with the target sequences or not. We assume that unknown sequences in the first hyperpolymorphic region of the second exon of DRB alleles are conserved within allelic groups and that unknown sequences of codons 87 to 92 are identical with the DRB1*0101 consensus sequence.

The nucleotide sequences of the DRB1*0334, DRB1*110404, DRB1*1161, DRB1*1163 and DRB1*1377 alleles are not yet retrievable from the GenBank or EMBL data banks.

The DRB1*0809, DRB1*0821 and DRB4*1415 alleles yield identical amplification patterns except for the specific PCR product yielded by the DRB3 gene in linkage disequilibrium with the DRB1*1415 allele.

The DRB1*0820, DRB1*1318, DRB1*1347 and DRB1*1355 alleles yield identical amplification patterns except for the specific PCR product yielded by the DRB3 gene in linkage disequilibrium with the DRB1*1318, DRB1*1347 and DRB1*1355 alleles.

5Specific PCR fragments shorter than 125 base pairs have a lower intensity and are less sharp than longer PCR bands.

6Individual alleles can give to rise to two differently sized specific PCR fragments in these primer mixes.

7These primer mixes may give rise to nonspecific amplifications.

8These primer mixes may yield less specific PCR products than the other DR low resolution primer mixes.

9Primer mix 85 has a tendency of primer oligomer formation.

10Primer mix 91 has a tendency of primer oligomer formation and also has an intense primer cloud due to the high number of primers present in the primer mix.

11The DRB4*01030102N allele is amplified by the primer mix 94, whereas the DRB4*0201N and DRB4*0301N null alleles are not amplified by this primer pair.

1The nucleotide sequences of the DRB1*0334, DRB1*110404, DRB1*1161, DRB1*1163 and DRB1*1377 alleles are not yet retrievable from the GenBank or EMBL data banks.

The sequence of the DRB1*0702 allele has been shown to be identical to DRB1*070101. The sequence of the DRB1*080301 allele has been shown to be identical to DRB1*080302. The sequence of the DRB1*090101 allele has been shown to be identical to DRB1*090102. The sequence of the DRB1*120301 allele has been shown to be identical to DRB1*1201. The sequence of the DRB1*1606 allele has been shown to be identical to DRB1*1605. The DRB4*01010102N allele has been renamed DRB4*01030102N. The sequence of the DRB5*0201 allele has been shown to be identical to DRB5*0202.

The DRB1*0809, DRB1*0821 and DRB4*1415 alleles yield identical amplification patterns except for the specific PCR product yielded by the DRB3 gene in linkage disequilibrium with the DRB1*1415 allele.

The DRB1*0820, DRB1*1318, DRB1*1347 and DRB1*1355 alleles yield identical amplification patterns except for the specific PCR product yielded by the DRB3 gene in linkage disequilibrium with the DRB1*1318, DRB1*1347 and DRB1*1355 alleles.

2The serological reactivity of all DRB alleles is not known. In this table we used the information published in Tissue Antigens 1999: 54: 409-437, also available at the www.worldmarrow.org web site and also inferred the serological grouping from the naming of the sequence-defined allele.

‘ser’, serological HLA specificity.

‘w’, may be weakly amplified.