Gel Documentation Form and Worksheet

DPA1 (101.331-24/06 -24u/06u) 	Lot No: 40X	Expiry Date: 2017-April-01

Name:___________________

Sample ID:_______________

DNA Conc.(ng/ul):_________

Test  Date:_______________

Tested By:_______________

Review Date:________________

Reviewed By:________________

Interpretation:___________	Failed lanes: ___________                                Comments:_________________

Gel Picture

PHOTO DOCUMENT

‘ICB’ Internal Control Band,

‘AmpS’ Amplicon size

Notes:

Product sizes are approximate. For detailed information, see the lot-specific Specificity Table and Interpretation Table.

This table is intended as a guide. For interpretation always use the Interpretation Table and/or Specificity Table.

Specific PCR products shorter than 125 base pairs have a lower intensity and are less sharp than longer PCR products.

Primer mix 4 may faintly amplify the DPA1*04:01 allele.

Primer mix 11 may have tendencies of unspecific amplifications.

Primer mixes 11 and 15 may give rise to a lower yield of HLA-specific PCR product than the other DPA1 primer mixes.

Primer mix 6 may give rise to a lower yield of HLA-specific PCR product than the other DPA1 primer mixes in the DPA1*01:06:01-01:06:02 and 02:04 alleles.

Primer mix 16 contains a negative control, which will amplify more than 95% of HLA amplicons as well as the amplicons generated by the control primer pairs matching the human growth hormone gene. HLA-specific PCR product sizes range from 75 to 200 base pairs and the PCR product generated by the HGH positive control primer pair is 430 base pairs.

1DPA1 alleles listed on the IMGT/HLA web page 2014-July-25, release 3.17.0, www.ebi.ac.uk/imgt/hla.

2Alleles that have been deleted from or renamed in the official WHO HLA Nomenclature up to and including the last IMGT/HLA database release can be retrieved from web page http://hla.alleles.org/alleles/deleted.html.

3Primer mix 6: Specific PCR fragment of 160 bp in the DPA1*01:10 and 02:04 alleles. Specific PCR fragment of 195 bp in the DPA1*01:06:01-01:06:02 alleles.

Primer mix 11: Specific PCR fragment of 90 bp in the DPA1*01:12, 03:01 and 03:03 alleles. Specific PCR fragment of 135 bp in the DPA1*01:07 alleles.

The DPA1 typing kit cannot distinguish the following silent mutations: DPA1*01:03:01:01- DPA1*01:03:02 and DPA1*01:03:04, the DPA1*01:06:01-DPA1*01:06:02, the DPA1*02:01:01-DPA1*02:01:07 and the DPA1*02:02:01 to DPA1*02:02:06 alleles.