PHOTO DOCUMENT

Olerup SSP®

Olerup SSP® DPB1

Prod. No:	101.311.24/24u

101.311-04/04u

Lot No:    	09M

Expiry Date:    	2013-November-01

Name:________________Sample ID:_______________

DNA Extract Date:_________ Conc.(ng/ul):_________

Test  Date: _________Review Date:_______________

Tested By: _________Reviewed By:_______________

Interpretation:_________________________________

Specificities and sizes of the PCR products of the 48 primer mixes used for DPB1 SSP typing.

| Primer Mix | Size of spec. PCR product1 | Size of control band2 | Amplified DPB1 alleles27 |
| --- | --- | --- | --- |
| 1 | 245 bp | 515 bp | *01:01:01-01:01:03, 03:01:01-03:01:02, 13:01, 25:01, 26:01:01-26:01:02, 29:01, 37:01, 44:01, 50:01, 52:01, 56:01, 61:01N, 78:01, 79:01, 88:01, 90:01, 92:01, 104:01, 107:01, 110:01, 111:01, 114:01, 118:01, 122:01, 124:01, 127:01, 132:01 |
| 24 | 220 bp | 515 bp | *01:01:01-01:01:03, 03:01:01-03:01:02, 18:01, 20:01:01-20:01:02, 25:01, 26:01:01-26:01:02, 27:01, 36:01, 50:01, 52:01, 56:01, 61:01N, 78:01, 79:01, 85:01, 87:01, 89:01, 90:01, 92:01, 104:01, 111:01, 114:01, 118:01, 122:01, 124:01, 127:01, 130:01, 132:01 |
| 33,4,7 | 100 bp | 430 bp | *01:01:01-01:01:03, 04:01:01-04:01:02, 11:01:01-11:01:02, 13:01, 15:01, 26:01:01-26:01:02, 27:01, 31:01, 33:01, 39:01, 40:01, 56:01, 65:01, 66:01, 72:01, 74:01, 85:01, 89:01, 90:01, 96:01, 99:01, 102:01, 107:01, 110:01, 117:01, 118:01, 120:01N, 121:01, 125:01, 126:01, 127:01, 128:01 |
| 43,4 | 140 bp | 430 bp | *01:01:01-01:01:03, 04:01:01-04:01:02, 24:01, 26:01:01-26:01:02, 27:01, 28:01, 39:01, 40:01, 49:01, 51:01, 53:01, 56:01, 65:01, 66:01, 72:01, 76:01, 85:01, 89:01, 90:01, 92:01, 96:01, 99:01, 102:01, 118:01, 120:01N, 121:01, 122:01, 125:01, 126:01, 127:01, 128:01 |
| 5 | 235 bp | 515 bp | *01:01:01-01:01:03, 08:01, 19:01, 50:01, 57:01, 65:01, 68:01, 73:01, 75:01, 84:01, 90:01, 106:01, 118:01, 122:01, 127:01 |
| 6 | 165 bp | 430 bp | *01:01:01-01:01:03, 13:01, 26:01:01-26:01:02, 65:01, 107:01, 118:01, 122:01, 127:01 |
| 7 | 160 bp | 430 bp | *01:01:01-01:01:03, 13:01, 26:01:01-26:01:02, 56:01, 65:01, 76:01, 90:01, 92:01, 107:01, 110:01, 118:01, 122:01, 125:01, 127:01 |
| 8 | 210 bp | 515 bp | *02:01:02-02:02, 04:01:01-04:02, 05:01:01-05:01:02, 08:01, 16:01, 19:01, 22:01, 23:01, 24:01, 32:01, 33:01, 38:01, 39:01, 40:01, 46:01, 47:01, 48:01, 49:01, 51:01, 53:01, 60:01, 62:01, 63:01, 65:01, 68:01, 71:01, 75:01, 77:01, 80:01, 81:01, 82:01, 84:01, 94:01, 96:01, 97:01, 99:01, 100:01, 101:01, 103:01, 105:01, 106:01, 112:01, 115:01, 116:01, 120:01N, 121:01, 123:01, 126:01, 128:01 |
| 94,6 | 165 bp | 430 bp | *02:01:02-02:01:05, 02:01:06w, 02:01:07-02:02, 04:02, 05:01:01-05:01:02, 06:01, 16:01, 17:01, 18:01, 19:01, 20:01:01-20:01:02, 21:01, 22:01, 23:01, 30:01, 32:01, 34:01, 36:01, 38:01, 41:01:01-41:01:02, 46:01, 47:01, 48:01, 55:01, 58:01, 59:01, 60:01, 62:01, 63:01, 64:01N, 69:01, 71:01, 77:01, 80:01, 82:01, 83:01, 86:01, 87:01, 91:01, 93:01, 94:01, 95:01, 97:01, 98:01, 100:01, 101:01, 103:01, 105:01, 106:01, 108:01, 109:01, 112:01, 113:01, 115:01, 116:01, 123:01, 129:01, 130:01, 131:01 |
| 10 | 220 bp | 515 bp | *02:01:02-02:02, 08:01, 16:01, 19:01, 22:01, 32:01, 33:01, 41:01:01-41:01:02, 46:01, 47:01, 48:01, 71:01, 81:01, 95:01, 101:01, 103:01, 106:01, 115:01, 123:01 |
| 11 | 190 bp | 515 bp | *02:01:02-02:01:07, 04:01:01-04:02, 23:01, 24:01, 32:01, 33:01, 41:01:01-41:01:02, 46:01, 47:01, 51:01, 59:01, 60:01, 66:01, 71:01, 72:01, 73:01, 75:01, 77:01, 80:01, 81:01, 82:01, 83:01, 86:01, 94:01, 99:01, 105:01, 108:01, 109:01, 113:01, 115:01, 119:01, 120:01N, 121:01, 123:01, 126:01, 128:01, 129:01 |
| 123 | 80 bp | 515 bp | *02:01:02, 02:01:03w, 02:01:04-02:01:07, 06:01, 08:01, 09:01, 10:01, 16:01, 17:01, 29:01, 32:01, 37:01, 41:01:01-41:01:02, 44:01, 46:01, 48:01, 64:01N, 81:01, 86:01, 88:01, 93:01, 109:01, 113:01, 115:01, 123:01, 131:01 |
| 13 | 180 bp | 430 bp | *02:02, 05:01:01-05:01:02, 19:01, 22:01, 24:01, 38:01, 47:01, 97:01, 100:01, 101:01, 106:01 |
| 143,9 | 105 bp, 175 bp | 430 bp | *02:02, 05:01:01-05:01:02, 21:01, 22:01, 30:01, 36:01, 38:01, 54:01, 97:01, 100:01, 101:01, 114:01 |
| 15 | 200 bp | 430 bp | *02:02, 48:01, 95:01, 99:01, 100:01, 101:01, 112:01, 116:01 |
| 163,4,10 | 80 bp, 165 bp, 210 bp | 430 bp | *03:01:01-03:01:02, 04:02, 14:01, 18:01, 20:01:01-20:01:02, 25:01, 28:01, 35:01:01-35:01:02, 45:01, 49:01, 50:01, 51:01, 53:01, 57:01, 59:01, 60:01, 61:01N, 68:01, 70:01, 73:01, 75:01, 76:01, 77:01, 78:01, 79:01, 80:01, 82:01, 83:01, 91:01, 92:01, 98:01, 99:01, 104:01, 105:01, 108:01, 111:01, 116:01, 119:01, 122:01, 124:01, 127:01, 129:01, 130:01, 132:01 |
| 17 | 260 bp | 515 bp | *03:01:01-03:01:02, 06:01, 09:01, 10:01, 11:01:01-11:01:02, 13:01, 14:01, 17:01, 20:01:01-20:01:02, 21:01, 25:01, 26:01:01-26:01:02, 27:01, 29:01, 30:01, 35:01:01-35:01:02, 36:01, 37:01, 44:01, 45:01, 52:01, 54:01, 55:01, 56:01, 58:01, 61:01N, 64:01N, 67:01, 69:01, 70:01, 76:01, 78:01, 79:01, 85:01, 87:01, 88:01, 91:01, 92:01, 93:01, 98:01, 104:01, 107:01, 110:01, 111:01, 114:01, 119:01, 124:01, 125:01, 130:01, 131:01, 132:01 |
| 18 | 180 bp | 430 bp | *03:01:01-03:01:02, 06:01, 09:01, 14:01, 17:01, 20:01:01-20:01:02, 29:01, 35:01:01-35:01:02, 44:01, 61:01N, 64:01N, 69:01, 70:01, 76:01, 78:01, 86:01, 88:01, 91:01, 92:01, 98:01, 104:01, 111:01, 119:01, 124:01, 130:01, 131:01, 132:01 |
| 19 | 200 bp | 430 bp | *03:01:01-03:01:02, 06:01, 11:01:01-11:01:02, 14:01, 20:01:01-20:01:02, 25:01, 29:01, 44:01, 45:01, 52:01, 56:01, 61:01N, 64:01N, 67:01, 69:01, 70:01, 74:01, 76:01, 78:01, 87:01, 91:01, 92:01, 104:01, 111:01, 114:01, 119:01, 124:01, 130:01 |
| 20 | 235 bp | 515 bp | *03:01:01-03:01:02, 09:01, 10:01, 13:01, 14:01, 25:01, 26:01:01-26:01:02, 29:01, 35:01:01-35:01:02, 37:01, 44:01, 45:01, 52:01, 54:01, 56:01, 61:01N, 67:01, 70:01, 76:01, 78:01, 79:01, 88:01, 92:01, 104:01, 107:01, 110:01, 111:01, 114:01, 119:01, 124:01, 125:01, 132:01 |
| 213,4 | 100 bp | 430 bp | *03:01:01-03:01:02, 09:01, 14:01, 29:01, 35:01:01-35:01:02, 44:01, 50:01, 57:01, 61:01N, 70:01, 76:01, 78:01, 88:01, 92:01, 104:01, 111:01, 119:01, 124:01, 132:01 |
| 224 | 185 bp | 430 bp | *04:01:01-04:01:02, 24:01, 33:01, 39:01, 49:01, 51:01, 66:01, 72:01, 81:01, 96:01, 99:01, 117:01, 120:01N, 121:01, 126:01, 128:01 |
| 2311 | 145 bp, 210 bp | 430 bp | *05:01:01-05:01:02, 34:01, 36:01, 38:01, 62:01, 63:01, 97:01, 100:01, 112:01, 114:01, 116:01, 127:01 |
| 2412 | 195 bp, 265 bp | 515 bp | *05:01:01-05:01:02, 08:01, 16:01, 19:01, 22:01, 31:01, 38:01, 57:01, 63:01, 65:01, 68:01, 84:01, 97:01, 101:01, 102:01, 103:01, 106:01 |
| 2513 | 190 bp, 265 bp | 515 bp | *05:01:01-05:01:02, 21:01, 22:01, 36:01, 38:01, 44:01, 58:01, 63:01, 70:01, 97:01, 114:01 |
| 263,7,14 | 75 bp, 205 bp | 515 bp | *06:01, 09:01, 17:01, 29:01, 44:01, 46:01, 64:01N, 86:01, 88:01, 101:01, 123:01, 131:01 |
| 273 | 95 bp | 430 bp | *06:01, 17:01, 20:01:01-20:01:02, 46:01, 64:01N, 69:01, 80:01, 86:01, 91:01, 98:01, 108:01, 130:01, 131:01 |
| 2815 | 200 bp, 260 bp | 430 bp | *09:01, 10:01, 13:01, 17:01, 21:01, 26:01:01-26:01:02, 27:01, 30:01, 35:01:01-35:01:02, 36:01, 37:01, 54:01, 55:01, 58:01, 66:01, 79:01, 85:01, 86:01, 88:01, 93:01, 98:01, 107:01, 109:01, 110:01, 113:01, 117:01, 119:01, 125:01, 129:01, 131:01, 132:01 |
| 29 | 220 bp | 515 bp | *09:01, 10:01, 17:01, 30:01, 54:01, 55:01, 58:01, 86:01, 113:01, 131:01 |
| 30 | 185 bp | 430 bp | *09:01, 14:01, 17:01, 35:01:01, 76:01, 86:01, 91:01, 98:01, 119:01, 131:01 |
| 313,5 | 120 bp | 430 bp | *01:01:01-01:01:03, 05:01:01-05:01:02, 08:01, 10:01, 11:01:01-11:01:02, 13:01, 16:01, 19:01, 21:01, 22:01, 25:01, 26:01:01-26:01:02, 27:01, 30:01, 31:01, 36:01, 37:01, 38:01, 45:01, 52:01, 54:01, 55:01, 56:01, 58:01, 63:01, 65:01, 67:01, 68:01, 79:01, 84:01, 85:01, 87:01, 89:01, 90:01, 93:01, 97:01, 102:01, 103:01, 106:01, 107:01, 110:01, 114:01, 118:01, 122:01, 125:01, 127:01 |
| 323,5,16 | 75 bp, 195 bp | 430 bp | *11:01:01-11:01:02, 78:01, 130:01 |
| 333,17 | 140 bp, 205 bp | 430 bp | *13:01, 33:01, 81:01, 107:01, 110:01, 117:01, 123:01 |
| 34 | 210 bp | 430 bp | *14:01, 45:01, 67:01, 76:01, 91:01, 119:01 |
| 35 | 195 bp | 430 bp | *15:01, 74:01 |
| 36 | 260 bp | 515 bp | *15:01, 18:01, 28:01, 34:01, 40:01, 53:01, 62:01 |
| 378,18 | 185 bp, 255 bp | 430 bp | *04:02, 08:01?, 15:01, 21:01?, 22:01?, 24:01?, 25:01?, 27:01?, 28:01, 29:01?, 31:01?, 32:01?, 34:01?, 35:01:01?, 36:01?, 37:01?, 38:01?, 40:01, 41:01:01?-41:01:02?, 44:01?, 46:01?, 47:01?, 48:01?, 49:01?, 51:01?, 52:01?, 53:01, 54:01?, 56:01?, 57:01?, 58:01?, 59:01, 60:01?, 61:01N?, 62:01?, 63:01?, 64:01N?, 65:01?, 66:01?, 67:01?, 68:01?, 69:01?, 70:01?, 71:01?, 72:01?, 73:01?, 74:01, 75:01?, 76:01?, 77:01?, 78:01?, 79:01?, 80:01?, 81:01?, 82:01?, 83:01?, 84:01?, 86:01?, 87:01?, 89:01?, 90:01?, 91:01?, 92:01?, 93:01?, 94:01?, 95:01?, 96:01?, 97:01?, 98:01?, 99:01?, 100:01?, 101:01?, 102:01?, 103:01?, 108:01?, 109:01?, 110:01?, 111:01?, 112:01?, 113:01?, 114:01?, 115:01?, 116:01?, 117:01?, 118:01?, 119:01?, 120:01N?, 122:01?, 125:01?, 126:01, 127:01?, 128:01?, 129:01?, 130:01? |
| 383 | 100 bp | 515 bp | *23:01, 34:01, 52:01, 55:01, 58:01, 62:01, 63:01, 67:01, 71:01, 87:01, 95:01, 103:01, 112:01, 121:01 |
| 39 | 210 bp | 515 bp | *28:01, 31:01, 34:01, 57:01, 59:01, 72:01, 73:01, 95:01, 102:01, 108:01 |
| 403-5,19 | 95 bp, 180 bp | 430 bp | *06:01?, 08:01?, 10:01?, 11:01:01?-11:01:02?, 16:01?, 17:01?, 18:01?, 20:01:01?-20:01:02?, 21:01?, 22:01?, 23:01?, 24:01?, 25:01?, 26:01:01?-26:01:02?, 27:01?, 28:01?, 29:01?, 30:01, 31:01?, 32:01?, 33:01?, 34:01?, 35:01:01?-35:01:02?, 36:01?, 37:01?, 38:01?, 39:01?, 40:01?, 41:01:01?-41:01:02?, 44:01?, 45:01?, 46:01?, 47:01?, 48:01?, 49:01?, 50:01?, 51:01?, 52:01?, 53:01?, 54:01, 55:01?, 56:01?, 57:01?, 58:01?, 59:01?, 60:01?, 61:01N?, 62:01?, 63:01?, 64:01N?, 65:01?, 66:01?, 67:01?, 68:01?, 69:01?, 70:01?, 71:01?, 72:01?, 73:01?, 74:01?, 75:01?, 76:01?, 77:01?, 78:01?, 79:01?, 80:01?, 81:01?, 82:01?, 83:01?, 84:01?, 85:01?, 86:01?, 87:01?, 88:01?, 89:01?, 90:01?, 91:01?, 92:01?, 93:01?, 94:01?, 95:01?, 96:01?, 97:01?, 98:01?, 99:01?, 100:01?, 101:01?, 102:01?, 103:01?, 107:01, 108:01?, 109:01?, 110:01?, 111:01?, 112:01?, 113:01?, 114:01?, 115:01?, 116:01?, 117:01?, 118:01?, 119:01?, 120:01N?, 121:01?, 122:01?, 123:01?, 124:01?, 125:01?, 126:01?, 127:01?, 128:01?, 129:01?, 130:01?, 131:01?, 132:01? |
| 413,20 | 75 bp, 230 bp | 515 bp | *31:01, 34:01, 77:01, 94:01 |
| 423, 21 | 140 bp, 185 bp, 245 bp, 285 bp | 430 bp | *32:01, 82:01, 97:01, 128:01 |
| 433,4,22 | 65 bp, 190 bp | 430 bp | *05:01:01-05:01:02, 06:01?, 08:01?, 10:01?, 11:01:01?-11:01:02?, 16:01?, 17:01?, 18:01?, 19:01, 20:01:01?-20:01:02?, 21:01?, 22:01?, 23:01?, 24:01?, 25:01?, 26:01:01?-26:01:02?, 27:01?, 28:01?, 29:01?, 30:01?, 31:01?, 32:01?, 33:01?, 34:01, 35:01:01?-35:01:02?, 36:01?, 37:01?, 38:01?, 39:01?, 40:01?, 41:01:01?-41:01:02?, 44:01?, 45:01?, 46:01?, 47:01?, 48:01?, 49:01?, 50:01?, 51:01?, 52:01?, 53:01?, 54:01?, 55:01?, 56:01?, 57:01?, 58:01?, 59:01?, 60:01?, 61:01N?, 62:01, 63:01?, 64:01N?, 65:01?, 66:01?, 67:01?, 68:01?, 69:01?, 70:01?, 71:01?, 72:01?, 73:01?, 74:01?, 75:01?, 76:01?, 77:01?, 78:01?, 79:01?, 80:01?, 81:01?, 82:01?, 83:01?, 84:01?, 85:01?, 86:01?, 87:01?, 88:01?, 89:01?, 90:01?, 91:01?, 92:01?, 93:01?, 94:01?, 95:01?, 96:01?, 97:01?, 98:01?, 99:01?, 100:01?, 101:01?, 102:01?, 103:01?, 104:01, 108:01?, 109:01?, 110:01?, 111:01?, 112:01?, 113:01?, 114:01?, 115:01?, 116:01?, 117:01?, 118:01?, 119:01?, 120:01N?, 121:01?, 122:01?, 123:01?, 124:01?, 125:01?, 126:01?, 127:01?, 128:01?, 129:01?, 130:01?, 131:01?, 132:01? |
| 443,5,23 | 110 bp, 185 bp, 245 bp, 270 bp | 430 bp | *38:01, 64:01N, 111:01, 118:01, 120:01N |
| 453,24 | 120 bp, 190 bp, 245 bp | 430 bp | *39:01, 46:01, 49:01, 80:01, 86:01, 96:01, 108:01, 115:01, 117:01 |
| 463,25 | 70 bp, 210 bp | 430 bp | *41:01:01-41:01:02, 60:01, 69:01, 83:01, 96:01 |
| 474,7,26 | 165 bp, 255 bp | 430 bp | *02:01:02-02:02, 04:01:01-04:01:02, 08:01?, 17:01, 21:01?, 22:01?, 23:01, 24:01?, 25:01?, 26:01:01?, 27:01?, 28:01, 29:01?, 30:01, 31:01?, 32:01?, 33:01, 34:01?, 35:01:01?, 36:01?, 37:01?, 38:01?, 39:01, 40:01?, 41:01:01?-41:01:02?, 44:01, 46:01?, 47:01?, 48:01?, 49:01?, 51:01?, 52:01?, 53:01?, 54:01?, 55:01, 56:01?, 57:01?, 58:01?, 60:01?, 61:01N?, 62:01?, 63:01?, 64:01N?, 65:01?, 66:01?, 67:01?, 68:01?, 69:01?, 70:01?, 71:01?, 72:01?, 73:01?, 74:01?, 75:01?, 76:01?, 77:01?, 78:01?, 79:01?, 80:01?, 81:01?, 82:01?, 83:01?, 84:01?, 86:01?, 87:01?, 89:01?, 90:01?, 91:01?, 92:01?, 93:01?, 94:01?, 95:01?, 96:01?, 97:01?, 98:01?, 99:01?, 100:01?, 101:01?, 102:01?, 103:01?, 105:01, 106:01, 108:01?, 109:01?, 110:01?, 111:01?, 112:01?, 113:01?, 114:01, 115:01?, 116:01?, 117:01?, 118:01?, 119:01?, 120:01N?, 121:01, 122:01?, 123:01, 124:01, 125:01?, 127:01?, 128:01?, 129:01?, 130:01? |
| 483,27 | 115 bp, 210 bp, 280 bp | 430 bp | *56:01, 61:01N, 66:01, 76:01, 85:01, 92:01, 110:01, 125:01 |

1Alleles are assigned by the presence of specific PCR product(s). However, the sizes of the specific PCR products may be helpful in the interpretation of DPB1 SSP typings.

When the primers in a primer mix can give rise to specific PCR products of more than one length this is indicated if the size difference is 20 base pairs or more. Size differences shorter than 20 base pairs are not given. For high resolution SSP kits the respective lengths of the specific PCR product(s) of the alleles amplified by these primer mixes are given.

Nonspecific amplifications, i.e. a ladder or a smear of bands, may sometimes be seen. GC-rich primers have a higher tendency of giving rise to nonspecific amplifications than other primers.

PCR fragments longer than the control bands may sometimes be observed. Such bands should be disregarded and do not influence the interpretation of the SSP typings.

PCR fragments migrating faster than the control bands, but slower than a 400 bp fragment may be seen in some gel read-outs. Such bands can be disregarded and do not influence the interpretation of the SSP typings.

Some primers may give rise to primer oligomer artifacts. Sometimes this phenomenon is an inherit feature of the primer pair(s) of a primer mix. More often it is due to other factors such as too low amount of DNA in the PCR reactions, taking too long time in setting up the PCR reactions, working at elevated room temperature or using thermal cyclers that are not pre-heated.

2The internal positive control primer pairs amplify segments of the human growth hormone gene. The two different control primer pairs give rise to either an internal positive control band of 430 base pairs, for most wells, or a band of 515 base pairs, for some wells.

Well number 1 contains the primer pair giving rise to the longer, 515 bp, internal positive control band in order to help in the correct orientation of the DPB1 typing.

In addition, wells number 2, 5, 8, 10 to 12, 17, 20, 24 to 26, 29, 36, 38, 39 and 41 contain the primer pair giving rise to the longer, 515 bp, internal positive control band in order to allow kit identification.

In the presence of a specific amplification the intensity of the control band often decreases.

3Specific PCR fragments shorter than 150 base pairs are less intense and not as sharp as longer specific bands.

4Primer mixes 2, 3, 4, 9, 16, 40, 43 and 47 may yield less HLA-specific PCR products than the other DPB1 primer mixes.

5Primer mixes 31, 32 and 40 may give rise to non-specific amplifications.

6Primer mix 9 may give rise to a weaker positive control band than the other DPB1 primer mixes.

7Primer mixes 3, 26 and 47 has a tendency of giving rise to primer oligomer formation.

8Primer mix 37 may give a lower yield of specific PCR product in the DPB1*15:01 and DPB1*74:01 alleles.

9Primer mix 14: Specific PCR fragment of 105 bp in the DPB1*02:02, 05:01:01-05:01:02, 22:01, 38:01, 97:01, 100:01 and 101:01 alleles. Specific PCR fragment of 175 bp in the DPB1*30:01 and 54:01 alleles. Specific PCR fragments of 105 and 175 bp in the DPB1*21:01, 36:01, 54:01 and 114:01 alleles.

10Primer mix 16: Specific PCR fragment of 80 bp in the DPB1*03:01:01-03:01:02, 04:02, 14:01, 18:01, 20:01:01-20:01:02, 25:01, 28:01, 35:01:01-35:01:02, 45:01, 49:01, 50:01, 51:01, 53:01, 57:01, 59:01, 60:01, 61:01N, 68:01, 70:01, 73:01, 75:01, 76:01, 77:01, 78:01, 79:01, 80:01, 82:01, 83:01, 91:01, 92:01, 98:01, 104:01, 105:01, 108:01, 111:01, 116:01, 119:01, 122:01, 124:01, 129:01, 130:01 and 132:01 alleles. Specific PCR fragment of 165 bp in the DPB1*99:01 allele. Specific PCR fragment of 210 bp in the DPB1*127:01 allele.

11Primer mix 23: Specific PCR fragment of 145 bp in the DPB1*05:01:01-05:01:02, 34:01, 36:01, 38:01, 62:01, 63:01, 97:01, 100:01, 112:01, 114:01 and 116:01 alleles. Specific PCR fragment of 210 bp in the DPB1*127:01 allele.

12Primer mix 24: Specific PCR fragment of 195 bp in the DPB1*101:01 allele. Specific PCR fragment of 265 bp in the DPB1*05:01:01-05:01:02, 08:01, 16:01, 19:01, 22:01, 31:01, 38:01, 57:01, 63:01, 65:01, 68:01, 84:01, 97:01, 102:01, 103:01 and 106:01 alleles.

13Primer mix 25: Specific PCR fragment of 190 bp in the DPB1*05:01:01-05:01:02, 21:01, 22:01, 36:01, 38:01, 44:01, 58:01, 63:01, 97:01 and 114:01 alleles. Specific PCR fragment of 265 bp in the DPB1*70:01 allele.

14Primer mix 26: Specific PCR fragment of 75 bp in the DPB1*06:01, 09:01, 17:01, 29:01, 44:01, 46:01, 64:01N, 86:01, 88:01, 101:01, 123:01 and 131:01 alleles. Specific PCR fragment of 205 bp in the DPB1*123:01 allele.

15Primer mix 28: Specific PCR fragment of 200 bp in the DPB1*09:01, 10:01, 13:01, 17:01, 21:01, 26:01:01-26:01:02, 27:01, 30:01, 35:01:01-35:01:02, 36:01, 37:01, 54:01, 55:01, 58:01, 66:01, 79:01, 85:01, 86:01, 88:01, 93:01, 98:01, 107:01, 109:01, 110:01, 113:01, 117:01, 125:01, 129:01, 131:01 and 132:01 alleles. Specific PCR fragment of 260 bp in the DPB1*119:01 allele.

16Primer mix 32: Specific PCR fragment of 75 bp in the DPB1*78:01 allele. Specific PCR fragment of 195 bp in the DBB1*11:01:01-11:01:02 and 130:01 alleles.

17Primer mix 33: Specific PCR fragment of 140 bp in the DPB1*13:01, 33:01, 81:01, 107:01, 110:01 and 117:01 alleles. Specific PCR fragment of 205 bp in the DBB1*123:01 allele.

18Primer mix 37: Specific PCR fragment of 185 bp in the DPB1*15:01, 28:01, 40:01, 53:01 and 74:01 alleles. Specific PCR fragment of 255 bp in the DPB1*04:02, 59:01 and 126:01 alleles. The 3rd exon of many DPB1 alleles is not sequenced and thus the primer pair in primer mix 37 matching the DPB1*04:02 and 59:01 sequence motif in the 3rd exon may amplify other DPB1 alleles.

19Primer mix 40: Specific PCR fragment of 95 bp in the DPB1*107:01 allele. Specific PCR fragment of 180 bp in the DPB1*30:01 and 54:01 alleles. The 1st exon of most DPB1 alleles is not sequenced and thus the primer pair in primer mix 40 matching the DPB1*107:01 sequence motif in the 1st exon may amplify other DPB1 alleles.

20Primer mix 41: Specific PCR fragment of 75 bp in the DPB1*77:01 allele. Specific PCR fragment of 230 bp in the DPB1*31:01, 34:01 and 94:01 alleles.

21Primer mix 42: Specific PCR fragment of 140 bp in the DPB1*97:01 allele. Specific PCR fragment of 185 bp in the DPB1*32:01 allele. Specific PCR fragment of 245 bp in the DPB1*128:01 allele.Specific PCR fragment of 285 bp in the DPB1*82:01 allele.

22Primer mix 43: Specific PCR fragment of 65 bp in the DPB1*05:01:01, 05:01:02, 19:01 and 104:01 alleles. Specific PCR fragment of 190 bp in the DPB1*34:01 and 62:01 alleles. The 4th exon of most DPB1 alleles is not sequenced and thus the primer pair in primer mix 43 matching the DPB1*05:01:01, 05:01:02, 19:01 and 104:01 sequence motif in the 4th exon may amplify other DPB1 alleles.

23Primer mix 44: Specific PCR fragment of 185 bp in the DPB1*111:01 and 120:01N alleles. Specific PCR fragment of 245 bp in the DPB1*38:01 allele. Specific PCR fragment of 270 bp in the DPB1*64:01N allele.Specific PCR fragment of 110 and 185 bp in the DPB1*118:01 allele.

24Primer mix 45: Specific PCR fragment of 120 bp in the DPB1*46:01, 80:01, 86:01 and 108:01 alleles. Specific PCR fragment of 190 bp in the DPB1*39:01, 49:01, 96:01 and 117:01 alleles. Specific PCR fragment of 245 bp in the DPB1*115:01 allele.

25Primer mix 46: Specific PCR fragment of 70 bp in the DPB1*69:01 allele. Specific PCR fragment of 210 bp in the DPB1*96:01 allele. Specific PCR fragment of 70 and 210 bp in the DPB1*41:01:01-41:01:02, 60:01 and 83:01 alleles.

26Primer mix 47: Specific PCR fragment of 165 bp in the DPB1*44:01 and 114:01 alleles. Specific PCR fragment of 255 bp in the DPB1*02:01:02-02:02, 04:01:01-04:01:02, 17:01, 23:01, 28:01, 30:01, 33:01, 39:01, 55:01, 105:01, 106:01, 121:01, 123:01 and 124:01 alleles. The 3rd exon of many DPB1 alleles is not sequenced and thus the primer pair in primer mix 47 matching the DPB1*02:01:02-02:02, 04:01:01-04:01:02, 17:01, 23:01, 28:01, 30:01, 33:01, 39:01, 55:01, 105:01, 106:01, 121:01, 123:01 and 124:01 sequence motif in the 3rd exon may amplify other DPB1 alleles.

27Primer mix 48: Specific PCR fragment of 115 bp in the DPB1*56:01, 66:01, 76:01, 92:01, 110:01 and 125:01 alleles. Specific PCR fragment of 210 bp in the DPB1*61:01N allele. Specific PCR fragment of 280 bp in the DPB1*85:01 allele.

28The 1st, 3rd and 4th exon of many DPB1 alleles is not sequenced and thus the primer pairs in primer mixes 37, 40, 43 and 47 may amplify other DPB1 alleles. We assume that unknown sequences in these exons and in the introns are conserved within loci and within allelic groups.

‘w’, might be weakly amplified.

‘?’, nucleotide sequence information not available for the primer matching sequence.

1The sequence of the DPB1*02011 allele has been shown to be identical to DPB1*02:01:02.

DPB1*0701 has never been assigned.

DPB1*1201 has never been assigned.

The sequence of the DPB1*4201 allele has been shown to be identical to DPB1*31:01.

The sequence of the DPB1*4301 allele has been shown to be identical to DPB1*28:01.

2Primer mix 14: Specific PCR fragment of 105 bp in the DPB1*02:02, 05:01:01-05:01:02, 22:01, 38:01, 97:01, 100:01 and 101:01 alleles. Specific PCR fragment of 175 bp in the DPB1*30:01 and 54:01 alleles. Specific PCR fragments of 105 and 175 bp in the DPB1*21:01, 36:01, 54:01 and 114:01 alleles.

Primer mix 16: Specific PCR fragment of 80 bp in the DPB1*03:01:01-03:01:02, 04:02, 14:01, 18:01, 20:01:01-20:01:02, 25:01, 28:01, 35:01:01-35:01:02, 45:01, 49:01, 50:01, 51:01, 53:01, 57:01, 59:01, 60:01, 61:01N, 68:01, 70:01, 73:01, 75:01, 76:01, 77:01, 78:01, 79:01, 80:01, 82:01, 83:01, 91:01, 92:01, 98:01, 104:01, 105:01, 108:01, 111:01, 116:01, 119:01, 122:01, 124:01, 129:01, 130:01 and 132:01 alleles. Specific PCR fragment of 165 bp in the DPB1*99:01 allele. Specific PCR fragment of 210 bp in the DPB1*127:01 allele.

Primer mix 23: Specific PCR fragment of 145 bp in the DPB1*05:01:01-05:01:02, 34:01, 36:01, 38:01, 62:01, 63:01, 97:01, 100:01, 112:01, 114:01 and 116:01 alleles. Specific PCR fragment of 210 bp in the DPB1*127:01 allele.

Primer mix 24: Specific PCR fragment of 195 bp in the DPB1*101:01 allele. Specific PCR fragment of 265 bp in the DPB1*05:01:01-05:01:02, 08:01, 16:01, 19:01, 22:01, 31:01, 38:01, 57:01, 63:01, 65:01, 68:01, 84:01, 97:01, 102:01, 103:01 and 106:01 alleles.

Primer mix 25: Specific PCR fragment of 190 bp in the DPB1*05:01:01-05:01:02, 21:01, 22:01, 36:01, 38:01, 44:01, 58:01, 63:01, 97:01 and 114:01 alleles. Specific PCR fragment of 265 bp in the DPB1*70:01 allele.

Primer mix 26: Specific PCR fragment of 75 bp in the DPB1*06:01, 09:01, 17:01, 29:01, 44:01, 46:01, 64:01N, 86:01, 88:01, 101:01, 123:01 and 131:01 alleles. Specific PCR fragment of 205 bp in the DPB1*123:01 allele.

Primer mix 28: Specific PCR fragment of 200 bp in the DPB1*09:01, 10:01, 13:01, 17:01, 21:01, 26:01:01-26:01:02, 27:01, 30:01, 35:01:01-35:01:02, 36:01, 37:01, 54:01, 55:01, 58:01, 66:01, 79:01, 85:01, 86:01, 88:01, 93:01, 98:01, 107:01, 109:01, 110:01, 113:01, 117:01, 125:01, 129:01, 131:01 and 132:01 alleles. Specific PCR fragment of 260 bp in the DPB1*119:01 allele.

Primer mix 32: Specific PCR fragment of 75 bp in the DPB1*78:01 allele. Specific PCR fragment of 195 bp in the DBB1*11:01:01-11:01:02 and 130:01 alleles.

Primer mix 33: Specific PCR fragment of 140 bp in the DPB1*13:01, 33:01, 81:01, 107:01, 110:01 and 117:01 alleles. Specific PCR fragment of 205 bp in the DBB1*123:01 allele.

Primer mix 37: Specific PCR fragment of 185 bp in the DPB1*15:01, 28:01, 40:01, 53:01 and 74:01 alleles. Specific PCR fragment of 255 bp in the DPB1*04:02, 59:01 and 126:01 alleles. The 3rd exon of many DPB1 alleles is not sequenced and thus the primer pair in primer mix 37 matching the DPB1*04:02 and 59:01 sequence motif in the 3rd exon may amplify other DPB1 alleles.

Primer mix 40: Specific PCR fragment of 95 bp in the DPB1*107:01 allele. Specific PCR fragment of 180 bp in the DPB1*30:01 and 54:01 alleles. The 1st exon of most DPB1 alleles is not sequenced and thus the primer pair in primer mix 40 matching the DPB1*107:01 sequence motif in the 1st exon may amplify other DPB1 alleles.

Primer mix 41: Specific PCR fragment of 75 bp in the DPB1*77:01 allele. Specific PCR fragment of 230 bp in the DPB1*31:01, 34:01 and 94:01 alleles.

Primer mix 42: Specific PCR fragment of 140 bp in the DPB1*97:01 allele. Specific PCR fragment of 185 bp in the DPB1*32:01 allele. Specific PCR fragment of 245 bp in the DPB1*128:01 allele.Specific PCR fragment of 285 bp in the DPB1*82:01 allele.

Primer mix 43: Specific PCR fragment of 65 bp in the DPB1*05:01:01, 05:01:02, 19:01 and 104:01 alleles. Specific PCR fragment of 190 bp in the DPB1*34:01 and 62:01 alleles. The 4th exon of most DPB1 alleles is not sequenced and thus the primer pair in primer mix 43 matching the DPB1*05:01:01, 05:01:02, 19:01 and 104:01 sequence motif in the 4th exon may amplify other DPB1 alleles.

Primer mix 44: Specific PCR fragment of 185 bp in the DPB1*111:01 and 120:01N alleles. Specific PCR fragment of 245 bp in the DPB1*38:01 allele. Specific PCR fragment of 270 bp in the DPB1*64:01N allele.Specific PCR fragment of 110 and 185 bp in the DPB1*118:01 allele.

Primer mix 45: Specific PCR fragment of 120 bp in the DPB1*46:01, 80:01, 86:01 and 108:01 alleles. Specific PCR fragment of 190 bp in the DPB1*39:01, 49:01, 96:01 and 117:01 alleles. Specific PCR fragment of 245 bp in the DPB1*115:01 allele.

Primer mix 46: Specific PCR fragment of 70 bp in the DPB1* 69:01 allele. Specific PCR fragment of 210 bp in the DPB1*96:01 allele. Specific PCR fragment of 70 and 210 bp in the DPB1*41:01:01-41:01:02, 60:01 and 83:01 alleles.

Primer mix 47: Specific PCR fragment of 165 bp in the DPB1* 44:01 and 114:01 alleles. Specific PCR fragment of 255 bp in the DPB1*02:01:02-02:02, 04:01:01-04:01:02, 17:01, 23:01, 28:01, 30:01, 33:01, 39:01, 55:01, 105:01, 106:01, 121:01, 123:01 and 124:01 alleles. The 3rd exon of many DPB1 alleles is not sequenced and thus the primer pair in primer mix 47 matching the DPB1*02:01:02-02:02, 04:01:01-04:01:02, 17:01, 23:01, 28:01, 30:01, 33:01, 39:01, 55:01, 105:01, 106:01, 121:01, 123:01 and 124:01 sequence motif in the 3rd exon may amplify other DPB1 alleles.

Primer mix 48: Specific PCR fragment of 115 bp in the DPB1*56:01, 66:01, 76:01, 92:01, 110:01 and 125:01 alleles. Specific PCR fragment of 210 bp in the DPB1*61:01N allele. Specific PCR fragment of 280 bp in the DPB1*85:01 allele.

‘w’, might be weakly amplified.

‘?’, nucleotide sequence information not available for the primer matching sequence.

Changes in revision R01 compared to R00:

- Corrected foot notes for primer mixes 31 and 40: Primer mixes 31, 32 and 40 may give rise to non-specific amplifications.

Changes in revision R02 compared to R01:

- Primer mix 37 may give a lower yield of specific PCR product in the DPB1*15:01 and DPB1*74:01 alleles.

Changes in revision R03 compared to R02:

- A foot note has been added to the specificity table, stating that we assume that unknown sequences in the 1st, 3rd and 4th exon and in the introns are conserved within loci and within allelic groups. Primer mixes 37, 40, 43 and 47 may thus amplify other DPB1 alleles.

Change in revision R04 compared to R03:

- The DPB1*31:01 allele is not amplified by primer mix 4. This has been corrected in the Specificity and Interpretation Tables.