Gel Documentation Form and Worksheet

DPB1

(101.311-24/04 – 24u/04u) 	Lot No: 45V	Expiry Date: 2016-August-01

Name:__________________

Sample ID:______________

DNA Conc.(ng/ul):_________

Test  Date:______________

Tested By:______________

Review Date:_______________

Reviewed By:_______________

Gel Picture

PHOTO DOCUMENT

‘ICB’ Internal Control Band,

‘AmpS’ Amplicon Size

Interpretation:_______________

Failed lanes:    _________

Comments:    ___________________

Notes:

Product sizes are approximate. For detailed information, see the lot-specific Specificity Table and Interpretation Table.

This table is intended as a guide. For interpretation always use the Interpretation Table and/or Specificity Table.

HLA-specific PCR products shorter than 125 base pairs have a lower intensity and are less sharp than longer PCR products.

Primer mixes 3, 9, 16, 26, 27 40, 43, 47 and 58 may give rise to a lower yield of HLA-specific PCR product than the other DPB1 primer mixes.

Primer mixes 3, 16 and 31 have a tendency to giving rise to primer oligomer formation.

Primer mixes 23, 32, 42 and 44 may have tendencies of unspecific amplifications.

Primer mix 63 contains a negative control, which will amplify more than 95% of HLA amplicons as well as the amplicons generated by control primer pairs. PCR product sizes range from 75 to 200 base pairs. The PCR product generated by the control primer pair is 430 base pairs.

1DPB1 alleles listed on the IMGT/HLA web page 2014-October-11, release 3.14.0, www.ebi.ac.uk/imgt/hla.

2Alleles that have been deleted from or renamed in the official WHO HLA Nomenclature up to and including the last IMGT/HLA database release can be retrieved from web page http://hla.alleles.org/alleles/deleted.html.

3Primer mix 14: Specific PCR fragment of 105 bp in the DPB1*02:02, 05:01:01-05:01:02, 22:01, 38:01, 97:01, 100:01, 101:01, 135:01 and 140:01 alleles. Specific PCR fragment of 175 bp in the DPB1*30:01 and 54:01 alleles. Specific PCR fragments of 105 and 175 bp in the DPB1*21:01, 36:01 and 114:01 alleles.

Primer mix 16: Specific PCR fragment of 80 bp in the DPB1*03:01:01-03:01:03, 04:02:01:01-04:02:01:02, 14:01, 18:01, 20:01:01-20:01:02, 25:01, 28:01, 35:01:01-35:01:02, 45:01, 49:01, 50:01, 51:01, 53:01, 57:01, 59:01, 60:01, 61:01N, 68:01, 70:01, 73:01, 75:01, 76:01, 77:01, 78:01, 79:01, 80:01, 82:01, 83:01, 91:01, 92:01, 98:01, 104:01, 105:01, 108:01, 111:01, 116:01, 119:01, 122:01, 124:01, 129:01, 130:01, 132:01, 143:01, 144:01, 153:01 and 164:01 alleles. Specific PCR fragment of 165 bp in the DPB1*99:01 allele. Specific PCR fragment of 210 bp in the DPB1*127:01 allele.

Primer mix 23: Specific PCR fragment of 145 bp in the DPB1*05:01:01-05:01:02, 34:01, 36:01, 38:01, 62:01, 63:01, 97:01, 100:01, 112:01, 114:01, 116:01, 135:01 and 140:01 alleles. Specific PCR fragment of 210 bp in the DPB1*127:01 allele.

Primer mix 24: Specific PCR fragment of 195 bp in the DPB1*101:01 allele. Specific PCR fragment of 265 bp in the DPB1*05:01:01-05:01:02, 08:01, 16:01, 19:01, 22:01, 31:01, 38:01, 57:01, 63:01, 65:01, 68:01, 84:01, 97:01, 102:01, 103:01, 106:01, 135:01, 140:01, 147:01, 150:01, 152:01, 165:01 and 166:01 alleles.

Primer mix 25: Specific PCR fragment of 190 bp in the DPB1*05:01:01-05:01:02, 21:01, 22:01, 36:01, 38:01, 44:01, 58:01, 63:01, 97:01, 114:01, 135:01 and 140:01 alleles. Specific PCR fragment of 265 bp in the DPB1*70:01 allele.

Primer mix 26: Specific PCR fragment of 75 bp in the DPB1*06:01, 09:01:01-09:01:02, 17:01, 29:01, 44:01, 46:01, 64:01N, 86:01, 88:01, 101:01 131:01, 152:01, 156:01, 157:01, 161:01N, 166:01 and 168:01 alleles. Specific PCR fragment of 205 bp in the DPB1*123:01 allele.

Primer mix 28: Specific PCR fragment of 200 bp in the DPB1*09:01:01-09:01:02, 10:01, 13:01:01-13:01:02, 17:01, 21:01, 26:01:01-26:01:02, 27:01, 30:01, 35:01:01-35:01:02, 36:01, 37:01, 54:01, 55:01, 58:01, 66:01, 79:01, 85:01, 86:01, 88:01, 93:01, 98:01, 107:01, 109:01, 110:01, 113:01, 117:01, 125:01, 129:01, 131:01, 132:01, 133:01, 137:01, 156:01, 157:01, 160:01 and 168:01 alleles. Specific PCR fragment of 260 bp in the DPB1*119:01 allele.

Primer mix 29: Specific PCR fragment of 105 bp in the DPB1*141:01 allele. Specific PCR fragment of 220 bp in the DPB1*09:01:01-09:01:02, 10:01, 17:01, 30:01, 54:01, 55:01, 58:01, 86:01, 113:01, 131:01, 137:01, 156:01, 157:01, 167:01 and 168:01 alleles.

Primer mix 32: Specific PCR fragment of 75 bp in the DPB1*78:01 allele. Specific PCR fragment of 200 bp in the DBB1*11:01:01-11:01:02, 130:01 and 147:01 alleles.

Primer mix 33: Specific PCR fragment of 140 bp in the DPB1*13:01:01-13:01:02, 33:01, 81:01, 107:01, 110:01, 117:01, 133:01, 156:01 and 160:01 alleles. Specific PCR fragment of 205 bp in the DBB1*123:01 allele.

Primer mix 41: Specific PCR fragment of 70 bp in the DPB1*77:01 allele. Specific PCR fragment of 200 bp and 225 bp in the DPB1*154:01N allele. Specific PCR fragment of 225 bp and 250 bp in the DPB1*31:01, 34:01 and 94:01 alleles. Specific PCR fragment of 250 bp and 275 bp in the DPB1*134:01 allele.

Primer mix 42: Specific PCR fragment of 140 bp in the DPB1*97:01 allele. Specific PCR fragment of 185 bp in the DPB1*32:01 allele. Specific PCR fragment of 245 bp in the DPB1*128:01 allele. Specific PCR fragment of 285 bp in the DPB1*82:01 allele.

Primer mix 44: Specific PCR fragment of 185 bp in the DPB1*111:01 and 120:01N alleles. Specific PCR fragment of 245 bp in the DPB1*38:01 allele. Specific PCR fragment of 270 bp in the DPB1*64:01N allele. Specific PCR fragment of 110 and 185 bp in the DPB1*118:01 allele.

Primer mix 45: Specific PCR fragment of 120 bp in the DPB1*46:01, 80:01, 86:01, 108:01 and 164:01 alleles. Specific PCR fragment of 190 bp in the DPB1*39:01, 49:01, 96:01, 117:01 and 158:01 alleles. Specific PCR fragment of 245 bp in the DPB1*115:01 allele.

Primer mix 46: Specific PCR fragment of 70 bp in the DPB1 *69:01 and 136:01 alleles. Specific PCR fragment of 205 bp in the DPB1*96:01 and 147:01 alleles. Specific PCR fragment of 70 and 205 bp in the DPB1*41:01:01-41:01:02, 60:01 and 83:01 alleles.

Primer mix 47: Specific PCR fragment of 165 bp in the DPB1*44:01 and 114:01 alleles. Specific PCR fragment of 215 bp in the DPB1*140:01 alleles.

Primer mix 48: Specific PCR fragment of 115 bp in the DPB1*56:01, 66:01, 76:01, 92:01, 110:01, 125:01 and 156:01 alleles. Specific PCR fragment of 210 bp in the DPB1*61:01N allele. Specific PCR fragment of 280 bp in the DPB1*85:01 allele.

Primer mix 49: Specific PCR fragment of 95 bp in the DPB1*149:01 allele. Specific PCR fragment of 205 bp in the DPB1*143:01 allele.

Primer mix 52: Specific PCR fragment of 130 bp in the DPB1*151:01 allele. Specific PCR fragment of 225 bp in the DPB1*165:01 allele.

Primer mix 53: Specific PCR fragment of 90 bp in the DPB1*157:01 allele. Specific PCR fragment of 200 bp in the DPB1*153:01 and 163:01 alleles.

Primer mix 54: Specific PCR fragment of 125 bp in the DPB1*161:01N allele.  Specific PCR fragment of 185 bp in the DPB1*160:01 allele.  Specific PCR fragment of 210 bp in the DPB1*159:01N allele.

‘w’, might be weakly amplified.

‘?’, nucleotide sequence information not available for the primer matching sequence.

The DPB1 typing kit cannot distinguish the following silent mutations: DPB1*01:01:01-01:01:03, the DPB1*02:01:02, 02:01:04-02:01:05 and 02:01:07-02:01:09, the DPB1*03:01:01-03:01:03, the DPB1*04:01:01:01-04:01:01:02 and 04:01:03-04:01:06, the DPB1*04:02:01:01-04:02:01:02, the DPB1*05:01:01-05:01:02, and the DPB1*41:01:01-41:01:02 alleles.

Change in revision R01 compared to R00:

- Primer mix 23 may have tendencies of unspecific amplifications. A footnote has been added in the Specificity Table.