Gel Documentation Form and Worksheet

DPB1

(101.311-24/04 – 24u/04u) Lot No: 9E3 Expiry Date: 2019-10-01

Name:\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Sample ID:\_\_\_\_\_\_\_\_\_\_\_\_\_\_

DNA Conc.(ng/ul):\_\_\_\_\_\_\_\_\_

Test Date:\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Tested By:\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Review Date:\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Reviewed By:\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ \_

*Interpretation:\_\_\_\_\_\_\_\_\_\_\_ Failed lanes: \_\_\_\_\_\_\_\_\_\_\_ Comments:\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_*

**Gel Picture**

|  |
| --- |
| PHOTO DOCUMENT |

‘ICB’ Internal Control Band,

‘AmpS’ Amplicon Size

**Notes:**

Product sizes are approximate. For detailed information, see the lot-specific Specificity Table and Interpretation Table.

This table is intended as a guide. For interpretation always use the Interpretation Table and/or Specificity Table.

HLA-specific PCR products shorter than 125 base pairs have a lower intensity and are less sharp than longer PCR products.

Primer mixes 9, 27, 43 and 47 may give rise to a lower yield of HLA-specific PCR product than the other DPB1 primer mixes.

Primer mixes 26, 41 and 80 have a tendency to giving rise to primer oligomer formation.

Primer mixes 15, 23, 25, 27, 32, 41, 42, 44, 45, 49, 50, 62, 68, 77, 84 and 93 may have tendencies of unspecific amplifications.

Primer mixes 12, 23, 25, 32, 41, 42, 44, 45, 49, 62, 68, 69, 79 and 93 may have tendencies of unspecific amplifications.

Primer mix 96 contains a negative control, which will amplify more than 95% of HLA amplicons as well as the amplicons generated by the control primer pairs matching the human growth hormone gene. HLA-specific PCR product sizes range from 75 to 200 base pairs and the PCR product generated by the HGH positive control primer pair is 430 base pairs.

 



 













**1**DPB1 alleles listed on the IMGT/HLA web page 2016-October-14, release 3.26.0, [www.ebi.ac.uk/imgt/hla](http://www.ebi.ac.uk/imgt/hla).

**2**Alleles that have been deleted from or renamed in the official WHO HLA Nomenclature up to and including the last IMGT/HLA database release can be retrieved from web page <http://hla.alleles.org/alleles/deleted.html>.

**3** The following DBP1 primer mixes have two or more product sizes:

|  |  |  |
| --- | --- | --- |
| Primer Mix | Size of spec. PCR product1 | Amplified DPB1alleles3 |
| **11** | 145 bp185 bp | \*69:01, 136:01, 179:01, 207:01, 303:01, 309:01, 322:01, 458:01\*02:01:02-02:01:19, 04:01:01:01-04:01:06, 04:01:08-04:01:10, 04:01:12-04:02:08, 23:01:01-23:01:02, 24:01, 32:01, 33:01, 41:01:01-41:01:02, 46:01:01-46:01:02, 47:01, 51:01, 59:01, 60:01, 66:01, 71:01:01-71:01:02, 72:01, 73:01, 75:01, 77:01, 80:01, 81:01, 82:01, 83:01, 86:01, 94:01, 99:01, 105:01, 108:01, 109:01, 113:01, 115:01, 119:01, 120:01N, 121:01, 123:01, 126:01, 128:01, 129:01, 134:01, 138:01, 141:01, 143:01, 144:01, 145:01, 146:01, 149:01, 151:01, 153:01, 154:01N, 155:01:01-155:01:02, 163:01, 164:01, 169:01, 174:01, 175:01, 176:01, 177:01, 178:01, 179:01, 180:01, 181:01, 183:01, 185:01, 186:01, 187:01, 188:01, 189:01, 190:01, 191:01, 192:01, 193:01, 194:01, 195:01, 196:01, 199:01, 200:01, 210:01, 211:01, 212:01, 213:01, 214:01, 215:01, 216:01N, 217:01, 218:01N, 219:01, 224:01, 225:01, 227:01, 228:01, 229:01, 231:01, 232:01, 233:01, 235:01, 236:01:01-236:01:02, 237:01, 238:01, 239:01, 240:01, 252:01, 253:01, 254:01, 255:01, 256:01, 257:01, 258:01, 260:01, 261:01, 262:01, 263:01, 271:01, 272:01, 273:01, 275:01, 276:01, 278:01, 281:01, 282:01, 283:01, 286:01, 294:01, 297:01, 298:01, 302:01, 303:01, 306:01, 307:01, 308:01, 309:01, 310:01, 311:01, 318:01, 319:01, 320:01, 321:01, 322:01, 323:01, 334:01, 335:01, 336:01, 338:01, 339:01, 341:01, 342:01, 344:01, 350:01, 352:01, 355:01, 356:01, 357:01N, 359:01, 360:01, 364:01, 365:01, 366:01, 367:01, 368:01, 369:01, 372:01, 373:01, 374:01, 375:01, 376:01, 377:01, 378:01, 380:01, 381:01, 382:01N, 392:01, 396:01, 397:01, 399:01, 401:01N, 402:01, 414:01, 415:01, 416:01, 418:01, 419:01, 420:01, 421:01, 423:01:01-423:01:02, 424:01, 425:01, 426:01, 427:01, 428:01, 429:01, 430:01, 432:01, 433:01, 434:01, 435:01, 443:01, 444:01, 451:01, 452:01, 453:01, 455:01N, 456:01, 457:01, 459:01, 461:01, 463:01, 464:01, 465:01, 468:01, 469:01, 475:01, 476:01, 477:01, 479:01, 485:01, 486:01, 487:01, 488:01, 489:01, 494:01, 497:01, 500:01, 501:01, 502:01, 508:01, 510:01, 511:01, 520:01, 521:01, 522:01, 523:01, 524:01, 525:01, 528:01, 529:01, 534:01, 537:01, 539:01, 540:01, 549:01, 551:01N, 553:01, 554:01, 555:01, 556:01, 557:01, 559:01, 569:01, 570:01N, 571:01, 574:01, 575:01, 576:01, 577:01, 578:01, 579:01, 581:01, 582:01, 583:01, 586:01, 591:01, 592:01, 593:01, 594:01, 595:01, 596:01, 601:01, 602:01, 603:01, 604:01, 605:01, 606:01, 607:01 |
| **14** | 105 bp 175 bp | \*02:02, 05:01:01-05:01:02, 05:01:04-05:01:07, 21:01, 22:01, 36:01, 38:01, 97:01, 100:01, 101:01, 114:01, 135:01, 140:01, 170:01, 171:01, 223:01, 226:01, 300:01, 301:01, 317:01, 330:01, 331:01, 395:01, 406:01, 473:01, 478:01, 495:01, 496:01, 547:01, 550:01, 560:01, 573:01, 587:01, 588:01, 589:01, 590:01, 598:01N, 611:01\*21:01, 30:01, 36:01, 54:01, 114:01, 390:01, 408:01, 550:01 |
| **16** | 80 bp165 bp 210 bp | \*03:01:01-03:01:08, 04:02:01:01-04:02:01:02, 04:02:02-04:02:08, 14:01:01-14:01:03, 18:01, 20:01:01-20:01:03, 25:01, 28:01, 35:01:01-35:01:02, 45:01, 49:01, 50:01, 51:01, 53:01, 57:01, 59:01, 60:01, 61:01N, 68:01, 70:01, 73:01, 75:01, 76:01, 77:01, 78:01, 79:01, 80:01, 82:01, 83:01, 91:01, 92:01, 98:01, 104:01, 105:01, 108:01, 111:01, 116:01, 119:01, 122:01, 124:01, 129:01, 130:01, 132:01, 143:01, 144:01, 153:01, 164:01, 183:01, 184:01, 185:01, 197:01, 203:01, 210:01, 214:01, 219:01, 221:01, 222:01, 242:01, 243:01, 248:01, 252:01, 256:01, 257:01, 259:01, 260:01, 263:01, 270:01, 271:01, 274:01, 285:01, 286:01, 292:01, 293:01, 296:01, 307:01, 308:01, 312:01, 316:01, 321:01, 329:01, 338:01, 342:01, 351:01, 355:01, 363:01, 364:01, 365:01, 368:01, 369:01, 373:01, 374:01, 379:01, 380:01, 383:01, 385:01, 391:01, 394:01, 402:01, 404:01, 405:01, 409:01, 420:01, 424:01, 429:01, 431:01, 439:01, 442:01, 443:01, 445:01, 446:01, 463:01, 466:01, 472:01, 477:01, 484:01w, 488:01, 491:01, 492:01, 494:01, 498:01, 499:01, 506:01, 507:01N, 508:01, 509:01, 525:01, 532:01, 536:01, 539:01, 540:01, 545:01, 548:01, 549:01w, 568:01, 571:01, 572:01, 574:01, 577:01, 586:01, 594:01, 595:01, 596:01, 605:01, 606:01, 610:01\*99:01, 220:01\*127:01 |
| **23** | 145 bp  210 bp | \*05:01:01-05:01:07, 34:01, 36:01, 38:01, 62:01, 63:01, 97:01, 100:01, 112:01, 114:01, 116:01, 135:01, 140:01, 170:01, 171:01, 223:01, 226:01, 300:01, 301:01, 317:01, 330:01, 331:01, 333:01, 394:01, 395:01, 473:01, 484:01, 495:01, 560:01, 573:01, 580:01, 587:01, 589:01, 598:01N, 599:01, 611:01\*127:01, 383:01 |
| **24** | 195 bp 265 bp | \*101:01\*05:01:01-05:01:07, 08:01, 16:01:01-16:01:02, 19:01, 22:01, 31:01, 38:01, 57:01, 63:01, 65:01:01-65:01:02, 68:01, 84:01, 97:01, 102:01, 103:01, 106:01, 135:01, 140:01, 147:01, 150:01, 152:01, 165:01, 166:01, 170:01, 171:01, 173:01, 182:01, 184:01, 226:01, 234:01, 259:01, 277:01, 284:01, 285:01, 300:01, 301:01, 304:01, 305:01, 317:01, 331:01, 337:01, 340:01, 358:01, 379:01, 395:01, 398:01, 400:01, 422:01, 442:01, 466:01, 473:01, 495:01, 527:01, 533:01, 535:01, 538:01, 558:01, 560:01, 573:01, 587:01, 588:01, 598:01N, 611:01 |
| **25** | 200 bp 265 bp | \*05:01:01-05:01:07, 21:01, 22:01, 36:01, 38:01, 44:01, 58:01, 63:01, 97:01, 114:01, 135:01, 140:01, 170:01, 171:01, 220:01, 223:01, 226:01, 265:01, 300:01, 301:01, 317:01, 331:01, 384:01, 394:01, 395:01, 473:01, 495:01, 550:01, 560:01, 563:01, 573:01, 587:01, 588:01, 598:01N, 599:01, 611:01\*70:01 |
| **26** | 75 bp 205 bp | \*06:01:01-06:01:03, 09:01:01-09:01:04, 17:01, 29:01, 44:01, 46:01:01-46:01:02, 64:01N, 86:01, 88:01, 101:01, 131:01, 152:01, 156:01, 157:01, 161:01N, 166:01, 168:01, 182:01, 208:01, 234:01, 235:01, 241:01, 245:01, 249:01, 251:01, 266:01, 287:01, 288:01, 289:01, 332:01, 343:01, 361:01, 384:01, 386:01, 407:01, 413:01, 447:01, 460:01, 504:01, 505:01, 530:01, 546:01, 555:01, 566:01, 567:01, 581:01, 601:01\*123:01 |
| **27** | 95 bp215 bp235 bp | \*06:01:01-06:01:03, 17:01, 20:01:01-20:01:03, 46:01:01-46:01:02, 64:01N, 69:01, 80:01, 86:01, 91:01, 98:01, 108:01, 130:01, 131:01, 152:01, 156:01, 161:01N, 164:01, 166:01, 168:01, 182:01, 197:01, 205:01, 208:01, 214:01, 235:01, 241:01, 245:01, 251:01, 259:01, 287:01, 292:01, 332:01, 343:01, 355:01, 361:01, 379:01, 384:01, 407:01, 413:01, 447:01, 460:01, 484:01, 530:01, 540:01, 546:01, 555:01, 566:01, 567:01, 581:01, 601:01\*169:01, 252:01, 582:01\*15:01:01, 18:01, 89:01, 158:01, 198:01, 199:01, 200:01, 219:01, 246:01, 247:01, 290:01, 292:01, 345:01, 347:01, 369:01, 387:01, 471:01, 480:01, 482:01, 493:01, 561:01, 585:01, 608:01 |
| **28** | 200 bp 260 bp | \*09:01:01-09:01:04, 10:01:01-10:01:03, 13:01:01-13:01:02, 17:01, 21:01, 26:01:01-26:01:03, 27:01, 30:01, 35:01:01-35:01:02, 36:01, 37:01, 54:01, 55:01, 58:01, 66:01, 79:01, 85:01, 86:01, 88:01, 93:01, 98:01, 107:01, 109:01, 110:01, 113:01, 117:01, 125:01, 129:01, 131:01, 132:01, 133:01, 137:01, 156:01, 157:01, 160:01, 168:01, 206:01, 209:01, 241:01, 244:01, 245:01, 251:01, 265:01, 269:01, 271:01, 287:01, 288:01, 289:01, 294:01, 295:01, 312:01, 313:01, 314:01, 324:01, 325:01, 343:01, 344:01, 361:01, 362:01, 370:01, 384:01, 386:01, 389:01, 390:01, 392:01, 393:01, 407:01, 408:01, 410:01, 412:01, 413:01, 438:01, 447:01, 448:01, 449:01, 460:01, 470:01, 490:01, 503:01, 504:01, 505:01, 514:01, 515:01, 518:01, 519:01, 530:01, 532:01, 540:01, 541:01, 544:01, 550:01, 562:01, 563:01, 564:01, 565:01, 597:01, 600:01, 609:01, 612:01\*119:01 |
| **29** | 105 bp220 bp | \*141:01\*09:01:01-09:01:04, 10:01:01-10:01:03, 17:01, 30:01, 54:01, 55:01, 58:01, 86:01, 113:01, 131:01, 137:01, 156:01, 157:01, 167:01, 168:01, 241:01, 245:01, 265:01, 266:01, 287:01, 288:01, 289:01, 313:01, 314:01, 324:01, 325:01, 343:01, 344:01, 361:01, 384:01, 386:01, 407:01, 408:01, 410:01, 447:01, 460:01, 470:01, 503:01, 504:01, 505:01, 514:01, 515:01, 530:01 |
| **31** | 120 bp215 bp | \*01:01:01-01:01:06, 05:01:01-05:01:02, 05:01:04-05:01:07, 08:01, 10:01:01-10:01:02, 11:01:01-11:01:04, 13:01:01-13:01:02, 16:01:01-16:01:02, 19:01, 21:01, 22:01, 25:01, 26:01:01-26:01:03, 27:01, 30:01, 31:01, 36:01, 37:01, 38:01, 45:01, 52:01, 54:01, 55:01, 56:01, 58:01, 63:01, 65:01:01-65:01:02, 67:01, 68:01, 79:01, 84:01, 85:01, 87:01, 89:01, 90:01:01-90:01:02, 93:01, 97:01, 102:01, 103:01, 106:01, 107:01, 110:01, 114:01, 118:01, 122:01, 125:01, 127:01, 133:01, 135:01, 136:01, 137:01, 140:01, 142:01, 147:01, 150:01, 159:01N, 162:01, 165:01, 167:01, 170:01, 171:01, 173:01, 184:01, 201:01, 202:01, 204:01, 206:01, 207:01, 209:01, 220:01, 223:01, 226:01, 244:01, 246:01, 247:01, 250:01, 264:01, 265:01, 267:01, 268:01, 269:01, 277:01, 284:01, 285:01, 291:01, 295:01, 300:01, 301:01, 304:01, 305:01, 312:01, 313:01, 314:01, 315:01, 316:01, 317:01, 324:01, 325:01, 326:01, 327:01, 328:01N, 331:01, 337:01, 340:01, 346:01, 348:01:01-348:01:02, 349:01, 353:01, 358:01, 362:01, 370:01, 371:01, 388:01, 389:01, 390:01, 393:01, 395:01, 398:01, 400:01, 403:01N, 408:01, 410:01, 411:01, 412:01, 417:01, 422:01, 436:01, 437:01, 438:01, 448:01, 449:01, 450:01N, 458:01, 462:01, 466:01, 470:01, 473:01, 481:01, 483:01, 490:01, 495:01, 503:01, 514:01, 515:01, 516:01, 517:01, 518:01, 519:01, 527:01, 532:01, 533:01, 535:01, 538:01, 542:01, 543:01, 544:01, 550:01, 552:01, 558:01, 560:01, 562:01, 563:01, 564:01, 565:01, 573:01, 587:01, 588:01, 597:01, 598:01N, 599:01, 600:01, 608:01, 609:01, 611:01, 612:01\*222:01 |
| **32** | 75 bp 200 bp260 bp | \*78:01\*11:01:01-11:01:04, 130:01, 147:01, 202:01, 203:01, 204:01, 205:01, 250:01, 264:01, 268:01, 328:01N, 343:01, 353:01, 370:01, 388:01, 389:01, 405:01, 450:01N, 517:01\*223:01, 293:01 |
| **33** | 105 bp140 bp195 bp | \*76:01, 92:01, 156:01, 203:01, 205:01, 214:01, 215:01, 287:01, 288:01, 355:01, 363:01, 385:01, 442:01, 536:01, 555:01, 566:01\*13:01:01-13:01:02, 33:01, 81:01, 107:01, 110:01, 117:01, 133:01, 156:01, 160:01, 172:01, 173:01, 198:01, 206:01, 229:01, 246:01, 247:01, 269:01, 277:01, 287:01, 288:01, 302:01, 304:01, 305:01, 362:01, 389:01, 393:01, 438:01, 449:01, 470:01, 474:01, 503:01, 514:01, 518:01, 519:01, 544:01, 555:01, 561:01, 564:01, 565:01, 566:01, 597:01, 600:01, 609:01, 612:01\*123:01, 178:01, 218:01N |
| **37** | 160 bp185 bp  | \*13:01:01-13:01:02, 107:01, 110:01, 133:01, 160:01, 173:01, 246:01, 269:01, 278:01, 304:01, 362:01, 389:01, 393:01, 412:01, 449:01, 503:01, 518:01, 519:01, 538:01, 544:01, 564:01, 565:01, 597:01, 600:01, 612:01\*15:01:01-15:01:02, 28:01, 40:01, 53:01, 74:01, 139:01, 198:01, 290:01, 296:01, 299:01, 345:01, 387:01, 471:01, 482:01, 493:01, 499:01, 512:01, 585:01 |
| **38** | 95 bp180 bp | \*23:01:01-23:01:02, 34:01, 52:01, 55:01, 58:01, 62:01, 63:01, 67:01, 71:01:01-71:01:02, 87:01, 95:01, 103:01, 112:01, 121:01, 138:01, 201:01, 209:01, 244:01, 295:01, 314:01, 322:01, 325:01, 333:01, 340:01, 371:01, 392:01, 435:01, 451:01, 458:01, 563:01, 576:01, 580:01, 599:01\*57:01?, 185:01, 186:01, 243:01, 611:01 |
| **40** | 180 bp230 bp | \*30:01, 54:01, 408:01\*14:01:01-14:01:03, 35:01:01, 45:01, 66:01, 67:01, 76:01, 91:01, 98:01, 119:01, 125:01, 129:01, 197:01, 242:01, 243:01, 244:01, 312:01, 383:01, 385:01, 409:01, 445:01, 446:01, 490:01, 491:01, 492:01, 498:01, 503:01, 530:01, 540:01, 572:01 |
| **41** | 75 bp225 bp250 bp 280 bp | \*77:01, 245:01, 559:01\*154:01N\*31:01, 34:01, 94:01, 176:01, 484:01, 493:01, 575:01, 580:01\*134:01, 177:01 |
| **42** | 140 bp 185 bp210 bp 245 bp 285 bp | \*97:01\*32:01\*176:01, 180:01\*128:01\*82:01, 301:01, 339:01, 400:01 |
| **44** | 115 bp155 bp185 bp210 bp 240 bp 270 bp | \*99:01, 118:01, 220:01, 437:01, 453:01, 521:01 \*38:01\*111:01, 118:01, 120:01N, 437:01\*220:01\*38:01, 241:01\*64:01N |
| **45** | 120 bp160 bp 190 bp 240 bp  | \*46:01:01-46:01:02, 80:01, 86:01, 108:01, 164:01, 214:01, 235:01, 254:01, 332:01, 355:01, 508:01, 540:01, 555:01, 581:01, 601:01\*253:01\*39:01, 49:01, 96:01, 117:01, 158:01, 172:01, 354:01:01-354:01:02, 440:01, 441:01, 474:01, 480:01, 531:01, 561:01, 584:01\*115:01, 240:01 |
| **46** | 75 bp 210 bp | \*41:01:01-41:01:02, 60:01, 69:01, 83:01, 136:01, 204:01, 205:01, 229:01, 309:01, 581:01\*41:01:01-41:01:02, 60:01, 83:01, 96:01, 147:01, 179:01, 229:01, 299:01, 303:01, 309:01, 322:01, 581:01 |
| **47** | 165 bp 215 bp | \*44:01, 114:01, 265:01, 394:01, 495:01, 599:01\*140:01 |
| **48** | 115 bp 210 bp 280 bp | \*56:01, 66:01, 76:01, 92:01, 110:01, 125:01, 156:01, 207:01, 288:01, 294:01, 470:01, 566:01\*61:01N\*85:01, 515:01 |
| **49** | 95 bp135 bp210 bp | \*149:01\*198:01, 290:01, 343:01, 354:01:01-354:01:02, 370:01, 375:01, 387:01, 389:01\*143:01, 251:01, 552:01 |
| **50** | 160 bp210 bp | \*144:01, 146:01, 542:01\*01:01:01-01:01:02, 01:01:04-01:01:06, 18:01, 89:01, 90:01:01-90:01:02, 118:01, 122:01, 127:01, 158:01, 159:01N, 162:01, 198:01, 199:01, 200:01, 201:01, 220:01, 246:01, 247:01, 248:01, 249:01, 267:01, 290:01, 291:01, 292:01, 315:01, 316:01, 326:01, 327:01, 346:01, 347:01, 369:01, 387:01, 403:01N, 417:01, 436:01, 440:01, 462:01, 481:01, 483:01, 536:01, 542:01, 543:01, 561:01, 599:01, 608:01 |
| **51** | 170 bp225 bp | \*145:01, 382:01N\*452:01, 570:01N |
| **52** | 130 bp160 bp215 bp | \*151:01\*511:01\*165:01, 289:01, 452:01, 570:01N |
| **53** | 90 bp155 bp180 bp205 bp | \*157:01, 321:01\*221:01, 501:01\*242:01, 391:01, 467:01\*153:01 |
| **54** | 115 bp185 bp210 bp | \*161:01N, 505:01, 507:01N, 546:01\*160:01, 454:01\*159:01N, 328:01N |
| **55** | 135 bp165 bp190 bp | \*155:01:01-155:01:02\*382:01N, 511:01\*115:01, 218:01N, 393:01 |
| **56** | 150 bp180 bp230 bp | \*174:01\*84:01, 148:01\*170:01, 239:01, 260:01, 487:01 |
| **61** | 145 bp225 bp | \*168:01\*459:01 |
| **63** | 210 bp245 bp275 bp | \*183:01, 319:01\*216:01N\*57:01?, 280:01, 356:01, 539:01 |
| **64** | 160 bp205 bp | \*217:01, 256:01, 475:01\*226:01, 232:01 |
| **65** | 165 bp240 bp | \*181:01, 257:01, 258:01, 475:01\*238:01 |
| **66** | 185 bp235 bp280 bp | \*276:01, 418:01, 432:01\*239:01, 260:01, 487:01\*57:01?, 356:01, 455:01N, 539:01 |
| **68** | 170 bp200 bp265 bp | \*228:01, 334:01, 594:01\*191:01, 192:01, 310:01, 342:01\*109:01, 117:01, 158:01, 164:01, 199:01, 200:01, 271:01, 294:01, 369:01, 392:01, 440:01, 480:01, 508:01, 531:01, 561:01, 601:01 |
| **69** | 180 bp250 bp | \*227:01, 228:01\*210:01, 211:01, 240:01, 272:01 |
| **70** | 75 bp115 bp165 bp205 bp260 bp | \*476:01\*551:01N\*253:01, 286:01, 334:01, 594:01\*262:01, 263:01\*196:01, 596:01 |
| **71** | 140 bp180 bp260 bp | \*208:01, 250:01\*315:01\*268:01 |
| **72** | 145 bp175 bp255 bp | \*327:01\*270:01\*267:01, 293:01, 393:01 |
| **73** | 170 bp190 bp | \*231:01\*18:01, 28:01, 139:01, 178:01, 230:01, 279:01, 280:01, 292:01, 296:01, 347:01, 431:01, 489:01, 499:01, 512:01, 526:01 |
| **74** | 165 bp215 bp | \*255:01, 274:01, 374:01\*252:01, 273:01, 582:01 |
| **76** | 120 bp180 bp220 bp250 bp | \*215:01\*283:01, 359:01, 423:01:01-423:01:02, 577:01\*193:01\*225:01 |
| **77** | 120 bp175 bp220 bp260 bp | \*215:01\*275:01, 488:01, 557:01\*194:01, 360:01\*311:01, 368:01 |
| **78** | 145 bp180 bp220 bp255 bp | \*282:01\*318:01, 485:01\*195:01, 424:01, 510:01\*224:01 |
| **79** | 75 bp115 bp170 bp245 bp | \*476:01\*551:01N\*275:01, 283:01, 359:01, 396:01, 577:01\*212:01, 224:01 |
| **80** | 160 bp250 bp | \*213:01, 282:01, 286:01, 396:01, 433:01, 488:01, 557:01\*225:01 |
| **81** | 65 bp95 bp145 bp180 bp205 bp260 bp285 bp | \*591:01\*276:01\*250:01\*202:01, 230:01, 313:01\*281:01, 472:01\*268:01 \*472:01 |
| **83** | 160 bp215 bp | \*04:01:01:01-04:01:32, 11:01:01-11:01:04, 15:01:01-15:01:02, 24:01, 27:01, 28:01, 31:01, 33:01, 39:01, 40:01, 49:01, 51:01, 53:01, 66:01, 72:01, 74:01, 81:01, 85:01, 89:01, 96:01, 99:01, 102:01, 117:01, 120:01N, 121:01, 126:01, 139:01, 147:01, 149:01, 156:01, 158:01, 169:01, 172:01, 174:01, 175:01, 176:01, 177:01, 178:01, 179:01, 180:01, 181:01, 192:01, 193:01, 194:01, 195:01, 198:01, 199:01, 202:01, 204:01, 205:01, 206:01, 207:01, 212:01, 213:01, 214:01, 215:01, 224:01, 225:01, 228:01, 229:01, 230:01, 232:01, 240:01, 247:01, 250:01, 253:01, 254:01, 255:01, 262:01, 264:01, 268:01, 272:01, 275:01, 276:01, 277:01, 279:01, 280:01, 281:01, 282:01, 283:01, 287:01, 290:01, 294:01, 296:01, 298:01, 299:01, 302:01, 303:01, 305:01, 319:01, 320:01, 323:01, 328:01N, 334:01, 335:01, 336:01, 337:01, 341:01, 345:01, 348:01:01-348:01:02, 350:01, 354:01:01-354:01:02, 355:01, 356:01, 357:01N, 360:01, 370:01, 372:01, 375:01, 376:01, 378:01, 387:01, 388:01, 396:01, 397:01, 398:01, 399:01, 415:01, 418:01, 425:01, 426:01, 427:01, 428:01, 434:01, 437:01, 450:01N, 453:01, 454:01, 455:01N, 456:01, 459:01, 464:01, 465:01, 468:01, 471:01, 474:01, 475:01, 476:01, 479:01, 480:01, 482:01, 485:01, 486:01, 487:01, 493:01, 512:01, 517:01, 520:01, 521:01, 522:01, 523:01, 524:01, 529:01, 531:01, 534:01, 553:01, 554:01, 555:01, 556:01, 559:01, 561:01, 566:01, 569:01, 574:01, 575:01, 578:01, 583:01, 584:01, 585:01, 591:01, 592:01, 593:01, 607:01\*169:01 |
| **84** | 165 bp200 bp260 bp | \*181:01\*180:01, 418:01, 432:01\*177:01, 186:01, 338:01 |
| **85** | 110 bp190 bp260 bp285 bp | \*572:01\*175:01, 419:01, 429:01, 498:01\*171:01\*08:01?, 34:01?, 38:01?, 48:01?, 49:01?, 53:01?, 57:01?, 60:01?, 62:01?, 63:01?, 71:01:01?, 72:01?, 73:01?, 75:01?, 102:01?, 237:01, 585:01 |
| **86** | 125 bp170 bp195 bp225 bp | \*190:01\*485:01\*354:01:01-354:01:02, 375:01, 480:01, 531:01\*360:01 |
| **87** | 145 bp230 bp | \*327:01\*329:01 |
| **90** | 80 bp215 bp | \*571:01\*415:01, 534:01 |
| **91** | 145 bp220 bp | \*464:01, 535:01\*534:01 |
| **92** | 115 bp165 bp230 bp | \*403:01N\*445:01\*533:01 |
| **93** | 225 bp255 bp | \*404:01, 598:01N\*450:01N |
| **94** | 160 bp190 bp240 bp270 bp | \*01:01:01-01:01:04, 01:01:06, 26:01:01-26:01:03, 56:01, 65:01:01-65:01:02, 76:01, 90:01:01-90:01:02, 92:01, 118:01, 122:01, 125:01, 127:01, 142:01, 150:01, 159:01N, 162:01, 203:01, 220:01, 267:01, 288:01, 291:01, 306:01, 315:01, 326:01, 327:01, 346:01, 363:01, 377:01, 385:01, 403:01N, 411:01, 417:01, 436:01, 440:01, 442:01, 462:01, 470:01, 481:01, 483:01, 490:01, 499:01, 514:01, 516:01, 536:01, 542:01, 543:01, 562:01, 609:01\*454:01\*08:01, 57:01, 65:01:01-65:01:02, 68:01, 73:01, 75:01, 84:01, 150:01, 188:01, 234:01, 285:01, 306:01, 377:01, 442:01, 499:01\*454:01 |
| **95** | 140 bp220 bp | \*13:01:01-13:01:02, 107:01, 117:01, 133:01, 160:01, 172:01, 173:01, 198:01w, 206:01, 246:01, 247:01, 269:01, 287:01, 362:01, 389:01w, 393:01, 438:01, 441:01, 449:01, 474:01, 503:01, 514:01, 518:01, 519:01, 544:01, 561:01, 564:01, 565:01, 597:01, 600:01, 609:01, 612:01\*06:01:01-06:01:03, 13:01:01-13:01:02, 21:01, 29:01, 37:01, 44:01,88:01, 93:01, 107:01, 109:01, 110:01, 117:01, 133:01, 160:01, 161:01N, 198:01, 200:01, 206:01, 208:01, 246:01, 247:01, 249:01, 269:01, 295:01, 347:01, 349:01, 362:01, 371:01, 389:01, 393:01, 413:01, 438:01, 448:01, 449:01, 518:01, 519:01, 544:01, 546:01, 550:01, 561:01, 563:01, 564:01, 565:01, 566:01, 567:01, 597:01, 600:01, 601:01, 608:01, 609:01, 612:01 |

**4**The following DPB1 alleles can be distinguished by the different sizes of the HLA-specific PCR product:

|  |  |  |  |
| --- | --- | --- | --- |
| **Alleles** | **Primer mix** | **Alleles** | **Primer mix** |
| DPB1\*32:01, 339:01 | 42 | DPB1\*153:01, 321:01 | 53 |
| DPB1\*78:01, 405:01 | 32 | DPB1\*237:01, 419:01 | 85 |
| DPB1\*120:01N, 453:01, 521:01 | 44 | DPB1\*250:01, 268:01 | 71 |

‘w’, might be weakly amplified.

‘?’, nucleotide sequence information not available for the primer matching sequence.

Change in revision R01 compared to R00:

1. Primer mix 10 amplifies the DPB1\*02:01:04, 02:01:09, 46:01:02, 71:01:02 and 366:01 alleles weakly. Primer mix 12 does not amplify the DPB1\*02:01:04 and 46:01:02 alleles, and amplifies the 02:01:09, 366:01 and 410:01 alleles weakly. This has been corrected in the Specificity and Interpretation Tables.

Change in revision R02 compared to R01:

1. Primer mixes 15, 27 and 77 may have tendencies of unspecific amplifications. A footnote has been added in the Specificity Table.

Change in revision R03 compared to R02:

1. Primer mix 53 does not amplify the \*163:01 allele. This has been corrected in the Specificity and Interpretation Tables.