Gel Documentation Form and Worksheet

DQ-DR Combi Tray	Lot No: 78V	Expiry Date: 2016-December-01

(101.704-48/12, -48u/12u)

Name:________________

Sample ID:_______________

DNA Conc.(ng/ul):________

Test  Date: ______________

Tested By: ______________

Review Date:_______________

Reviewed By:______________ _

Gel Picture

PHOTO DOCUMENT

DQ low resolution

DR low resolution

‘ICB’ Internal Control Band,

‘AmpS’ Amplicon Size

Interpretation:_______________

Failed lanes:    _________

Comments:    ___________________

Notes:

Product sizes are approximate. For detailed information, see the lot-specific Specificity Table and Interpretation Table.

This table is intended as a guide. For interpretation always use the Interpretation Table and/or Specificity Table.

Specific PCR fragments shorter than 125 base pairs have a lower intensity and are less sharp than longer PCR bands.

Individual alleles can give to rise to two differently sized specific PCR fragments in primer mixes 9, 11, 13 to 19, 21 to 29..

Due to sharing of sequence motifs in codon 38, DRB3*01:14 will also be amplified in primer mixes 13, 14 and 25 in addition to primer mix 29.

The primer pair in well 7 will in some samples give rise to two HLA-specific PCR fragments and may give rise to a lower yield of HLA-specific PCR product than the other DQ low primer mixes.

Primer mixes 4 to 6 and 8 may give rise to a lower yield of HLA-specific PCR product than the other DQ low primer mixes.

Primer mix 6, 7, 9, 16, 23, 24, 28 and 30 may have a tendency to giving rise to primer oligomer formation.

Primer mix 27 has a tendency of giving rise to primer oligomer formation and also has an intense primer cloud due to the high number of primers present in the primer mix.

Primer mixes 11 and 12 may have a tendency of unspecific amplification.

The DRB4*01:03:01:02N allele is amplified by primer mix 30, whereas the DRB4*02:01N and DRB4*03:01N null alleles are not amplified by this primer pair.

Primer mix 32 contains a negative control, which will amplify more than 95% of HLA amplicons as well as the amplicons generated by control primer pairs. PCR product sizes range from 75 to 200 base pairs. The PCR product generated by the control primer pair is 430 base pairs.

DQ low resolution Interpretation Table

1DQB1 alleles listed on the IMGT/HLA web page 2014-January-17, release 3.15.0, www.ebi.ac.uk/imgt/hla.

2Alleles that have been deleted from or renamed in the official WHO HLA Nomenclature up to and including the last IMGT/HLA database release can be retrieved from web page http://hla.alleles.org/alleles/deleted.html.

3The serological reactivity of all DQ alleles is not known. In this table we use the expert-assigned serological grouping in Tissue Antigens (2009) 73:95-170 and the serological grouping of the sequence-defined allele. The DQB1*03:10 allele has been assigned type DQ7 by NMDP.

‘w’, might be weakly amplified.

DR low resolution Interpretation Table

1DRB alleles listed on the IMGT/HLA web page 2014-January-17, release 3.15.0, www.ebi.ac.uk/imgt/hla.

2Alleles that have been deleted from or renamed in the official WHO HLA Nomenclature up to and including the last IMGT/HLA database release can be retrieved from web page http://hla.alleles.org/alleles/deleted.html.

3The serological split of all DRB1 alleles is not known. In this table we use the expert-assigned serological grouping in Tissue Antigens (2009) 73:95-170 and the serological grouping of the sequence-defined allele.

4The DRB1*08:20 and the DRB1*13:18, 13:47 13:55, 13:158 and 13:164 alleles yield identical amplification patterns with the DR low resolution primer set. These alleles can be separated by the respective high resolution primer sets.

The DRB1*08:31, 08:41 and DRB1*11:67 alleles yield identical amplification patterns with the DR low resolution primer set. These alleles can be separated by the respective high resolution primer sets.

The DRB1*13:13, 13:119, 13:154 and 13:156 and the DRB1*14:84, 14:116 and 14:144 alleles yield identical amplification patterns with the DR low resolution primer set. These alleles can be separated by the respective high resolution primer sets.

‘w’, might be weakly amplified.

‘?’, nucleotide sequence information not available for the primer matching sequence.