Gel Documentation Form and Worksheet

DQA-DQB-DR Enhanced SSP Combi Tray	Lot No: 17X	Expiry Date: 2017-April-01

(101.713-24/06 – 24u/06u)

Name:___________________

Sample ID:_______________

DNA Conc.(ng/ul):__________

Test  Date:_______________

Tested By:

Review Date:_________________

Reviewed By:_________________

Interpretation:___________	Failed lanes: ___________                                Comments:_________________

Gel Picture

PHOTO DOCUMENT

DQA1 resolution

DQB1  resolution

DRB  resolution

‘ICB’ Internal Control Band,

‘AmpS’ Amplicon Size

Notes:

Product sizes are approximate. For detailed information, see the lot-specific Specificity Table and Interpretation Table.

This table is intended as a guide. For interpretation always use the Interpretation Table and/or Specificity Table.

DQA1 resolution primer set

Specific PCR products shorter than 125 base pairs have a lower intensity and are less sharp than longer PCR products.

Primer mix 22 may have tendencies of unspecific amplifications.

Primer mixes 3 and 14 may give rise to a lower yield of HLA-specific PCR product than the other DQA1 primer mixes.

DQB1 resolution primer set

Specific PCR products shorter than 125 base pairs have a lower intensity and are less sharp than longer PCR products.

The primer pairs in well 38 will in some samples give rise to two HLA-specific PCR fragments.

Primer mixes 38 and 43 may give a lower yield of HLA-specific PCR products than the other DQB1 primer mixes.

DRB resolution primer set

Specific PCR fragments shorter than 125 base pairs have a lower intensity and are less sharp than longer PCR bands.

Individual alleles can give to rise to two differently sized specific PCR fragments in primer mixes 49, 51, 53 to 56, 58, 59, 61, 62, 66 to 68, 70, 75 and 77.

Primer mixes 49, 67 and 70 have a tendency to giving rise to primer oligomer formation.

Primer mixes 51 and 52 may have tendencies of unspecific amplifications.

Primer mixes 67 and 72 has a tendency of primer oligomer formation and also has an intense primer cloud due to the high number of primers present in the primer mix.

Due to sharing of sequence motifs in codon 38, DRB3*01:14 will also be amplified in primer mixes 53, 54 and 65 in addition to primer mix 85.

The DRB4*01:03:01:02N allele is amplified by primer mixes 66 and 78, whereas the DRB4*02:01N and DRB4*03:01N null alleles are not amplified by this primer pair.

Primer mix 54 may give a lower yield of HLA-specific PCR products than the other DRB primer mixes.

Primer mix 96 contains a negative control, which will amplify more than 95% of HLA amplicons as well as the amplicons generated by the control primer pairs matching the human growth hormone gene. HLA-specific PCR product sizes range from 75 to 200 base pairs and the PCR product generated by the HGH positive control primer pair is 430 base pairs.

DQA1 resolution Interpretation Table

1DQA1, DQB1 and DRB1, DRB3, DRB4 and DRB5  alleles listed on the IMGT/HLA web page 2014-April-14, release 3.16.0, www.ebi.ac.uk/imgt/hla.

2Alleles that have been deleted from or renamed in the official WHO HLA Nomenclature up to and including the last IMGT/HLA database release can be retrieved from web page http://hla.alleles.org/alleles/deleted.html.

‘?’, nucleotide sequence information not available for the primer matching sequence.

DQB1 resolution Interpretation Table

1DQA1, DQB1 and DRB1, DRB3, DRB4 and DRB5  alleles listed on the IMGT/HLA web page 2014-April-14, release 3.16.0, www.ebi.ac.uk/imgt/hla.

2Alleles that have been deleted from or renamed in the official WHO HLA Nomenclature up to and including the last IMGT/HLA database release can be retrieved from web page http://hla.alleles.org/alleles/deleted.html.

3The serological split of the DQB1*05:05 to 05:47, DQB1*06:06 to 06:07, 06:10, 06:13, 06:15 to 06:24 and 06:27 to 06:119, the DQB1*02:04 to 02:39 the DQB1*03:02:02 to 03:02:04, 03:03:03, 03:05:02,  03:07 to 03:09 and 03:11 to 03:138 and the DQB1*04:0301 to 04:22 alleles is not known. The grouping of not serologically defined alleles is taken from the expert-assigned serological grouping in Tissue Antigens (2009) 73:95-170

‘ser’, serological HLA specificity.

‘w’, may be weakly amplified.

‘?’, nucleotide sequence information not available for the primer matching sequence.

DRB resolution Interpretation Table

1DQA1, DQB1 and DRB1, DRB3, DRB4 and DRB5 alleles listed on the IMGT/HLA web page 2014-April-14, release 3.16.0, www.ebi.ac.uk/imgt/hla.

2Alleles that have been deleted from or renamed in the official WHO HLA Nomenclature up to and including the last IMGT/HLA database release can be retrieved from web page http://hla.alleles.org/alleles/deleted.html.

3The serological reactivity of all DRB alleles is not known. The grouping of not serologically defined alleles is taken from Tissue Antigens 73, 95-170, 2009.

4The DRB1, DRB3, DRB4 and DRB5 alleles will be grouped into their corresponding serological specificities, except that following alleles give rise to identical amplification patterns:

Alleles

DRB1*03:11:01, 13:02:02

DRB1*03:76, 13:176

These alleles may be separated by the respective DRB1 high resolution kits.

‘w’, may be weakly amplified.

‘?’, nucleotide sequence information not available for the primer matching sequence.

Change in revision R01 compared to R00:

- Primer mix 53 does not amplify the DRB1*03:11:01, *03:97, *11:53 and *15:100 alleles. This has been corrected in the Specificity and Interpretation Tables.

Change in revision R02 compared to R01:

- Primer mix 69 does not amplify the DRB1*08:14 allele. This has been corrected in the Specificity and Interpretation Tables.