Gel Documentation Form and Worksheet

DQB1 high resolution for frequent alleles

(101.221-12/12u) 	Lot No: 74X	Expiry Date: 2017-July-01

Name:__________________

Sample ID:______________

DNA Conc.(ng/ul):_________

Test  Date:_______________

Tested By:_______________

Review Date:_______________

Reviewed By:_______________

Interpretation:_______________	                     Failed lanes: ____________                            Comments:________________

Gel Picture

PHOTO DOCUMENT

‘ICB’ Internal Control Band,

‘AmpS’ Amplicon Size

Notes:

Product sizes are approximate. For detailed information, see the lot-specific Specificity Table and Interpretation Table.

This table is intended as a guide. For interpretation always use the Interpretation Table and/or Specificity Table.

HLA-specific PCR products shorter than 125 base pairs have a lower intensity and are less sharp than longer PCR products.

Primer mixes 6, 26, 30, 37, 47, 55, 57, 59 and 94 may give rise to a lower yield of HLA-specific PCR product than the other DQB1 primer mixes, most pronounced are primer mixes 26, 55 and 94.

Primer mixes 3, 8, 17, 18, 38, 41, 42, 43, 64 and 71 have a tendency to giving rise to primer oligomer formation.

Primer mixes 2, 10, 12, 18, 20, 21, 31, 33, 35, 36, 38, 39, 42, 43, 51, 75, 77 and 94 may have tendencies of unspecific amplifications.

In primer mixes 14, 17 and 41 the positive control band may be weaker than for other DQB1*high primer mixes, most pronounced in primer mix 41.

Primer mix 96 contains a negative control, which will amplify more than 95% of HLA amplicons as well as the amplicons generated by the control primer pairs matching the human growth hormone gene. HLA-specific PCR product sizes range from 75 to 200 base pairs and the PCR product generated by the HGH positive control primer pair is 430 base pairs.

1DQB1 alleles listed on the IMGT/HLA web page 2013-July-25, release 3.13.1, www.ebi.ac.uk/imgt/hla.

2Alleles that have been deleted from or renamed in the official WHO HLA Nomenclature up to and including the last IMGT/HLA database release can be retrieved from web page http://hla.alleles.org/alleles/deleted.html.

3Primer mix 4: Specific PCR fragment of 140 bp in the DQB1*02:02:01-02:03, 02:06 and 02:10-02:12 alleles. Specific PCR fragment of 185 bp in the DQB1 *03:28 and 03:50 alleles.

Primer mix 5: Specific PCR fragment of 145 bp in the DQB1*02:04 allele. Specific PCR fragment of 180 bp in the DQB1*05:06 and 05:07 alleles.

Primer mix 9: Specific PCR fragment of 175 bp in DQB1*03:05:01-03:05:04, 03:06?-03:08?, 03:11?-03:15?, 03:17:01?-03:18?, 03:19, 03:20?, 03:23?, 03:26?, 03:33?-03:34?, 03:37?, 03:40?, 03:48?, 03:52?-03:72?, 03:74?-03:78?, 03:81?-03:82?, 04:01:01-04:02:04, 04:04-04:17 alleles. Specific PCR fragment of 220 bp in the DQB1*02:01:01-02:33, 03:06-03:08, 03:11-03:12, 03:15, 03:18, 03:20, 03:23, 03:26, 03:33-03:34, 03:37, 03:40, 03:62-03:68, 03:70, 03:74 and 03:81 alleles. Specific PCR fragments of 175 and 220 bp in the DQB1*03:02:01-03:03:07, 03:25, 03:30-03:32, 03:38-03:39, 03:41, 03:43, 03:45, 03:79, 03:85-03:89 and 04:03:01-04:03:02 alleles. Both specific PCR fragments may not be obtained.

Primer mix 10: Specific PCR fragment of 125 bp in the DQB1*02:11 and 02:25 alleles. Specific PCR fragment of 150 bp in the DQB1*02:26, 03:04, 03:14:01-03:14:02 and 03:80 alleles. Specific PCR fragment of 175 bp in the DQB1*03:58 alleles.

Primer mix 11: Specific PCR fragment of 95 bp in the DQB1*03:20 allele. Specific PCR fragment of 135 bp in the DQB1*03:05:01-03:05:04, 03:17:01-03:17:02, 03:53, 03:61, 03:62, 03:72 and 04:09 alleles.

Primer mix 12: Specific PCR fragment of 65 bp in the DQB1*03:40 allele. Specific PCR fragment of 115 bp in the DQB1*03:03:06, 03:06, 03:25 and 04:01:03 alleles. Specific PCR fragment of 135 bp in the DQB1*03:08, 06:02:02 and 06:03:02 alleles. Specific PCR fragment of 195 bp in the DQB1*03:57 alleles.

Primer mix 13: Specific PCR fragment of 110 bp in the DQB1*03:15 allele. Specific PCR fragment of 145 bp in the DQB1*03:07 and 03:16 alleles. Specific PCR fragment of 195 bp in the DQB1*03:54 alleles.

Primer mix 14: Specific PCR fragment of 135 bp in the DQB1*03:09 allele. Specific PCR fragment of 175 bp in the DQB1*03:55 alleles.  Specific PCR fragment of 260 bp in the DQB1*03:11 and 03:26 alleles.

Primer mix 15: Specific PCR fragment of 135 bp in the DQB1*03:10, 03:12, 03:14:01-03:14:02, 03:70, 06:01:01-06:01:10, 06:43, 06:54N-06:58, 06:98 and 06:100-06:105 alleles. Specific PCR fragment of 250 bp in the DQB1*03:27 alleles.

Primer mix 17: Specific PCR fragment of 110 bp in the DQB1*06:23, 06:82 and 06:99 alleles. Specific PCR fragment of 165 bp in the DQB1*02:10, 03:13 and 03:49 alleles. Specific PCR fragment of 205 bp in the DQB1*03:28 and 03:47 alleles. Specific PCR fragment of 300 bp in the DQB1*06:34 allele.

Primer mix 18: Specific PCR fragment of 130 bp in the DQB1*03:24 and 03:79 alleles. Specific PCR fragment of 190 bp in the DQB1*03:60, 06:28, 06:56, 06:79 and 06:89 alleles. Specific PCR fragment of 220 bp in the DQB1*03:18 allele. Specific PCR fragment of 265 bp in the DQB1*06:85 allele.

Primer mix 21: Specific PCR fragment of 125 bp in DQB1*04:11 allele. Specific PCR fragment of 205 bp in DQB1*04:01:01-04:01:04, 04:05-04:08 and 04:14-04:17 alleles.

Primer mix 22: Specific PCR fragment of 140 bp in DQB1*04:14 allele. Specific PCR fragment of 205 bp in DQB1*04:02:01-04:03:01, 04:04 and 04:09-04:13 alleles.

Primer mix 27: Specific PCR fragment of 170 bp in DQB1*03:67 allele. Specific PCR fragment of 210 bp in DQB1*06:01:01-06:02:10, 06:05:02?-06:06?, 06:10-06:11:02, 06:13:01-06:13:02, 06:16, 06:18-06:20, 06:24, 06:29, 06:33, 06:35, 06:37, 06:43, 06:45, 06:47-06:51, 06:53-06:57, 06:68, 06:70-06:84 and 06:95-06:105 alleles.

Primer mix 30: Specific PCR fragment of 105 bp in DQB1*04:15 and 04:16 alleles. Specific PCR fragment of 160 bp in DQB1*03:23, 06:03:01-06:03:03, 06:03:05-06:03:07, 06:04:02, 06:07:01, 06:08:01, 06:09:02, 06:11:01-06:11:02, 06:26N, 06:28, 06:30-06:32, 06:40-06:41, 06:44, 06:59-06:62, 06:64-06:65, 06:67, 06:90-06:92 and 06:94 alleles. Specific PCR fragment of 245 bp in the DQB1*03:06, 03:25 and 04:04-04:05 alleles.

Primer mix 34: Specific PCR fragment of 95 bp in DQB1*05:07 allele. Specific PCR fragment of 125 bp in the DQB1*05:25, 06:04:01-06:05:01, 06:06, 06:08:01-06:09:03, 06:12, 06:17-06:18, 06:21, 06:22:02, 06:27, 06:34, 06:36, 06:38-06:39, 06:42, 06:52, 06:58, 06:69, 06:85-06:86, 06:88-06:89 and 06:93 alleles.

Primer mix 35: Specific PCR fragment of 160 bp in DQB1*03:27, 03:48, 03:87, 06:35 and 06:53 alleles. Specific PCR fragment of 250 bp in the DQB1*03:31, 06:05:01, 06:05:02?-06:06?, 06:20, 06:31 and 06:45  alleles.

Primer mix 36: Specific PCR fragment of 180 bp in DQB1*03:68 allele. Specific PCR fragment of 210 bp in DQB1*06:05:01, 06:05:02?-06:06?, 06:09:01-06:09:03, 06:12, 06:15:01-06:15:02, 06:22:01-06:22:02, 06:42, 06:46, 06:66, 06:88 and 06:94 alleles.

Primer mix 37: Specific PCR fragment of 165 bp in DQB1*05:39 allele. Specific PCR fragment of 190 bp in DQB1*05:21 and 06:06 alleles.

Primer mix 38: Specific PCR fragment of 100 bp in DQB1*05:38, 06:14:01-06:14:02 and 06:69 alleles. Specific PCR fragment of 130 bp in the DQB1*03:01:04, 05:04, 05:08, 05:18, 05:26 and 06:01:10 alleles. Specific PCR fragment of 185 bp in the DQB1*06:10 allele.

Primer mix 39: Specific PCR fragment of 115 bp in the DQB1*03:88 allele. Specific PCR fragment of 170 bp in the DQB1*03:29-03:30, 03:52, 03:72, 04:09, 06:29 and 06:96 alleles. Specific PCR fragment of 195 bp in the DQB1*04:13, 06:13:01-06:13:02, 06:16, 06:22:01-06:22:02, 06:55 and 06:69 alleles.

Primer mix 40: Specific PCR fragment of 95 bp in the DQB1*06:40 allele. Specific PCR fragment of 140 bp in the DQB1*03:21, 05:27 and 05:35 allele. Specific PCR fragment of 195 bp in the DQB1*05:41N allele.

Primer mix 41: Specific PCR fragment of 185 bp in the DQB1*03:45, 06:17, 06:24, 06:30 and 06:42 alleles. Specific PCR fragment of 205 bp in the DQB1*03:22 and 06:38 alleles. Specific PCR fragment of 300 bp in the DQB1*06:52 allele.

Primer mix 42: Specific PCR fragment of 100 bp in the DQB1*03:41, 04:06, 04:12 and 04:16 alleles. Specific PCR fragment of 140 bp in the DQB1*03:66N, 06:10 and 06:25 alleles. Specific PCR fragment of 195 bp in the DQB1*02:08, 03:06, 03:25 and 04:03:01-04:03:02 alleles.

Primer mix 43: Specific PCR fragment of 85 bp in the DQB1*03:59 allele. Specific PCR fragment of 155 bp in the DQB1*02:05 allele. Specific PCR fragment of 240 bp in the DQB1*03:71 allele. Specific PCR fragments of 85 and 110 bp in the DQB1*06:37 allele. Specific PCR fragment of 155 bp and 185 bp in the DQB1*06:100 allele. Specific PCR fragment of 185 bp and 215 bp in the DQB1*06:26N allele. Specific PCR fragment of 240 bp and 270 bp in the DQB1*06:33 allele.

Primer mix 44: Specific PCR fragment of 115 bp in the DQB1*03:42 and 03:89 allele. Specific PCR fragment of 160 bp in the DQB1*06:02:01-06:02:04, 06:02:06-06:02:10, 06:10, 06:13:01, 06:14:01-06:16, 06:20, 06:23-06:24, 06:29, 06:33, 06:37, 06:46-06:51, 06:68, 06:70-06:84 and 06:96-06:97 alleles.

Primer mix 45: Specific PCR fragment of 135 bp in the DQB1*06:07:01-06:07:02, 06:15:01-06:15:02, 06:36, 06:46, 06:66 and 06:92 alleles. Specific PCR fragment of 260 bp in the DQB1*06:85 allele.

Primer mix 46: Specific PCR fragment of 160 bp in the DQB1*06:21 and 06:92 alleles. Specific PCR fragment of 210 bp in the DQB1*06:27, 06:30, 06:32, 06:60 and 06:62 alleles. Specific PCR fragment of 160 and 210 bp in the DQB1*06:03:01-06:03:09, 06:08:01-06:08:02, 06:14:01-06:14:02, 06:28, 06:31, 06:40-06:41, 06:44, 06:59, 06:61, 06:63-06:65, 06:67, 06:87 and 06:90-06:91 alleles (both specific PCR fragments may not be obtained).

Primer mix 47: Specific PCR fragment of 110 bp in the DQB1*03:42 allele. Specific PCR fragment of 155 bp in the DQB1*03:30, 03:72, 03:84N, 04:01:01-04:03:02, 04:06-04:08, 04:10, 04:12-04:14, 04:16-04:17, 05:38, 06:02:05, 06:19 and 06:95 alleles. Specific PCR fragment of 290 bp in the DQB1*06:02:04 and 06:72 alleles.

Primer mix 48: Specific PCR fragment of 170 bp in the DQB1*03:32, 03:43 and 04:07 alleles. Specific PCR fragment of 225 bp in the DQB1*03:85 allele.

Primer mix 49: Specific PCR fragment of 110 bp in the DQB1*03:33, 05:32 and 05:42 alleles. Specific PCR fragment of 155 bp in the DQB1*02:33, 03:35, 05:14 and 06:103 alleles.

Primer mix 50: Specific PCR fragment of 155 bp in the DQB1*03:80 allele.  Specific PCR fragment of 200 bp in the DQB1*03:37-03:38 and 03:46 alleles. Specific PCR fragment of 240 bp in the DQB1*02:14 and 03:34 allele.

Primer mix 51: Specific PCR fragment of 130 bp in the DQB1*03:36, 03:39, 03:53 and 03:62 alleles. Specific PCR fragment of 160 bp in the DQB1*02:10 and 03:49 alleles. Specific PCR fragment of 185 bp in the DQB1*03:51 allele. Specific PCR fragment of 245 bp in the DQB1*02:06, 03:24 and 03:79 alleles. Specific PCR fragment of 270 bp in the DQB1*02:09 allele.

Primer mix 52: Specific PCR fragment of 95 bp in the DQB1*03:06?-03:08?, 03:11?-03:15?, 03:17:01?-03:18?, 03:19, 03:20?, 03:23?, 03:26?, 03:37?, 03:40?, 03:48?, 03:52?-03:71?, 03:74?-03:78?, 03:81?-03:82?, 04:08 alleles. Specific PCR fragment of 210 bp in the DQB1*06:98 allele.

Primer mix 54: Specific PCR fragment of 110 bp in the DQB1*05:17 and 05:23 allele. Specific PCR fragment of 190 bp in the DQB1*05:10, 05:12 and 06:105 alleles.

Primer mix 56: PCR fragment of 100 bp in the DQB1*06:44 and 06:47 alleles. Specific PCR fragment of 220 bp in the DQB1*06:43 allele. Specific PCR fragment of 265 bp in the DQB1*03:83 alleles.

Primer mix 58: Specific PCR fragment of 185 bp in the DQB1*03:56, 05:05:01-05:05:02, 05:11 and 05:28 alleles. Specific PCR fragment of 205 bp in the DQB1*05:30 allele.

Primer mix 59: Specific PCR fragment of 95 bp in the DQB1*03:44 and 05:13 alleles. Specific PCR fragment of 185 bp in the DQB1*06:54N allele. Specific PCR fragment of 230 bp in the DQB1*05:24 allele.

Primer mix 60: Specific PCR fragment of 145 bp in the DQB1*05:40 allele. Specific PCR fragment of 180 bp in the DQB1*05:15 and 05:33 alleles.

Primer mix 61: Specific PCR fragment of 145 bp in the DQB1*05:40 allele. Specific PCR fragment of 210 bp in the DQB1*05:16 and 05:34 alleles.

Primer mix 62: Specific PCR fragment of 135 bp in the DQB1*03:75 allele. Specific PCR fragment of 160 bp in the DQB1*06:95 and 06:97 alleles. Specific PCR fragment of 225 bp in the DQB1*03:30, 03:72, 06:05:02, 06:15:01-06:15:02, 06:22:01-06:22:02, 06:37, 06:48, 06:51 and 06:69 alleles.

Primer mix 63: Specific PCR fragment of 180 bp in the DQB1*06:50 allele. Specific PCR fragment of 220 bp in the DQB1*03:86 allele.

Primer mix 64: Specific PCR fragment of 100 bp in the DQB1*02:16 and 02:21 alleles. Specific PCR fragment of 160 bp in the DQB1*04:17 allele. Specific PCR fragment of 230 bp in the DQB1*02:20N allele.

Primer mix 66: Specific PCR fragment of 135 bp in the DQB1*02:18N and 05:31 alleles. Specific PCR fragment of 165 bp in the DQB1*02:19 allele.

Primer mix 67: Specific PCR fragment of 90 bp in the DQB1*02:15 and 02:27 alleles. Specific PCR fragment of 160 bp in the DQB1*02:30 allele.

Primer mix 68: Specific PCR fragment of 95 bp in the DQB1*02:23, 02:24 and 02:27 alleles. Specific PCR fragment of 175 bp in the DQB1*02:28 alleles.

Primer mix 69: Specific PCR fragment of 100 bp in the DQB1*02:24 and 02:31 alleles. Specific PCR fragment of 185 bp in the DQB1*02:29 alleles.

Primer mix 71: Specific PCR fragment of 125 bp in the DQB1*05:36 allele. Specific PCR fragment of 165 bp in the DQB1*03:63 and 03:76 alleles.

Primer mix 72: Specific PCR fragment of 135 bp in the DQB1*05:37 allele. Specific PCR fragment of 165 bp in the DQB1*03:64 and 03:77 alleles.

Primer mix 73: Specific PCR fragment of 90 bp in the DQB1*03:65 allele. Specific PCR fragment of 225 bp in the DQB1*03:81 allele.

Primer mix 76: Specific PCR fragment of 145 bp in the DQB1*03:10 and 03:12, 03:14:02, 03:70, 06:01:01, 06:01:03-06:01:06, 06:01:08-06:01:10, 06:43, 06:53-06:57, 06:98, 06:100 and 06:102N-06:105 alleles. Specific PCR fragment of 185 bp in the DQB1*06:54N alleles.

Primer mix 78: Specific PCR fragment of 100 bp in the DQB1*06:64 allele. Specific PCR fragment of 170 bp in the DQB*06:62 allele.

Primer mix 79: Specific PCR fragment of 90 bp in the DQB1*06:65 allele. Specific PCR fragment of 125 bp in the DQB1*06:93 allele.

Primer mix 80: Specific PCR fragment of 105 bp in the DQB1*06:70 allele. Specific PCR fragment of 180 bp in the DQB1*06:76 allele.

Primer mix 82: Specific PCR fragment of 170 bp in the DQB1*06:77N allele. Specific PCR fragment of 280 bp in the DQB1*06:73 allele.

Primer mix 83: Specific PCR fragment of 165 bp in the DQB1*06:78 allele. Specific PCR fragment of 260 bp in the DQB1*06:74 allele.

Primer mix 84: Specific PCR fragment of 120 bp in the DQB1*06:80 allele. Specific PCR fragment of 195 bp in the DQB1*06:75N allele.

Primer mix 85: Specific PCR fragment of 175 bp in the DQB1*06:67 allele. Specific PCR fragment of 210 bp in the DQB1*06:68 allele.

Primer mix 86: Specific PCR fragment of 105 bp in the DQB1*06:59 allele. Specific PCR fragment of 180 bp in the DQB1*06:90 allele.

Primer mix 87: Specific PCR fragment of 90 bp in the DQB1*03:08, 06:29, 06:63, 06:87 and 06:96 alleles. Specific PCR fragment of 115 bp in the DQB1*06:59 and 06:91 alleles.

Primer mix 89: Specific PCR fragment of 150 bp in the DQB1*06:101 alleles. Specific PCR fragment of 260 bp in the DQB1*06:83 alleles.

Primer mix 90: Specific PCR fragment of 130 bp in the DQB1*06:102N allele. Specific PCR fragment of 250 bp in the DQB1*06:86 and 06:104 alleles.

Primer mix 92: Specific PCR fragment of 165 bp in the DQB1*02:19 allele. Specific PCR fragment of 230 bp in the DQB1*02:12 allele.

Primer mix 93: Specific PCR fragment of 165 bp in the DQB1*02:13 allele. Specific PCR fragment of 225 bp in the DQB1*03:85 allele.

4The following DQB1 alleles can be distinguished by the different sizes of the specific PCR product:

| Alleles | Primer mix | Alleles | Primer mix |
| --- | --- | --- | --- |
| DQB1*02:15, 02:30 | 67 | DQB1*05:13, 05:24 | 59 |
| DQB1*02:16, 02:20N | 64 | DQB1*06:35, 06:45 | 35 |
| DQB1*02:23, 02:28 | 68 | DQB1*06:48, 06:97 | 62 |
| DQB1*02:29, 02:31 | 69 | DQB1*06:70, 06:76 | 80 |
| DQB1*03:31, 03:87 | 35 | DQB1*06:73, 06:77N | 82 |
| DQB1*03:36, 03:51 | 51 | DQB1*06:74, 06:78 | 83 |
| DQB1*03:59, 03:71 | 43 | DQB1*06:75N, 06:80 | 84 |
| DQB1*04:03:01, 04:12 | 42 | DQB1*06:102N, 06:104 | 90 |
| DQB1*04:05, 04:15 | 30 |

The DQB1 typing kit cannot distinguish the following silent mutations: the DQB1*02:01:01-02:01:13 alleles, the DQB1*02:02:01-02:02:02 alleles, the DQB1*03:01:01:01-03:01:02, 03:01:05-03:01:07, 03:01:09-03:01:12, 03:01:14 and 03:01:16-03:01:20 alleles, the DQB1*03:01:03, 03:01:13 and 03:01:15 alleles, the DQB1*03:02:01-03:02:09 alleles, the DQB1*03:03:02:01-03:03:05 and 03:03:07 alleles, the DQB1*03:05:01-03:05:04 alleles, the DQB1*03:17:01-03:17:02 alleles, the DQB1*04:01:01-04:01:02 and 04:01:04 alleles, the DQB1*04:02:01-04:02:04 alleles, the DQB1*05:01:01:01-05:01:08 alleles, the DQB1*05:02:01 and 05:02:03-05:02:07 alleles, the DQB1*05:03:01:01-05:03:10 alleles, the DQB1*05:05:01-05:05:02 alleles, the DQB1*06:01:01, 06:01:03-06:01:06 and 06:01:08-06:01:09 alleles, the DQB1*06:01:02 and 06:01:07 alleles, the DQB1*06:02:01, 06:02:03, 06:02:06 and 06:02:08-06:02:10 alleles, the DQB1*06:03:01, 06:03:03, 06:03:05-06:03:07 alleles, the DQB1*06:03:04 and 06:03:08-06:03:09 alleles, the DQB1*06:04:01, 06:04:03-06:04:07 and 06:04:03, the DQB1*06:14:01-06:14:02 alleles and the DQB1*06:15:01-06:15:02 alleles.

5This lot of the DQB1 typing kit cannot distinguish the DQB1*03:01:01:01-03:01:02, 03:01:05-03:01:07, 03:01:09-03:01:12, 03:01:14 and 03:01:16-03:01:20 alleles and the DQB1*03:22 alleles.

‘?’, nucleotide sequence information not available for the primer matching sequence.

‘w’, might be weakly amplified.

Change in revision R01 compared to R00:

- Primer mix 94 may give rise to a lower yield of HLA-specific PCR product than the other DQB1 primer mixes. A foot note has been added in the Specificity Table.

Change in revision R02 compared to R01:

- Primer mix 41 does not amplify the DQB1*03:22 allele. This has been corrected in the Specificity and Interpretation Tables.

Change in revision R03 compared to R02:

- Primer mix 2 may have a tendency of unspecific amplifications. A footnote has been added in the Specificity Table.

Change in revision R04 compared to R03:

- Primer mixes 12, 31 and 38 may have a tendency of unspecific amplifications. Footnotes have been added in the Specificity Table.

- Primer mix 94 gives rise to pronounced lower yield of HLA-specific PCR product than the other DQB1 primer mixes. The foot note has been changed in the Specificity Table.