Gel Documentation Form and Worksheet

DQB1*02 (101.213-24/24u) 	Lot No: 57V	Expiry Date: 2016-September-01

Name:__________________

Sample ID:______________

DNA Conc.(ng/ul):_________

Test  Date:_______________

Tested By:_______________

Review Date:_______________

Reviewed By:_______________

Gel Picture

PHOTO DOCUMENT

‘ICB’ Internal Control Band,

‘AmpS’ Amplicon Size

Interpretation:_______________

Failed lanes:    _________

Comments:    ___________________

Notes:

Product sizes are approximate. For detailed information, see the lot-specific Specificity Table and Interpretation Table.

This table is intended as a guide. For interpretation always use the Interpretation Table and/or Specificity Table.

HLA-specific PCR products shorter than 125 base pairs have a lower intensity and are less sharp than longer PCR products.

Primer mixes 2 and 3 may have a tendency of unspecific amplifications.

Primer mix 23 contains a negative control, which will amplify more than 95% of HLA amplicons as well as the amplicons generated by control primer pairs. PCR product sizes range from 75 to 200 base pairs. The PCR product generated by the control primer pair is 430 base pairs.

1HLA-DQB1 alleles listed on the IMGT/HLA web page 2014-January-17, release 3.15.0, www.ebi.ac.uk/imgt/hla.

2Alleles that have been deleted from or renamed in the official WHO HLA Nomenclature up to and including the last IMGT/HLA database release can be retrieved from web page http://hla.alleles.org/alleles/deleted.html.

3Primer mix 5: Specific PCR fragment of 95 bp in the DQB1*02:23 alleles. Specific PCR fragment of 145 bp in the DQB1*02:04 alleles.

Primer mix 7: Specific PCR fragment of 165 bp in the DQB1*02:19 allele. Specific PCR fragment of 245 bp in the DQB1*02:06 and the DQB1*03:24 and 03:79 alleles.

Primer mix 9: Specific PCR fragment of 95 bp in the DQB1*02:16 allele. Specific PCR fragment of 195 bp in the DQB1*02:07 allele.

Primer mix 10: Specific PCR fragment of 180 bp in the DQB1*02:08 allele. Specific PCR fragment of 230 bp in the DQB1*02:12 allele.

Primer mix 11: Specific PCR fragment of 105 bp in the DQB1*02:24 allele. Specific PCR fragment of 270 bp in the DQB1*02:09 allele.

Primer mix 12: Specific PCR fragment of 120 bp in the DQB1*02:11 and 02:25 alleles. Specific PCR fragment of 165 bp in the DQB1*02:13 allele.

Primer mix 14: Specific PCR fragment of 135 bp in the DQB1*02:18N allele. Specific PCR fragment of 230 bp in the DQB1*02:34 allele.

Primer mix 15: Specific PCR fragment of 105 bp in the DQB1*02:21 allele. Specific PCR fragment of 205 bp in the DQB1*02:35 allele.

Primer mix 16: Specific PCR fragment of 105 bp in the DQB1*02:22 allele. Specific PCR fragment of 230 bp in the DQB1*02:20N allele.

Primer mix 18: Specific PCR fragment of 90 bp in the DQB1*02:15 allele. Specific PCR fragment of 185 bp in the DQB1*02:29 allele.

Primer mix 22: Specific PCR fragment of 90 bp in the DQB1*02:27 allele. Specific PCR fragment of 175 bp in the DQB1*02:28 allele.

4The following DQB1*02 alleles can be distinguished by the different sizes of the specific PCR product:

| Alleles | Primer mix |
| --- | --- |
| DQB1*02:07, 02:16 | 9 |
| DQB1*02:09, 02:24 | 11 |
| DQB1*02:15, 02:29 | 18 |
| DQB1*02:18N, 02:34 | 14 |
| DQB1*02:20N, 02:22 | 16 |
| DQB1*02:21, 02:35 | 15 |
| DQB1*02:27, 02:28 | 22 |

The DQB1*02 kit cannot distinguish the silent mutation in the DQB1*02:01:01-02:01:14 or the DQB1*02:02:01-02:02:02 alleles.

Change in revision R01 compared to R00:

- Primer mix 2 may have a tendency of unspecific amplifications. A footnote has been added in the Specificity Table.