DQB1\*02 (101.213-24/24u) Lot No: 5N8 Expiry Date: 2025-11-01

Name:\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Sample ID:\_\_\_\_\_\_\_\_\_\_\_\_\_\_

DNA Conc.(ng/ul):\_\_\_\_\_\_\_\_\_

Test Date:\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Tested By:\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Review Date:\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Reviewed By:\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

*Interpretation:\_\_\_\_\_\_\_\_\_\_\_ Failed lanes*: \_\_\_\_\_\_\_\_\_\_\_\_ *Comments:\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_*

**Gel Picture**

|  |
| --- |
| PHOTO DOCUMENT |



Abbreviations

ICB: Internal Control Band

AmpS: Amplicon Size

**Notes:**

Product sizes are approximate. For detailed information, see the lot-specific Specificity Table and Interpretation Table.

This table is intended as a guide. For interpretation always use the Interpretation Table and/or Specificity Table.

HLA-specific PCR products shorter than 125 base pairs have a lower intensity and are less sharp than longer PCR products.

Primer mixes 2 and 3 may have tendencies of unspecific amplifications.

Primer mix 32 contains a negative control, which will amplify the majority of HLA amplicons as well as the amplicons generated by the control primer pairs matching the human growth hormone gene. HLA-specific PCR product sizes range from 75 to 200 base pairs and the PCR product generated by the HGH positive control primer pair is 200 base pairs.





**1**HLA-DQB1 in bold lettering are listed as confirmed alleles on the IMGT/HLA web page 2016-October-14, release 3.26.0, [www.ebi.ac.uk/imgt/hla](http://www.ebi.ac.uk/imgt/hla).

**2**Alleles that have been deleted from or renamed in the official WHO HLA Nomenclature up to and including the last IMGT/HLA database release can be retrieved from web page <http://hla.alleles.org/alleles/deleted.html>.

**3**The following DQB1\*02 primer mixes have two or more product sizes:

|  |  |  |  |
| --- | --- | --- | --- |
| Primer Mix | Size of spec. PCR product | Amplified DQB1\*02alleles | Other amplified DQB1 alleles |
| **5** | 95 bp  140 bp  195 bp | \*02:23  \*02:04, 02:37  \*02:96N |  |
| **7** | 165 bp  245 bp | \*02:19 | \*03:447 |
| **9** | 95 bp  195 bp | \*02:16  \*02:07:01-02:07:02 |  |
| **10** | 180 bp  230 bp | \*02:08  \*02:12 |  |
| **11** | 95 bp  170 bp | \*02:24  \*02:09 | \*03:330 |
| **12** | 120 bp  160 bp | \*02:11, 02:25  \*02:13, 02:30 |  |
| **13** | 120 bp  215 bp | \*02:17, 02:32  \*02:38 |  |
| **14** | 145 bp  220 bp | \*02:18N, 02:54  \*02:34, 02:38 |  |
| **15** | 100 bp  205 bp | \*02:21, 02:39  \*02:35 |  |
| **16** | 100 bp  150 bp  230 bp | \*02:22, 02:39  \*02:54  \*02:20N |  |
| **19** | 100 bp  165 bp | \*02:50  \*02:33, 02:36 |  |
| **21** | 100 bp  130 bp | \*02:23, 02:31  \*02:40 |  |
| **22** | 90 bp  175 bp | \*02:27  \*02:28 |  |
| **23** | 100 bp  255 bp | \*02:53Q  \*02:41 | \*03:322 |
| **24** | 160 bp  200 bp | \*02:51  \*02:42 |  |
| **25** | 160 bp  195 bp  220 bp | \*02:51  \*02:63  \*02:46 |  |
| **27** | 155 bp  210 bp | \*02:62  \*02:72 |  |
| **28** | 150 bp  195 bp | \*02:64, 02:79  \*02:96N | \*03:21, 03:452, 05:35, 05:182, 05:259, 06:243, 06:255 |
| **29** | 65 bp  255 bp | \*02:67N  \*02:63 | \*03:48, 03:456 |
| **30** | 110 bp  185 bp | \*02:58N  \*02:29 |  |

**4**The following DQB1\*02 alleles can be distinguished by the different sizes of the specific PCR product:

|  |  |
| --- | --- |
| **Alleles** | **Primer mix** |
| DQB1\*02:18N, 02:34 | 14 |
| DQB1\*02:21, 02:35 | 15 |
| DQB1\*02:29, 02:58N | 30 |