Gel Documentation Form and Worksheet

DQB1*04 (101.215-12/12u) 	Lot No: 47V	Expiry Date: 2016-September-01

Name:__________________

Sample ID:______________

DNA Conc.(ng/ul):_________

Test  Date:_______________

Tested By:_______________

Review Date:_______________

Reviewed By:_______________

Gel Picture

PHOTO DOCUMENT

‘ICB’ Internal Control Band,

‘AmpS’ Amplicon Size

Interpretation:_______________

Failed lanes:    _________

Comments:    ___________________

Notes:

Product sizes are approximate. For detailed information, see the lot-specific Specificity Table and Interpretation Table.

This table is intended as a guide. For interpretation always use the Interpretation Table and/or Specificity Table.

HLA-specific PCR products shorter than 125 base pairs have a lower intensity and are less sharp than longer PCR products.

Primer mixes 1 and 2 may give rise to a lower yield of HLA-specific PCR product than the other DQB1*04 primer mixes.

Primer mix 15 contains a negative control, which will amplify more than 95% of HLA amplicons as well as the amplicons generated by control primer pairs. PCR product sizes range from 75 to 200 base pairs. The PCR product generated by the control primer pair is 430 base pairs.

1HLA-DQB1 alleles listed on the IMGT/HLA web page 2014-January-17, release 3.15.0, www.ebi.ac.uk/imgt/hla.

2Alleles that have been deleted from or renamed in the official WHO HLA Nomenclature up to and including the last IMGT/HLA database release can be retrieved from web page http://hla.alleles.org/alleles/deleted.html.

3Primer mix 1: Specific PCR fragment of 210 bp in the DQB1*04:04 and 04:05 alleles. Specific PCR fragment of 245 bp in the DQB1*04:02:02 and 04:03:02 alleles. Specific PCR fragments of 210 and 245 bp in the DQB1*04:01:01-04:02:01, 04:02:03-04:03:01 and 04:06-04:18 alleles.

Primer mix 5: Specific PCR fragment of 110 bp in the DQB1*04:06 and 04:12 alleles. Specific PCR fragment of 245 bp in the DQB1*04:04 and 04:05 and the DQB1*03:06 and 03:25 alleles.

‘w’, may be weakly amplified.

‘?’, nucleotide sequence information not available for the primer matching sequence.

4The following DQB1*04 alleles can be distinguished by the different sizes of the specific PCR product:

| Alleles | Primer mix |
| --- | --- |
| DQB1*04:04, 04:12 | 5 |
| DQB1*04:05, 04:06 | 5 |