Gel Documentation Form and Worksheet

DQB1*05 (101.211-24/24u) 	Lot No: 59X	Expiry Date: 2017-July-01

Name:__________________

Sample ID:______________

DNA Conc.(ng/ul):_________

Test  Date:_______________

Tested By:_______________

Review Date:_______________

Reviewed By:_______________

Interpretation:___________                          Failed lanes: ____________                         Comments:________________

Gel Picture

PHOTO DOCUMENT

‘ICB’ Internal Control Band,

‘AmpS’ Amplicon Size

Notes:

Product sizes are approximate. For detailed information, see the lot-specific Specificity Table and Interpretation Table.

This table is intended as a guide. For interpretation always use the Interpretation Table and/or Specificity Table.

HLA-specific PCR products shorter than 125 base pairs have a lower intensity and are less sharp than longer PCR products.

Primer mixes 3, 4 and 15 may have tendencies of unspecific amplifications.

Primer mix 19 has a tendency to giving rise to primer oligomer formation.

Primer mix 24 contains a negative control, which will amplify more than 95% of HLA amplicons as well as the amplicons generated by the control primer pairs matching the human growth hormone gene. HLA-specific PCR product sizes range from 75 to 200 base pairs and the PCR product generated by the HGH positive control primer pair is 430 base pairs.

1DQB1 alleles listed on the IMGT/HLA web page 2013-October-11, release 3.14.0, www.ebi.ac.uk/imgt/hla.

2Alleles that have been deleted from or renamed in the official WHO HLA Nomenclature up to and including the last IMGT/HLA database release can be retrieved from web page http://hla.alleles.org/alleles/deleted.html.

3Primer mix 5: Specific PCR fragment of 120 bp in the DQB1*05:04 allele. Specific PCR fragment of 185 bp in the DQB1*05:10 allele.

Primer mix 8: Specific PCR fragment of 135 bp in the DQB1*05:27 allele. Specific PCR fragment of 190 bp in the DQB1*05:09 and 05:29 alleles.

Primer mix 10: Specific PCR fragment of 115 bp in the DQB1*05:23 allele. Specific PCR fragment of 195 bp in the DQB1*05:12 allele.

Primer mix 11: Specific PCR fragment of 100 bp in the DQB1*05:13, 05:32, 05:42 and 05:45 alleles. Specific PCR fragment of 150 bp in the DQB1*05:35 and the DQB1*03:21 alleles.

Primer mix 12: Specific PCR fragment of 120 bp in the DQB1*05:25 allele. Specific PCR fragment of 150 bp in the DQB1*05:14 and the DQB1*06:103 alleles. Specific PCR fragment of 195 bp in the DQB1*05:41N alleles.

Primer mix 13: Specific PCR fragment of 145 bp in the DQB1*05:40 allele. Specific PCR fragment of 180 bp in the DQB1*05:15 and 05:33 allele. Specific PCR fragment of 220 bp in the DQB1*05:34 and 05:44 alleles.

Primer mix 14: Specific PCR fragment of 145 bp in the DQB1*05:40 allele. Specific PCR fragment of 200 bp in the DQB1*05:16 allele.

Primer mix 15: Specific PCR fragment of 105 bp in the DQB1*05:17 allele. Specific PCR fragment of 135 bp in the DQB1*05:37 allele.

Primer mix 16: Specific PCR fragment of 155 bp in the DQB1*05:20 allele. Specific PCR fragment of 195 bp in the DQB1*05:47 and the DQB1*06:105 alleles.

Primer mix 19: Specific PCR fragment of 200 bp in the DQB1*05:28 and 05:30 alleles. Specific PCR fragment of 225 bp in the DQB1*05:21 allele.

Primer mix 20: Specific PCR fragment of 110 bp in the DQB1*05:32 and 05:42 alleles. Specific PCR fragment of 270 bp in the DQB1*05:38 alleles.

Primer mix 21: Specific PCR fragment of 135 bp in the DQB1*05:37 allele. Specific PCR fragment of 200 bp in the DQB1*05:39 allele. Specific PCR fragment of 230 bp in the DQB1*05:26 allele.

4The following DQB1*05 alleles can be distinguished by the different sizes of the specific PCR product:

| Alleles | Primer mix |
| --- | --- |
| DQB1*05:27, 05:29 | 8 |

The DQB1*05 subtyping kit cannot distinguish the silent mutations in the DQB1*05:01:01:01-05:01:08, the DQB1*05:02:01 and 05:02:03-05:02:07 alleles, the DQB1*05:03:01:01-05:03:10 alleles or the DQB1*05:05:01-05:05:02.