Gel Documentation Form and Worksheet

DQB1*05 (101.211-24/24u) 	Lot No: 1D6	Expiry Date: 2018-07-01

Name:__________________

Sample ID:______________

DNA Conc.(ng/ul):_________

Test  Date:_______________

Tested By:_______________

Review Date:_______________

Reviewed By:_______________

Interpretation:___________                          Failed lanes: ____________                         Comments:________________

Gel Picture

PHOTO DOCUMENT

‘ICB’ Internal Control Band,

‘AmpS’ Amplicon Size

Notes:

Product sizes are approximate. For detailed information, see the lot-specific Specificity Table and Interpretation Table.

This table is intended as a guide. For interpretation always use the Interpretation Table and/or Specificity Table.

HLA-specific PCR products shorter than 125 base pairs have a lower intensity and are less sharp than longer PCR products.

Primer mix 15 may have tendency of unspecific amplification.

Primer mix 29 contains a negative control, which will amplify more than 95% of HLA amplicons as well as the amplicons generated by the control primer pairs matching the human growth hormone gene. HLA-specific PCR product sizes range from 75 to 200 base pairs and the PCR product generated by the HGH positive control primer pair is 430 base pairs.

1DQB1*05 alleles in bold lettering are listed as confirmed alleles on the on the IMGT/HLA web page www.ebi.ac.uk/imgt/hla, release 3.21.1, August 2015.

2Alleles that have been deleted from or renamed in the official WHO HLA Nomenclature up to and including the last IMGT/HLA database release can be retrieved from web page http://hla.alleles.org/alleles/deleted.html.

3Primer mix 5: Specific PCR fragment of 120 bp in the DQB1*05:04, 05:52 and 05:77 allele. Specific PCR fragment of 185 bp in the DQB1*05:10 allele.

Primer mix 7: Specific PCR fragment of 185 bp in the DQB1*05:06:01-05:07 and 05:50 alleles. Specific PCR fragment of 245 bp in the DQB1*05:52 allele.

Primer mix 8: Specific PCR fragment of 135 bp in the DQB1*05:27 and 05:87Q alleles. Specific PCR fragment of 190 bp in the DQB1*05:09 and 05:29 alleles.

Primer mix 10: Specific PCR fragment of 115 bp in the DQB1*05:23 allele. Specific PCR fragment of 195 bp in the DQB1*05:12 and 05:71 alleles.

Primer mix 11: Specific PCR fragment of 100 bp in the DQB1*05:13, 05:32, 05:42 and 05:45 alleles. Specific PCR fragment of 150 bp in the DQB1*05:35 and the DQB1*03:21 alleles. Specific PCR fragment of 190 bp in the DQB1*05:96 allele.

Primer mix 12: Specific PCR fragment of 120 bp in the DQB1*05:25 allele. Specific PCR fragment of 150 bp in the DQB1*05:14 and 05:84 and the DQB1*06:103 alleles. Specific PCR fragment of 195 bp in the DQB1*05:41N, 05:90N and 05:96 alleles.

Primer mix 13: Specific PCR fragment of 145 bp in the DQB1*05:40 allele. Specific PCR fragment of 180 bp in the DQB1*05:15, 05:33 and 05:49 allele. Specific PCR fragment of 220 bp in the DQB1*05:34 and 05:44 alleles.

Primer mix 14: Specific PCR fragment of 145 bp in the DQB1*05:40 allele. Specific PCR fragment of 160 bp in the DQB1*05:69 allele.Specific PCR fragment of 200 bp in the DQB1*05:16 and 05:73 and the 06:156, 06:162 and 06:169 alleles.

Primer mix 15: Specific PCR fragment of 65 bp in the DQB1*05:03:06 and 05:03:14 and the DQB1*03:03:05 alleles.

Specific PCR fragment of 105 bp in the DQB1*05:17 allele. Specific PCR fragment of 135 bp in the DQB1*05:37 allele.

Primer mix 16: Specific PCR fragment of 155 bp in the DQB1*05:20 allele. Specific PCR fragment of 195 bp in the DQB1*05:47 and the DQB1*06:105 alleles.

Primer mix 17: Specific PCR fragment of 125 bp in the DQB1*05:25, 05:31 and 05:46 and the DQB1*06:111 alleles. Specific PCR fragment of 195 bp in the DQB1*05:41N and 05:90N alleles.

Primer mix 18: Specific PCR fragment of 110 bp in the DQB1*05:88 allele. Specific PCR fragment of 180 bp in the DQB1*05:24 allele. Specific PCR fragment of 215 bp in the DQB1*05:72 allele.

Primer mix 19: Specific PCR fragment of 200 bp in the DQB1*05:28 and 05:30 alleles. Specific PCR fragment of 225 bp in the DQB1*05:21 and 05:60 alleles.

Primer mix 20: Specific PCR fragment of 110 bp in the DQB1*05:32, 05:42 and 05:57 alleles. Specific PCR fragment of 270 bp in the DQB1*05:38 and 05:62 and the DQB1*06:146:01 alleles.

Primer mix 21: Specific PCR fragment of 135 bp in the DQB1*05:37 allele. Specific PCR fragment of 165 bp in the DQB1*05:63 allele. Specific PCR fragment of 200 bp in the DQB1*05:39 allele. Specific PCR fragment of 230 bp in the DQB1*05:26 and 05:82 alleles.

Primer mix 24: Specific PCR fragment of 150 bp in the DQB1*05:71 allele. Specific PCR fragment of 185 bp in the DQB105:80 and the DQB1*06:89 alleles.

4The following DQB1*05 alleles can be distinguished by the different sizes of the specific PCR product:

| Alleles | Primer mix |
| --- | --- |
| DQB1*05:27, 05:29 | 8 |

The DQB1*05 subtyping kit cannot distinguish the silent mutations in the DQB1*05:01:01:01-05:01:08 and DQB1*05:01:11-05:01:20 alleles, the DQB1**05:01:09-05:01:10 alleles, the DQB1*05:02:01 and 05:02:03-05:02:13 alleles, the DQB1*05:03:01:01-05:03:05, 05:03:07-05:03:13 and 05:03:15-05:03:16 alleles, the DQB1*05:05:01-05:05:02 alleles, the DQB1*05:06:01-05:06:02 or the DQB1*05:11:01-05:11:02 alleles.