Gel Documentation Form and Worksheet

DR low resolution (101.101-48/12, -48u/12u) 	        Lot No: 91Y	Expiry Date: 2018-April-01

Name:__________________

Sample ID:______________

DNA Conc.(ng/ul):_________

Test  Date:_______________

Tested By:_______________

Review Date:_______________

Reviewed By:_______________

Interpretation:___________                          Failed lanes: ____________                         Comments:________________

Gel Picture

PHOTO DOCUMENT

‘ICB’ Internal Control Band,

‘AmpS’ Amplicon Size

Notes:

Product sizes are approximate. For detailed information, see the lot-specific Specificity Table and Interpretation Table.

This table is intended as a guide. For interpretation always use the Interpretation Table and/or Specificity Table.

HLA-specific PCR products shorter than 125 base pairs have a lower intensity and are less sharp than longer PCR products.

Individual alleles can give to rise to two differently sized specific PCR fragments in primer mix 1, 3, 5 to 8, 10, 11, 13, 14, 16, 18 to 20, 22, 27 and 29.

Primer mixes 1, 3, 5, 8, 11, 12, 13, 16, 18, 27 and 30 have a tendency to giving rise to primer oligomer formation, most pronounced in primer mix 12.

Primer mix 19 has a tendency of primer oligomer formation and also has an intense primer cloud due to the high number of primers present in the primer mix.

Primer mixes 3, 4, 9 and 27 may have tendencies of unspecific amplifications.

The DRB4*01:03:01:02N allele is amplified by the primer pairs in wells 18 and 30, whereas the DRB4*02:01N and DRB4*03:01N null alleles are not amplified by these primer pairs.

Due to sharing of sequence motifs, DRB3*02:27 is amplified by the primer pairs in well 15 in addition to primer mix 29.

Due to sharing of sequence motifs in codon 38 and 47, DRB3*01:14 will also be amplified in primer mixes 5, 6 and 17 and DRB3*01:23 in mix 5, in addition to primer mix 29.

Primer mix 32 contains a negative control, which will amplify more than 95% of HLA amplicons as well as the amplicons generated by the control primer pairs matching the human growth hormone gene. HLA-specific PCR product sizes range from 75 to 200 base pairs and the PCR product generated by the HGH positive control primer pair is 430 base pairs.

1DRB alleles listed on the IMGT/HLA web page 2015-August-11, release 3.21.1, www.ebi.ac.uk/imgt/hla.

2Alleles that have been deleted from or renamed in the official WHO HLA Nomenclature up to and including the last IMGT/HLA database release can be retrieved from web page http://hla.alleles.org/alleles/deleted.html.

3The serological reactivity of all DRB alleles is not known. In this table we use the information in the HLA Dictionary 2004 on the www.ebi.ac.uk/imgt/hla web site, the information available at the www.worldmarrow.org web site and the expert-assigned serological grouping in Tissue Antigens (2009) 73:95-170.

4The DRB1*03:76 and the DRB1*13:176, alleles give rise to identical amplification patterns with the DR low resolution primer set. These alleles can be separated by the respective high resolution primer sets.

The DRB1*03:11:01 and the DRB1*13:02:02 alleles give rise to identical amplification patterns with the DR low resolution primer set. These alleles can be separated by the respective high resolution primer sets.

‘w’, might be weakly amplified.

‘?’, nucleotide sequence information not available for the primer matching sequence.

Change in revision R01 compared to R00:

- Primer mix 5 does not amplify the DRB1*03:11:01, *03:97, *11:53 and *15:100 alleles. This has been corrected in the Specificity and Interpretation Tables.

Change in revision R02 compared to R01:

- Primer mix 12 has pronounced tendencies of primer oligomer formation. A foot note has been added in the Specificity Table.

Change in revision R03 compared to R02:

- Primer mix 21 does not amplify the DRB1*08:14 allele. This has been corrected in the Specificity and Interpretation Tables.

Changes in revision R04 compared to R03:

- Due to sharing of sequence motifs in codon 38 and 47, DRB3*01:23 will be amplified in primer mix 5, in addition to primer mix 21.

- The DRB1*13:02:02 allele is amplified in primer mix 6. The Specificity and Interpretation Tables have been changed.

Change in revision R05 compared to R04:

- Primer mix 6 does not amplify the DRB1*14:137N and 14:152N alleles. Primer mix 15 does not amplify the DRB1*14:137N allele. This has been corrected in the Specificity and Interpretation Tables.