Gel Documentation Form and Worksheet

DR low resolution screening 	Lot No: 42V	Expiry Date: 2016-August-01

(101.103-48/12,-48u/12u)

Name:__________________

Sample ID:______________

DNA Conc.(ng/ul):_________

Test  Date:_______________

Tested By:_______________

Review Date:_______________

Reviewed By:_______________

Gel Picture

PHOTO DOCUMENT

‘ICB’ Internal Control Band,

‘AmpS’ Amplicon Size

Interpretation:_______________

Failed lanes:    _________

Comments:    ___________________

Notes:

Product sizes are approximate. For detailed information, see the lot-specific Specificity Table and Interpretation Table.

This table is intended as a guide. For interpretation always use the Interpretation Table and/or Specificity Table.

HLA-specific PCR products shorter than 125 base pairs have a lower intensity and are less sharp than longer PCR products

Individual alleles can give to rise to two differently sized specific PCR fragments in primer mix 1, 3, 5 to 11, 13, 14, 16 to 21.

Primer mixes 1, 8, 9, 15, 16, 20 and 22 have a tendency to giving rise to primer oligomer formation..

Primer mix 6 may give a lower yield of HLA-specific PCR product than the other DR low primer mixes.

Primer mixes 3 and 4 may have tendency of unspecific amplification

Primer mix 19 has a tendency of primer oligomer formation and also has an intense primer cloud due to the high number of primers present in the primer mix.

The DRB4*01:03:01:02N allele is amplified by the primer pairs in wells 18 and 22, whereas the DRB4*02:01N and DRB4*03:01N null alleles are not amplified by these primer pairs.

Due to sharing of sequence motifs in codon 38, DRB3*01:14 will also be amplified in primer mixes 5, 6 and 17 in addition to primer mix 21.

Due to sharing of sequence motifs, DRB3*02:27 is amplified by the primer pairs in well 15 in addition to primer mix 21.

Primer mix 24 contains a negative control, which will amplify more than 95% of HLA amplicons as well as amplicons generated by a control primer pair. PCR product sizes range from 75 to 200 base pairs. The PCR product generated by the control primer pair is 430 base pairs.

1Alleles that have been deleted from or renamed in the official WHO HLA Nomenclature up to and including the last IMGT/HLA database release can be retrieved from web page http://hla.alleles.org/alleles/deleted.html.

2The serological reactivity of all DRB alleles is not known. In this table we use the information in the HLA Dictionary 2004 on the www.ebi.ac.uk/imgt/hla web site, the information available at the www.worldmarrow.org web site and the expert-assigned serological grouping in Tissue Antigens (2009) 73:95-170.

3The DRB1*08:20 and the DRB1*13:18, 13:47, 13:55, 13:158 and 13:164 alleles yield identical amplification patterns with the DR low resolution screening primer set. These alleles can be separated by the respective high resolution primer sets.

The DRB1*08:31, 08:41 and DRB1*11:67 alleles yield identical amplification patterns with the DR low resolution screening primer set. These alleles can be separated by the respective high resolution primer sets.

The DRB1*13:13, 13:119, 13:154 and 13:156 and the DRB1*14:84, 14:116 and 14:144 alleles yield identical amplification patterns with the DR low resolution screening primer set. These alleles can be separated by the respective high resolution primer sets.