Gel Documentation Form and Worksheet

DRB1*03 (101.113-24/04, -24u/04u) 	Lot No: 52V	Expiry Date: 2016-September-01

Name:__________________

Sample ID:______________

DNA Conc.(ng/ul):_________

Test  Date:_______________

Tested By:_______________

Review Date:_______________

Reviewed By:_______________

Gel Picture

PHOTO DOCUMENT

‘ICB’ Internal Control Band,

‘AmpS’ Amplicon Size

Interpretation:_______________

Failed lanes:    _________

Comments:    ___________________

Notes:

Product sizes are approximate. For detailed information, see the lot-specific Specificity Table and Interpretation Table.

This table is intended as a guide. For interpretation always use the Interpretation Table and/or Specificity Table.

HLA-specific PCR products shorter than 125 base pairs have a lower intensity and are less sharp than longer PCR products.

Primer mixes 14, 22 and 23 may have a tendency of giving rise to primer oligomer formation.

Primer mixes 26 and 27 may have a tendency of unspecific amplification.

Primer mix 2 may give rise to a lower yield of specific PCR product than the other DRB1*03 primer mixes.

Primer mix 32 contains a negative control, which will amplify more than 95% of HLA amplicons as well as the amplicons generated by control primer pairs. PCR product sizes range from 75 to 200 base pairs. The PCR product generated by the control primer pair is 430 base pairs.

1DRB1*03 alleles in bold lettering are listed as confirmed alleles on the IMGT/HLA web page www.ebi.ac.uk/imgt/hla, release 3.15.0, January 2014.

2Alleles that have been deleted from or renamed in the official WHO HLA Nomenclature up to and including the last IMGT/HLA database release can be retrieved from web page http://hla.alleles.org/alleles/deleted.html.

3Primer mix 5: Specific PCR fragment of 75 bp in the DRB1*03:04:01-03:04:02 allele. Specific PCR fragment of 165 bp in the DRB1*03:58 and 03:65 alleles.

Primer mix 11: Specific PCR fragment of 105 bp in the DRB1*03:09 and 03:23 alleles. Specific PCR fragment of 180 bp in the DRB1*03:13:01-03:13:02, 03:38, 03:79 and 03:88 and in the DRB1*11:116, 11:120, 13:39, 13:54, 13:77-13:79, 13:100, 13:162-13:163, 14:48, 14:64, 14:109 and 14:115 and in the DRB3*01:14 alleles.

Primer mix 12: Specific PCR fragment of 135 bp in the DRB1*03:10 and the DRB1*14:82 and 14:132 alleles. Specific PCR fragment of 185 bp in the DRB1*03:76 and the DRB1*11:59w, 11:80w, 11:83w, 11:87w, 11:135w, 11:142w, 13:27w, 13:41w, 13:71w and 13:129w alleles. Specific PCR fragment of 200 bp in the DRB1*03:51 alleles.

Primer mix 13: Specific PCR fragment of 165 bp in the DRB1*03:47 and 03:62 alleles. Specific PCR fragment of 225 bp in the DRB1 *03:11:01, 03:17, 03:24, 03:27, 03:35 and 03:81 and in the DRB1*11:136, 14:38 and 14:127:01-14:127:02 alleles.

Primer mix 14: Specific PCR fragment of 105 bp in the DRB1*03:16 allele. Specific PCR fragment of 135 bp in the DRB1*03:12 and the DRB1*09:08 alleles. Specific PCR fragment of 245 bp in the DRB1*03:68N allele.

Primer mix 17: Specific PCR fragment of 100 bp in the DRB1*03:93 and the DRB1*13:125 alleles. Specific PCR fragment of 255 bp in the DRB1*03:20 and the DRB1*11:06:01-11:06:03, 11:21, 11:47, 11:57, 11:129, 13:58, 13:81, 13:163, 14:29 and 14:99 alleles.

Primer mix 20: Specific PCR fragment of 75 bp in the DRB1*03:25, 03:31 and 03:75 and the DRB1*11:80, 11:135 and 11:142 alleles. Specific PCR fragment of 120 bp in the DRB1*03:28 allele. Specific PCR fragment of 245 bp in the DRB1*03:68N allele.

Primer mix  21: Specific PCR fragment of 70 bp in the DRB1*03:21, 03:30 and 03:43 and the DRB1*11:10:01-11:10:02, 11:12:01-11:13:02, 11:114, 12:05, 12:14-12:15, 13:57, 13:64, 13:83, 13:107, 14:35, 14:65, 14:72 and 14:138 alleles. Specific PCR fragment of 150 bp in the DRB1*03:42 and 03:87 and the DRB1*11:30 and 13:67 alleles.

Primer mix 22: Specific PCR fragment of 95 bp in the DRB1*03:18 allele. Specific PCR fragment of 215 bp in the DRB1*03:48 allele.

Primer mix 23: Specific PCR fragment of 65 bp in the DRB1*03:09 and 03:23 alleles. Specific PCR fragment of 165 bp in the DRB1*03:19 allele.

Primer mix 25: Specific PCR fragment of 80 bp in the DRB1*03:13:01-03:13:02, 03:67N and 03:88 and the DRB3*01:01:03, DRB3*02:19 alleles. Specific PCR fragment of 180 bp in the DRB1*03:32 allele. Specific PCR fragment of 230 bp in the DRB1*03:69 allele.

Primer mix 27: Specific PCR fragment of 115 bp in the DRB1*03:43, 03:71 and the DRB1*11:76, 11:114, 13:34, 13:64, 13:136, 14:41, 14:77 and 14:110 and the DRB3*01:14 alleles. Specific PCR fragment of 150 bp in the DRB1*03:53 allele. Specific PCR fragment of 175 bp in the DRB1*03:46 allele. Specific PCR fragment of 225 bp in the DRB1*03:11:01, 03:17, 03:24, 03:27, 03:34, 03:35, 03:51, 03:55, 03:81 and the DRB1*11:53, 11:136 alleles.

Primer mix 28: Specific PCR fragment of 75 bp in the DRB1*03:67N allele. Specific PCR fragment of 160 bp in the DRB1*03:36 allele. Specific PCR fragment of 195 bp in the DRB1*03:45 allele.

Primer mix 29: Specific PCR fragment of 155 bp in the DRB1*03:40-03:41, 03:52 and 03:75 and the DRB1*11:07, 11:103, 11:105, 11:107 and 11:125 alleles. Specific PCR fragment of 180 bp in the DRB1*03:39 allele. Specific PCR fragment of 215 bp in the DRB1*03:92 and the DRB1*14:76 and 14:79 alleles.

Primer mix 31: Specific PCR fragment of 205 bp in the DRB1*03:45 and 03:92 and the 14:76 and 14:79 alleles. Specific PCR fragment of 245 bp in the DRB1*03:50 allele.

‘?’, nucleotide sequence information not available for the primer matching sequence.

“w”, may be weakly amplified.

4The DRB1*03 primer set cannot separate the DRB1*03:77, 03:84 and 03:89 and the DRB1*13:144 and 14:95 alleles. These alleles can be distinguished by the DR low resolution kit and/or the DRB1*13 and DRB1*14 high resolution kits.

5The following DRB1*03 alleles can be distinguished by the different sizes of the specific PCR product:

| Alleles | Primer mix |
| --- | --- |
| DRB1*03:18, 03:48 | 22 |
| DRB1*03:20, 03:93 | 17 |

The DRB1*03 subtyping kit cannot distinguish the following silent mutations: the DRB1*03:01:01:01-03:01:22, the DRB1*03:02:01 and 03:02:02, the DRB1*03:04:01 and 03:04:02, the DRB1*03:05:01 to 03:05:03 or the DRB1*03:13:01 and 03:13:02 alleles.