PHOTO DOCUMENT

Olerup SSP AB

Olerup SSPTM DRB1*04

Prod. No:	101.114-24/03 – including Taq pol.

101.114-24u/03u – without Taq pol.

Lot No:    	Y08

Expiry Date:    	2009-July-01

Name:________________Sample ID:_______________

DNA Extract Date:_________ Conc.(ug/ul):_________

Test  Date: _________Review Date:_______________

Tested By: _________Reviewed By:_______________

Interpretation:_________________________________

Specificities and sizes of the PCR products of the 32 primer mixes used for DRB1*04 SSP typing.

| Primer Mix | Size of spec. PCR product1 | Size of control band2 | Amplified DRB1*04 alleles3 | Other amplified DRB alleles4 |
| --- | --- | --- | --- | --- |
| 1 | 215 bp | 515 bp | 040101-040102, 0409, 0413, 0416, 0421, 0426, 0433, 0435, 0438, 0462, 0463 |  |
| 28 | 150, 215 bp | 430 bp | 0402, 0414, 0430, 0437 | 1457 |
| 3 | 225 bp | 430 bp | 040301-040303, 040601-040703, 0411, 0417, 0420, 0427, 0439, 0441, 0446, 0449-0452, 0459, 0460 | 1410 |
| 4 | 225 bp | 515 bp | 040101-0402, 0404-040504, 0408-0410, 0413-0416, 0419, 0421, 0423, 0424, 0426, 0428-0430, 0432, 0433, 0435-0438, 0440, 0442-0445, 0447, 0448, 0453, 0456, 0457, 0461-0463 | 1122, 1457 |
| 5 | 170 bp | 430 bp | 040501-040504, 0409-0412, 0417, 0424, 0428-0430, 0445, 0448, 0457 |  |
| 65 | 115 bp | 430 bp | 040601-040602, 0419-0421, 0446, 0449 |  |
| 7 | 260 bp | 430 bp | 040101-040102, 040501-040504, 040701-0409, 0414, 0416, 0417, 0419-0421, 0424, 0426, 0428-0431, 0433, 0435, 0438, 0443, 0445, 0447, 0448, 0454, 0457, 0461-0463 | 1122 |
| 8 | 260 bp | 430 bp | 0402-0404, 040601-040602, 0410-0413, 0415, 0418, 0422, 0423, 0425, 0427, 0432, 0436, 0437, 0439-0442, 0444, 0446, 0449-0453, 0455, 0456, 0458-0460 | 1410, 1457 |
| 96 | 215 bp | 430 bp | 040301-0408, 0410, 0411, 0412weakly, 0415, 0417, 0418 weakly, 0419, 0420, 0423, 0424, 0425 weakly, 0427-0430, 0431weakly, 0432, 0436, 0439-0461 | 1122, 1410 |
| 10 | 170 bp | 515 bp | 040101-0404, 040601-0408, 0413, 0414, 0416, 0418-0423, 0425, 0426weakly, 0427, 0431-0433, 0435-0444, 0446, 0447, 0449-0456, 0458-0460, 0463 |  |
| 119 | 175, 220 bp | 430 bp | 0415, 0422, 0461 | 1122 |
| 1210 | 180, 265 bp | 515 bp | 0416, 0423, 0452 |  |
| 1311 | 170, 225 bp | 430 bp | 0412, 0418, 0425, 0431, 0446, 0454, 0455, 0458 |  |
| 147,12 | 200, 220 bp | 430 bp | 0402, 0412, 0414, 0418, 0438, 0448, 0453, 0456 | 1457 |
| 156 | 215 bp | 430 bp | 0434 |  |
| 166,7,13 | 150 bp | 515 bp | 040301-040303, 040701-040703, 0411, 0417, 0427, 0439, 0450weakly, 0451, 0452, 0459, 0460 | 0829, 1153, 115401weakly, 115402, 1442weakly, 1458weakly, DRB3*020205 |
| 175,14 | 110, 190 bp | 430 bp | 0415, 0425, 0436, 0441, 0447, 0454, 0457 | 1122 |
| 185,6 | 145 bp | 430 bp | 0428, 0435, 0442, 0443, 0459 | 1122 |
| 195,6,15 | 140, 175, 210 bp | 515 bp | 0424, 0439, 0462 | 1410, 1457 |
| 205,16 | 100, 175, 255 bp | 430 bp | 0427, 0440, 0463 |  |
| 2117 | 155, 200 bp | 515 bp | 0429, 0437, 0438, 0456, 0458 |  |
| 2218 | 150, 230 bp | 430 bp | 0430, 0432, 0450 |  |
| 235,19 | 120, 240 bp | 430 bp | 0433, 0444, 0451 |  |
| 245 | 85 bp | 430 bp | 040101-040102, 0409, 0416, 0421, 0426, 0433-0435, 0438, 0462-0464 | 0110, 0116, 030201-030202, 030501-030502, 0309, 0314, 0317, 0327, 0329, 0335, 1153, 1419, DRB3*01010201-0111, DRB3*020201-0203, 0205-0213, 0215-0222, DRB3*0303 |
| 255,20 | 125, 230, 260 bp | 430 bp | 0426, 0445, 0464 |  |
| 26 | 200 bp | 515 bp | 040101-040102, 040301-0411, 0413, 0416, 0417, 0419-0424, 0426-0433, 0435, 0439-0446, 0448-0452, 0455, 0457, 0459-0463 | 1410 |
| 275,6, 21 | 120, 265 bp | 515 bp | 0410-0412, 0449, 0460 | 0312, 0806, 0810, 0812, 0822, 1304, 1332, 1348, 1358, 1375, 1465, 1512 |
| 285 | 90 bp | 430 bp | 0411, 0417 | 0829 |
| 295,22 | 75, 260 bp | 430 bp | 040701-040703, 0417, 0420, 0464 | 090102-0902weakly, 0904weakly, 0905weakly, 140701-140702weakly, 1414weakly, 1436weakly, 1442weakly, 1444weakly, 1451, 1468, DRB5*0112weakly |
| 305 | 80 bp | 430 bp | 0409 | 130301-1304, 1332, 1333, 1338, 1348, 1365, 1366, 1375 |
| 315,23 | 85, 260 bp | 430 bp | 0414, 0464 | 0103, 111101-111102, 111401-111402, 1120, 130201-130302, 1323, 1329, 1331, 1333, 1334, 1336-1339, 1341, 1345, 1363, 1365-1367, 1373, 1374 |
| 325 | 115 bp | 430 bp | 040101-040504, 040701-0418, 0422-0433, 0435-0445, 0447, 0448, 0450-0463 | 1122 |

1Alleles are assigned by the presence of specific PCR product(s). However, the sizes of the specific PCR products may be helpful in the interpretation of DRB1*04 SSP subtypings.

When the primers in a primer mix can give rise to specific PCR products of more than one length this is indicated if the size difference is 20 bp or more. Size differences shorter than 20 bp are not given. For high resolution SSP kits the length of the specific PCR product(s) of the alleles amplified by these primer mixes are given.

Nonspecific amplifications, i.e. a ladder or a smear of bands, may sometimes be seen. GC-rich primers have a higher tendency of giving rise to nonspecific amplifications than other primers, e.g. the 3’-primers in primer solutions 9, 18 and 19.

PCR fragments longer than the control band may sometimes be observed. Such bands can be disregarded and do not influence the interpretation of the SSP typings.

2The internal positive control primer pairs amplify segments of the human growth hormone gene. The two different control primer pairs give rise to either an internal positive control band of 430 base pairs, for most tubes, or a band of 515 base pairs, for some tubes.

Tube number 1 contains the primer pair giving rise to the longer, 515 bp, internal positive control band in order to help in the correct orientation of the DRB1*04 subtyping.

In addition, tubes number 4, 10, 12, 16, 19, 21, 26 and 27 contain the primer pair giving rise to the longer, 515 bp, internal positive control band in order to allow kit identification.

In the presence of a specific amplification the intensity of the control band often decreases.

3For several DRB alleles only partial second exon nucleotide sequences are available. In these instances it is not known whether some of the primers of the SSP sets are completely matched with the target sequences or not. We assume that unknown sequences in the first hyperpolymorphic region of the second exon of DRB alleles are conserved within allelic groups and that unknown sequences of codons 87 to 92 are identical with the DRB1*0101 consensus sequence.

4The DRB1*1122, DRB1*1410 and DRB1*1445 alleles carry the DRB1*04 sequence motif in the 1st hyperpolymorphic region of the 2nd exon and will, thus, be amplified by several of the DRB1*04 primer mixes. In addition, three DRB1*01, eleven DRB1*03, five DRB1*08, most DRB1*09, nine DRB1*11, many DRB1*13, thirteen DRB1*14 and one DRB1*15 allele will be amplified by the DRB1*04 subtyping kit. Furthermore, many DRB3 alleles will be amplified by primer mix 24. However, the purpose of primer mix 24 is to be able to distinguish the DRB1*0401,0404 and DRB1*0408,0413 genotypes. Non-DRB1*04 alleles will be amplified by primer mixes 2 to 4, 7 to 9, 11, 14, 16 to 18, 24, 26 to 32, but the purpose of these primer mixes is to increase the resolution in DRB1*04 homozygotes.

5Short specific PCR fragments are less intense and not as sharp as longer specific bands.

6Primer mixes 9, 15, 16, 18, 19 and 27 may give rise to nonspecific amplifications.

7Primer mixes 14 and 16 have a tendency of giving rise to primer dimer formation.

8Primer mix 2: Specific PCR fragment of 150 bp in the DRB1*0430 allele. Specific PCR fragment of 215 bp in the DRB1*0402, 0414, 0437 and the DRB1*1457 alleles.

9Primer mix 11: Specific PCR fragment of 175 bp in the DRB1*0415, 0461 and the DRB1*1122 alleles. Specific PCR fragment of 220 bp in the DRB1*0422 allele.

10Primer mix 12: Specific PCR fragment of 180 bp in the DRB1*0416 allele. Specific PCR fragment of 265 bp in the DRB1*0423 and 0452 alleles.

11Primer mix 13: Specific PCR fragment of 170 bp in the DRB1*0446 allele. Specific PCR fragments of 225 bp in the DRB1*0412, 0418, 0425, 0431, 0454, 0455 and 0458 alleles.

12Primer mix 14:  Specific PCR fragment of 200 bp in the DRB1*0402, 0412, 0414, 0418, 0438, 0453, 0456 and the DRB1*1457 alleles. Specific PCR fragment of 220 bp in the DRB1*0448 allele.

13Primer mix 16 may yield somewhat less specific PCR fragment than the other DRB1*04 primer mixes.

14Primer mix 17: Specific PCR fragment of 110 bp in the DRB1*0441 allele. Specific PCR fragment of 190 bp in the DRB1*0415, 0425, 0436, 0447, 0454, 0457 and DRB1*1122 alleles.

15Primer mix 19: Specific PCR fragment of 140 bp in the DRB1*0439 allele. Specific PCR fragment of 175 bp in the DRB1*0462 allele. Specific PCR fragment of 210 bp in the DRB1*0424 and 1410 alleles.

16Primer mix 20: Specific PCR fragment of 100 bp in the DRB1*0463 allele. Specific PCR fragment of 175 bp in the DRB1*0440 allele. Specific PCR fragment of 255 bp in the DRB1*0427 allele.

17Primer mix 21: Specific PCR fragment of 155 bp in the DRB1*0429 allele. Specific PCR fragment of 200 bp in the DRB1*0437, 0438, 0456 and 0458 alleles.

18Primer mix 22: Specific PCR fragment of 150 bp in the DRB1*0430 allele. Specific PCR fragment of 230 bp in the DRB1*0432 and 0450 alleles.

19Primer mix 23: Specific PCR fragment of 120 bp in the DRB1*0433 allele. Specific PCR fragment of 240 bp in the DRB1*0444 and 0451 alleles.

20Primer mix 25: Specific PCR fragment of 125 bp in the DRB1*0426 allele. Specific PCR fragment of 230 bp in the DRB1*0445 allele. Specific PCR fragment of 260 bp in the DRB1*0464 allele.

21Primer mix 27: Specific PCR fragment of 120 bp in the DRB1*0410, 0411, 0412, 0460 and the DRB1*0312, 0806, 0810, 0812, 0822, 1304, 1332, 1348, 1358, 1375, 1465 and 1512 alleles. Specific PCR fragment of 265 bp in the DRB1*0449 allele.

22Primer mix 29: Specific PCR fragment of 75 bp in the DRB1*040701-040703, 0417, 0420 and the DRB1*090102-0902weakly, 0904weakly, 0905weakly, 140701-140702weakly, 1414weakly, 1436weakly, 1442weakly, 1444weakly, 1451, 1468 and the

DRB5*0112weakly  alleles. Specific PCR fragment of 260 bp in the DRB1*0464 allele.

23Primer mix 31: Specific PCR fragment of 85 bp in the DRB1*0414 and the DRB1*0103, 111101-111102, 111401-111402, 1120, 130201-130302, 1323, 1329, 1331, 1333, 1334, 1336-1339, 1341, 1345, 1363, 1365-1367, 1373 and 1374 alleles. Specific PCR fragment of 260 bp in the DRB1*0464 allele.

1Primer mix 2: Specific PCR fragment of 150 bp in the DRB1*0430 allele. Specific PCR fragment of 215 bp in the DRB1*0402, 0414, 0437 and the DRB1*1457 alleles.

Primer mix 11: Specific PCR fragment of 175 bp in the DRB1*0415, 0461 and the DRB1*1122 alleles. Specific PCR fragment of 220 bp in the DRB1*0422 allele.

Primer mix 12: Specific PCR fragment of 180 bp in the DRB1*0416 allele. Specific PCR fragment of 265 bp in the DRB1*0423 and 0452 alleles.

Primer mix 13: Specific PCR fragment of 170 bp in the DRB1*0446 allele. Specific PCR fragments of 225 bp in the DRB1*0412, 0418, 0425, 0431, 0454, 0455 and 0458 alleles.

Primer mix 14:  Specific PCR fragment of 200 bp in the DRB1*0402, 0412, 0414, 0418, 0438, 0453, 0456 and the DRB1*1457 alleles. Specific PCR fragment of 220 bp in the DRB1*0448 allele.

Primer mix 17: Specific PCR fragment of 110 bp in the DRB1*0441 allele. Specific PCR fragment of 190 bp in the DRB1*0415, 0425, 0436, 0447, 0454, 0457 and DRB1*1122 alleles.

Primer mix 19: Specific PCR fragment of 140 bp in the DRB1*0439 allele. Specific PCR fragment of 175 bp in the DRB1*0462 allele. Specific PCR fragment of 210 bp in the DRB1*0424 and 1410 alleles.

Primer mix 20: Specific PCR fragment of 100 bp in the DRB1*0463 allele. Specific PCR fragment of 175 bp in the DRB1*0440 allele. Specific PCR fragment of 255 bp in the DRB1*0427 allele.

Primer mix 21: Specific PCR fragment of 155 bp in the DRB1*0429 allele. Specific PCR fragment of 200 bp in the DRB1*0437, 0438, 0456 and 0458 alleles.

Primer mix 22: Specific PCR fragment of 150 bp in the DRB1*0430 allele. Specific PCR fragment of 230 bp in the DRB1*0432 and 0450 alleles.

Primer mix 23: Specific PCR fragment of 120 bp in the DRB1*0433 allele. Specific PCR fragment of 240 bp in the DRB1*0444 and 0451 alleles.

Primer mix 25: Specific PCR fragment of 125 bp in the DRB1*0426 allele. Specific PCR fragment of 230 bp in the DRB1*0445 allele. Specific PCR fragment of 260 bp in the DRB1*0464 allele.

Primer mix 27: Specific PCR fragment of 120 bp in the DRB1*0410, 0411, 0412, 0460 and the DRB1*0312, 0806, 0810, 0812, 0822, 1304, 1332, 1348, 1358, 1375, 1465 and 1512 alleles. Specific PCR fragment of 265 bp in the DRB1*0449 allele.

Primer mix 29: Specific PCR fragment of 75 bp in the DRB1*040701-040703, 0417, 0420 and the DRB1*090102-0902weakly, 0904weakly, 0905weakly, 140701-140702weakly, 1414weakly, 1436weakly, 1442weakly, 1444weakly, 1451, 1468 and the

DRB5*0112weakly  alleles. Specific PCR fragment of 260 bp in the DRB1*0464 allele.

Primer mix 31: Specific PCR fragment of 85 bp in the DRB1*0414 and the DRB1*0103, 111101-111102, 111401-111402, 1120, 130201-130302, 1323, 1329, 1331, 1333, 1334, 1336-1339, 1341, 1345, 1363, 1365-1367, 1373 and 1374 alleles. Specific PCR fragment of 260 bp in the DRB1*0464 allele.

‘w’, might be weakly amplified.