PHOTO DOCUMENT

Olerup SSP®

Olerup SSP® DRB1*04

Prod. No:	101.114-24/03 – including Taq pol.

101.114-24u/03u – without Taq pol.

Lot No:    	57E

Expiry Date:    	2010-May-01

Name:________________Sample ID:_______________

DNA Extract Date:_________ Conc.(ug/ul):_________

Test  Date: _________Review Date:_______________

Tested By: _________Reviewed By:_______________

Interpretation:_________________________________

Specificities and sizes of the PCR products of the 40 primer mixes used for DRB1*04 SSP typing.

| Primer Mix | Size of spec. PCR product1 | Size of control band2 | Amplified DRB1*04 alleles3 | Other amplified DRB alleles4 |
| --- | --- | --- | --- | --- |
| 1 | 215 bp | 515 bp | 040101-040103, 0409, 0413, 0416, 0421, 0426, 0433, 0435, 0438, 0462, 0463, 0467, 0472 |  |
| 2 | 215 bp | 430 bp | 0402, 0414, 0437 | 1457 |
| 3 | 225 bp | 430 bp | 040301-040304, 040601-040703, 0411, 0417, 0420, 0427, 0439, 0441, 0446, 0449-0452, 0459, 0460, 0465, 0469, 0471 | 1410 |
| 4 | 225 bp | 515 bp | 040101-0402, 0404-040505, 0408-0410, 0413-0416, 0419, 0421, 0423, 0424, 0426, 0428-0430, 0432, 0433, 0435-0438, 0440, 0442-0445, 0447, 0448, 0453, 0456, 0457, 0461-0463, 0467, 0468, 0470, 0472, 0473 | 1122, 1457 |
| 5 | 170 bp | 430 bp | 040501-040505, 0409-0412, 0417, 0424, 0428-0430, 0445, 0448, 0457, 0467 |  |
| 65 | 115 bp | 430 bp | 040601-040602, 0419-0421, 0446, 0449, 0465, 0468 |  |
| 7 | 260 bp | 430 bp | 040101-040103, 040501-040505, 040701-0409, 0414, 0416, 0417, 0419-0421, 0424, 0426, 0428-0431, 0433, 0435, 0438, 0443, 0445, 0447, 0448, 0454, 0457, 0461-0463, 0469, 0472 | 1122 |
| 8 | 260 bp | 430 bp | 0402-0404, 040601-040602, 0410-0413, 0415, 0418, 0422, 0423, 0425, 0427, 0432, 0436, 0437, 0439-0442, 0444, 0446, 0449-0453, 0455, 0456, 0458-0460, 0465, 0467, 0468, 0470, 0471, 0473 | 1410, 1457 |
| 96 | 215 bp | 430 bp | 040301-0408, 0410, 0411, 0412weakly, 0415, 0417, 0418 weakly, 0419, 0420, 0423, 0424, 0425 weakly, 0427-0430, 0431weakly, 0432, 0436, 0439-0461, 0468-0471 | 1122, 1410 |
| 10 | 170 bp | 515 bp | 040101-0404, 040601-0408, 0413, 0414, 0416, 0418-0423, 0425, 0426weakly, 0427, 0431-0433, 0435-0444, 0446, 0447, 0449-0456, 0458-0460, 0463, 0465, 0468, 0470-0472 |  |
| 118 | 175, 220 bp | 430 bp | 0415, 0422, 0461 | 1122 |
| 129 | 180, 265 bp | 515 bp | 0416, 0423, 0452 |  |
| 1310 | 170, 225 bp | 430 bp | 0412, 0418, 0425, 0431, 0446, 0454, 0455, 0458 |  |
| 147,11 | 200, 220 bp | 430 bp | 0402, 0412, 0414, 0418, 0438, 0448, 0453, 0456, 0473 | 1457 |
| 156 | 215 bp | 430 bp | 0434 |  |
| 166,7,12 | 150 bp | 515 bp | 040301-040304, 040701-040703, 0411, 0417, 0427, 0439, 0450weakly, 0451, 0452, 0459, 0460, 0469, 0471 | 0829weakly, 1153 weakly, 115401- 115402 weakly, 1442weakly, 1458weakly |
| 175,13 | 110, 190 bp | 430 bp | 0415, 0425, 0436, 0441, 0447, 0454, 0457 | 1122 |
| 185,6 | 145 bp | 430 bp | 0428, 0435, 0442, 0443, 0459 | 1122 |
| 195,6,14 | 140, 210 bp | 515 bp | 0424, 0439, 0469 | 1410 |
| 205,15 | 100, 175, 255 bp | 430 bp | 0427, 0440, 0463 |  |
| 2116 | 155, 200 bp | 515 bp | 0429, 0437, 0438, 0456, 0458, 0473 |  |
| 22 | 230 bp | 430 bp | 0432, 0450 |  |
| 235,17 | 120, 235 bp | 430 bp | 0433, 0444 |  |
| 245 | 85 bp | 430 bp | 040101-040103, 0409, 0416, 0421, 0426, 0433-0435, 0438, 0462-0464, 0466, 0472 | 0110, 0116, 030201-030202, 030501-030502, 0309, 0314, 0317, 0327, 0329, 0335, 0338, 1153, 1419, DRB3*01010201-0111, DRB3*020201-0203, 0205-0213, 0215-0223, DRB3*0303 |
| 255,18 | 125, 230, 260 bp | 430 bp | 0426, 0445, 0464 |  |
| 26 | 200 bp | 515 bp | 040101-040103, 040301-0411, 0413, 0416, 0417, 0419-0424, 0426-0433, 0435, 0439-0446, 0448-0452, 0455, 0457, 0459-0463, 0465, 0467-0472 | 1410 |
| 275,6, 19 | 120, 265 bp | 515 bp | 0410-0412, 0449, 0460, 0467 | 0312, 0806, 0810, 0812, 0822, 1304, 1332, 1348, 1358, 1375, 1381, 1465, 1512 |
| 285 | 90 bp | 430 bp | 0411, 0417 | 0829 |
| 295,20 | 75, 260 bp | 430 bp | 040701-040703, 0417, 0420, 0464, 0469 | 0117, 090102-0902weakly, 0904weakly, 0905weakly, 140701-140702weakly, 1414weakly, 1436weakly, 1442weakly, 144401-144402weakly, 1451, 1468 weakly, DRB5*0112weakly |
| 305 | 80 bp | 430 bp | 0409, 0467 | 130301-1304, 1332, 1333, 1338, 1348, 1365, 1366, 1375, 1381 |
| 315,21 | 85, 260 bp | 430 bp | 0414, 0464 | 0103, 111101-111102, 111401-111402, 1120, 1168, 130201-130302, 1323, 1329, 1331, 1333, 1334, 1336-1339, 1341, 1345, 1363, 1365-1367, 1373, 1374 |
| 325 | 115 bp | 430 bp | 040101-040505, 040701-0418, 0422-0433, 0435-0445, 0447, 0448, 0450-0463, 0467, 0469-0473 | 1122 |
| 33 | 215 bp | 430 bp | 0465 |  |
| 34 | 260 bp | 515 bp | 0466 |  |
| 35 | 245 bp | 430 bp | 0451, 0470 |  |
| 36 | 240 bp | 515 bp | 0471 |  |
| 37 | 235 bp | 430 bp | 0422, 0472 |  |
| 38 | 215 bp | 515 bp | 0473 |  |
| 39 | 175 bp | 430 bp | 0462, 0469 | 1410, 1457 |
| 40 | 150 bp | 430 bp | 0430 |  |

1Alleles are assigned by the presence of specific PCR product(s). However, the sizes of the specific PCR products may be helpful in the interpretation of DRB*04 SSP subtypings.

When the primers in a primer mix can give rise to specific PCR products of more than one length this is indicated if the size difference is 20 base pairs or more. Size differences shorter than 20 base pairs are not given. For high resolution SSP kits the respective length of the specific PCR product(s) of the alleles amplified by these primer mixes are given.

Nonspecific amplifications, i.e. a ladder or a smear of bands, may sometimes be seen. GC-rich primers have a higher tendency of giving rise to nonspecific amplifications than other primers.

PCR fragments longer than the control bands may sometimes be observed. Such bands should be disregarded and do not influence the interpretation of the SSP typings.

PCR fragments migrating faster than the control bands, but slower than a 400 bp fragment may  be seen in some gel read-outs. Such bands can be disregarded and do not influence the interpretation of the SSP typings.

Some primers may give rise to primer oligomer artifacts. Sometimes this phenomenon is an inherit feature of the primer pair(s) of a primer mix. More often it is due to other factors such as too low amount of DNA in the PCR reactions, taking too long time in setting up the PCR reactions, working at elevated room temperature or using thermal cyclers that are not pre-heated.

2The internal positive control primer pairs amplify segments of the human growth hormone gene. The two different control primer pairs give rise to either an internal positive control band of 430 base pairs, for most wells, or a band of 515 base pairs, for some wells.

Well number 1 contains the primer pair giving rise to the longer, 515 bp, internal positive control band in order to help in the correct orientation of the DRB1*04 subtyping.

In addition, wells number 4, 10, 12, 16, 19, 21, 26, 27, 34, 36 and 38 contain the primer pair giving rise to the longer, 515 bp, internal positive control band in order to allow kit identification.

In the presence of a specific amplification the intensity of the control band often decreases.

3For several DRB alleles only partial second exon nucleotide sequences are available. In these instances it is not known whether some of the primers of the SSP sets are completely matched with the target sequences or not. We assume that unknown sequences in the first hyperpolymorphic region of the second exon of DRB alleles are conserved within allelic groups and that unknown sequences of codons 87 to 92 are identical with the DRB1*0101 consensus sequence.

4The DRB1*1122, DRB1*1410 and DRB1*1457 alleles carry the DRB1*04 sequence motif in the 1st hyperpolymorphic region of the 2nd exon and will, thus, be amplified by several of the DRB1*04 primer mixes. In addition, four DRB1*01, several DRB1*03, five DRB1*08, most DRB1*09, ten DRB1*11, many DRB1*13, several DRB1*14 and one DRB1*15 allele will be amplified by the DRB1*04 subtyping kit. Furthermore, many DRB3 alleles will be amplified by primer mix 24. However, the purpose of primer mix 24 is to be able to distinguish the DRB1*0401,0404 and DRB1*0408,0413 genotypes. Non-DRB1*04 alleles will be amplified by primer mixes 2 to 4, 7 to 9, 11, 14, 16 to 19, 24, 26 to 32 and 39, but the purpose of these primer mixes is to increase the resolution in DRB1*04 homozygotes.

5Short specific PCR fragments are less intense and not as sharp as longer specific bands.

6Primer mixes 9, 15, 16, 18, 19 and 27 may give rise to nonspecific amplifications.

7Primer mixes 14 and 16 have a tendency of giving rise to primer dimer formation.

8Primer mix 11: Specific PCR fragment of 175 bp in the DRB1*0415, 0461 and the DRB1*1122 alleles. Specific PCR fragment of 220 bp in the DRB1*0422 allele.

9Primer mix 12: Specific PCR fragment of 180 bp in the DRB1*0416 allele. Specific PCR fragment of 265 bp in the DRB1*0423 and 0452 alleles.

10Primer mix 13: Specific PCR fragment of 170 bp in the DRB1*0446 allele. Specific PCR fragments of 225 bp in the DRB1*0412, 0418, 0425, 0431, 0454, 0455 and 0458 alleles.

11Primer mix 14:  Specific PCR fragment of 200 bp in the DRB1*0402, 0412, 0414, 0418, 0438, 0453, 0456, 0473 and the DRB1*1457 alleles. Specific PCR fragment of 220 bp in the DRB1*0448 allele.

12Primer mix 16 may yield somewhat less specific PCR fragment than the other DRB1*04 primer mixes.

13Primer mix 17: Specific PCR fragment of 110 bp in the DRB1*0441 allele. Specific PCR fragment of 190 bp in the DRB1*0415, 0425, 0436, 0447, 0454, 0457 and DRB1*1122 alleles.

14Primer mix 19: Specific PCR fragment of 140 bp in the DRB1*0439 allele. Specific PCR fragment of 175 bp in the DRB1*0462 allele. Specific PCR fragment of 210 bp in the DRB1*0424, 0469 and 1410 alleles.

15Primer mix 20: Specific PCR fragment of 100 bp in the DRB1*0463 allele. Specific PCR fragment of 175 bp in the DRB1*0440 allele. Specific PCR fragment of 255 bp in the DRB1*0427 allele.

16Primer mix 21: Specific PCR fragment of 155 bp in the DRB1*0429 allele. Specific PCR fragment of 200 bp in the DRB1*0437, 0438, 0456, 0458 and 0473 alleles.

17Primer mix 23: Specific PCR fragment of 120 bp in the DRB1*0433 allele. Specific PCR fragment of 235 bp in the DRB1*0444 allele.

18Primer mix 25: Specific PCR fragment of 125 bp in the DRB1*0426 allele. Specific PCR fragment of 230 bp in the DRB1*0445 allele. Specific PCR fragment of 260 bp in the DRB1*0464 allele.

19Primer mix 27: Specific PCR fragment of 120 bp in the DRB1*0410, 0411, 0412, 0460, 0467 and the DRB1*0312, 0806, 0810, 0812, 0822, 1304, 1332, 1348, 1358, 1375, 1381, 1465 and 1512 alleles. Specific PCR fragment of 265 bp in the DRB1*0449 allele.

20Primer mix 29: Specific PCR fragment of 75 bp in the DRB1*040701-040703, 0417, 0420, 0469 and the DRB1*0117, 090102-0902weakly, 0904weakly, 0905weakly, 140701-140702weakly, 1414weakly, 1436weakly, 1442weakly, 144401-144402weakly, 1451, 1468weakly and the DRB5*0112weakly  alleles. Specific PCR fragment of 260 bp in the DRB1*0464 allele.

21Primer mix 31: Specific PCR fragment of 85 bp in the DRB1*0414 and the DRB1*0103, 111101-111102, 111401-111402, 1120, 1168, 130201-130302, 1323, 1329, 1331, 1333, 1334, 1336-1339, 1341, 1345, 1363, 1365-1367, 1373 and 1374 alleles. Specific PCR fragment of 260 bp in the DRB1*0464 allele.

1Primer mix 11: Specific PCR fragment of 175 bp in the DRB1*0415, 0461 and the DRB1*1122 alleles. Specific PCR fragment of 220 bp in the DRB1*0422 allele.

Primer mix 12: Specific PCR fragment of 180 bp in the DRB1*0416 allele. Specific PCR fragment of 265 bp in the DRB1*0423 and 0452 alleles.

Primer mix 13: Specific PCR fragment of 170 bp in the DRB1*0446 allele. Specific PCR fragments of 225 bp in the DRB1*0412, 0418, 0425, 0431, 0454, 0455 and 0458 alleles.

Primer mix 14:  Specific PCR fragment of 200 bp in the DRB1*0402, 0412, 0414, 0418, 0438, 0453, 0456, 0473 and the DRB1*1457 alleles. Specific PCR fragment of 220 bp in the DRB1*0448 allele.

Primer mix 17: Specific PCR fragment of 110 bp in the DRB1*0441 allele. Specific PCR fragment of 190 bp in the DRB1*0415, 0425, 0436, 0447, 0454, 0457 and DRB1*1122 alleles.

Primer mix 19: Specific PCR fragment of 140 bp in the DRB1*0439 allele. Specific PCR fragment of 175 bp in the DRB1*0462 allele. Specific PCR fragment of 210 bp in the DRB1*0424, 0469 and 1410 alleles.

Primer mix 20: Specific PCR fragment of 100 bp in the DRB1*0463 allele. Specific PCR fragment of 175 bp in the DRB1*0440 allele. Specific PCR fragment of 255 bp in the DRB1*0427 allele.

Primer mix 21: Specific PCR fragment of 155 bp in the DRB1*0429 allele. Specific PCR fragment of 200 bp in the DRB1*0437, 0438, 0456, 0458 and 0473 alleles.

Primer mix 23: Specific PCR fragment of 120 bp in the DRB1*0433 allele. Specific PCR fragment of 235 bp in the DRB1*0444 allele.

Primer mix 25: Specific PCR fragment of 125 bp in the DRB1*0426 allele. Specific PCR fragment of 230 bp in the DRB1*0445 allele. Specific PCR fragment of 260 bp in the DRB1*0464 allele.

Primer mix 27: Specific PCR fragment of 120 bp in the DRB1*0410, 0411, 0412, 0460, 0467 and the DRB1*0312, 0806, 0810, 0812, 0822, 1304, 1332, 1348, 1358, 1375, 1381, 1465 and 1512 alleles. Specific PCR fragment of 265 bp in the DRB1*0449 allele.

Primer mix 29: Specific PCR fragment of 75 bp in the DRB1*040701-040703, 0417, 0420, 0469 and the DRB1*0117, 090102-0902weakly, 0904weakly, 0905weakly, 140701-140702weakly, 1414weakly, 1436weakly, 1442weakly, 144401-144402weakly, 1451, 1468weakly and the DRB5*0112weakly  alleles. Specific PCR fragment of 260 bp in the DRB1*0464 allele.

Primer mix 31: Specific PCR fragment of 85 bp in the DRB1*0414 and the DRB1*0103, 111101-111102, 111401-111402, 1120, 1168, 130201-130302, 1323, 1329, 1331, 1333, 1334, 1336-1339, 1341, 1345, 1363, 1365-1367, 1373 and 1374 alleles. Specific PCR fragment of 260 bp in the DRB1*0464 allele.

‘w’, might be weakly amplified.