PHOTO DOCUMENT

Olerup SSP®

Olerup SSP® DRB1*04

Prod. No:	101.114-24/24u

101.114-03/03u

Lot No:    	33R

Expiry Date:    	2015-April-01

Name:________________Sample ID:_______________

DNA Extract Date:_________ Conc.(ng/ul):_________

Test  Date: _________Review Date:_______________

Tested By: _________Reviewed By:_______________

Interpretation:_________________________________

Specificities and sizes of the PCR products of the 47 primer mixes used for DRB1*04 SSP typing.

| Primer Mix | Size of spec. PCR product1 | Size of control band2 | Amplified DRB1*04 alleles3 | Other amplified DRB alleles4 |
| --- | --- | --- | --- | --- |
| 1 | 215 bp | 515 bp | *04:01:01-04:01:09, 04:09, 04:13, 04:16, 04:21, 04:26, 04:33, 04:35, 04:38, 04:62-04:63, 04:67, 04:72:01-04:72:02, 04:76, 04:100, 04:111-04:115, 04:117, 04:119N, 04:123 |  |
| 2 | 215 bp | 430 bp | *04:02:01-04:02:03, 04:14, 04:37, 04:106, 04:124 | *14:57 |
| 3 | 225 bp | 430 bp | *04:03:01-04:03:08, 04:06:01-04:07:04, 04:11:01-04:11:02, 04:17:01-04:17:02, 04:20, 04:27, 04:39, 04:41, 04:46, 04:49-04:52, 04:59-04:60, 04:65, 04:69, 04:71, 04:78, 04:85, 04:88, 04:91-04:93, 04:96-04:97, 04:100-04:102, 04:109-04:110, 04:114 | *14:10 |
| 4 | 225 bp | 515 bp | *04:01:01-04:02:03, 04:04:01-04:05:14, 04:08:01-04:10:02, 04:13-04:16, 04:19, 04:21, 04:23-04:24, 04:26, 04:28-04:30, 04:32-04:33, 04:35-04:38, 04:40, 04:42-04:43, 04:44w, 04:45, 04:47-04:48, 04:53, 04:56-04:57, 04:61-04:63, 04:67-04:68, 04:70, 04:72:01, 04:73, 04:75-04:77, 04:79-04:84, 04:87, 04:89, 04:99, 04:104-04:108, 04:111-04:113, 04:115-04:124 | *11:22, 14:57 |
| 5 | 170 bp | 430 bp | *04:05:01-04:05:14, 04:09-04:12, 04:17:01-04:17:02, 04:24, 04:28-04:30, 04:45, 04:48, 04:57, 04:67, 04:77, 04:80-04:81N, 04:83-04:84, 04:86-04:87, 04:89-04:91, 04:103-04:104, 04:106-04:107, 04:116 |  |
| 65 | 115 bp | 430 bp | *04:06:01-04:06:05, 04:19-04:21, 04:46, 04:49, 04:65, 04:68, 04:78, 04:84-04:85, 04:91, 04:99, 04:114 |  |
| 7 | 260 bp | 430 bp | *04:01:01-04:01:09, 04:05:01-04:05:14, 04:07:01-04:09, 04:14, 04:16-04:17:02, 04:19-04:21, 04:24, 04:26, 04:28-04:31, 04:33, 04:35, 04:38, 04:43, 04:45, 04:47-04:48, 04:54, 04:57, 04:61-04:63, 04:69, 04:72:01-04:72:02, 04:74-04:77, 04:80-04:84, 04:86-04:87, 04:89-04:90, 04:92, 04:98:01-04:98:02, 04:102-04:107, 04:111-04:113, 04:115-04:117, 04:119N, 04:123 | *11:22 |
| 8 | 260 bp | 430 bp | *04:02:01-04:04:07, 04:06:01-04:06:05, 04:10:01-04:13, 04:15, 04:18, 04:22-04:23, 04:25, 04:27, 04:32, 04:36-04:37, 04:39-04:42, 04:44, 04:46, 04:49-04:53, 04:55-04:56, 04:58-04:60, 04:65, 04:67-04:68, 04:70-04:71, 04:73, 04:78-04:79, 04:85, 04:88, 04:91, 04:93-04:97, 04:99-04:101, 04:108-04:110, 04:114, 04:118, 04:120N-04:122, 04:124 | *14:10, 14:57 |
| 9 | 215 bp | 430 bp | *04:03:01-04:04:04, 04:04:05w, 04:04:06-04:05:07, 04:05:08w, 04:05:09-04:08:02, 04:10:01-04:11:02, 04:12w, 04:15, 04:17:01-04:17:02, 04:18w, 04:19-04:20, 04:23-04:24, 04:25w, 04:27-04:30, 04:31w, 04:32, 04:36, 04:39-04:46, 04:47w, 04:48-04:52, 04:53w-04:55w, 04:56-04:57, 04:58w, 04:59-04:61, 04:68-04:71, 04:74, 04:77-04:81N, 04:82w, 04:83-04:85, 04:86w, 04:87-04:96, 04:99w, 04:101-04:102, 04:103w, 04:104, 04:107-04:110, 04:116, 04:118, 04:120N-04:121 | *11:22, 14:10 |
| 10 | 170 bp | 515 bp | *04:01:01-04:04:06, 04:06:01-04:08:02, 04:13-04:14, 04:16, 04:18-04:23, 04:25, 04:26w, 04:27, 04:31-04:33, 04:35-04:44, 04:46-04:47, 04:49-04:56, 04:58-04:60, 04:63, 04:65, 04:68, 04:70-04:76, 04:78-04:79, 04:85, 04:88, 04:92-04:98:02, 04:100-04:102, 04:105:01-04:105:02, 04:109-04:115, 04:117-04:124 |  |
| 119 | 175 bp, 220 bp | 430 bp | *04:15, 04:22, 04:61, 04:98:02 | *11:22 |
| 1210 | 180 bp, 265 bp | 515 bp | *04:16, 04:23, 04:52 |  |
| 1311 | 170 bp, 225 bp | 430 bp | *04:12, 04:18, 04:25, 04:31, 04:46, 04:54-04:55, 04:58, 04:86, 04:103 |  |
| 147 | 210 bp | 430 bp | *04:02:01-04:02:03, 04:12, 04:14, 04:18, 04:38, 04:48, 04:53, 04:56, 04:73w, 04:82, 04:86, 04:88, 04:99-04:100, 04:106-04:107, 04:124 | *14:57 |
| 15 | 215 bp | 430 bp | *04:34 |  |
| 16 | 225 bp | 515 bp | *04:03:01-04:03:08, 04:06:01-04:07:04, 04:11:01-04:11:02, 04:17:01-04:17:02, 04:20, 04:27, 04:39, 04:41, 04:46, 04:49w-04:50w, 04:51-04:52, 04:59-04:60, 04:65, 04:69, 04:71, 04:78, 04:85, 04:88, 04:91-04:93, 04:96-04:97, 04:100-04:102, 04:109-04:110, 04:114 | *14:10 |
| 17 | 190 bp | 430 bp | *04:15, 04:25, 04:36, 04:47, 04:54, 04:57 | *11:22 |
| 18 | 145 bp | 430 bp | *04:28, 04:35, 04:42-04:43, 04:59 | *11:22 |
| 196,12 | 140 bp, 210 bp | 515 bp | *04:24, 04:39, 04:69, 04:78, 04:101 | *14:10 |
| 205,13 | 100 bp, 175 bp, 255 bp | 430 bp | *04:27, 04:40, 04:63, 04:110 |  |
| 216,14 | 155 bp, 205 bp | 515 bp | *04:29, 04:37-04:38, 04:56, 04:58, 04:73, 04:88, 04:100, 04:105:01-04:105:02, 04:107, 04:122 |  |
| 22 | 230 bp | 430 bp | *04:32, 04:50 |  |
| 23 | 135 bp | 430 bp | *04:33 |  |
| 245,8 | 85 bp | 430 bp | *04:01:01-04:01:09, 04:09, 04:16, 04:21, 04:26, 04:33-04:35, 04:38w, 04:62-04:64, 04:66, 04:72:01-04:72:02, 04:76, 04:98:01-04:98:02, 04:111-04:113, 04:115, 04:117, 04:119N, 04:123 | *01:10, 01:16, 03:02:01-03:02:02, 03:05:01-03:05:03, 03:09, 03:14, 03:17, 03:27, 03:29, 03:35, 03:38, 03:40-03:41, 03:53, 03:74, 03:81, 11:53w, 11:79, 11:103, 11:105, 11:107, 11:125w, 14:19, 14:109, DRB3*01:01:02:01-01:15, DRB3*02:02:01:01-02:03, DRB3*02:05-02:10, DRB3*02:11w, DRB3*02:12-02:13, DRB3*02:15-02:16, DRB3*02:17w, 02:18-02:23, DRB3*02:25, DRB3*02:27-02:29N, DRB3*03:03 |
| 255,15 | 125 bp 230 bp, 260 bp | 430 bp | *04:26, 04:45, 04:64 |  |
| 26 | 200 bp | 515 bp | *04:01:01-04:01:09, 04:03:01-04:11:02, 04:13, 04:16-04:17:02, 04:19-04:24, 04:26-04:33, 04:35, 04:39-04:46, 04:48-04:52, 04:55, 04:57, 04:59-04:63, 04:65, 04:67-04:72:02, 04:74-04:79, 04:83-04:85, 04:87, 04:89-04:92, 04:94N-04:98:02, 04:101-04:104, 04:108-04:113, 04:115-04:123 | *14:10 |
| 275,16 | 120 bp, 265 bp | 515 bp | *04:10:01-04:12, 04:49, 04:60, 04:67, 04:91 | *03:12, 08:06, 08:10, 08:12, 08:22, 13:04, 13:32, 13:48, 13:58, 13:75, 13:81, 13:89, 13:93-13:94, 13:108, 14:65, 14:78, 15:12 |
| 285 | 90 bp | 430 bp | *04:11:01-04:11:02, 04:17:01-04:17:02, 04:91 | *08:29 |
| 295,17 | 75 bp, 260 bp | 430 bp | *04:07:01-04:07:04, 04:17:01-04:17:02, 04:20, 04:64, 04:69, 04:74, 04:92, 04:102 | *01:17, 09:01:02-09:01:05, 09:01:08-09:02:02, 09:04-09:05, 09:07-09:08, 09:10-09:19, 14:07:01-14:07:02, 14:14, 14:36, 14:42, 14:44:01-14:44:03, 14:51, 14:68, 14:93, DRB5*01:12 |
| 305 | 80 bp | 430 bp | *04:09, 04:67, 04:106 | *08:40, 13:03:01-13:04, 13:32-13:33:03, 13:38, 13:48, 13:65-13:66:02, 13:75, 13:81, 13:88-13:89, 13:93-13:95, 13:101, 13:115, 13:120, 13:122, 13:133, 13:139 |
| 315,7,18 | 85 bp, 260 bp | 430 bp | *04:14, 04:64, 04:106 | *01:03, 01:39N, 08:40, 11:11:01-11:11:02, 11:14:01-11:14:02, 11:20, 11:68, 11:73, 11:93, 11:122, 13:02:01-13:02:03, 13:02:05-13:03:06, 13:23:01-13:23:02, 13:29, 13:31, 13:33:01-13:34, 13:36-13:39, 13:41, 13:45, 13:63, 13:65-13:67, 13:73-13:74, 13:85, 13:88, 13:90, 13:95-13:97:02, 13:99, 13:101, 13:103-13:104, 13:107, 13:115, 13:120, 13:122-13:124, 13:126, 13:128, 13:135, 13:139 |
| 325,8 | 115 bp | 430 bp | *04:01:01-04:05:01, 04:05:03-04:05:14, 04:07:01-04:18, 04:22-04:33, 04:35-04:45, 04:47-04:48, 04:50-04:63, 04:67, 04:69-04:77, 04:79-04:83, 04:86-04:90, 04:92-04:95, 04:97-04:98:02, 04:100-04:113, 04:115-04:124 | *11:22 |
| 33 | 215 bp | 430 bp | *04:65 |  |
| 34 | 260 bp | 515 bp | *04:66 |  |
| 3519 | 210 bp, 245 bp | 430 bp | *04:51, 04:70, 04:81N |  |
| 3620 | 175 bp, 240 bp | 515 bp | *04:71, 04:96 | DRB7*01:01:01 |
| 37 | 235 bp | 430 bp | *04:22, 04:72:01 |  |
| 387,21 | 140 bp, 215 bp | 515 bp | *04:73, 04:75, 04:89, 04:105:01-04:105:02, 04:122 |  |
| 395,22 | 100 bp, 175 bp | 430 bp | *04:62, 04:69, 04:83 | *14:10, 14:57 |
| 40 | 145 bp | 430 bp | *04:30, 04:85 |  |
| 41 | 160 bp | 430 bp | *04:76 |  |
| 425,23 | 110 bp, 140 bp | 430 bp | *04:41, 04:77, 04:79, 04:102, 04:113 |  |
| 43 | 130 bp | 515 bp | *04:80 | *11:53, 11:125 |
| 44 | 245 bp | 430 bp | *04:87, 04:94N, 04:120N |  |
| 45 | 235 bp | 515 bp | *04:44, 04:72:02, 04:74, 04:95 |  |
| 465 | 75 bp | 430 bp | *04:92 |  |
| 47 | 250 bp | 515 bp | *04:119N |  |

1Alleles are assigned by the presence of specific PCR product(s). However, the sizes of the specific PCR products may be helpful in the interpretation of DRB*04 SSP subtypings.

When the primers in a primer mix can give rise to HLA-specific PCR products of more than one length this is indicated if the size difference is more than 20 base pairs. Size differences of 20 base pairs or less are not given. For high resolution SSP kits the respective lengths of the HLA-specific PCR product(s) are given for the alleles amplified by these primer mixes.

Nonspecific amplifications, i.e. a ladder or a smear of bands, may sometimes be seen. GC-rich primers have a higher tendency of giving rise to nonspecific amplifications than other primers.

PCR fragments longer than the control bands may sometimes be observed. Such bands should be disregarded and do not influence the interpretation of the SSP typings.

PCR fragments migrating faster than the control bands, but slower than a 400 bp fragment may be seen in some gel read-outs. Such bands can be disregarded and do not influence the interpretation of the SSP typings.

Some primers may give rise to primer oligomer artifacts. Sometimes this phenomenon is an inherit feature of the primer pair(s) of a primer mix. More often it is due to other factors such as too low amount of DNA in the PCR reactions, taking too long time in setting up the PCR reactions, working at elevated room temperature or using thermal cyclers that are not pre-heated.

2The internal positive control primer pairs amplify segments of the human growth hormone gene. The two different control primer pairs give rise to either an internal positive control band of 430 base pairs, for most wells, or a band of 515 base pairs, for some wells.

Well number 1 contains the primer pair giving rise to the longer, 515 bp, internal positive control band in order to help in the correct orientation of the DRB1*04 subtyping.

In addition, wells number 4, 10, 12, 16, 19, 21, 26, 27, 34, 36, 38, 43 and 45 contain the primer pair giving rise to the longer, 515 bp, internal positive control band in order to allow kit identification.

In the presence of a specific amplification the intensity of the control band often decreases.

3For several DRB1 alleles 1st and/or 3th exon(s) and above, as well as intron nucleotide sequences, are not available. In these instances it is not known whether some of the primers of the SSP sets are completely matched with the target sequences or not. We assume that unknown sequences in these regions are conserved within allelic groups.

4Non-DRB1*04 alleles will be amplified by primer mixes 2 to 4, 7 to 9, 11, 14, 16 to 19, 24, 26 to 32, 39 and 43.

The DRB1*11:22, DRB1*14:10 and DRB1*14:57 alleles carry the DRB1*04 sequence motif in the 1st hyperpolymorphic region of the 2nd exon and will, thus, be amplified by several of the DRB1*04 primer mixes. In addition, many DRB3 alleles will be amplified by primer mix 24, the DRB5*01:12 allele will be amplified by primer mix 29 and the DRB7*01:01:01 pseudogene will be amplified by primer mix 36.

5HLA-specific PCR products shorter than 125 base pairs have a lower intensity and are less sharp than longer PCR products.

6Primer mixes 19 and 21 may have tendencies of unspecific amplifications.

7Primer mixes 14, 31 and 38 have a tendency to giving rise to primer oligomer formation.

8Primer mixes 24 and 32 may give rise to a lower yield of HLA-specific PCR product than the other DRB1*04 primer mixes.

9Primer mix 11: Specific PCR fragment of 175 bp in the DRB1*04:15 and 04:61 and the DRB1*11:22 alleles. Specific PCR fragment of 220 bp in the DRB1*04:22 and 04:98:02 alleles.

10Primer mix 12: Specific PCR fragment of 180 bp in the DRB1*04:16 allele. Specific PCR fragment of 265 bp in the DRB1*04:23 and 04:52 alleles.

11Primer mix 13: Specific PCR fragment of 170 bp in the DRB1*04:46 allele. Specific PCR fragments of 225 bp in the DRB1*04:12, 04:18, 04:25, 04:31, 04:54-04:55, 04:58, 04:86 and 04:103 alleles.

12Primer mix 19: Specific PCR fragment of 140 bp in the DRB1*04:39 allele. Specific PCR fragment of 210 bp in the DRB1*04:24, 04:69, 04:78 and 04:101 and the DRB1*14:10 alleles.

13Primer mix 20: Specific PCR fragment of 100 bp in the DRB1*04:63 and 04:110 alleles. Specific PCR fragment of 175 bp in the DRB1*04:40 allele. Specific PCR fragment of 255 bp in the DRB1*04:27 allele.

14Primer mix 21: Specific PCR fragment of 155 bp in the DRB1*04:29 allele. Specific PCR fragment of 205 bp in the DRB1*04:37-04:38, 04:56, 04:58, 04:73, 04:88, 04:100, 04:105:01-04:105:02, 04:107 and 04:122 alleles.

15Primer mix 25: Specific PCR fragment of 125 bp in the DRB1*04:26 allele. Specific PCR fragment of 230 bp in the DRB1*04:45 allele. Specific PCR fragment of 260 bp in the DRB1*04:64 allele.

16Primer mix 27: Specific PCR fragment of 120 bp in the DRB1*04:10:01-04:12, 04:60, 04:67 and 04:91 and the DRB1*03:12, 08:06, 08:10, 08:12, 08:22, 13:04, 13:32, 13:48, 13:58, 13:75, 13:81, 13:89, 13:93-13:94, 13:108, 14:65, 14:78 and 15:12 alleles. Specific PCR fragment of 265 bp in the DRB1*04:49 allele.

17Primer mix 29: Specific PCR fragment of 75 bp in the DRB1*04:07:01-04:07:04, 04:17:01-04:17:02, 04:20, 04:69, 04:74, 04:92 and 04:102 and the DRB1*01:17, 09:01:02-09:01:05, 09:01:08-09:02:02, 09:04-09:05, 09:07-09:08, 09:10-09:19, 14:07:01-14:07:02, 14:14, 14:36, 14:42, 14:44:01-14:44:03, 14:51, 14:68 and 14:93 and in the DRB5*01:12 alleles. Specific PCR fragment of 260 bp in the DRB1*04:64 allele.

18Primer mix 31: Specific PCR fragment of 85 bp in the DRB1*04:14 and 04:106 and the DRB1*01:03, 01:39N, 08:40, 11:11:01-11:11:02, 11:14:01-11:14:02, 11:20, 11:68, 11:73, 11:93, 11:122, 13:02:01-13:02:03, 13:02:05-13:03:06, 13:23:01-13:23:02, 13:29, 13:31, 13:33:01-13:34, 13:36-13:39, 13:41, 13:45, 13:63, 13:65-13:67, 13:73-13:74, 13:85, 13:88, 13:90, 13:95-13:97:02, 13:99, 13:101, 13:103-13:104, 13:107, 13:115, 13:120, 13:122-13:124, 13:126, 13:128, 13:135 and 13:139 alleles. Specific PCR fragment of 260 bp in the DRB1*04:64 allele.

19Primer mix 35: Specific PCR fragment of 210 bp in the DRB1*04:81N allele. Specific PCR fragment of 245 bp in the DRB1*04:51 and 04:70 alleles.

20Primer mix 36: Specific PCR fragment of 175 bp in the DRB1*04:96 and in the DRB7*01:01:01 alleles. Specific PCR fragment of 240 bp in the DRB1*04:71allele.

21Primer mix 38: Specific PCR fragment of 140 bp in the DRB1*04:89 allele. Specific PCR fragment of 215 bp in the DRB1*04:73, 04:75, 04:105:01-04:105:02 and 04:122 alleles.

22Primer mix 39: Specific PCR fragment of 100 bp in the DRB1*04:83 allele. Specific PCR fragment of 175 bp in the DRB1*04:62 and 04:69 and the DRB1*14:10 and 14:57 alleles.

23Primer mix 42: Specific PCR fragment of 110 bp in the DRB1*04:41, 04:77, 04:102 and 04:113 alleles. Specific PCR fragment of 140 bp in the DRB1*04:79 allele.

‘w’, might be weakly amplified.

1DRB1*04 alleles in bold lettering are listed as confirmed alleles on the on the IMGT/HLA web page www.ebi.ac.uk/imgt/hla, release 3.9.0, July 2012.

2The sequence of the DRB1*04:05:12 allele has been shown to be identical to DRB1 *04:05:14.

3The DRB1*04:27 and 04:110 alleles can be distinguished by the different sizes of the specific PCR products generated by primer mix 20.

4The DRB1*04:39 and 04:101 alleles can be distinguished by the different sizes of the specific PCR products generated by primer mix 19.

5Primer mix 11: Specific PCR fragment of 175 bp in the DRB1*04:15 and 04:61 and the DRB1*11:22 alleles. Specific PCR fragment of 220 bp in the DRB1*04:22 and 04:98:02 alleles.

Primer mix 12: Specific PCR fragment of 180 bp in the DRB1*04:16 allele. Specific PCR fragment of 265 bp in the DRB1*04:23 and 04:52 alleles.

Primer mix 13: Specific PCR fragment of 170 bp in the DRB1*04:46 allele. Specific PCR fragments of 225 bp in the DRB1*04:12, 04:18, 04:25, 04:31, 04:54-04:55, 04:58, 04:86 and 04:103 alleles.

Primer mix 19: Specific PCR fragment of 140 bp in the DRB1*04:39 allele. Specific PCR fragment of 210 bp in the DRB1*04:24, 04:69, 04:78 and 04:101 and the DRB1*14:10 alleles.

Primer mix 20: Specific PCR fragment of 100 bp in the DRB1*04:63 and 04:110 alleles. Specific PCR fragment of 175 bp in the DRB1*04:40 allele. Specific PCR fragment of 255 bp in the DRB1*04:27 allele.

Primer mix 21: Specific PCR fragment of 155 bp in the DRB1*04:29 allele. Specific PCR fragment of 205 bp in the DRB1*04:37-04:38, 04:56, 04:58, 04:73, 04:88, 04:100, 04:105:01-04:105:02, 04:107 and 04:122 alleles.

Primer mix 25: Specific PCR fragment of 125 bp in the DRB1*04:26 allele. Specific PCR fragment of 230 bp in the DRB1*04:45 allele. Specific PCR fragment of 260 bp in the DRB1*04:64 allele.

Primer mix 27: Specific PCR fragment of 120 bp in the DRB1*04:10:01-04:12, 04:60, 04:67 and 04:91 and the DRB1*03:12, 08:06, 08:10, 08:12, 08:22, 13:04, 13:32, 13:48, 13:58, 13:75, 13:81, 13:89, 13:93-13:94, 13:108, 14:65, 14:78 and 15:12 alleles. Specific PCR fragment of 265 bp in the DRB1*04:49 allele.

Primer mix 29: Specific PCR fragment of 75 bp in the DRB1*04:07:01-04:07:04, 04:17:01-04:17:02, 04:20, 04:69, 04:74, 04:92 and 04:102 and the DRB1*01:17, 09:01:02-09:01:05, 09:01:08-09:02:02, 09:04-09:05, 09:07-09:08, 09:10-09:19, 14:07:01-14:07:02, 14:14, 14:36, 14:42, 14:44:01-14:44:03, 14:51, 14:68 and 14:93 and in the DRB5*01:12 alleles. Specific PCR fragment of 260 bp in the DRB1*04:64 allele.

Primer mix 31: Specific PCR fragment of 85 bp in the DRB1*04:14 and 04:106 and the DRB1*01:03, 01:39N, 08:40, 11:11:01-11:11:02, 11:14:01-11:14:02, 11:20, 11:68, 11:73, 11:93, 11:122, 13:02:01-13:02:03, 13:02:05-13:03:06, 13:23:01-13:23:02, 13:29, 13:31, 13:33:01-13:34, 13:36-13:39, 13:41, 13:45, 13:63, 13:65-13:67, 13:73-13:74, 13:85, 13:88, 13:90, 13:95-13:97:02, 13:99, 13:101, 13:103-13:104, 13:107, 13:115, 13:120, 13:122-13:124, 13:126, 13:128, 13:135 and 13:139 alleles. Specific PCR fragment of 260 bp in the DRB1*04:64 allele.

Primer mix 35: Specific PCR fragment of 210 bp in the DRB1*04:81N allele. Specific PCR fragment of 245 bp in the DRB1*04:51 and 04:70 alleles.

Primer mix 36: Specific PCR fragment of 175 bp in the DRB1*04:96 and in the DRB7*01:01:01 alleles. Specific PCR fragment of 240 bp in the DRB1*04:71allele.

Primer mix 38: Specific PCR fragment of 140 bp in the DRB1*04:89 allele. Specific PCR fragment of 215 bp in the DRB1*04:73, 04:75, 04:105:01-04:105:02 and 04:122 alleles.

Primer mix 39: Specific PCR fragment of 100 bp in the DRB1*04:83 allele. Specific PCR fragment of 175 bp in the DRB1*04:62 and 04:69 and the DRB1*14:10 and 14:57 alleles.

Primer mix 42: Specific PCR fragment of 110 bp in the DRB1*04:41, 04:77, 04:102 and 04:113 alleles. Specific PCR fragment of 140 bp in the DRB1*04:79 allele.

‘w’, might be weakly amplified.

Change in revision R01 compared to R00:

- Primer mix 47 contains the 515 bp positive control primer pair. This has been corrected in the Specificity Table.