Gel Documentation Form and Worksheet

DRB1*07 (101.118-24/24u) 	Lot No: 02V	Expiry Date: 2016-June-01

Name:___________________

Sample ID:_______________

DNA Conc.(ng/ul):_________

Test  Date: ______________

Tested By: ______________

Review Date:________________

Reviewed By:________________

Gel Picture

PHOTO DOCUMENT

‘ICB’ Internal Control Band,

‘AmpS’ Amplicon size

Interpretation:_______________

Failed lanes:    _________

Comments:    ___________________

Notes:

Product sizes are approximate. For detailed information, see the lot-specific Specificity Table and Interpretation Table.

This table is intended as a guide. For interpretation always use the Interpretation Table and/or Specificity Table.

Specific PCR fragments shorter than 125 base pairs have a lower intensity and are less sharp than longer PCR bands.

Primer mixes 1 and 9 may have tendencies of giving rise to primer oligomer artefacts.

Primer mix 16 contains a negative control, which will amplify more than 95% of HLA amplicons as well as the amplicons generated by control primer pairs. PCR product sizes range from 75 to 200 base pairs. The PCR product generated by the control primer pair is 430 base pairs

1DRB1*07 alleles in bold lettering are listed as confirmed alleles on the on the IMGT/HLA web page www.ebi.ac.uk/imgt/hla, release 3.14.0, October 2013.

2Alleles that have been deleted from or renamed in the official WHO HLA Nomenclature up to and including the last IMGT/HLA database release can be retrieved from web page http://hla.alleles.org/alleles/deleted.html.

3Primer mix 4: Specific PCR fragment of 90 bp in the DRB1*07:10N allele. Specific PCR fragment of 230 bp in the DRB1*07:04 and 07:25 alleles.

Primer mix 5: Specific PCR fragment of 190 bp in the DRB1*07:05 allele. Specific PCR fragment of 230 bp in the DRB1*07:11 and 07:25 alleles.

Primer mix 9: Specific PCR fragment of 105 bp in the DRB1*07:12 and in the DRB1*04:90 and 09:08 alleles. Specific PCR fragment of 240 bp in the DRB1*07:22 and 07:23 alleles.

Primer mix 10: Specific PCR fragment of 165 bp in the DRB1*07:13 allele. Specific PCR fragment of 220 bp in the DRB1*07:18 allele.

Primer mix 11: Specific PCR fragment of 105 bp in the DRB1*07:14 allele. Specific PCR fragment of 260 bp in the DRB1*07:24 allele.

Primer mix 12: Specific PCR fragment of 210 bp in the DRB1*07:15 and 07:21 alleles. Specific PCR fragment of 245 bp in the DRB1*07:23 allele.

Primer mix 14: Specific PCR fragment of 125 bp in the DRB1*07:27 allele. Specific PCR fragment of 215 bp in the DRB1*07:17. Specific PCR fragment of 260 bp in the DRB1*07:20 allele.

Primer mix 15: Specific PCR fragment of 155 bp in the DRB1*07:19 and 07:28 alleles. Specific PCR fragment of 220 bp in the DRB1*07:18 allele. Specific PCR fragment of 260 bp in the DRB1*07:20 allele.

4The following DRB1*07 alleles can be distinguished by the different sizes of the specific PCR product:

| Alleles | Primer mix |
| --- | --- |
| DRB1*07:14, 07:24 | 11 |
| DRB1*07:17, 07:27 | 14 |

The DRB1*07 subtyping kit cannot distinguish the silent mutations in the DRB1*07:01:01:01 to DRB1*07:01:07 alleles.