Gel Documentation Form and Worksheet

DRB1*07 (101.118-24/24u) 	Lot No: 58X	      Expiry Date: 2017-September-01

Name:___________________

Sample ID:_______________

DNA Conc.(ng/ul):_________

Test  Date: ______________

Tested By: ______________

Review Date:________________

Reviewed By:________________

Interpretation:___________                             Failed lanes: ____________                         Comments:________________

Gel Picture

PHOTO DOCUMENT

‘ICB’ Internal Control Band,

‘AmpS’ Amplicon size

Notes:

Product sizes are approximate. For detailed information, see the lot-specific Specificity Table and Interpretation Table.

This table is intended as a guide. For interpretation always use the Interpretation Table and/or Specificity Table.

HLA-Specific PCR fragments shorter than 125 base pairs have a lower intensity and are less sharp than longer PCR bands.

Primer mixes 1 and 9 have a tendency to giving rise to primer oligomer formation..

Primer mix 16 contains a negative control, which will amplify more than 95% of HLA amplicons as well as the amplicons generated by the control primer pairs matching the human growth hormone gene. HLA-specific PCR product sizes range from 75 to 200 base pairs and the PCR product generated by the HGH positive control primer pair is 430 base pairs.

1DRB1*07 alleles in bold lettering are listed as confirmed alleles on the on the IMGT/HLA web page www.ebi.ac.uk/imgt/hla, release 3.19.0, January 2015.

2Alleles that have been deleted from or renamed in the official WHO HLA Nomenclature up to and including the last IMGT/HLA database release can be retrieved from web page http://hla.alleles.org/alleles/deleted.html.

3Primer mix 4: Specific PCR fragment of 90 bp in the DRB1*07:10N allele. Specific PCR fragment of 235 bp in the DRB1*07:04 and 07:25 alleles.

Primer mix 5: Specific PCR fragment of 190 bp in the DRB1*07:05 allele. Specific PCR fragment of 235 bp in the DRB1*07:11 and 07:25 alleles.

Primer mix 9: Specific PCR fragment of 105 bp in the DRB1*07:12 and the DRB1*04:90 and 09:08 alleles. Specific PCR fragment of 240 bp in the DRB1*07:22 and 07:23 alleles.

Primer mix 10: Specific PCR fragment of 120 bp in the DRB1*07:34 allele. Specific PCR fragment of 165 bp in the DRB1*07:13 allele. Specific PCR fragment of 220 bp in the DRB1*07:18 allele.

Primer mix 11: Specific PCR fragment of 110 bp in the DRB1*07:14 and 07:34 alleles. Specific PCR fragment of 260 bp in the DRB1*07:24 allele.

Primer mix 12: Specific PCR fragment of 210 bp in the DRB1*07:15 and 07:21 alleles. Specific PCR fragment of 245 bp in the DRB1*07:23 allele.

Primer mix 14: Specific PCR fragment of 125 bp in the DRB1*07:27 allele. Specific PCR fragment of 215 bp in the DRB1*07:17. Specific PCR fragment of 260 bp in the DRB1*07:20 allele.

Primer mix 15: Specific PCR fragment of 155 bp in the DRB1*07:19 and 07:28 alleles. Specific PCR fragment of 220 bp in the DRB1*07:18 allele. Specific PCR fragment of 260 bp in the DRB1*07:20 allele.

4The following DRB1*07 alleles can be distinguished by the different sizes of the specific PCR product:

| Alleles | Primer mix |
| --- | --- |
| DRB1*07:14, 07:24 | 11 |
| DRB1*07:17, 07:27 | 14 |

The DRB1*07 subtyping kit cannot distinguish the silent mutations in the DRB1*07:01:01:01 to DRB1*07:01:08 alleles.