Gel Documentation Form and Worksheet

DRB1*08 (101.127-12/04, -12u/04u) 	Lot No: 88Y	Expiry Date: 2018-March-01

Name:__________________

Sample ID:______________

DNA Conc.(ng/ul):_________

Test  Date:_______________

Tested By:_______________

Review Date:_______________

Reviewed By:_______________

Interpretation:___________	Failed lanes: ___________ 	 Comments:_________________

Gel Picture

PHOTO DOCUMENT

‘ICB’ Internal Control Band,

‘AmpS’ Amplicon Size

Notes:

Product sizes are approximate. For detailed information, see the lot-specific Specificity Table and Interpretation Table.

This table is intended as a guide. For interpretation always use the Interpretation Table and/or Specificity Table.

HLA-specific PCR products shorter than 125 base pairs have a lower intensity and are less sharp than longer PCR products.

Primer mixes 2 and 5 may have tendencies of unspecific amplifications.

Primer mixes 3 and 8 have a tendency to giving rise to primer oligomer formation.

Primer mix 24 contains a negative control, which will amplify more than 95% of HLA amplicons as well as the amplicons generated by control primer pairs. PCR product sizes range from 75 to 200 base pairs. The PCR product generated by the control primer pair is 430 base pairs.

1DRB1*08 alleles in bold lettering are listed as confirmed alleles on the on the IMGT/HLA web page www.ebi.ac.uk/imgt/hla, release 3.21.1, August 2015.

2Alleles that have been deleted from or renamed in the official WHO HLA Nomenclature up to and including the last IMGT/HLA database release can be retrieved from web page http://hla.alleles.org/alleles/deleted.html.

3Primer mix 9: Specific PCR fragment of 125 bp in the DRB1*08:26 and 08:35-08:36:02 and 03:12 and the DRB1*13:32, 13:65, 13:93, 13:120, 13:139, 14:13, 14:63, 14:65, 14:78 and 14:85 alleles. Specific PCR fragment of 175 bp in the DRB1*08:14 allele.

Primer mix 10: Specific PCR fragment of 205 bp in the DRB1*08:40 and the DRB1*13:17, 13:116 and 13:175 alleles. Specific PCR fragment of 250 bp in the DRB1*08:12 and 08:22 and the DRB1*12:01:01-12:02:06, 12:04-12:15, 12:17-12:18, 12:20-12:21, 12:23-12:38, 12:40-12:41, 12:43-12:56, 12:58 and 14:28 alleles.

Primer mix 12: Specific PCR fragment of 95 bp in the DRB1*08:27 allele. Specific PCR fragment of 145 bp in the DRB1*08:44 allele. Specific PCR fragment of 195 bp in the DRB1*08:13 and 08:48 and the DRB1*12:12 alleles. Specific PCR fragment of 220 bp in the DRB1*08:43 allele.

Primer mix 13: Specific PCR fragment of 135 bp in the DRB1*08:33 allele. Specific PCR fragment of 165 bp in the DRB1*08:11 allele. Specific PCR fragment of 260 bp in the DRB1*08:39 allele.

Primer mix 14: Specific PCR fragment of 135 bp in the DRB1*08:17, 08:28, 08:37, 08:45 and 08:63 and the DRB1*03:92, 11:67, 12:01:01-12:20, 12:22-12:37, 12:39-12:41, 12:43-12:52, 12:54-12:56, 12:58, 13:17, 13:175 and 14:138 alleles. Specific PCR fragment of 250 bp in the DRB1*08:60N allele.

Primer mix 17: Specific PCR fragment of 75 bp in the DRB1*08:04:01, 08:04:02w-04:04:03w, 08:04:04-08:04:07, 08:06, 08:10, 08:12, 08:20, 08:22, 08:28, 08:54, 08:59, 08:67, 08:70 and 08:75 and the DRB1*04:12, 04:18, 04:25, 04:58, 11:25, 11:67, 11:119, 13:18, 13:144, 13:156, 13:164, 14:12:01-14:12:02, 14:15, 14:78, 14:84, 14:156 and 15:21 alleles. Specific PCR fragment of 175 bp in the DRB1*08:14 allele.

Primer mix 18: Specific PCR fragment of 150 bp in the DRB1*08:09, 08:21, 08:32 and 08:35 and the DRB1*14:15 alleles. Specific PCR fragment of 225 bp in the DRB1*08:20 and the DRB1*11:23:01-11:23:02, 11:25, 11:45, 11:55, 11:64, 11:119, 13:13, 13:18, 13:47, 13:55, 13:119, 13:144, 13:146, 13:154, 13:156, 13:158, 13:164, 14:03:01-14:03:02, 14:12:01-14:12:02, 14:27, 14:63, 14:67, 14:78, 14:85, 14:89, 14:102, 14:115-14:116, 14:135, 14:144, 14:156 alleles.

Specific PCR fragment of 150 bp and 225 bp in the DRB1*14:40, 14:55, 14:77, 14:84 and 14:136 alleles.

Primer mix 19: Specific PCR fragment of 100 bp in the DRB1*08:16 and 08:38 alleles. Specific PCR fragment of 170 bp in the DRB1*08:07 and 08:49 alleles.

Primer mix 22: Specific PCR fragment of 130 bp in the DRB1*08:23 allele. Specific PCR fragment of 165 bp in the DRB1*08:19 allele. Specific PCR fragment of 215 bp in the DRB1*08:29 and the DRB1*14:04:01-14:04:02, 14:11, 14:28, 14:68:01-14:68:02, 14:71, 14:73, 14:93, 14:120, 14:126:01-14:126:02, 14:138, 14:145, 14:148 and 14:152N alleles.

Primer mix 23: Specific PCR fragment of 220 bp in the DRB1*08:43 alleles. Specific PCR fragment of 250 bp in the DRB1*08:04:01, 08:04:04-08:04:07, 08:06, 08:10, 08:28, 08:31, 08:54, 08:59, 08:67, 08:70 and 08:75 and the DRB1*03:92, 11:67, 12:03:02-12:03:03, 12:19, 13:17, 13:116, 13:175, 14:04:01-14:04:02, 14:11, 14:15, 14:31, 14:50, 14:52, 14:73, 14:76, 14:79, 14:107, 14:120, 14:126:01-14:126:02, 14:138, 14:145, 14:148 and 14:152N alleles.

4The DRB1*08:20 and the DRB1*14:12:01-14:12:02, 14:84 and 14:156 give rise to identical amplification patterns with the DRB1*08 subtyping kit. These alleles can be distinguished by e.g. the DR low resolution kit and/or the DRB1*14 subtyping kit.

The DRB1*08 subtyping kit cannot distinguish the following silent mutations: DRB1*08:01:01-08:01:06, the DRB1*08:02:01-08:02:04, DRB1*08:03:02-08:03:05, the DRB1*08:04:01 and 08:04:04-08:04:07 alleles, the DRB1*08:04:02-08:04:03 alleles, the DRB1*08:30:01-08:30:03 or the DRB1*08:36:01-08:36:02 alleles.

‘w’, may be weakly amplified.

Change in revision R01 compared to R00:

- Primer mix 10 does not amplify the DRB1*14:152N allele. This has been corrected in the Specificity and Interpretation Tables.