Gel Documentation Form and Worksheet

DRB1*09 (101.120-06/06u) 	Lot No: 22X	Expiry Date: 2017-April-01

Name:__________________

Sample ID:______________

DNA Conc.(ng/ul):_________

Test  Date:_______________

Tested By:_______________

Review Date:_______________

Reviewed By:_______________

Interpretation:___________                          Failed lanes: ___________ 	                            Comments:_________________

Gel Picture

PHOTO DOCUMENT

‘ICB’ Internal Control Band,

‘AmpS’ Amplicon Size

Notes:

Product sizes are approximate. For detailed information, see the lot-specific Specificity Table and Interpretation Table.

This table is intended as a guide. For interpretation always use the Interpretation Table and/or Specificity Table.

HLA-specific PCR products shorter than 125 base pairs have a lower intensity and are less sharp than longer PCR products.

Primer mix 4 has a tendency to giving rise to primer oligomer formation.

Primer mix 12 contains a negative control, which will amplify more than 95% of HLA amplicons as well as the amplicons generated by the control primer pairs matching the human growth hormone gene. HLA-specific PCR product sizes range from 75 to 200 base pairs and the PCR product generated by the HGH positive control primer pair is 430 base pairs.

1DRB1*09 alleles in bold lettering are listed as confirmed alleles on the IMGT/HLA web page www.ebi.ac.uk/imgt/hla, release 3.17.0, July 2014.

2Alleles that have been deleted from or renamed in the official WHO HLA Nomenclature up to and including the last IMGT/HLA database release can be retrieved from web page http://hla.alleles.org/alleles/deleted.html.

Primer mix 4: Specific PCR fragment of 100 bp in the DRB1*09:17 allele. Specific PCR fragment of 130 bp in the DRB1*09:13 allele. Specific PCR fragment of 210 bp in the DRB1*09:03 and 09:18 alleles. Specific PCR fragment of 245 bp in the DRB1*09:15 and 09:16 alleles. Specific PCR fragment of 275 bp in the DRB1*09:09 allele.

Primer mix 5: Specific PCR fragment of 185 bp in the DRB1*09:08 allele. Specific PCR fragment of 215 bp in the DRB1*09:04 allele.

Primer mix 6: Specific PCR fragment of 105 bp in the DRB1*09:10 allele. Specific PCR fragment of 150 bp in the DRB1*09:11 and 09:14 alleles. Specific PCR fragment of 250 bp in the DRB1*09:05 allele.

Primer mix 8: Specific PCR fragment of 150 bp in the DRB1*09:19 allele. Specific PCR fragment of 180 bp in the DRB1 *09:07, 09:12 and 09:20 alleles.

4The following DRB1*09 alleles can be distinguished by the different sizes of the HLA-specific PCR product:

| Alleles | Primer mix |
| --- | --- |
| DRB1*09:03, 09:09, 09:13, 09:15, 09:17-09:18 | 4 |

The DRB1*09 SSP subtyping kit cannot separate the silent mutations DRB1*09:01:02 to DRB1*09:01:10 or the DRB1*09:02:01 and DRB1*09:02:02 alleles.