Gel Documentation Form and Worksheet

DRB1*12 (101.128-12/12u) 	Lot No: 41X	Expiry Date: 2017-April-01

Name:__________________

Sample ID:______________

DNA Conc.(ng/ul):_________

Test  Date:_______________

Tested By:_______________

Review Date:_______________

Reviewed By:_______________

Interpretation:___________	Failed lanes: ___________ 	 Comments:_________________

Gel Picture

PHOTO DOCUMENT

‘ICB’ Internal Control Band,

‘AmpS’ Amplicon Size

Notes:

Product sizes are approximate. For detailed information, see the lot-specific Specificity Table and Interpretation Table.

This table is intended as a guide. For interpretation always use the Interpretation Table and/or Specificity Table.

HLA-specific PCR products shorter than 125 base pairs have a lower intensity and are less sharp than longer PCR products.

Primer mixes 12 and 23 have a tendency to giving rise to primer oligomer formation.

Primer mixes 16 and 17 may have tendencies of unspecific amplifications.

Primer mix 24 contains a negative control, which will amplify more than 95% of HLA amplicons as well as the amplicons generated by the control primer pairs matching the human growth hormone gene. HLA-specific PCR product sizes range from 75 to 200 base pairs and the PCR product generated by the HGH positive control primer pair is 430 base pairs.

1DRB1*12 alleles in bold lettering are listed as confirmed alleles on the on the IMGT/HLA web page www.ebi.ac.uk/imgt/hla, release 3.17.0, July 2014.

2Alleles that have been deleted from or renamed in the official WHO HLA Nomenclature up to and including the last IMGT/HLA database release can be retrieved from web page http://hla.alleles.org/alleles/deleted.html.

3Primer mix 13: Specific PCR fragment of 115 bp in the DRB1*12:24N allele. Specific PCR fragment of 185 bp in the DRB1*12:05, 12:14 and 12:15 alleles. Specific PCR fragment of 255 bp in the DRB1*12:20 allele.

Primer mix 15: Specific PCR fragment of 170 bp in the DRB1*12:18 and 12:47 alleles. Specific PCR fragment of 200 bp in the DRB1*12:07 allele.

Primer mix 16: Specific PCR fragment of 80 bp in the DRB1*12:08, 12:23 and 12:27 and the DRB1*08:53, 11:76, 11:114, 13:34, 13:64, 13:136, 13:174, 14:41, 14:77, 14:110 and 15:102 alleles. Specific PCR fragment of 115 bp in the DRB1*12:31N allele.

Primer mix 18: Specific PCR fragment of 90 bp in the DRB1*12:26 allele. Specific PCR fragment of 135 bp in the DRB1*12:11 allele.

Primer mix 22: Specific PCR fragment of 105 bp in the DRB1*12:21 and 12:38 alleles. Specific PCR fragment of 220 bp in the DRB1*12:16:01-12:16:03, 12:22, 12:39 and the DRB1*13:145 alleles. Specific PCR fragment of 105 and 220 bp in the DRB1*08:32 allele.

The DRB1*12 subtyping kit cannot distinguish the following silent mutations: the DRB1*12:01:01 and 12:01:04-12:01:05 alleles, the DRB1*12:01:02-12:01:03 alleles, the DRB1*12:02:01 and 12:02:03-12:02:06 alleles or the DRB1*12:16:01 and 12:16:03 alleles.

‘w’, may be weakly amplified.

Change in revision R01 compared to R00:

- Primer mix 8 does not amplify the DRB1*08:14 allele. This has been corrected in the Specificity and Interpretation Tables.