DRB1\*12 (101.128-12/12u) Lot No: 1R1 Expiry Date: 2026-09-01

Name:\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ Test Date:\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ Review Date:\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Sample ID:\_\_\_\_\_\_\_\_\_\_\_\_\_\_ Tested By:\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ Reviewed By:\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

DNA Conc.(ng/ul):\_\_\_\_\_\_\_\_\_

***Interpretation:\_\_\_\_\_\_\_\_\_\_\_******Failed lanes: \_\_\_\_\_\_\_\_\_\_\_ Comments:\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_***

**Gel Picture**

|  |
| --- |
| PHOTO DOCUMENT |



Abbreviations

ICB: Internal Control Band

AmpS: Amplicon Size

**Notes:**

Product sizes are approximate. For detailed information, see the lot-specific Specificity Table and Interpretation Table.

This table is intended as a guide. For interpretation always use the Interpretation Table and/or Specificity Table.

HLA-specific PCR products shorter than 125 base pairs have a lower intensity and are less sharp than longer PCR products.

Primer mix 12 has a tendency to giving rise to primer oligomer formation.

Primer mixes 17 and 18 may have tendencies of unspecific amplifications.

Primer mix 24 contains a negative control which will amplify a majority of HLA amplicons as well as the amplicons generated by the control primer pairs matching the human growth hormone gene. HLA-specific PCR product sizes range from 75 to 200 base pairs and the PCR product generated by the HGH positive control primer pair is 200 base pairs.







1DRB1\*12 alleles in bold lettering are listed as confirmed alleles on the on the IMGT/HLA web page [www.ebi.ac.uk/imgt/hla](http://www.ebi.ac.uk/imgt/hla), release 3.32.0, April 2018.

2Alleles that have been deleted from or renamed in the official WHO HLA Nomenclature up to and including the last IMGT/HLA database release can be retrieved from web page <http://hla.alleles.org/alleles/deleted.html>.

3The following DRB1\*12 primer mixes have two or more product sizes:

|  |  |  |  |
| --- | --- | --- | --- |
| Primer Mix | Size of spec. PCR product | Amplified DRB1\*12 alleles | Other amplified DRB1 alleles |
| **13** | 115 bp  185 bp  255 bp | \*12:24N-12:25  \*12:05, 12:14-12:15, 12:56  \*12:20 |  |
| **15** | 170 bp  200 bp | \*12:18, 12:47  \*12:07 |  |
| **16** | 80 bp  115 bp | \*12:08, 12:23, 12:27  \*12:31N | \*08:53, 08:87, 11:76, 11:114, 11:183, 11:196, 11:302, 13:34, 13:64, 13:136, 13:174, 13:204, 13:221, 13:250, 14:41, 14:77, 14:110, 14:218, 15:102, **DRB3\*01:36, DRB3\*02:37, DRB3\*02:83, DRB3\*02:112, DRB3\*03:12** |
| **17** | 80 bp  110 bp  225 bp | \*12:10  \*12:25, 12:48  \*12:60N | \*01:26, 13:163  **DRB5\*02:07** |
| **18** | 85 bp  135 bp | \*12:26, 12:28  \*12:11 |  |
| **19** | 75 bp  115 bp  195 bp | \*12:28  \*12:45  \*12:12, 12:62 | \*08:13, 08:48 |
| **20** | 175 bp  220 bp | \*12:13, 12:23  \*12:57 |  |
| **22** | 105 bp  220 bp | \*12:21, 12:38, 12:53, 12:76  \*12:16:01-12:16:03, 12:22, 12:39:01-12:39:02 | \*08:32  \*08:32, 13:145 |

Abbreviations

w: may be weakly amplified.