xPHOTO DOCUMENT

Olerup SSP®

Olerup SSP® DRB1*13

Prod. No:	101.116-24/24u

101.116-03/03u

Lot No:    	03G

Expiry Date:    	2011-July-01

Name:________________Sample ID:_______________

DNA Extract Date:_________ Conc.(ng/ul):_________

Test  Date: _________Review Date:_______________

Tested By: _________Reviewed By:_______________

Interpretation:_________________________________

Specificities and sizes of the PCR products of the 32 primer mixes used for DRB1*13 SSP typing.

| Primer Mix | Size of spec. PCR product1 | Size of contr. band2 | Amplified DRB1*13 alleles3 | Other amplified DRB alleles3,4 |
| --- | --- | --- | --- | --- |
| 1 | 175 bp | 515 bp | 130101-1316, 1318-1342, 1344, 1346-1366, 1368-1388 | 03010101-030105, 030201-0307, 0309, 0311-0341, 0820, 1402-140302, 140501-1406, 1409, 1412-1414, 1417-1421, 142301, 142302w, 1424, 1427, 1429, 1430, 1433, 1436, 1437, 1440-1445, 1447, 1448, 1451, 1456, 1459, 1463-1465, 1467, 1477, 1478, 1480, 1481, 1483-1485 |
| 25 | 200 bp | 430 bp | 130101-1304, 1306, 1308-1310, 1312, 1313, 1315, 1316, 1319, 1322, 1323, 1327, 1328, 1330-1341, 1345, 1348, 1351-1353, 1357-1359, 1361, 1364-1366, 1368-1370, 1372, 1373, 1374w, 1376, 1377, 1379-1385, 1387 | 110201, 110202, 111401, 111402, 1116, 1118-1121, 1131, 1145, 1148, 116501, 116502, 1170, 1416, 1424, 1437, 1463, 1467, 1478 |
| 3 | 200 bp | 430 bp | 130501, 130502, 130701, 130702, 131101, 131102, 131401-131403, 1318, 1321, 1324, 1326, 1342, 1346, 1347, 1349-135002, 1354, 1355, 1362, 1363, 1375 | 0820, 110101-110107, 1103-110404, 110601, 110602, 1109-111202, 1115, 1123-1125, 112701-1129, 1132, 1133, 1135, 1137-1141, 1143, 1144, 1146, 1147, 1149-1151, 115401-1156, 1158-1163, 1166, 1172, 1422, 1425, 1427, 1453 |
| 4 | 170 bp | 430 bp | 130301-1304, 1312, 1313, 1321, 1330, 1332, 1333, 1338, 1348, 1349, 1355, 1358, 1365, 1366, 1375, 1381, 1388 | 0312, 1413, 1463, 1465, 1478, 1485 |
| 5 | 220 bp | 430 bp | 130301, 130302, 130501-130702, 1310-131403, 1318, 1321, 1325, 1326, 1330, 1333, 1337, 1342, 1344, 1346, 1347, 1349-135002, 1355, 1356, 1358, 1360, 1362, 1366, 1377, 1381, 1382, 1385, 1386, 1388 | 0820, 110101-110107, 110401-110404, 110601, 110602, 110801-111002, 111201-111302, 1115, 1117-111902, 1123-1129, 1131-1135, 1137-1139, 1142-1147, 1149, 1150, 1152, 115401-1158, 1160-1162, 1164, 1166, 1172, 140101-140302, 140501-1409, 1412-1414, 1417-142302, 1425-1427, 1429, 1430, 143201-1436, 1438-1445, 1447-1449, 1451, 1453-1455, 1458-1460, 1462-1465, 1467, 1469, 1470, 1472, 1474, 1475, 1477, 1478, 1480-1485 |
| 6 | 215 bp | 515 bp | 130101-130203, 1304, 1308, 1309, 1315, 1316, 1319, 1320, 1322-1324, 1327-1329, 1331, 1332, 1334-1336, 1338-1341, 1343, 1345, 1348, 1351-1354, 1357, 1359, 1361, 1363-1365, 1368-1376, 1378-1380, 1383, 1384, 1387 | 110201-1103, 111101, 111102, 111401, 111402, 1116, 1120, 1121, 1136, 1140, 1141, 1148, 1155, 1159, 1163, 116501, 116502, 1168-1170, 1416, 1424, 1437 |
| 77 | 190 bp | 430 bp | 130201-130203, 130501, 130502, 1326, 1329, 1331, 1334, 1336, 1339, 1341, 135001w, 135002, 1356, 1363, 1365, 1367, 1373, 1374, 1385 | 030201, 030202, 030501, 030502, 0309, 0314, 0327, 0329, 0338, 1109, 1120, 1128w, 1402-140302, 1409, 1413, 1419, 1424, 1427, 1430, 1446-1448, 1451, 1463, 1467, 1485, 1608, DRB3*0108, DRB3*0206, 0220 |
| 87 | 190 bp | 430 bp | 130101-130103, 1306, 1309, 1310, 1315, 1318, 1320, 1327, 1328, 1332, 1335, 1340, 1342, 1343, 1351, 1353, 1359, 1361, 1369, 1371, 1377-1380, 1387 | 03010101-030106, 0303, 0306-0308, 0310-031302, 0315, 0316, 0318-0320, 0322-0324, 0326, 0328, 0332-0334, 0336, 0337, 0339, 1116, 1140, 1158, 1159, 1406, 1412, 1417, 1418, 1421, 1429, 1433, 1452, 1459, 1464, 1478, 1480, 1481, 1483, 1532 |
| 9 | 260 bp | 430 bp | 130201-130302, 130501, 130502, 130701, 130702, 1312-131403, 1321, 1323, 1325, 1326, 1329-1331, 1333, 1334, 1336-1339, 1341, 1345-1347, 1349-135002, 1355, 1356, 1360, 1362, 1363, 1365, 1366, 1373, 1374, 1382, 1385, 1386, 1388 | 030201, 030202, 030501, 030502, 0309, 0314, 0317, 0327, 0329, 0335, 0338, 0340, 0341, 110101-110107, 110801-111202, 111401-1115, 111901-1120, 1123, 1124, 1126-1129, 1131-1133, 1137, 1139, 1145, 1149, 1151, 1153, 1161, 1162, 1164, 1166, 1168, 1169, 1172, 1402-140302, 140701, 140702, 1409, 1413, 1414, 1419, 1422, 1424, 1425, 1427, 1430, 1436, 1440-1442, 144401, 144402, 1447-1449, 1451, 1453, 1463, 1467, 1469, 1477, 1485 |
| 10 | 260 bp | 430 bp | 130101-130103, 1304, 1306, 1308-131102, 1315, 1318-1320, 1322, 1324, 1327, 1328, 1332, 1335, 1340, 1342-1344, 1348, 1351-1354, 1357-1359, 1361, 1364, 1368-1372, 1375-1381, 1383, 1384, 1387 | 03010101-030106, 0303, 0304, 0306-0308, 0310-031302, 0315, 0316, 0318-0326, 0328, 0330-0334, 0336, 0337, 0339, 0820, 110201-110404, 110601-1107, 111301, 111302, 1116-1118, 1121, 1125, 1134-1136, 1138, 1140-1144, 1146-1148, 1150, 1152, 115401-1160, 1163, 116501, 116502, 1170, 140101-140103, 140501-1406, 1408, 1412, 1416-1418, 1420, 1421, 142301, 142302, 1426, 1429, 143201-1435, 1437-1439, 1443, 1445, 1454-1456, 1458-1460, 1462, 1464, 1465, 1470, 1472, 1474, 1475, 1478, 1480-1484 |
| 117 | 205 bp | 430 bp | 1309, 1320, 1325, 1329, 1343, 1356, 1360, 1371, 1378, 1388 | 110801, 110802, 1136, 1142, 1157, 1164, 1168, 1169, 140301, 140302, 1412, 1424, 1437, 1440, 1469, 1474, 1477, 1484, 1485 |
| 12 | 215 bp | 430 bp | 130101-1304, 1308, 1310, 1315, 1316, 1319, 1320, 1322-1324, 1326-1329, 1331-1341, 1343, 1345, 1348, 1351-1354, 1357, 1359-1361, 1363-1366, 1368-1381, 1383-1385, 1387, 1388 | 110103, 110201-1103, 111101, 111102, 111401, 111402, 1116, 111902-1121, 1136, 1140, 1141, 1148, 1159, 1163, 116501, 116502, 1168, 1170, 1416, 1419, 1421 |
| 13 | 145 bp | 515 bp | 130301, 130302, 130701-1308, 1312, 1313, 1319, 1326, 1332, 1333, 1336-1338, 1340, 1347-1349, 1353, 1355, 1358, 1360, 1365, 1370, 1372, 1376, 1381, 1384, 1385, 1388 | 030201-0303, 0306, 0317, 0326, 0327, 0331, 0335, 0338, 0341, 0820, 1117, 1137, 1141, 1148, 1150, 1152, 1156, 140101-140301, 140501-1409, 1412-1414, 1416, 1418-1420, 1422-1427, 1429, 143201, 143202, 1434, 1436-1441, 1443-1445, 1447-1449, 1451, 1454-1456, 1458-1460, 1462, 1463, 1467, 1469, 1470, 1474, 1475, 1477, 1478, 1480-1485 |
| 148 | 145 bp | 430 bp | 1304, 1308, 1317, 1319, 1322-1324, 1338, 1345, 1348, 1354, 1357, 1364, 1369, 1370, 1372, 1375, 1376, 1383 | 0402, 0414, 0437, 110201-1103, 111101, 111102, 111401, 111402, 1121, 1136, 1141, 1148, 1163, 116501, 116502, 1168, 1170, 1416, 1457, 1510 |
| 156,10 | 85, 235 bp | 515 bp | 1315, 1319, 1326, 1333, 1353, 1357, 1385, 1386 | 03010101, 03010102, 030103-031301, 0316, 0318-0323, 0325-0334, 0336-0341, 1107, 112702, 1402-140302, 1406, 1412, 1413, 1418-1420, 1424, 1427, 1429, 1440, 1441, 1447-1449, 1451, 1463, 1467, 1477, 1478, 1481, 1483, 1485 |
| 167 | 150 bp | 430 bp | 130101-130201, 130203, 1308, 1315, 1316, 1319, 1320, 1327-1329, 1331, 1332, 1334-1336, 1339-1341, 1343, 1351-1353, 1357, 1359, 1361, 1363-1365, 1367-1369, 1371-1374, 1376, 1378-1380, 1383, 1384, 1387 | 1116, 1120, 1140, 1159, 1416, 1457, 1510 |
| 1711 | 145, 220, 255 bp | 430 bp | 130202, 1326, 1328, 1360, 1377, 1380 | 0316, 110103, 111902 |
| 186,12 | 110, 230 bp | 430 bp | 1313, 1318, 1347, 1355, 1361, 1387 | 030102, 030202, 031302, 0317, 0324, 0327, 0335, 0820, 1123, 1125, 112701, 1145, 1155, 1164, 140301, 140302, 1412, 1427, 1438, 1440, 1447, 1455, 1463, 1467, 1477, 1478, 1484, 1485 |
| 196,8,13 | 110, 150, 205, 260 bp | 430 bp | 1316, 1351, 1374, 1387 |  |
| 208,9,14 | 180, 205, 225 bp | 515 bp | 1317, 1367, 1373 |  |
| 219 | 175 bp | 430 bp | 1327, 1341, 1371 | 1159 |
| 226,15 | 110, 175 bp | 430 bp | 1331, 1346, 1354, 1368, 1377 | 0338, 1124, 1448 |
| 236,16 | 115, 235, 255 bp | 430 bp | 130103, 1328, 1334, 1364, 1376 | 110105, 110403, 110602, 111301, 111302, 1117, 1152, 115401, 140101, 140103, 140501, 140502, 140701-1408, 1414, 1418, 142301, 142302, 1426, 143202, 1434-1436, 1439, 1441-144401, 1445, 1454-1456, 1458-1460, 1462, 1464, 1465, 1470, 1472, 1477, 1482 |
| 2417 | 145, 180 bp | 430 bp | 1335, 1339, 1354, 1377-1379 | 031301, 031302, 0338, 1448, 1464 |
| 256 | 110 bp | 430 bp | 130301-1304, 130701-1308, 131101-131403, 1319, 1321-1325, 1330, 1333, 1337, 1338, 1344-1349, 1352, 1354, 1355, 1357, 1358, 1360, 1366, 1370, 1372, 1375, 1376, 1381-1384, 1386, 1388 | 0304, 0317, 0321, 0325, 0330, 0331, 0335, 0340, 0341, 0820, 110101-110404, 110601-110802, 111001-111402, 1117-111902, 1121, 1123, 1125-112702, 1129, 1131-1139, 1141-1143, 1145-1148, 1151-1157, 1160-1166, 1168-1170, 1172, 140101-140103, 140501-140503, 140701-1408, 1414, 1416, 1420, 1422-142302, 1425, 1426, 143201, 143202, 1434-1440, 1442-1445, 1449, 1453-1456, 1458, 1460, 1462, 1465, 1469, 1470, 1472, 1474, 1475, 1482, 1484 |
| 26 | 145 bp | 515 bp | 130501, 130502, 1318, 1326, 1342, 1363 | 0809, 0821, 1109-111002, 1140, 1146, 1159, 1162, 1415, 1422, 1427, 1473 |
| 27 | 145 bp | 515 bp | 130101-130203, 1304-1306, 1309-131102, 131401-1316, 1318, 1320-1325, 1327-1331, 1334, 1339, 1341-1346, 135001-1352, 1354, 1356, 1357, 1359, 1361-1364, 1366, 1368, 1369, 1371, 1373-1375, 1377-1380, 1382, 1383, 1386, 1387 | 03010101-030106, 0304-030502, 0307-0316, 0318-0325, 0328-0330, 0332-0334, 0336, 0337, 0339, 0340, 110101-110106, 110201-110404, 110601-1116, 1118-1121, 1123-1129, 1131-1136, 1138-1140, 1142-1147, 1149, 1151, 1153-1155, 1157-1166, 1168-1170, 1172, 1417, 1421, 1430, 1433, 1435, 1442, 1453, 1464, 1465, 1472 |
| 28 | 160 bp | 430 bp | 130101-130103, 1304, 1306, 1309-131102, 1315, 1317, 1318, 1320, 1322, 1324, 1327, 1328, 1335, 1342-1344, 1351, 1352, 1354, 1357, 1359, 1361, 1364, 1368, 1369, 1371, 1375, 1377-1380, 1383, 1387 | 03010101-030106, 0304, 0307, 0308, 0310-031302, 0315, 0316, 0318-0325, 0328, 0330, 0332-0334, 0336, 0337, 0339, 0442, 0459, 0828, 110201-110404, 110601-1107, 111301, 111302, 1116, 1118, 1121, 1125, 1134-1136, 1138, 1140, 1142-1144, 1146, 1147, 115401-1155, 1157-1160, 1163, 116501, 116502, 1167, 1170, 120101-1210, 1212-1215, 1217-1219, 1417, 1421, 1433, 1435, 1464, 1465, 1472, 15010101-150106, 15030101-1506, 1509, 1510, 1512, 1513, 1516-1518, 1520-1525, 1528, 1532 |
| 299 | 155 bp | 430 bp | 1315, 1319, 1353, 1357, 1385 | 0832, 120101, 120102, 120302-1206, 1208-1211, 1214, 1217, 1463, 1467, 1478 |
| 306 | 85 bp | 515 bp | 130101-130103, 1304, 1308, 1310, 1315, 1317, 1319, 1320, 1322, 1324, 1327, 1328, 1332, 1335, 1340, 1343, 1348, 1351-1354, 1357, 1359, 1361, 1364, 1368-1372, 1375, 1376, 1378-1381, 1383, 1384, 1387 | 0402, 0437, 110201-1103, 1116, 1121, 1136, 1140, 1141, 1148, 1155, 1159, 1163, 116501, 116502, 1170, 1416, 1457, 1510 |
| 316,9,18 | 75, 170, 205 bp | 430 bp | 1343, 1345, 1359, 1372 | 1416 |
| 3219 | 220, 255 bp | 430 bp | 130202, 130301, 130302, 1310, 1326, 1333, 1337, 1358, 1360, 1366, 1377, 1381, 1385, 1388 | 0320, 110103, 110601, 110602, 111902, 1121, 1147, 1157, 1419, 1421, 1429 |

1Alleles are assigned by the presence of specific PCR product(s). However, the sizes of the specific PCR products may be helpful in the interpretation of DRB1*13 SSP typings.

When the primers in a primer mix can give rise to specific PCR products of more than one length this is indicated if the size difference is 20 base pairs or more. Size differences shorter than 20 base pairs are not given. For high resolution SSP kits the respective length of the specific PCR product(s) of the alleles amplified by these primer mixes are given.

Nonspecific amplifications, i.e. a ladder or a smear of bands, may sometimes be seen. GC-rich primers have a higher tendency of giving rise to nonspecific amplifications than other primers.

PCR fragments longer than the control bands may sometimes be observed. Such bands should be disregarded and do not influence the interpretation of the SSP typings.

PCR fragments migrating faster than the control bands, but slower than a 400 bp fragment may  be seen in some gel read-outs. Such bands can be disregarded and do not influence the interpretation of the SSP typings.

Some primers may give rise to primer oligomer artifacts. Sometimes this phenomenon is an inherit feature of the primer pair(s) of a primer mix. More often it is due to other factors such as too low amount of DNA in the PCR reactions, taking too long time in setting up the PCR reactions, working at elevated room temperature or using thermal cyclers that are not pre-heated.

2The internal positive control primer pairs amplify segments of the human growth hormone gene. The two different control primer pairs give rise to either an internal positive control band of 430 base pairs, for most wells, or a band of 515 base pairs, for some wells.

Well number 1 contains the primer pair giving rise to the longer, 515 bp, internal positive control band in order to help in the correct orientation of the DRB1*13 subtyping.

In addition, wells number 6, 13, 15, 20, 26, 27 and 30 contain the primer pair giving rise to the longer, 515 bp, internal positive control band in order to allow kit identification.

In the presence of a specific amplification the intensity of the control band often decreases.

3For several DRB alleles only partial second exon nucleotide sequences are available. In these instances it is not known whether some of the primers of the SSP sets are completely matched with the target sequences or not. We assume that unknown sequences in the first hyperpolymorphic region of the second exon of DRB alleles are conserved within allelic groups and that unknown sequences of codons 87 to 92 are identical with the DRB1*0101 consensus sequence.

4Due to the sharing of sequence motifs within the DR52 group of DRB1 alleles, all DRB1*03 alleles, as well as most DRB1*11 and DRB1*14 alleles are amplified by some of the DRB1*13 primer mixes. In addition, five DRB1*04 alleles, five DRB1*08 alleles, the DRB1*12 alleles, most DRB1*15 allele, the DRB1*1608 and the DRB3*0108, the DRB3*0206 and DRB3*0220 alleles are amplified by one or a few of the DRB1*13 primer mixes.

5Primer mix 2 may faintly amplify the DRB1*1329 allele.

6Specific PCR fragments shorter than 125 base pairs have a lower intensity and are less sharp than longer PCR bands.

7Primer mixes 7, 8, 11 and 16 may yield somewhat less intense specific PCR fragments than the other DRB1*13 primer mixes. Most pronounced for primer mix 11.

8Primer mixes 14, 19 and 20 may give rise to nonspecific amplifications, most pronounced in primer mix 19.

9Primer mixes 20, 21, 29 and 31 have a tendency of giving rise to a primer oligomer artefact, most pronounced in primer mix 31.

10Primer mix 15: 85 bp fragment in the DRB1*1315, 1319, 1326, 1353, 1357, 1385, 1386 and the 030202, 0327, 1402-140302, 1406, 1412, 1413, 1418-1420, 1424, 1427, 1429, 1440, 1441, 1447-1449, 1451, 1463, 1467, 1477, 1478, 1481, 1483 and 1485 alleles.

235 bp fragment in the DRB1*1333 and the 03010101-03010102, 030103-030104, 0304-0313, 0316, 0318-0323, 0325, 0326, 0328, 0330-0334, 0336, 0336, 0337, 0339-0341, 1107 and 112702 alleles. 85 and 235 bp fragments in DRB1*030201, 0303 and 0329, 0338 alleles, due to primer competition both specific PCR fragments may not be visible.

11Primer mix 17: 145 bp fragment in the DRB1*1380 and the 0316 alleles. 220 bp fragment in the DRB1*130202, 1326, 1360, 1377 the 110103 and 111902 alleles. 255 bp fragment in the DRB1*1328 allele.

12Primer mix 18: 110 bp fragment in the DRB1*1387 allele. 230 bp fragment in the DRB1*1313, 1318, 1347, 1355, 1361 and 030102, 030202-031302, 0317, 0324, 0327, 0335, 0820, 1123, 1125, 112701, 1145, 1155, 1164, 140301, 140302, 1412, 1427, 1438, 1440, 1447, 1455, 1463, 1467, 1477, 1478, 1484 and 1485 alleles.

13Primer mix 19: 110 bp fragment in the DRB1*1387 allele. 150 bp fragment in the DRB1*1351 allele. 205 bp fragment in the DRB1*1374 allele. 260 bp fragment in the DRB1*1316 allele.

14Primer mix 20: 180 bp fragment in the DRB1*1317 allele. 205 bp fragment in the DRB1*1373 allele. 225 bp fragment in the DRB1*1367 allele.

15Primer mix 22: 110 bp fragment in the DRB1*1368 and the 1124 alleles. 175 bp fragment in the DRB1*1331, 1346, 1354, 1377, 0338 and 1448 alleles.

16Primer mix 23: 115 bp fragment in the DRB1*1334, 1364 and the 1441 and 1477 alleles. 235 bp fragment in the DRB1*130103, 1376 and the 110105, 110403, 110602, 111301-111302, 1117, 1152, 115401, 140101, 140103, 140501-140502, 140701-1408, 1414, 1418, 142301-142302, 1426, 143202, 1434-1436, 1439, 1442-144401, 1445, 1454-1456, 1458-1460, 1462, 1464, 1465, 1470, 1472 and 1482 alleles. 255 bp fragment in the DRB1*1328 allele.

17Primer mix 24: 145 bp fragment in the DRB1*1335 allele. 180 bp fragment in the DRB1*1339, 1354, 1377 to 1379 and the 031301-031302, 0338, 1448 and 1464 alleles.

18Primer mix 31: Specific PCR fragment of 75 bp in the DRB1*1343, 1345 and the 1416 alleles. Specific PCR fragment of 170 bp in the DRB1*1359 allele. Specific PCR fragment of 205 bp in the DRB1*1372 allele.

19Primer mix 32: 220 bp fragment in the DRB1*130202-130302, 1310, 1326, 1333, 1337, 1360, 1366, 1377, 1385, 1388 and the 110103, 111902, 1419 and 1421 alleles. 255 bp fragment in the DRB1*1358 and the 0320, 110601-110602, 1121, 1147, 1157 and 1429 alleles. 220 and 255 bp fragment in the DRB1*1381 allele.

‘w’, may be weakly amplified.

1Primer mix 15: 85 bp fragment in the DRB1*1315, 1319, 1326, 1353, 1357, 1385, 1386 and the 030202, 0327, 1402-140302, 1406, 1412, 1413, 1418-1420, 1424, 1427, 1429, 1440, 1441, 1447-1449, 1451, 1463, 1467, 1477, 1478, 1481, 1483 and 1485 alleles.

235 bp fragment in the DRB1*1333 and the 03010101-03010102, 030103-030104, 0304-0313, 0316, 0318-0323, 0325, 0326, 0328, 0330-0334, 0336, 0336, 0337, 0339-0341, 1107 and 112702 alleles. 85 and 235 bp fragments in DRB1*030201, 0303 and 0329, 0338 alleles, due to primer competition both specific PCR fragments may not be visible.

Primer mix 17: 145 bp fragment in the DRB1*1380 and the 0316 alleles. 220 bp fragment in the DRB1*130202, 1326, 1360, 1377 the 110103 and 111902 alleles. 255 bp fragment in the DRB1*1328 allele.

Primer mix 18: 110 bp fragment in the DRB1*1387 allele. 230 bp fragment in the DRB1*1313, 1318, 1347, 1355, 1361 and 030102, 030202-031302, 0317, 0324, 0327, 0335, 0820, 1123, 1125, 112701, 1145, 1155, 1164, 140301, 140302, 1412, 1427, 1438, 1440, 1447, 1455, 1463, 1467, 1477, 1478, 1484 and 1485 alleles.

Primer mix 19: 110 bp fragment in the DRB1*1387 allele. 150 bp fragment in the DRB1*1351 allele. 205 bp fragment in the DRB1*1374 allele. 260 bp fragment in the DRB1*1316 allele.

Primer mix 20: 180 bp fragment in the DRB1*1317 allele. 205 bp fragment in the DRB1*1373 allele. 225 bp fragment in the DRB1*1367 allele.

Primer mix 22: 110 bp fragment in the DRB1*1368 and the 1124 alleles. 175 bp fragment in the DRB1*1331, 1346, 1354, 1377, 0338 and 1448 alleles.

Primer mix 23: 115 bp fragment in the DRB1*1334, 1364 and the 1441 and 1477 alleles. 235 bp fragment in the DRB1*130103, 1376 and the 110105, 110403, 110602, 111301-111302, 1117, 1152, 115401, 140101, 140103, 140501-140502, 140701-1408, 1414, 1418, 142301-142302, 1426, 143202, 1434-1436, 1439, 1442-144401, 1445, 1454-1456, 1458-1460, 1462, 1464, 1465, 1470, 1472 and 1482 alleles. 255 bp fragment in the DRB1*1328 allele.

Primer mix 24: 145 bp fragment in the DRB1*1335 allele. 180 bp fragment in the DRB1*1339, 1354, 1377 to 1379 and the 031301-031302, 0338, 1448 and 1464 alleles.

Primer mix 31: Specific PCR fragment of 75 bp in the DRB1*1343, 1345 and the 1416 alleles. Specific PCR fragment of 170 bp in the DRB1*1359 allele. Specific PCR fragment of 205 bp in the DRB1*1372 allele.

Primer mix 32: 220 bp fragment in the DRB1*130202-130302, 1310, 1326, 1333, 1337, 1360, 1366, 1377, 1385, 1388 and the 110103, 111902, 1419 and 1421 alleles. 255 bp fragment in the DRB1*1358 and the 0320, 110601-110602, 1121, 1147, 1157 and 1429 alleles. 220 and 255 bp fragment in the DRB1*1381 allele.

‘w’, may be weakly amplified.

Change in revision R01 compared to R00:

- The DRB1*1310 and 1381 alleles are amplified in primer mix 30. This has been corrected in the specificity and interpretation tables.