xPHOTO DOCUMENT

Olerup SSP®

Olerup SSP® DRB1*13

Prod. No:	101.116-24/24u

101.116-03/03u

Lot No:    	59S

Expiry Date:    	2016-March- 01

Name:________________Sample ID:_______________

DNA Extract Date:_________ Conc.(ng/ul):_________

Test  Date: _________Review Date:_______________

Tested By: _________Reviewed By:_______________

Interpretation:_________________________________

Specificities and sizes of the PCR products of the 48 primer mixes used for DRB1*13 SSP typing.

| Primer Mix | Size of spec. PCR product1 | Size of control band2 | Amplified DRB1*13 alleles3 | Other amplified DRB alleles3,4 |
| --- | --- | --- | --- | --- |
| 1 | 175 bp | 515 bp | *13:01:01-13:16, 13:18-13:42, 13:44, 13:46-13:66:02, 13:68-13:102, 13:104-13:115, 13:117-13:121, 13:123-13:158, 13:161-13:164 | *03:01:01:01-03:01:05, 03:01:07-03:01:08, 03:01:10-03:07, 03:09, 03:11:01-03:41, 03:43-03:45, 03:47-03:63, 03:66-03:68N, 03:70-03:84, 03:86, 03:88-03:91, 03:93, 08:20, 14:02-14:03:02, 14:05:01-14:06:02, 14:09, 14:12:01-14:14, 14:17-14:21, 14:23:01, 14:23:02w, 14:23:03-14:24, 14:27, 14:29-14:30, 14:33, 14:36-14:37, 14:40-14:45, 14:47-14:48, 14:51, 14:56, 14:59, 14:63-14:65, 14:67, 14:77-14:78, 14:80-14:81, 14:83-14:85, 14:89, 14:91, 14:94-14:96, 14:98, 14:100, 14:102-14:103, 14:106, 14:108-14:109, 14:115-14:116, 14:121, 14:123, 14:127:01-14:127:02, 14:134-14:136, DRB3*01:14 |
| 25 | 200 bp | 430 bp | *13:01:01-13:04, 13:06, 13:08-13:10, 13:12:01-13:13, 13:15-13:16, 13:19, 13:22-13:23:02, 13:27-13:28, 13:30-13:41, 13:45, 13:48, 13:51-13:53, 13:57-13:59, 13:61:01-13:61:02, 13:64-13:66:02, 13:68-13:70, 13:72-13:73, 13:74w, 13:76-13:77, 13:79-13:85, 13:87, 13:89-13:99, 13:101-13:102, 13:104-13:107, 13:109-13:110, 13:112-13:113N, 13:115, 13:117-13:118, 13:120-13:131, 13:135, 13:137N-13:139, 13:141-13:143, 13:145-13:148, 13:151-13:157, 13:159, 13:161-13:163 | *11:02:01-11:02:02, 11:14:01-11:14:02, 11:16, 11:18-11:21, 11:31, 11:45, 11:48, 11:65:01-11:65:02, 11:70, 11:73, 11:82, 11:86, 11:98, 11:118-11:119, 11:124, 11:127, 11:132, 14:16, 14:24, 14:37, 14:63, 14:67, 14:78 |
| 3 | 200 bp | 430 bp | *13:05:01-13:05:02, 13:07:01-13:07:02, 13:11:01-13:11:02, 13:14:01-13:14:03, 13:18, 13:21:01-13:21:02, 13:24, 13:26:01-13:26:02, 13:42, 13:46-13:47, 13:49-13:50:02, 13:54-13:55, 13:62-13:63, 13:75, 13:100, 13:108, 13:111, 13:132, 13:136, 13:144, 13:150, 13:158, 13:164 | *08:20, 11:01:01-11:01:17, 11:03-11:04:11, 11:06:01-11:06:03, 11:09-11:12:02, 11:15, 11:23:01-11:25, 11:27:01-11:29, 11:32-11:33, 11:35, 11:37:01-11:41, 11:43-11:44, 11:46:01-11:47, 11:49:01-11:51, 11:54:01-11:56, 11:58:01-11:63, 11:66, 11:72, 11:74:01-11:78, 11:80-11:81, 11:83-11:85, 11:87-11:88, 11:90-11:97, 11:99-11:102:02, 11:106, 11:108-11:117, 11:120-11:123, 11:126, 11:128-11:129, 11:133-11:135, 11:137-11:142, 11:144-11:147, 14:22, 14:25, 14:27, 14:53, 14:105, 14:128 |
| 4 | 170 bp | 430 bp | *13:03:01-13:04, 13:12:01-13:13, 13:21:01-13:21:02, 13:30, 13:32-13:33:03, 13:38, 13:48-13:49, 13:55, 13:58, 13:65-13:66:02, 13:75, 13:81, 13:88-13:90, 13:93-13:95, 13:101, 13:108, 13:115, 13:118, 13:120, 13:122, 13:133-13:134, 13:139, 13:151-13:152, 13:154, 13:161, 13:164 | *03:12, 14:13, 14:63, 14:65, 14:78, 14:85 |
| 5 | 220 bp | 430 bp | *13:03:01-13:03:06, 13:05:01-13:07:02, 13:10-13:14:03, 13:18, 13:21:01-13:21:02, 13:25-13:26:02, 13:30, 13:33:01-13:33:03, 13:37, 13:42, 13:44, 13:46-13:47, 13:49-13:50:02, 13:55-13:56, 13:58, 13:60, 13:62, 13:66:01-13:66:02, 13:77, 13:81-13:82, 13:85-13:86, 13:88-13:90, 13:94:01-13:95, 13:100-13:101, 13:108, 13:115, 13:118-13:120, 13:122, 13:132-13:134, 13:136, 13:144, 13:146, 13:150-13:152, 13:154, 13:156-13:158, 13:161, 13:163-13:164 | *03:76, 08:20, 11:01:01-11:01:19, 11:04:01-11:04:11, 11:06:01-11:06:03, 11:08:01-11:10:02, 11:12:01-11:13:02, 11:15, 11:17-11:19:03, 11:23:01-11:29, 11:31-11:35, 11:37:01-11:39, 11:42-11:47, 11:49:01-11:50, 11:52, 11:54:01-11:58:02, 11:60-11:62, 11:64, 11:66, 11:72-11:75, 11:77-11:81, 11:83-11:84:03, 11:87-11:97, 11:99-11:102:02, 11:106, 11:108-11:117, 11:119-11:121, 11:123, 11:126, 11:128-11:135, 11:137, 11:140-11:147, 14:01:01-14:03:02, 14:05:01-14:09, 14:12:01-14:14, 14:17-14:23:04, 14:25-14:27, 14:29-14:30, 14:32:01-14:36, 14:38-14:45, 14:47-14:49, 14:51, 14:53-14:55, 14:58-14:60, 14:62-14:65, 14:67, 14:69-14:70, 14:72, 14:74-14:75, 14:77-14:78, 14:80-14:86, 14:88-14:92N, 14:94-14:97, 14:99-14:103, 14:105-14:106, 14:108-14:110, 14:112-14:119, 14:121-14:125, 14:127:01, 14:128-14:136, 14:139-14:140, 14:142 |
| 6 | 215 bp | 515 bp | *13:01:01-13:02:08, 13:04, 13:08-13:09, 13:15-13:16, 13:19-13:20, 13:22-13:24, 13:27-13:29, 13:31-13:32, 13:34-13:36, 13:38-13:41, 13:43, 13:45, 13:48, 13:51-13:54, 13:57, 13:59, 13:61:01-13:61:02, 13:63-13:65, 13:68-13:76, 13:78-13:80, 13:83-13:84, 13:87, 13:91-13:93, 13:96:01-13:99, 13:102, 13:104-13:107, 13:109, 13:111-13:114, 13:117, 13:121, 13:123-13:131, 13:135, 13:138-13:143, 13:145-13:149, 13:153, 13:155, 13:159, 13:162 | *11:02:01-11:03, 11:11:01-11:11:02, 11:14:01-11:14:02, 11:16, 11:20-11:21, 11:36, 11:40-11:41, 11:48, 11:55, 11:59, 11:63, 11:65:01-11:65:02, 11:68-11:70, 11:76, 11:82, 11:85-11:86, 11:118, 11:122, 11:124, 11:127, 11:138-11:139, 14:16, 14:24, 14:37 |
| 7 | 200 bp | 430 bp | *13:02:01-13:02:08, 13:05:01-13:05:02, 13:26:01-13:26:02, 13:29, 13:31, 13:34, 13:36, 13:39, 13:41, 13:50:01-13:50:02, 13:56, 13:63, 13:65, 13:67, 13:73-13:74, 13:85, 13:96:01-13:96:02, 13:99, 13:103-13:104, 13:115, 13:119-13:120, 13:123-13:124, 13:126, 13:128, 13:136, 13:139-13:140, 13:142N-13:143, 13:145, 13:147, 13:155, 13:157-13:159 | *03:02:01-03:02:02, 03:05:01-03:05:03, 03:09, 03:14, 03:27, 03:29, 03:38, 03:53, 03:74, 03:81, 03:88, 03:90, 04:77, 04:102, 04:113, 11:09, 11:20, 11:28:01-11:28:02, 11:87, 11:122, 14:02-14:03:02, 14:09, 14:13, 14:19, 14:24, 14:27, 14:30, 14:46-14:48, 14:51, 14:63, 14:67, 14:85, 14:89, 14:98, 14:109, 14:115, 14:134-14:135, 16:08, DRB3*01:08, DRB3*02:06, DRB3*02:20 |
| 8 | 190 bp | 430 bp | *13:01:01-13:01:13, 13:06, 13:09-13:10, 13:15, 13:18, 13:20, 13:27-13:28, 13:32, 13:35, 13:40, 13:42-13:43, 13:51, 13:53, 13:59, 13:61:01-13:61:02, 13:69, 13:71, 13:77-13:80, 13:87, 13:91-13:93, 13:98, 13:102, 13:105, 13:110-13:114, 13:117, 13:121, 13:125, 13:127, 13:129-13:131, 13:137N-13:138, 13:141, 13:144, 13:146, 13:148, 13:153, 13:156, 13:160, 13:163 | *03:01:01:01-03:01:22, 03:03, 03:06-03:08, 03:10-03:13:02, 03:15-03:16, 03:18-03:20, 03:22-03:24, 03:26, 03:28, 03:32-03:34, 03:36-03:37, 03:39, 03:42, 03:45-03:48, 03:50-03:51, 03:54-03:56, 03:58-03:62, 03:64-03:73, 03:76-03:84, 03:86-03:87, 03:89, 03:91-03:93, 11:16, 11:40, 11:58:01, 11:59, 11:83, 11:113, 11:115, 14:06:01-14:06:02, 14:12:01-14:12:02, 14:17-14:18, 14:21, 14:29, 14:33, 14:52, 14:59, 14:64, 14:78, 14:80-14:81, 14:83, 14:95, 14:106, 14:108, 14:121, 14:132-14:133, 15:32 |
| 9 | 270 bp | 430 bp | *13:02:01-13:03:06, 13:05:01-13:05:02, 13:07:01-13:07:02, 13:12:01-13:14:03, 13:21:01-13:21:02, 13:23:01-13:23:02, 13:25-13:26:02, 13:29-13:31, 13:33:01-13:34, 13:36-13:39, 13:41, 13:45-13:47, 13:49-13:50:02, 13:55-13:56, 13:60, 13:62-13:63, 13:65-13:66:02, 13:73-13:74, 13:82, 13:85-13:86, 13:88, 13:90, 13:95-13:97:02, 13:99-13:101, 13:104, 13:107, 13:115, 13:118-13:120, 13:122-13:124, 13:126, 13:128, 13:132-13:136, 13:139-13:140, 13:142N-13:143, 13:145, 13:147, 13:151-13:152, 13:154-13:155, 13:157-13:159, 13:161 | *03:02:01-03:02:02, 03:05:01-03:05:03, 03:09, 03:14, 03:17, 03:27, 03:29, 03:35, 03:38, 03:40-03:41, 03:53, 03:74, 03:81, 03:88, 03:90, 11:01:01-11:01:19, 11:08:01-11:12:02, 11:14:01-11:15, 11:19:01-11:20, 11:23:01-11:24, 11:26-11:29, 11:31-11:33, 11:37:01-11:37:02, 11:39, 11:45, 11:49:01-11:49:02, 11:51, 11:53, 11:61-11:62, 11:64, 11:66, 11:68-11:69, 11:72-11:75, 11:79-11:82, 11:87, 11:90-11:91, 11:93-11:97, 11:99-11:101, 11:103, 11:105-11:112, 11:114, 11:117, 11:120-11:122, 11:125-11:126, 11:128, 11:133-11:134, 11:136, 11:140-11:145, 11:147, 14:02-14:03:02, 14:07:01-14:07:02, 14:09, 14:13-14:14, 14:19, 14:22, 14:24-14:25, 14:27, 14:30, 14:36, 14:40-14:42, 14:44:01-14:44:03, 14:47-14:49, 14:51, 14:53, 14:63, 14:67, 14:69, 14:77, 14:85, 14:89, 14:94, 14:98, 14:102, 14:109, 14:115-14:116, 14:119, 14:134-14:135, DRB3*01:14 |
| 10 | 260 bp | 430 bp | *13:01:01-13:01:13, 13:04, 13:06, 13:08-13:11:02, 13:15, 13:18-13:20, 13:22, 13:24, 13:27-13:28, 13:32, 13:35, 13:40, 13:42-13:44, 13:48, 13:51-13:54, 13:57-13:59, 13:61:01-13:61:02, 13:64, 13:68-13:72, 13:75-13:81, 13:83-13:84, 13:87, 13:89, 13:91-13:94:02, 13:98, 13:102, 13:105-13:106, 13:108, 13:110-13:114, 13:117, 13:121, 13:125, 13:127, 13:129-13:131, 13:137N-13:138, 13:141, 13:144, 13:146, 13:148-13:150, 13:153, 13:156, 13:162-13:164 | *03:01:01:01-03:01:22, 03:03-03:04:02, 03:06-03:08, 03:10-03:13:02, 03:15-03:16, 03:18-03:26, 03:28, 03:30-03:34, 03:36-03:37, 03:39, 03:43-03:52, 03:54-03:56, 03:58-03:62, 03:64-03:68N, 03:70-03:73, 03:75-03:84, 03:86, 03:89, 03:91, 03:93, 08:20, 11:02:01-11:04:11, 11:06:01-11:07, 11:13:01-11:13:02, 11:16-11:18, 11:21, 11:25, 11:34-11:36, 11:38, 11:40-11:44, 11:46:01-11:48, 11:50, 11:52, 11:54:01-11:60, 11:63, 11:65:01-11:65:02, 11:70, 11:76-11:78, 11:83-11:85, 11:88-11:89, 11:92, 11:98, 11:102:01-11:102:02, 11:113, 11:115-11:116, 11:118-11:119, 11:123-11:124, 11:127, 11:129-11:132, 11:135, 11:137-11:139, 11:146, 14:01:01-14:01:04, 14:05:01-14:06:02, 14:08, 14:12:01-14:12:02, 14:16-14:18, 14:20-14:21, 14:23:01-14:23:04, 14:26, 14:29, 14:32:01-14:35, 14:37-14:39, 14:43, 14:45, 14:54:01-14:56, 14:58-14:60, 14:62, 14:64-14:65, 14:70, 14:72, 14:74-14:75, 14:78, 14:80-14:84, 14:86-14:88, 14:90-14:92N, 14:95-14:97, 14:99-14:101, 14:103-14:106, 14:108, 14:110-14:114, 14:117-14:118, 14:121-14:125, 14:127:01-14:133, 14:136-14:137N, 14:139-14:140 |
| 11 | 210 bp | 430 bp | *13:09, 13:20, 13:25, 13:29, 13:43, 13:56, 13:60, 13:71, 13:78, 13:88, 13:119, 13:129, 13:134, 13:149 | *11:08:01-11:08:02, 11:36, 11:42, 11:57, 11:64, 11:68-11:69, 11:82, 11:130, 14:03:01-14:03:02, 14:12:01-14:12:02, 14:24, 14:37, 14:40, 14:69, 14:74, 14:77, 14:84-14:85, 14:98, 14:102, 14:115-14:116, 14:135 |
| 12 | 220 bp | 430 bp | *13:01:01-13:04, 13:08, 13:10, 13:15-13:16, 13:19-13:20, 13:22-13:24, 13:26:01, 13:27-13:29, 13:31-13:41, 13:43, 13:45, 13:48, 13:51-13:54, 13:57, 13:59-13:61:02, 13:63-13:66:02, 13:68-13:81, 13:83-13:85, 13:87-13:99, 13:101-13:102, 13:104-13:107, 13:109, 13:111-13:115, 13:117, 13:120-13:128, 13:130-13:131, 13:133, 13:135, 13:137N-13:143, 13:145, 13:147-13:149, 13:151-13:153, 13:155, 13:159, 13:162-13:163 | *03:76, 11:01:03, 11:01:10-11:01:11, 11:02:01-11:03, 11:04:07, 11:11:01-11:11:02, 11:14:01-11:14:02, 11:16, 11:19:02, 11:20-11:21, 11:36, 11:40-11:41, 11:48, 11:59, 11:63, 11:65:01-11:65:02, 11:68, 11:70, 11:73, 11:76, 11:79, 11:85-11:86, 11:93, 11:118, 11:122, 11:124, 11:127, 11:131-11:132, 11:138-11:139, 14:16, 14:19, 14:21, 14:32:03, 14:109, 14:137N |
| 13 | 145 bp | 515 bp | *13:03:01-13:03:06, 13:07:01-13:08, 13:12:01-13:13, 13:19, 13:26:01-13:26:02, 13:32-13:33:03, 13:36-13:38, 13:40, 13:47-13:49, 13:53, 13:55, 13:58, 13:60, 13:65, 13:70, 13:72, 13:76, 13:81, 13:84-13:85, 13:88-13:90, 13:94:01-13:95, 13:101, 13:108, 13:115, 13:118, 13:120, 13:122, 13:133-13:135, 13:149, 13:151-13:152, 13:159, 13:164 | *03:02:01-03:03, 03:06, 03:17, 03:26-03:27, 03:31, 03:35, 03:38, 03:41, 03:60, 03:74-03:75, 03:80, 03:88, 03:90, 08:20, 11:17, 11:37:01-11:37:02, 11:41, 11:48, 11:50, 11:52, 11:56, 11:83, 11:107, 11:145, 14:01:01-14:03:01, 14:05:01-14:09, 14:12:01-14:14, 14:16, 14:18-14:20, 14:22-14:27, 14:29, 14:32:01-14:32:03, 14:34, 14:36-14:41, 14:43-14:45, 14:47-14:49, 14:51, 14:54:01-14:56, 14:58-14:60, 14:62-14:63, 14:67, 14:69-14:70, 14:74-14:75, 14:77-14:78, 14:80-14:92N, 14:94, 14:96-14:106, 14:108-14:119, 14:121-14:125, 14:127:01-14:127:02, 14:129-14:131, 14:133, 14:135-14:137N, 14:139-14:140, 14:142, DRB3*01:14 |
| 14 | 150 bp | 430 bp | *13:04, 13:08, 13:17, 13:19, 13:22-13:24, 13:38, 13:45, 13:48, 13:54, 13:57, 13:64, 13:69-13:70, 13:72, 13:75-13:76, 13:83, 13:97:02, 13:107, 13:116, 13:135, 13:149, 13:162 | *04:02:01-04:02:03, 04:14, 04:37, 04:106, 04:124, 04:132-04:134, 04:138, 04:143, 04:161, 11:02:01-11:03, 11:11:01-11:11:02, 11:14:01-11:14:02, 11:21, 11:36, 11:41, 11:48, 11:63, 11:65:01-11:65:02, 11:68, 11:70, 11:76, 11:85-11:86, 11:124, 11:127, 11:138-11:139, 14:16, 14:57, 15:10 |
| 156,9,10 | 85 bp, 235 bp | 515 bp | *13:15, 13:19, 13:26:01-13:26:02, 13:33:01, 13:53, 13:57, 13:61:02, 13:85-13:86, 13:94:01, 13:96:01, 13:104 | *03:01:01:01-03:01:01:02, 03:01:03-03:01:16, 03:01:18-03:05:02, 03:06-03:13:01, 03:16, 03:18-03:23, 03:25-03:34, 03:36-03:41, 03:43-03:68N, 03:70-03:77, 03:79-03:80, 03:82-03:84, 03:86, 03:88-03:91, 03:93, 11:07, 11:27:02-11:27:03, 11:84:02-11:84:03, 11:103, 11:107, 11:125, 14:02-14:03:02, 14:06:01-14:06:02, 14:12:01-14:13, 14:18-14:20, 14:24, 14:27, 14:29, 14:40-14:41, 14:47-14:49, 14:51, 14:63, 14:67, 14:77-14:78, 14:81, 14:83, 14:85, 14:89, 14:94, 14:98, 14:102, 14:106, 14:108-14:109, 14:115, 14:135 |
| 16 | 150 bp | 430 bp | *13:01:01-13:02:01, 13:02:03-13:02:08, 13:08, 13:15-13:16, 13:19-13:20, 13:27-13:29, 13:31-13:32, 13:34-13:36, 13:39-13:41, 13:43, 13:51-13:53, 13:57, 13:59, 13:61:01-13:61:02, 13:63-13:65, 13:67-13:69, 13:71-13:74, 13:76, 13:78-13:80, 13:83-13:84, 13:87, 13:91-13:93, 13:96:01-13:97:01, 13:98-13:99, 13:102-13:107, 13:109, 13:111-13:114, 13:117, 13:121, 13:123-13:128, 13:130-13:131, 13:135, 13:138-13:143, 13:145, 13:147-13:148, 13:153, 13:155, 13:159-13:160 | *11:16, 11:20, 11:40, 11:59, 11:118, 11:122, 14:16, 14:57, 15:10 |
| 1711 | 220 bp, 255 bp | 430 bp | *13:02:02, 13:26:01, 13:28, 13:60, 13:77, 13:163 | *03:73, 11:01:03, 11:01:10-11:01:11, 11:04:07, 11:19:02, 14:32:03 |
| 186,12 | 110 bp, 230 bp | 430 bp | *13:13, 13:18, 13:33:02-13:33:03, 13:47, 13:55, 13:61:01, 13:87, 13:94:02, 13:96:02, 13:119, 13:144, 13:146, 13:154, 13:156, 13:158, 13:164 | *03:01:02, 03:02:02, 03:05:03, 03:13:02, 03:17, 03:24, 03:27, 03:35, 03:81, 08:20, 11:23:01-11:23:02, 11:25, 11:27:01, 11:45, 11:55, 11:64, 11:84:01, 11:119, 11:124, 11:136, 11:138, 14:03:01-14:03:02, 14:12:01-14:12:02, 14:27, 14:38, 14:40, 14:47, 14:55, 14:63, 14:67, 14:77-14:78, 14:84-14:85, 14:89, 14:98, 14:102, 14:115-14:116, 14:127:01, 14:135-14:136, DRB3*01:14 |
| 196,13 | 110 bp, 205 bp, 260 bp | 430 bp | *13:16, 13:74, 13:87 | *11:86 |
| 207 | 215 bp | 515 bp | *13:17, 13:67, 13:116 | *08:40, DRB3*02:27 |
| 217,14 | 175 bp, 220 bp | 430 bp | *13:27, 13:41, 13:71, 13:103, 13:160 | *03:76, 11:59 |
| 226,8,15 | 110 bp, 175 bp | 430 bp | *13:31, 13:46, 13:54, 13:68, 13:77, 13:100, 13:162 | *03:38, 03:79, 11:24, 14:48, DRB3*01:14 |
| 236,16 | 115 bp, 245 bp | 430 bp | *13:01:03, 13:28, 13:34, 13:64, 13:76, 13:136, 13:163 | *03:01:17, 03:43, 03:71, 03:73, 11:01:05, 11:01:10, 11:04:03, 11:06:02, 11:13:01-11:13:02, 11:17, 11:52, 11:54:01, 11:76, 11:114, 14:01:01, 14:01:03-14:01:04, 14:05:01-14:05:02, 14:05:04, 14:07:01-14:08, 14:14, 14:18, 14:23:01-14:23:04, 14:26, 14:32:02-14:32:03, 14:34-14:36, 14:39, 14:41-14:44:01, 14:44:03-14:45, 14:54:01-14:56, 14:58-14:60, 14:62, 14:64-14:65, 14:70, 14:72, 14:77, 14:82, 14:86-14:88, 14:90-14:92N, 14:95-14:97, 14:99-14:101, 14:104-14:105, 14:110-14:114, 14:117-14:118, 14:122-14:125, 14:127:02, 14:129-14:134, 14:137N, 14:139-14:140, 14:142, DRB3*01:14 |
| 2417 | 145 bp, 180 bp | 430 bp | *13:35, 13:39, 13:54, 13:77-13:79, 13:100, 13:161-13:163 | *03:13:01-03:13:02, 03:38, 03:79, 03:88, 11:116, 11:120, 14:48, 14:64, 14:109, 14:115, DRB3*01:14 |
| 256 | 110 bp | 430 bp | *13:03:01-13:04, 13:07:01-13:08, 13:11:01-13:14:03, 13:19, 13:21:01-13:25, 13:30, 13:33:01-13:33:03, 13:37-13:38, 13:44-13:49, 13:52, 13:54-13:55, 13:57-13:58, 13:60, 13:66:01-13:66:02, 13:70, 13:72, 13:75-13:76, 13:81-13:84, 13:86, 13:88-13:90, 13:94:01-13:95, 13:97:01-13:97:02, 13:100-13:101, 13:107-13:108, 13:118, 13:122, 13:132-13:135, 13:149-13:150, 13:152, 13:154, 13:161-13:162, 13:164 | *03:04:01-03:04:02, 03:17, 03:21, 03:25, 03:30-03:31, 03:35, 03:40-03:41, 03:49, 03:75, 08:20, 11:01:01-11:04:11, 11:06:01-11:08:02, 11:10:01-11:14:02, 11:17-11:19:03, 11:21, 11:23:01-11:23:02, 11:25-11:27:03, 11:29, 11:31-11:39, 11:41-11:43, 11:45-11:48, 11:51-11:57, 11:60-11:66, 11:68-11:70, 11:72-11:75, 11:77-11:82, 11:84:01-11:84:03, 11:86, 11:88-11:103, 11:105-11:112, 11:116-11:121, 11:123-11:126, 11:128-11:147, 14:01:01-14:01:04, 14:05:01-14:05:04, 14:07:01-14:08, 14:14, 14:16, 14:20, 14:22-14:23:04, 14:25-14:26, 14:32:01-14:32:03, 14:34-14:40, 14:42-14:45, 14:49, 14:53-14:56, 14:58, 14:60, 14:62, 14:65, 14:69-14:70, 14:72, 14:74-14:75, 14:82, 14:84, 14:86-14:88, 14:90-14:92N, 14:94, 14:96, 14:99-14:105, 14:111-14:114, 14:116-14:119, 14:122-14:125, 14:127:01-14:131, 14:136-14:137N, 14:139-14:140, 14:142 |
| 266,7,18 | 90 bp, 140 bp | 430 bp | *13:05:01-13:05:02, 13:18, 13:26:01-13:26:02, 13:42, 13:50:02, 13:63, 13:111, 13:132, 13:136, 13:144, 13:150, 13:158 | *08:09, 08:21, 11:01:12, 11:04:04, 11:09-11:10:02, 11:12:02, 11:22, 11:28:02, 11:39-11:40, 11:43, 11:46:01, 11:50, 11:58:01, 11:59, 11:83, 11:87, 11:113, 11:115, 11:122, 11:145, 14:15, 14:22, 14:27, 14:73, 14:105 |
| 27 | 145 bp | 515 bp | *13:01:01-13:01:08, 13:01:10-13:02:08, 13:04-13:06, 13:09-13:11:02, 13:14:01-13:16, 13:18, 13:20-13:25, 13:27-13:31, 13:34, 13:39, 13:41-13:46, 13:50:01-13:52, 13:54, 13:56-13:57, 13:59, 13:61:01-13:64, 13:66:01-13:66:02, 13:68-13:69, 13:71, 13:73-13:75, 13:77-13:80, 13:82-13:83, 13:86-13:87, 13:91-13:93, 13:96:01-13:100, 13:102, 13:104-13:107, 13:109-13:114, 13:117, 13:119, 13:121, 13:123-13:132, 13:136-13:148, 13:150, 13:153-13:158, 13:162-13:163 | *03:01:01:01-03:01:22, 03:04:01-03:05:03, 03:07-03:16, 03:18-03:25, 03:28-03:30, 03:32-03:34, 03:36-03:37, 03:39-03:40, 03:43-03:52, 03:54-03:59, 03:61-03:68N, 03:70-03:73, 03:76-03:79, 03:81, 03:83-03:84, 03:86, 03:89, 03:91, 03:93, 11:01:01-11:01:06, 11:01:08-11:04:11, 11:06:01-11:16, 11:18-11:21, 11:23:01-11:29, 11:31-11:36, 11:38-11:40, 11:42-11:47, 11:49:01-11:49:02, 11:51, 11:53-11:55, 11:57-11:66, 11:68-11:70, 11:72-11:82, 11:84:01-11:87, 11:89-11:103, 11:105-11:106, 11:108-11:144, 11:146-11:147, 14:17, 14:21, 14:30, 14:33, 14:35, 14:42, 14:53, 14:64-14:65, 14:72, 14:95, 14:128, 14:132, 14:134 |
| 28 | 160 bp | 430 bp | *13:01:01-13:01:13, 13:04, 13:06, 13:09-13:11:02, 13:15, 13:17-13:18, 13:20, 13:22, 13:24, 13:27-13:28, 13:35, 13:42-13:44, 13:51-13:52, 13:54, 13:57, 13:59, 13:61:01-13:61:02, 13:64, 13:68-13:69, 13:71, 13:75, 13:77-13:80, 13:83, 13:87, 13:91-13:93, 13:98, 13:102, 13:105-13:106, 13:110-13:114, 13:117, 13:121, 13:125, 13:127, 13:129-13:131, 13:137N-13:138, 13:141, 13:144, 13:146, 13:148, 13:150, 13:153, 13:156, 13:160, 13:162-13:163 | *01:44, 03:01:01:01-03:01:15, 03:01:17-03:01:22, 03:04:01-03:04:02, 03:07-03:08, 03:10-03:13:02, 03:15-03:16, 03:18-03:25, 03:28, 03:30, 03:32-03:34, 03:36-03:37, 03:39, 03:42-03:52, 03:54-03:56, 03:58-03:59, 03:61-03:62, 03:64-03:73, 03:76, 03:78-03:79, 03:82-03:84, 03:86-03:87, 03:91-03:93, 04:42, 04:59, 04:147, 04:156, 08:28, 11:02:01-11:04:11, 11:06:01-11:07, 11:13:01-11:13:02, 11:16, 11:18, 11:21, 11:25, 11:34-11:36, 11:38, 11:40, 11:42-11:44, 11:46:01-11:47, 11:54:01-11:55, 11:57-11:60, 11:63, 11:65:01-11:65:02, 11:67, 11:70, 11:76-11:78, 11:84:01-11:85, 11:89, 11:92, 11:98, 11:102:01-11:102:02, 11:104, 11:113, 11:115-11:116, 11:118-11:119, 11:123-11:124, 11:127, 11:129-11:132, 11:135, 11:137-11:139, 11:146, 12:01:01-12:10, 12:12-12:15, 12:17-12:20, 12:23-12:37, 12:40, 14:17, 14:21, 14:33, 14:35, 14:64-14:65, 14:72, 14:95, 14:128, 14:132, 14:138, 15:01:01:01-15:01:21, 15:03:01:01-15:06:02, 15:09-15:10, 15:12-15:13, 15:16-15:18, 15:20-15:25, 15:28, 15:32-15:33, 15:35-15:37:02, 15:40-15:43, 15:45-15:46, 15:49-15:57, 15:59, 15:61-15:62, 15:64-15:67, 15:69-15:73, 15:75-15:77, 15:79, 15:81-15:84, 15:86-15:87, 15:89-15:95, 15:97-15:98 |
| 298 | 155 bp | 430 bp | *13:15, 13:19, 13:53, 13:57, 13:85, 13:104 | *08:32, 12:01:01-12:01:05, 12:03:02-12:06, 12:08-12:11, 12:14, 12:17, 12:22, 12:24N-12:25, 12:29-12:30, 12:34-12:36, 12:38-12:40, 14:63, 14:67, 14:78 |
| 306 | 85 bp | 515 bp | *13:01:01-13:01:06, 13:01:08-13:01:13, 13:04, 13:08, 13:15, 13:17, 13:19-13:20, 13:22, 13:24, 13:27-13:28, 13:32, 13:35, 13:40, 13:43, 13:48, 13:51-13:54, 13:57, 13:59, 13:61:01-13:61:02, 13:64, 13:68-13:72, 13:75-13:76, 13:78-13:80, 13:83-13:84, 13:87, 13:91-13:93, 13:98, 13:102, 13:105-13:106, 13:110-13:114, 13:116-13:117, 13:121, 13:125, 13:127, 13:130-13:131, 13:138, 13:141, 13:146, 13:148-13:149, 13:153, 13:160, 13:162 | *01:42, 04:02:01-04:02:03, 04:37, 04:124, 04:133-04:134, 04:138, 04:143, 04:161, 11:02:01-11:03, 11:16, 11:21, 11:36, 11:40-11:41, 11:48, 11:55, 11:59, 11:63, 11:65:01-11:65:02, 11:70, 11:76, 11:85, 11:118, 11:124, 11:127, 11:138-11:139, 14:16, 14:57, 15:10 |
| 3119 | 145 bp, 175 bp, 205 bp | 430 bp | *13:59, 13:72, 13:152 |  |
| 32 | 220 bp | 430 bp | *13:02:02, 13:03:01-13:03:06, 13:10, 13:26:01, 13:33:01-13:33:03, 13:37, 13:60, 13:66:01-13:66:02, 13:77, 13:81, 13:85, 13:88-13:90, 13:94:01-13:95, 13:101, 13:115, 13:120, 13:122, 13:133, 13:151-13:152, 13:163 | *03:76, 11:01:03, 11:01:10-11:01:11, 11:04:07, 11:19:02, 11:73, 11:79, 11:93, 11:131-11:132, 14:19, 14:21, 14:32:03, 14:109 |
| 336 | 80 bp | 430 bp | *13:43, 13:45 | *03:10, 11:31, 11:96, 14:35, 14:53, 14:72, 14:128, 14:132, 14:138 |
| 3420 | 145 bp, 255 bp | 430 bp | *13:58, 13:80-13:81, 13:163 | *03:16, 03:20, 11:06:01-11:06:03, 11:21, 11:47, 11:57, 11:129, 14:29, 14:99 |
| 35 | 150 bp | 430 bp | *13:51 |  |
| 366,8,21 | 75 bp, 170 bp, 260 bp | 430 bp | *13:90, 13:92, 13:98 | *14:26 |
| 376 | 100 bp | 515 bp | *13:32, 13:65, 13:93, 13:120, 13:139 | *03:12, 14:13, 14:63, 14:78, 14:85 |
| 386 | 70 bp | 430 bp | *13:33:01, 13:61:02, 13:94:01, 13:96:01 | *03:19, 15:37:01 |
| 396,22 | 80 bp, 130 bp | 430 bp | *13:95, 13:102 |  |
| 406,23 | 90 bp, 120 bp, 155 bp | 430 bp | *13:91, 13:99, 13:101 | *14:118 |
| 416,24 | 115 bp, 160 bp | 430 bp | *13:106, 13:113N | *03:26, 03:33, 03:44, 11:44, 11:49:01-11:50, 11:85, 11:127, 14:97 |
| 42 | 235 bp | 430 bp | *13:112, 13:128 |  |
| 43 | 185 bp | 430 bp |  |  |
| 44 | 145 bp | 430 bp | *13:01:01-13:01:06, 13:01:08-13:02:08, 13:08, 13:10, 13:15-13:16, 13:19, 13:27-13:28, 13:31-13:32, 13:34-13:36, 13:39-13:41, 13:51-13:53, 13:57, 13:61:01-13:61:02, 13:64-13:65, 13:67-13:68, 13:72-13:73, 13:76, 13:79-13:80, 13:83-13:85, 13:87, 13:91-13:93, 13:96:01-13:99, 13:102-13:107, 13:109-13:110, 13:112-13:113N, 13:117, 13:120-13:121, 13:123-13:128, 13:130-13:131, 13:135, 13:137N-13:139, 13:141-13:143, 13:145-13:148, 13:153, 13:155, 13:159-13:160 | *11:16, 11:20, 11:118, 14:16, 14:57 |
| 45 | 250 bp | 430 bp | *13:28, 13:141 | *03:37, 03:56 |
| 46 | 205 bp | 430 bp | *13:137N, 13:142N |  |
| 47 | 180 bp | 430 bp | *13:73 | *11:139 |
| 48 | 135 bp | 430 bp | *13:148 |  |

1Alleles are assigned by the presence of specific PCR product(s). However, the sizes of the specific PCR products may be helpful in the interpretation of DRB1*13 SSP typings.

When the primers in a primer mix can give rise to HLA-specific PCR products of more than one length this is indicated if the size difference is more than 20 base pairs. Size differences of 20 base pairs or less are not given. For high resolution SSP kits the respective lengths of the HLA-specific PCR product(s) are given for the alleles amplified by these primer mixes.

Nonspecific amplifications, i.e. a ladder or a smear of bands, may sometimes be seen. GC-rich primers have a higher tendency of giving rise to nonspecific amplifications than other primers.

PCR fragments longer than the control bands may sometimes be observed. Such bands should be disregarded and do not influence the interpretation of the SSP typings.

PCR fragments migrating faster than the control bands, but slower than a 400 bp fragment may be seen in some gel read-outs. Such bands can be disregarded and do not influence the interpretation of the SSP typings.

Some primers may give rise to primer oligomer artifacts. Sometimes this phenomenon is an inherit feature of the primer pair(s) of a primer mix. More often it is due to other factors such as too low amount of DNA in the PCR reactions, taking too long time in setting up the PCR reactions, working at elevated room temperature or using thermal cyclers that are not pre-heated.

2The internal positive control primer pairs amplify segments of the human growth hormone gene. The two different control primer pairs give rise to either an internal positive control band of 430 base pairs, for most wells, or a band of 515 base pairs, for some wells.

Well number 1 contains the primer pair giving rise to the longer, 515 bp, internal positive control band in order to help in the correct orientation of the DRB1*13 subtyping.

In addition, wells number 6, 13, 15, 20, 27, 30 and 37 contain the primer pair giving rise to the longer, 515 bp, internal positive control band in order to allow kit identification.

In the presence of a specific amplification the intensity of the control band often decreases.

3For several DQB1 alleles 1st and/or 3rd exon(s) and beyond, as well as intron nucleotide sequences, are not available. In these instances it is not known whether some of the primers of the SSP sets are completely matched with the target sequences or not. We assume that unknown sequences in these regions are conserved within allelic groups, that unknown sequences in the first hyperpolymorphic region of the second exon of DRB alleles are conserved within allelic groups and that unknown sequences of codons 87 to 92 are identical with the DRB1*0101 consensus sequence.

4Due to the sharing of sequence motifs within groups of DRB1 alleles, non-DRB1*13 alleles are amplified by primer mixes 1 to 30, 32 to 34, 36 to 38, 40,41, 44, 45 and 47. In addition, the DRB3*01:14 allele will be amplified by primer mixes 1, 9, 13, 18 and 22 to 24, the DRB3*01:08, DRB3*02:06 and DRB3*02:20 alleles will be amplified by primer mix 7 and the DRB3*02:27 allele will be amplified by primer mix 20.

5Primer mix 2 may faintly amplify the DRB1*13:29 allele.

6HLA-specific PCR products shorter than 125 base pairs have a lower intensity and are less sharp than longer PCR products.

7Primer mixes 20, 21 and 26 may have tendencies of unspecific amplifications.

8Primer mixes 22, 29 and 36 have a tendency to giving rise to primer oligomer formation.

9Primer mix 15 may give rise to a lower yield of HLA-specific PCR product than the other DRB1*13 primer mixes.

10Primer mix 15: Specific PCR fragment of 85 bp in the DRB1*13:15, 13:19, 13:26:01-13:26:02, 13:53, 13:57, 13:85-13:86 and 13:104,  and the DBR1*03:02:02, 03:27, 03:90, 14:02-14:03:02, 14:06:01-14:06:02, 14:12:01-14:13, 14:18-14:20, 14:24, 14:27, 14:29, 14:40-14:41, 14:47-14:49, 14:51, 14:63, 14:67, 14:77-14:78, 14:81, 14:83, 14:85, 14:89, 14:94, 14:98, 14:102, 14:106, 14:108-14:109, 14:115 and 14:135 alleles. Specific PCR fragment of 235 bp in the DRB1*13:33:01, 13:61:02, 13:94:01 and 13:96:01,  and the DRB1*03:01:01:01-03:01:01:02, 03:01:03-03:01:16, 03:01:18-03:01:21, 03:04:01-03:05:02, 03:06-03:13:01, 03:16, 03:18-03:23, 03:25-03:26, 03:28, 03:30-03:34, 03:36-03:37, 03:39-03:41, 03:43-03.52, 03:54-03:68N, 03:70-03:73, 03:75-03:77, 03:79-03:80, 03:82-03:84, 03:86, 03:89, 03:91, 03:93, 11:07, 11:27:02-11:27:03, 11:84:02-11:84:03, 11:103, 11:107 and 11:125 alleles. Specific PCR fragments of 85 and 235 bp in DRB1*03:02:01, 03:03, 03:29, 03:38, 03:53 , 03:74 and 03:88 alleles. Both specific PCR fragments may not be visible.

11Primer mix 17: Specific PCR fragment of 220 bp in the DRB1*13:02:02, 13:26:01, 13:60, 13:77 and 13:163 and the DRB1*11:01:03, 11:01:10-11:01:11, 11:04:07, 11:19:02 and 14:32:03 alleles. Specific PCR fragment of 255 bp in the DRB1*13:28 and the DRB1*03:73 alleles.

12Primer mix 18: Specific PCR fragment of 110 bp in the DRB1*13:87 allele. Specific PCR fragment of 230 bp in the DRB1*13:13, 13:18, 13:33:02-13:33:03, 13:47, 13:55, 13:61:01, 13:94:02, 13:96:02, 13:119, 13:144, 13:146, 13:154, 13:156, 13:158 and 13:164 and the DRB1*03:01:02, 03:02:02, 03:05:03, 03:13:02, 03:17, 03:24, 03:27, 03:35, 03:81, 08:20, 11:23:01-11:23:02, 11:25, 11:27:01, 11:45, 11:55, 11:64, 11:84:01, 11:119, 11:124, 11:136, 11:138, 14:03:01-14:03:02, 14:12:01-14:12:02, 14:27, 14:38, 14:40, 14:47, 14:55, 14:63, 14:67, 14:77-14:78, 14:84-14:85, 14:89, 14:98, 14:102, 14:115-14:116, 14:127:01 and 14:135-14:136 and in the DRB3*01:14 alleles.

13Primer mix 19: Specific PCR fragment of 110 bp in the DRB1*13:87 allele. Specific PCR fragment of 205 bp in the DRB1*13:74 allele. Specific PCR fragment of 260 bp in the DRB1*13:16 and the DRB1*11:86 alleles.

14Primer mix 21: Specific PCR fragment of 175 bp in the DRB1*13:27, 13:41 and 13:71 and the DRB1*03:76 and 11:59 alleles. Specific PCR fragment of 220 bp in the DRB1*13:103 and 13:160 alleles.

15Primer mix 22: Specific PCR fragment of 110 bp in the DRB1*13:68 and the DRB1*11:24 alleles. Specific PCR fragment of 175 bp in the DRB1*13:31, 13:46, 13:54, 13:77, 13:100 and 13:162 and the DRB1*03:38, 03:79 and 14:48 and in the DRB3*01:14 alleles.

16Primer mix 23: Specific PCR fragment of 115 bp in the DRB1*13:34, 13:64 and 13:136 and the DRB1*03:43, 03:71, 11:76, 11:114, 14:41 and 14:77 and in the DRB3*01:14 alleles. Specific PCR fragment of 245 bp in the DRB1*13:01:03, 13:76 and 13:163 and the DRB1*03:01:17, 11:01:05, 11:01:10, 11:04:03, 11:06:02, 11:13:01-11:13:02, 11:17, 11:52, 11:54:01, 14:01:01, 14:01:03-14:01:04, 14:05:01-14:05:02, 14:05:04, 14:07:01-14:08, 14:14, 14:18, 14:23:01-14:23:04, 14:26, 14:32:02-14:32:03, 14:34-14:36, 14:39, 14:42-14:44:01, 14:44:03-14:45, 14:54:01-14:56, 14:58-14:60, 14:62, 14:64-14:65, 14:70, 14:72, 14:82, 14:86-14:88, 14:90-14:92N, 14:95-14:97, 14:99-14:101, 14:104-14:105, 14:111-14:114, 14:117-14:118, 14:122-14:125, 14:127:02, 14:129-14:134, 14:137N, 14:139-14:140 and 14:142 alleles. Specific PCR fragment of 115 and 245 bp in the DRB1*14:110 allele.

17Primer mix 24: Specific PCR fragment of 145 bp in the DRB1*13:35 and 13:161 alleles. Specific PCR fragment of 180 bp in the DRB1*13:39, 13:54, 13:77-13:79, 13:100 and 13:162-13:163 and the DRB1*03:13:01-03:13:02, 03:38, 03:79, 03:88, 11:116, 11:120, 14:48, 14:64, 14:109 and 14:115 and in the DRB3*01:14 alleles.

18Primer mix 26: Specific PCR fragment of 90 bp in the DRB1*13:150 and the DRB1*11:39, 11:43, 11:50 and 11:145 alleles. Specific PCR fragment of 140 bp in the DRB1*13:05:01-13:05:02, 13:18, 13:26:01-13:26:02, 13:42, 13:50:02, 13:63, 13:111, 13:132, 13:136, 13:144 and 13:158 and the DRB1*08:09, 08:21, 11:01:12, 11:04:04, 11:09-11:10:02, 11:12:02, 11:22, 11:28:02, 11:40, 11:46:01, 11:58:01, 11:59, 11:83, 11:87, 11:113, 11:122, 14:15, 14:22, 14:27, 14:73 and 14:105 alleles. PCR fragment of 90 and 140 bp in the DRB1*11:115 allele.

19Primer mix 31: Specific PCR fragment of 145 bp in the DRB1*13:152 allele. Specific PCR fragment of 175 bp in the DRB1*13:59 allele. Specific PCR fragment of 205 bp in the DRB1*13:72 allele.

20Primer mix 34: Specific PCR fragment of 145 bp in the DRB1*13:80 and the DRB1*03:16 alleles. Specific PCR fragment of 255 bp in the DRB1*13:58, 13:81 and 13:163 and the DRB1*03:20, 11:06:01-11:06:03, 11:21, 11:47, 11:57, 11:129, 14:29 and 14:99 alleles.

21Primer mix 36: Specific PCR fragment of 75 bp in the DRB1*13:92 and the DRB1*14:26 alleles. Specific PCR fragment of 170 bp in the DRB1*13:90 allele. Specific PCR fragment of 260 bp in the DRB1*13:98 allele.

22Primer mix 39: Specific PCR Specific PCR fragment of of 80 bp in the DRB1*13:102 allele. Specific PCR Specific PCR fragment of of 130 bp in the DRB1*13:95 allele.

23Primer mix 40: Specific PCR fragment of 90 bp in the DRB1*13:101 allele. Specific PCR fragment of 120 bp in the DRB1*13:91 allele. Specific PCR fragment of 155 bp in the DRB1*13:99 and the DRB1*14:118 alleles.

24Primer mix 41: Specific PCR fragment of 115 bp in the DRB1*13:106 and the DRB1*03:26, 03:33, 03:44, 11:44, 11:49:01-11:50, 11:85, 11:127 and 14:97 alleles. Specific PCR fragment of 160 bp in the DRB1*13:113N allele.

‘w’, may be weakly amplified.

1DRB1*13 alleles in bold lettering are listed as confirmed alleles on the on the IMGT/HLA web page www.ebi.ac.uk/imgt/hla, release 3.13.1, July 2013.

2The DRB1*13:92 and 13:98 alleles can be distinguished by the different sizes of the specific PCR products generated by primer mix 36.

3 Primer mix 15: Specific PCR fragment of 85 bp in the DRB1*13:15, 13:19, 13:26:01-13:26:02, 13:53, 13:57, 13:85-13:86 and 13:104,  and the DBR1*03:02:02, 03:27, 03:90, 14:02-14:03:02, 14:06:01-14:06:02, 14:12:01-14:13, 14:18-14:20, 14:24, 14:27, 14:29, 14:40-14:41, 14:47-14:49, 14:51, 14:63, 14:67, 14:77-14:78, 14:81, 14:83, 14:85, 14:89, 14:94, 14:98, 14:102, 14:106, 14:108-14:109, 14:115 and 14:135 alleles. Specific PCR fragment of 235 bp in the DRB1*13:33:01, 13:61:02, 13:94:01 and 13:96:01,  and the DRB1*03:01:01:01-03:01:01:02, 03:01:03-03:01:16, 03:01:18-03:01:21, 03:04:01-03:05:02, 03:06-03:13:01, 03:16, 03:18-03:23, 03:25-03:26, 03:28, 03:30-03:34, 03:36-03:37, 03:39-03:41, 03:43-03.52, 03:54-03:68N, 03:70-03:73, 03:75-03:77, 03:79-03:80, 03:82-03:84, 03:86, 03:89, 03:91, 03:93, 11:07, 11:27:02-11:27:03, 11:84:02-11:84:03, 11:103, 11:107 and 11:125 alleles. Specific PCR fragments of 85 and 235 bp in DRB1*03:02:01, 03:03, 03:29, 03:38, 03:53 , 03:74 and 03:88 alleles. Both specific PCR fragments may not be visible.

Primer mix 17: Specific PCR fragment of 220 bp in the DRB1*13:02:02, 13:26:01, 13:60, 13:77 and 13:163 and the DRB1*11:01:03, 11:01:10-11:01:11, 11:04:07, 11:19:02 and 14:32:03 alleles. Specific PCR fragment of 255 bp in the DRB1*13:28 and the DRB1*03:73 alleles.

Primer mix 18: Specific PCR fragment of 110 bp in the DRB1*13:87 allele. Specific PCR fragment of 230 bp in the DRB1*13:13, 13:18, 13:33:02-13:33:03, 13:47, 13:55, 13:61:01, 13:94:02, 13:96:02, 13:119, 13:144, 13:146, 13:154, 13:156, 13:158 and 13:164 and the DRB1*03:01:02, 03:02:02, 03:05:03, 03:13:02, 03:17, 03:24, 03:27, 03:35, 03:81, 08:20, 11:23:01-11:23:02, 11:25, 11:27:01, 11:45, 11:55, 11:64, 11:84:01, 11:119, 11:124, 11:136, 11:138, 14:03:01-14:03:02, 14:12:01-14:12:02, 14:27, 14:38, 14:40, 14:47, 14:55, 14:63, 14:67, 14:77-14:78, 14:84-14:85, 14:89, 14:98, 14:102, 14:115-14:116, 14:127:01 and 14:135-14:136 and in the DRB3*01:14 alleles.

Primer mix 19: Specific PCR fragment of 110 bp in the DRB1*13:87 allele. Specific PCR fragment of 205 bp in the DRB1*13:74 allele. Specific PCR fragment of 260 bp in the DRB1*13:16 and the DRB1*11:86 alleles.

Primer mix 21: Specific PCR fragment of 175 bp in the DRB1*13:27, 13:41 and 13:71 and the DRB1*03:76 and 11:59 alleles. Specific PCR fragment of 220 bp in the DRB1*13:103 and 13:160 alleles.

Primer mix 22: Specific PCR fragment of 110 bp in the DRB1*13:68 and the DRB1*11:24 alleles. Specific PCR fragment of 175 bp in the DRB1*13:31, 13:46, 13:54, 13:77, 13:100 and 13:162 and the DRB1*03:38, 03:79 and 14:48 and in the DRB3*01:14 alleles.

Primer mix 23: Specific PCR fragment of 115 bp in the DRB1*13:34, 13:64 and 13:136 and the DRB1*03:43, 03:71, 11:76, 11:114, 14:41 and 14:77 and in the DRB3*01:14 alleles.

Specific PCR fragment of 245 bp in the DRB1*13:01:03, 13:76 and 13:163 and the DRB1*03:01:17, 11:01:05, 11:01:10, 11:04:03, 11:06:02, 11:13:01-11:13:02, 11:17, 11:52, 11:54:01, 14:01:01, 14:01:03-14:01:04, 14:05:01-14:05:02, 14:05:04, 14:07:01-14:08, 14:14, 14:18, 14:23:01-14:23:04, 14:26, 14:32:02-14:32:03, 14:34-14:36, 14:39, 14:42-14:44:01, 14:44:03-14:45, 14:54:01-14:56, 14:58-14:60, 14:62, 14:64-14:65, 14:70, 14:72, 14:82, 14:86-14:88, 14:90-14:92N, 14:95-14:97, 14:99-14:101, 14:104-14:105, 14:111-14:114, 14:117-14:118, 14:122-14:125, 14:127:02, 14:129-14:134, 14:137N, 14:139-14:140 and 14:142 alleles. Specific PCR fragment of 115 and 245 bp in the DRB1*14:110 allele.

Primer mix 24: Specific PCR fragment of 145 bp in the DRB1*13:35 and 13:161 alleles. Specific PCR fragment of 180 bp in the DRB1*13:39, 13:54, 13:77-13:79, 13:100 and 13:162-13:163 and the DRB1*03:13:01-03:13:02, 03:38, 03:79, 03:88, 11:116, 11:120, 14:48, 14:64, 14:109 and 14:115 and in the DRB3*01:14 alleles.

Primer mix 26: Specific PCR fragment of 90 bp in the DRB1*13:150 and the DRB1*11:39, 11:43, 11:50 and 11:145 alleles. Specific PCR fragment of 140 bp in the DRB1*13:05:01-13:05:02, 13:18, 13:26:01-13:26:02, 13:42, 13:50:02, 13:63, 13:111, 13:132, 13:136, 13:144 and 13:158 and the DRB1*08:09, 08:21, 11:01:12, 11:04:04, 11:09-11:10:02, 11:12:02, 11:22, 11:28:02, 11:40, 11:46:01, 11:58:01, 11:59, 11:83, 11:87, 11:113, 11:122, 14:15, 14:22, 14:27, 14:73 and 14:105 alleles. PCR fragment of 90 and 140 bp in the DRB1*11:115 allele.

Primer mix 31: Specific PCR fragment of 145 bp in the DRB1*13:152 allele. Specific PCR fragment of 175 bp in the DRB1*13:59 allele. Specific PCR fragment of 205 bp in the DRB1*13:72 allele.

Primer mix 34: Specific PCR fragment of 145 bp in the DRB1*13:80 and the DRB1*03:16 alleles. Specific PCR fragment of 255 bp in the DRB1*13:58, 13:81 and 13:163 and the DRB1*03:20, 11:06:01-11:06:03, 11:21, 11:47, 11:57, 11:129, 14:29 and 14:99 alleles.

Primer mix 36: Specific PCR fragment of 75 bp in the DRB1*13:92 and the DRB1*14:26 alleles. Specific PCR fragment of 170 bp in the DRB1*13:90 allele. Specific PCR fragment of 260 bp in the DRB1*13:98 allele.

Primer mix 39: Specific PCR Specific PCR fragment of of 80 bp in the DRB1*13:102 allele. Specific PCR Specific PCR fragment of of 130 bp in the DRB1*13:95 allele.

Primer mix 40: Specific PCR fragment of 90 bp in the DRB1*13:101 allele. Specific PCR fragment of 120 bp in the DRB1*13:91 allele. Specific PCR fragment of 155 bp in the DRB1*13:99 and the DRB1*14:118 alleles.

Primer mix 41: Specific PCR fragment of 115 bp in the DRB1*13:106 and the DRB1*03:26, 03:33, 03:44, 11:44, 11:49:01-11:50, 11:85, 11:127 and 14:97 alleles. Specific PCR fragment of 160 bp in the DRB1*13:113N allele.

4The DRB1*13 primer set cannot separate the DRB1*13:01:01-13:01:02, 13:01:04-13:01:06, 13:01:08 and 13:01:10-13:01:13 and the DRB1*13:117 alleles.

‘w’, may be weakly amplified.

Change in revision R01 compared to R00:

- Primer mix 20 may give rise to unspecific amplification. A footnote has been added in the Specificity Table.

Change in revision R02 compared to R01:

- Primer mix 43 does not amplify the DRB1*13:117 allele. This has been corrected in the Specificity and Interpretation tables.

Change in revision R03 compared to R02:

- Primer mix 45 amplifies the DRB1*13:28 and DRB1*03:37 alleles. This has been corrected in the Specificity and Interpretation tables.