PHOTO DOCUMENT

Olerup SSP AB

Olerup SSPTM DRB1*14

Prod. No:	101.117-12/03 – including Taq pol.

101.117-12u/03u – without Taq pol.

Lot No:    	Y29

Expiry Date:    	2009-September-01

Name:________________Sample ID:_______________

DNA Extract Date:_________ Conc.(ug/ul):_________

Test  Date: _________Review Date:_______________

Tested By: _________Reviewed By:_______________

Interpretation:_________________________________

Specificities and sizes of the PCR products of the 32 primer mixes used for DRB1*14 SSP typing.

| Primer Mix | Size of spec. PCR product1 | Size of contr. band2 | Amplified DRB1*14 alleles3 | Other amplified DRB alleles3,4 |
| --- | --- | --- | --- | --- |
| 1 | 210 bp | 515 bp | 140101-140103, 140501-140503, 140701-1408, 1414, 1418, 142301-142302, 1426, 143201-143202, 1434-1436, 1438, 1439, 1442-1445, 1454, 1455weakly, 1456, 1458-1460, 1462, 1464, 1465, 1470, 1472 | 1113, 1117, 1152 |
| 2 | 175 bp | 430 bp | 140101-140103, 140701-140702, 1416, 1422, 1425, 1426, 143201-143202, 1435, 1438, 1439, 1449, 1453-1455, 1458, 1460, 1462, 1469, 1470, 1474 | 0310, 1343, 1345 |
| 35,6,7 | 140 bp | 430 bp | 1402, 1406, 1409, 1413, 1417, 1419, 1421, 1429, 1430, 1433, 1446-1448, 1451, 1452 |  |
| 46,7 | 85 bp | 430 bp | 1402-140302, 1406, 1412, 1413, 1418-1420, 1424, 1427, 1429, 1440, 1441, 1447-1449, 1451, 1463, 1467 | 030201-0303, 0327, 0329, 0338, 1315, 1319, 1326, 1353, 1357 |
| 5 | 260 bp | 430 bp | 1402-140302, 140701-140702, 1409, 1413, 1414, 1419, 1422, 1424, 1425, 1427, 1430, 1436, 1440-1442, 144401-144402, 1447-1449, 1451, 1453, 1463, 1467, 1469 | 030201-030202, 030501-030502, 0309, 0314, 0317, 0327, 0329, 0335, 0338, 110101-110107, 110801-111202, 111401-1115, 111901-1120, 1123, 1124, 1126-1129, 1131-1133, 1137, 1139, 1145, 1149, 1151, 1153, 1161, 1162, 1164, 1166, 130201-130302, 130501-130502, 130701-130702, 1312-131402, 1321, 1323, 1325, 1326, 1329-1331, 1333, 1334, 1336-1339, 1341, 1345-1347, 1349, 1350, 1355, 1356, 1360, 1362, 1363, 1365, 1366, 1373, 1374 |
| 6 | 260 bp | 515 bp | 140101-140103, 140501-1406, 1408, 1412, 1416-1418, 1420, 1421, 142301-142302, 1426, 1429, 143201-1435, 1437-1439, 1443, 1445, 1454-1456, 1458-1460, 1462, 1464, 1465, 1470, 1472, 1474 | 030101-030106, 0303, 0304, 0306-0308, 0310-0313, 0315, 0316, 0318-0326, 0328, 0330-0334, 0336, 0337, 0339, 0820, 110201-110404, 110601-1107, 1113, 1116-1118, 1121, 1125, 1134-1136, 1138, 1140-1144, 1146-1148, 1150, 1152, 115401-1160, 1163, 116501-116502, 130101-130103, 1304, 1306, 1308-1311, 1315, 1318-1320, 1322, 1324, 1327, 1328, 1332, 1335, 1340, 1342-1344, 1348, 1351-1354, 1357-1359, 1361, 1364, 1368-1372, 1375-1381 |
| 7 | 225 bp | 430 bp | 140301-140302, 1412, 1427, 1440, 1455, 1463, 1467 | 0820, 1123, 1125, 1145, 1155, 1164, 1313, 1318, 1347, 1355 |
| 86,9 | 135, 170 bp | 430 bp | 1404, 1426, 1428, 1431, 1450, 1461, 1468, 1471, 1473 | 0706, 0808, 0811weakly |
| 96,10 | 130, 250 bp | 430 bp | 140501-140503, 1437, 1443, 1445, 1456, 1462, 1465 | 0312, 0410-0412, 0467, 0806, 0810, 0812, 0822, 1304, 1332, 1348, 1358, 1372, 1375, 1381, 1512 |
| 105 | 175 bp | 430 bp | 1410, 1439, 1457 | 0462, 0469 |
| 116,11 | 85, 170, 215 bp | 430 bp | 1411, 1416, 1422, 1425, 1431, 143201-143202, 1434, 1449, 1452, 1453, 1469, 1474 | 0114, 0462, 0805, 0818, 0824, 0825, 0831, 120101-120202, 120302-1216, 1317, 1343, 1345 |
| 127 | 225 bp | 515 bp | 140101-140103, 140501-140503, 140701-1408, 1414, 1418, 142301-142302, 1426, 1433, 1435, 1436, 1438, 1439, 1442-1445, 1451, 1454, 1456, 1458-1460, 1462, 1464, 1470, 1472 | 0311, 0317, 0324, 0327, 0335, 1117, 1152-115402, 1376 |
| 135,6 | 115 bp | 430 bp | 140101-140103, 1404, 140701-1408, 1410, 1416, 1422, 1426, 1428, 1431-143202, 1434, 1435, 1438, 1439, 1449, 1450, 1454, 1455, 1460-1462, 1468, 1470-1474 | 0310, 1152, 1343 |
| 146,12 | 60, 130 bp | 515 bp | 1422, 1425, 1427, 1453, 1473 | 0808, 0903, 1109, 1128, 1140, 1158, 1159, 130501-130502, 1318, 1326, 1342, 1350, 1363, 1608 |
| 15 | 185 bp | 430 bp | 1428, 1429 | 0320, 1205, 1214, 1215 |
| 166 | 105 bp | 430 bp | 140501-140502, 1408, 1411, 1414, 1418, 142301-142302, 1434, 1436, 1442-144401, 1445, 1456, 1459, 1464, 1472 | 010201-010204, 110105, 110403, 110602, 1113, 1117, 1152, 115401, 1204, 1209, 130103, 1376 |
| 17 | 220 bp | 430 bp | 1419, 1421, 1443 | 130301-130302, 1310, 1333, 1337, 1366, 1381 |
| 186 | 85 bp | 430 bp | 140101-140103, 140501-140503, 140701-1409, 1414, 1416, 1417, 1421-142302, 1425, 1426, 1430, 143201-1439, 1442-1445, 1453-1456, 1458-1460, 1462, 1464, 1465, 1469, 1472, 1474 | 030101-030106, 0304-0326, 0328, 0330-0337, 0339, 0820, 110101-110404, 110601-1121, 1123-1129, 1131-1166, 130101-131402, 1316, 1318, 1320-1325, 1327-1352, 1354-1356, 1358-1366, 1368-1381 |
| 196 | 145 bp | 430 bp | 1415, 1416, 1440, 1455, 1457 | 0809, 0821, 1308, 1319, 1357, 1364, 1372, 1376 |
| 205,6,8,13 | 60, 110, 170, 215 bp | 430 bp | 1404, 1415, 1425, 1428, 1431, 1439, 1450, 1453, 1458, 1463, 1467-1469, 1471, 1473 | 0114, 0412, 0418, 080101-080203, 080302-080404, 0806-0817, 0819-0823, 0826-0828, 0830, 0832-0834, 1123, 1125, 1145, 1155, 1164, 1313, 1345, 1347, 1355, 1521 |
| 2114 | 170, 215 bp | 515 bp | 1413, 1424, 1437, 1463, 1465 | 0312, 130301-1304, 1309, 1312, 1313, 1321, 1330, 1332, 1333, 1338, 1348, 1349, 1355, 1358, 1365, 1366, 1375, 1381 |
| 226 | 145 bp | 430 bp | 140101-140302, 140501-1409, 1412-1414, 1416, 1418-1420, 1422-1427, 1429, 143201-143202, 1434, 1436-1441, 1443-1445, 1447-1449, 1451, 1454-1456, 1458-1460, 1462, 1463, 1467, 1469, 1470, 1474 | 030201-0303, 0306, 0317, 0326, 0327, 0331, 0335, 0338, 0820, 1117, 1137, 1141, 1148, 1150, 1152, 1156, 130301-130302, 130701-1308, 1312, 1313, 1319, 1326, 1332, 1333, 1336-1338, 1340, 1347-1349, 1353, 1355, 1358, 1360, 1365, 1370, 1372, 1376, 1381 |
| 236 | 145 bp | 430 bp | 1417, 1421, 1430, 1433, 1435, 1442, 1453, 1464, 1465, 1472 | 030101-030106, 0304-030502, 0307-0315, 0318-0325, 0328-0330, 0332-0334, 0336, 0337, 0339, 110101-110106, 110201-110404, 110601-1116, 1118-1121, 1123-1129, 1131-1136, 1138-1140, 1142-1147, 1149, 1151, 1153-1155, 1157-1166, 130101-130203, 1304-1306, 1309-1311, 131401-1316, 1318, 1320-1325, 1327-1331, 1334, 1339, 1341-1346, 1350-1352, 1354, 1356, 1357, 1359, 1361-1364, 1366, 1368, 1369, 1371, 1373-1375, 1377-1379 |
| 246,15 | 115, 135 bp | 430 bp | 1436, 1441 | 0318, 1334, 1364 |
| 2516 | 120, 210, 250 bp | 430 bp | 140701-140702, 1422, 1425, 144401-144402, 1449, 1453, 1456, 1468, 1469 | 0114, 0335, 0462, 0469, 0808, 0815, 1345, DRB3*0216 |
| 265,17 | 190, 250 bp | 515 bp | 140101-140103, 1445 |  |
| 275,18 | 220, 250 bp | 515 bp | 1446, 1452, 1471 |  |
| 28 | 230 bp | 430 bp | 1438, 1447, 1450 | 030102, 030202, 0317, 0324, 0327, 0335, 112701, 1361 |
| 296,19 | 135, 175 bp | 515 bp | 1448, 1460 | 0338, 1331, 1346, 1354, 1377 |
| 30 | 200 bp | 430 bp | 1406, 1412, 1417, 1418, 1421, 1429, 1433, 1452, 1459, 1464, 1470 | 030101-030106, 0303, 0306-0308, 0310-0313, 0315, 0316, 0318-0320, 0322-0324, 0326, 0328, 0332-0334, 0336, 0337, 0339, 1116, 1140, 1158, 1159, 130101-130103, 1306, 1309, 1310, 1315, 1318, 1320, 1327, 1328, 1332, 1335, 1340, 1342, 1343, 1351, 1353, 1359, 1361, 1369, 1371, 1377-1380, 1503, 1523 |
| 316 | 80 bp | 515 bp | 1435, 1453, 1472 | 0310, 1131, 1343, 1345 |
| 326,8,20 | 100, 145 bp | 430 bp | 1413, 1419, 1421, 1463 | 1310, 1332, 1365 |

1Alleles are assigned by the presence of specific PCR product(s). However, the sizes of the specific PCR products may be helpful in the interpretation of DRB1*14 SSP subtypings.

When the primers in a primer mix can give rise to specific PCR products of more than one length this is indicated if the size difference is 20 bp or more. Size differences shorter than 20 bp are not given. For high resolution SSP kits the length of the specific PCR product(s) of the alleles amplified by these primer mixes are given.

Nonspecific amplifications, i.e. a ladder or a smear of bands, may sometimes be seen. GC-rich primers have a higher tendency of giving rise to nonspecific amplifications than other primers, e.g. primer mixes 3, 10, 13 and 20.

PCR fragments longer than the control band may sometimes be observed. Such bands can be disregarded and do not influence the interpretation of the SSP typings.

2The internal positive control primer pairs amplify segments of the human growth hormone gene. The two different control primer pairs give rise to either an internal positive control band of 430 base pairs, for most tubes, or a band of 515 base pairs, for some tubes.

Tube number 1 contains the primer pair giving rise to the longer, 515 bp, internal positive control band in order to help in the correct orientation of the DRB1*14 subtyping.

In addition, tubes number 6, 12, 14, 21, 26, 27, 29 and 31 contain the primer pair giving rise to the longer, 515 bp, internal positive control band in order to allow kit identification.

In the presence of a specific amplification the intensity of the control band often decreases.

3For several DRB alleles only partial second exon nucleotide sequences are available. In these instances it is not known whether some of the primers of the SSP sets are completely matched with the target sequences or not. We assume that unknown sequences in the first hyperpolymorphic region of the second exon of DRB alleles are conserved within allelic groups and that unknown sequences of codons 87 to 92 are identical with the DRB1*0101 consensus sequence.

4Due to the sharing of sequence motifs within the DR52 group of DRB1 alleles, all DRB1*03 alleles, all DRB1*12 alleles, all DRB1*13 alleles as well as most DRB1*11 alleles are amplified by some of the DRB1*14 primer mixes. In addition, five DRB1*01 alleles, seven DRB1*04 alleles, one DRB1*07 allele, all DRB1*08 alleles, one DRB1*09 allele, four DRB1*15 allele and one DRB1*16 allele are amplified by some of the DRB1*14 primer mixes. Finally, the DRB3*0216 allele will be amplified by primer mix 25.

2The DRB1*1408 and DRB1*1152 alleles give rise to identical amplification patterns with the DRB1*14 SSP kit. These two alleles can be separated by the DR low resolution and/or DRB1*11 SSP kits.

The DRB1*1411 and DRB1*1204 and DRB1*1209 alleles give rise to identical amplification patterns with the DRB1*14 SSP kit. These alleles can be separated by the DR low resolution and/or DRB1*12 SSP kits.

The DRB1*1415 and DRB1*0809 and DRB1*0821 alleles give rise to identical amplification patterns with the DRB1*14 SSP kit. These alleles can be separated by the DRB1*08 SSP kit.

The DRB1*142301-142302 and DRB1*1117 alleles give rise to identical amplification patterns with the DRB1*14 SSP kit. These two alleles can be separated by the DR low resolution and/or DRB1*11 SSP kits.

The DRB1*1437, DRB1*1348 and DRB1*1358 DR alleles give rise to identical amplification patterns with the DRB1*14 SSP kit. These two alleles can be separated by the DR low resolution and/or DRB1*13 SSP kits.

5Primer mixes 3, 10, 13, 20, 26 and 27 have a tendency of giving rise to nonspecific amplifications.

6Short specific PCR fragments are less intense and not as sharp as longer specific bands.

7Primer mixes 3, 4 and 12 may yield less specific PCR product than the other DRB1*14 primer mixes.

8Primer mixes 20 and  32 have a tendency of giving rise to primer oligomer formation, most pronounced for primer mix 20.

9Primer mix 8: Specific PCR fragment of 135 bp in the DRB1*1426 and DRB1*0706 alleles. Specific PCR fragment of 170 bp in the DRB1*1404, 1428, 1431, 1450, 1461, 1468, 1471, 1473 and DRB1*0808 and 0811 alleles.

10Primer mix 9: Specific PCR fragment of 130 bp in the DRB1*1462 allele. Specific PCR fragment of 250 bp in the DRB1*140501-140503, 1437, 1443, 1445, 1456, 1462, 1465 and DRB1*0312, 0410-0412, 0467, 0806, 0810, 0812, 0822, 1304, 1332, 1348, 1358, 1372, 1375, 1381 and 1512 alleles.

11Primer mix 11: Specific PCR fragment of 85 bp in the DRB1*1416, 1422, 1425, 143201-143202, 1434, 1449, 1453, 1469, 1474 and DRB1*0114 and 0462 alleles. Specific PCR fragment of 170 bp in the DRB1*1411 allele. Specific PCR fragment of 215 bp in the DRB1*1452 and DRB1*0805, 0818, 0824, 0825, 120101 to 120202, 120302, 1205 to 1216 and 1317 alleles. Specific PCR fragment of 85 and 215 bp in the DRB1*1431, DRB1*1343 and 1345 alleles. Specific PCR fragment of 170 and 215 bp in the DRB1*0831 and 1204 alleles.

12Primer mix 14: Specific PCR fragment of 60 bp in the DRB1*1422, 1425, 1453, 1473 and DRB1*0808 alleles. Specific PCR fragment of 130 bp in the DRB1*1427 and DRB1*0903, 1109, 1128, 1140, 1158, 1159, 130501-130502, 1318, 1326, 1342, 1350, 1363 and 1608 alleles.

13Primer mix 20: Specific PCR fragment of 60 bp in the DRB1*1463, 1467 and DRB1*0412, 0418 and 1521 alleles. Specific PCR fragment of 110 bp in the DRB1*1425, 1453, 1458, 1469 and DRB1*0114, 1123, 1125, 1145, 1155, 1164, 1313, 1345, 1347 and 1355 allels. Specific PCR fragment of 170 bp in the DRB1*1404, 1428, 1431, 1439, 1450, 1468, 1471 and 1473 alleles. Specific PCR fragment of 215 bp in the DRB1*1415 and DRB1*080101 to 080203, 080302 to 080404, 0806 to 0817, 0819 to 0823, 0826 to 0828, 0830 and 0832 to 0834 alleles.

14Primer mix 21: Specific PCR fragment of 170 bp in DRB1*1413, 1463, 1465 and DRB1*0312, 130301-1304, 1312, 1313, 1321, 1330, 1332, 1333, 1338, 1348, 1349, 1355, 1358, 1365, 1366, 1375 and 1381 alleles. Specific PCR fragment of 215 bp in the DRB1*1424, 1437 and DRB1*1309 alleles.

15Primer mix 24: Specific PCR fragment of 115 bp in the DRB1*1441 and DRB1*1334 and 1364 alleles. Specific PCR fragment of 135 bp in the DRB1*1436 and DRB1*0318 alleles.

16Primer mix 25: Specific PCR fragment of 120 bp in the DRB1*140701-140702, 1422, 1425, 1449, 1453, 1469 and DRB1*0114, 0335, 0462, 0469, 0808, 0815, 1345 and the DRB3*0216 allele.    Specific PCR fragment of 210 bp in DRB1*1456 allele. Specific PCR fragment of 250 bp in the DRB1*144401-14402 allele.

17Primer mix 26: Specific PCR fragment of 190 bp in the DRB1*1445 allele. Specific PCR fragment of 250 bp in the DRB1*140101 to 140103 alleles.

18Primer mix 27: Specific PCR framgnet of 220 bp in the DRB1*1446 allele. Specific PCR fragment of 250 bp in the DRB1*1452 and 1471 alleles.

19Primer mix 29: Specific PCR fragment of 135 bp in the DRB1*1460 allele. Specific PCR fragment of175 bp in the DRB1*1460 and DRB1*0338, 1331, 1346, 1354 and 1377 alleles.

20Primer mix 32: Specific PCR fragment of 100 bp in the DRB1*1413, 1463 and DRB1*1332 and 1365 alleles. Specific PCR fragment of 145 bp in the DRB1*1419, 1421 and DRB1*1310 alleles.

1The DRB1*1466 allele has been renamed to DRB1*142302.

The DRB1*1408 and DRB1*1152 alleles give rise to identical amplification patterns with the DRB1*14 SSP kit. These two alleles can be separated by the DR low resolution and/or DRB1*11 SSP kits.

The DRB1*1411 and DRB1*1204 and DRB1*1209 alleles give rise to identical amplification patterns with the DRB1*14 SSP kit. These alleles can be separated by the DR low resolution and/or DRB1*12 SSP kits.

The DRB1*1415 and DRB1*0809 and DRB1*0821 alleles give rise to identical amplification patterns with the DRB1*14 SSP kit. These alleles can be separated by the DRB1*08 SSP kit.

The DRB1*142301-142302 and DRB1*1117 alleles give rise to identical amplification patterns with the DRB1*14 SSP kit. These two alleles can be separated by the DR low resolution and/or DRB1*11 SSP kits.

The DRB1*1437, DRB1*1348 and DRB1*1358 DR alleles give rise to identical amplification patterns with the DRB1*14 SSP kit. These two alleles can be separated by the DR low resolution and/or DRB1*13 SSP kits.

2Primer mix 8: Specific PCR fragment of 135 bp in the DRB1*1426 and DRB1*0706 alleles. Specific PCR fragment of 170 bp in the DRB1*1404, 1428, 1431, 1450, 1461, 1468, 1471, 1473 and DRB1*0808 and 0811 alleles.

Primer mix 9: Specific PCR fragment of 130 bp in the DRB1*1462 allele. Specific PCR fragment of 250 bp in the DRB1*140501-140503, 1437, 1443, 1445, 1456, 1462, 1465 and DRB1*0312, 0410-0412, 0467, 0806, 0810, 0812, 0822, 1304, 1332, 1348, 1358, 1372, 1375, 1381 and 1512 alleles.

Primer mix 11: Specific PCR fragment of 85 bp in the DRB1*1416, 1422, 1425, 143201-143202, 1434, 1449, 1453, 1469, 1474 and DRB1*0114 and 0462 alleles. Specific PCR fragment of 170 bp in the DRB1*1411 allele. Specific PCR fragment of 215 bp in the DRB1*1452 and DRB1*0805, 0818, 0824, 0825, 120101 to 120202, 120302, 1205 to 1216 and 1317 alleles. Specific PCR fragment of 85 and 215 bp in the DRB1*1431, DRB1*1343 and 1345 alleles. Specific PCR fragment of 170 and 215 bp in the DRB1*0831 and 1204 alleles.

Primer mix 14: Specific PCR fragment of 60 bp in the DRB1*1422, 1425, 1453, 1473 and DRB1*0808 alleles. Specific PCR fragment of 130 bp in the DRB1*1427 and DRB1*0903, 1109, 1128, 1140, 1158, 1159, 130501-130502, 1318, 1326, 1342, 1350, 1363 and 1608 alleles.

Primer mix 20: Specific PCR fragment of 60 bp in the DRB1*1463, 1467 and DRB1*0412, 0418 and 1521 alleles. Specific PCR fragment of 110 bp in the DRB1*1425, 1453, 1458, 1469 and DRB1*0114, 1123, 1125, 1145, 1155, 1164, 1313, 1345, 1347 and 1355 allels. Specific PCR fragment of 170 bp in the DRB1*1404, 1428, 1431, 1439, 1450, 1468, 1471 and 1473 alleles. Specific PCR fragment of 215 bp in the DRB1*1415 and DRB1*080101 to 080203, 080302 to 080404, 0806 to 0817, 0819 to 0823, 0826 to 0828, 0830 and 0832 to 0834 alleles.

Primer mix 21: Specific PCR fragment of 170 bp in DRB1*1413, 1463, 1465 and DRB1*0312, 130301-1304, 1312, 1313, 1321, 1330, 1332, 1333, 1338, 1348, 1349, 1355, 1358, 1365, 1366, 1375 and 1381 alleles. Specific PCR fragment of 215 bp in the DRB1*1424, 1437 and DRB1*1309 alleles.

Primer mix 24: Specific PCR fragment of 115 bp in the DRB1*1441 and DRB1*1334 and 1364 alleles. Specific PCR fragment of 135 bp in the DRB1*1436 and DRB1*0318 alleles.

Primer mix 25: Specific PCR fragment of 120 bp in the DRB1*140701-140702, 1422, 1425, 1449, 1453, 1469 and DRB1*0114, 0335, 0462, 0469, 0808, 0815, 1345 and the DRB3*0216 allele.    Specific PCR fragment of 210 bp in DRB1*1456 allele. Specific PCR fragment of 250 bp in the DRB1*144401-14402 allele.

Primer mix 26: Specific PCR fragment of 190 bp in the DRB1*1445 allele. Specific PCR fragment of 250 bp in the DRB1*140101 to 140103 alleles.

Primer mix 27: Specific PCR framgnet of 220 bp in the DRB1*1446 allele. Specific PCR fragment of 250 bp in the DRB1*1452 and 1471 alleles.

Primer mix 29: Specific PCR fragment of 135 bp in the DRB1*1460 allele. Specific PCR fragment of 175 bp in the DRB1*1460 and DRB1*0338, 1331, 1346, 1354 and 1377 alleles.

Primer mix 32: Specific PCR fragment of 100 bp in the DRB1*1413, 1463 and DRB1*1332 and 1365 alleles. Specific PCR fragment of 145 bp in the DRB1*1419, 1421 and DRB1*1310 alleles.

Specific PCR fragment of 135 bp in the DRB1*1426 and DRB1*0706 alleles. Specific PCR fragment of 170 bp in the DRB1*1404, 1428, 1431, 1450, 1461 and DRB1*0808 and 0811 alleles.

‘w’, might be weakly amplified.