Gel Documentation Form and Worksheet

DRB1*14 (101.117-12/03, -12u/03u) 	Lot No: 1D9	Expiry Date: 2018-June-01

Name:__________________

Sample ID:______________

DNA Conc.(ng/ul):_________

Test  Date:_______________

Tested By:_______________

Review Date:_______________

Reviewed By:_______________

Interpretation:___________                           Failed lanes: ___________ 	                               Comments:________________

Gel Picture

PHOTO DOCUMENT

‘ICB’ Internal Control Band,

‘AmpS’ Amplicon Size

Notes:

Product sizes are approximate. For detailed information, see the lot-specific Specificity Table and Interpretation Table.

This table is intended as a guide. For interpretation always use the Interpretation Table and/or Specificity Table.

HLA-specific PCR products shorter than 125 base pairs have a lower intensity and are less sharp than longer PCR products.

Primer mixes 11, 23, 28 and 42 may have tendencies of unspecific amplifications.

Primer mixes 13, 16, 18, 42 and 47 may give rise to a lower yield of HLA-specific PCR product than the other DRB1*14 primer mixes.

Primer mixes 2, 16, 26, 40, 43, 45 and 46 have a tendency of giving rise to primer oligomer formation.

Primer mix 48 contains a negative control, which will amplify more than 95% of HLA amplicons as well as the amplicons generated by the control primer pairs matching the human growth hormone gene. HLA-specific PCR product sizes range from 75 to 200 base pairs and the PCR product generated by the HGH positive control primer pair is 430 base pairs.

1DRB1*14 alleles in bold lettering are listed as confirmed alleles on the on the IMGT/HLA web page www.ebi.ac.uk/imgt/hla, release 3.21.1, August 2015.

2Alleles that have been deleted from or renamed in the official WHO HLA Nomenclature up to and including the last IMGT/HLA database release can be retrieved from web page http://hla.alleles.org/alleles/deleted.html.

3Primer mix 7: Specific PCR fragment of 200 bp in the DRB1*14:45 and 14:122 and the DRB1*13:193 alleles. Specific PCR fragment of 225 bp in the DRB1*14:03:01-14:03:02, 14:12:01-14:12:02, 14:27, 14:40, 14:55, 14:63, 14:67, 14:77-14:78, 14:84-14:85, 14:89, 14:102, 14:115-14:116, 14:135-14:136, 14:144 and 14:156 and the DRB1*08:20, 11:23:01-11:23:02, 11:25, 11:45, 11:55, 11:64, 11:119, 13:13, 13:18, 13:47, 13:55, 13:119, 13:144, 13:146, 13:154, 13:156, 13:158 and 13:164 alleles.

Primer mix 9: Specific PCR fragment of 130 bp in the DRB1*14:62, 14:65 and 14:78 and the DRB1*03:12, 04:10:01-04:12, 04:67, 04:91, 04:126, 04:136, 04:147, 08:06, 08:10, 08:12, 08:22, 08:54, 08:70, 12:46, 13:04, 13:32, 13:48, 13:58, 13:75, 13:81, 13:89, 13:93-13:94:02, 13:108, 13:164, 13:169 and 15:12 alleles. Specific PCR fragment of 250 bp in the DRB1*14:05:01-14:05:04, 14:37, 14:43, 14:45, 14:56, 14:84, 14:91, 14:96, 14:100, 14:103, 14:127:01-14:127:02, 14:130 and 14:136 and the DRB1*13:72 alleles.

Primer mix 14: Specific PCR fragment of 60 bp in the DRB1*14:22, 14:25, 14:53, 14:73, 14:105 and 14:128 and the DRB1*08:08 alleles. Specific PCR fragment of 130 bp in the DRB1*14:27 and the DRB1*08:73, 11:09, 11:28:01-11:28:02, 11:58:01-11:58:02, 11:83, 11:87, 11:113, 11:115, 11:182, 13:05:01-13:05:03, 13:18, 13:26:01-13:26:02, 13:42, 13:50:01-13:50:03, 13:136, 13:144, 13:158, 13:189, 13:199, 13:203 and 16:08 alleles.

Primer mix 20: Specific PCR fragment of 110 bp in the DRB1*14:25, 14:53, 14:58, 14:69 and 14:128 and the DRB1*13:45 and 13:197 alleles. Specific PCR fragment of 160 bp in the DRB1*14:04:01-14:04:02, 14:28, 14:31, 14:50, 14:68:01-14:68:02, 14:71, 14:73, 14:76, 14:79, 14:93, 14:102, 14:107, 14:116, 14:120, 14:138, 14:145 and 14:152N and the DRB1*08:01:06, 08:14, 08:20, 08:57, 11:23:01-11:23:02, 11:25, 11:45, 11:55, 11:64, 11:119, 13:13, 13:47, 13:55, 13:154 and 13:164 alleles.

Specific PCR fragment of 215 bp in the DRB1*14:15 and the DRB1*08:01:02, 08:09, 08:21, 08:27, 08:32, 08:35, 08:36:02, 08:38 and 08:68 alleles. Specific PCR fragments of 160 and 215 bp in the DRB1*08:01:01, 08:01:03-08:01:05, 08:02:01-08:04:07, 08:06-08:07, 08:10-08:13, 08:15-08:17, 08:19, 08:22-08:23, 08:26, 08:28, 08:30:01-08:30:03, 08:33-08:34, 08:36:01, 08:37, 08:39, 08:42, 08:44-08:46, 08:48-08:55, 08:58-08:66, 08:69, 08:71-08:76 and 11:67 alleles. Specific PCR fragments of 110, 160 and 215 bp in the DRB1*08:08 allele.  Not all specific PCR fragments may be obtained in alleles being amplified by more than one primer pair.

Primer mix 21: Specific PCR fragment of 170 bp in DRB1*14:13, 14:63, 14:65, 14:78 and 14:85 and the DRB1*03:12, 13:03:01-13:04, 13:12:01-13:13, 13:21:01-13:21:02, 13:30, 13:32-13:33:03, 13:38, 13:48-13:49, 13:55, 13:58, 13:65-13:66:02, 13:75, 13:81, 13:88-13:90, 13:93-13:95, 13:101, 13:108, 13:115, 13:118, 13:120, 13:122, 13:133-13:134, 13:139, 13:151-13:152, 13:154, 13:161, 13:164, 13:167, 13:169, 13:174, 13:188 and 13:194 alleles. Specific PCR fragment of 215 bp in the DRB1*14:24 and 14:37 and the DRB1*11:69, 11:82, 13:09, 13:129 and 13:192 alleles.

Primer mix 24: Specific PCR fragment of 75 bp in the DRB1*14:26 and the DRB1*13:92 alleles. Specific PCR fragment of 115 bp in the DRB1*14:41, 14:77 and 14:110 and the DRB1*03:43, 03:71:01, 11:76, 11:114, 11:183, 13:34, 13:64, 13:136, 13:174 and 13:204 and in the DRB3*01:14 alleles. Specific PCR fragment of 135 bp in the DRB1*14:36 and the DRB1*03:18 alleles. Specific PCR fragment of 165 bp in the DRB1*14:90 allele.

Primer mix 25: Specific PCR fragment of 85 bp in the DRB1*14:55 allele. Specific PCR fragment of 120 bp in the DRB1*14:07:01-14:07:02, 14:22, 14:25, 14:49, 14:53, 14:68:01-14:69, 14:93, 14:119 and 14:143 and the DRB1*01:14, 04:62, 04:69, 13:45, 13:159 and 13:179 and in the DRB3*02:16 alleles. Specific PCR fragment of 210 bp in the DRB1*14:56, 14:84 and 14:136 allele. Specific PCR fragment of 250 bp in the DRB1*14:44:01-14:44:03 and the DRB1*03:35 alleles. Specific PCR fragment of 85 bp and 120 bp in the DRB1*08:08 and 08:15 alleles.

Primer mix 26: Specific PCR fragment of 125 bp in the DRB1*14:59, 14:86, 14:96, 14:145 and 14:153-14:154 and the DRB1*12:34 alleles. Specific PCR fragment of 250 bp in the DRB1*14:01:01-14:01:04 alleles.

Primer mix 27: Specific PCR fragment of 165 bp in the DRB1*14:141 and in the DRB3*01:07, DRB3*02:01-02:08, 02:11, 02:13-02:29N alleles. Specific PCR fragment of 220 bp in the DRB1*14:46 alleles.

Primer mix 28: Specific PCR fragment of 170 bp in the DRB1*14:11 and 14:148 and the DRB1*08:31, 08:41, 08:63, 08:75, 11:67, 12:04 and 12:49 alleles. Specific PCR fragment of 225 bp in the DRB1*14:50, 14:76, 14:79 and 14:93 and the DRB1*03:92, 08:40, 08:67, 12:22, 13:17, 13:116 and 13:175 alleles.

Primer mix 29: Specific PCR fragment of 115 bp in the DRB1*14:97 and the DRB1*03:26, 03:33, 03:44, 11:44, 11:49:01-11:50, 11:85, 11:127 and 13:106 alleles.

Specific PCR fragment of 135 bp in the DRB1*14:60 and 14:158 and the DRB1*13:95 alleles. Specific PCR fragment of 175 bp in the DRB1*14:48 and the DRB1*03:38, 03:79, 03:85, 03:96, 13:31, 13:46, 13:54, 13:77, 13:100, 13:162 and 13:180 and in the DRB3*01:14 alleles. Specific PCR fragment of 220 bp in the DRB1*14:104 and 14:111 and and in the DRB1*03:14-03:15, 03:90 and 11:105 alleles.

Primer mix 32: Specific PCR fragment of 100 bp in the DRB1*14:13, 14:63, 14:78 and 14:85 and the DRB1*03:12, 13:32, 13:65, 13:93 and 13:139 alleles. Specific PCR fragment of 145 bp in the DRB1*14:19, 14:21 and 14:109 and the DRB1*03:76, 13:10, 13:85, 13:170, 13:176, 13:178 and 13:196 alleles. Specific PCR fragment of 100 and 145 bp in the DRB1*13:120 allele.

Primer mix 35: Specific PCR fragment of 250 bp in the DRB1*14:04:01-14:04:02, 14:11, 14:15, 14:28, 14:31, 14:50, 14:52, 14:71, 14:73, 14:76, 14:79, 14:107, 14:120, 14:126:01-14:126:02, 14:138, 14:145, 14:148 and 14:152N and the  DRB1*03:92, 08:04:01, 08:04:04-08:04:07, 08:06, 08:10, 08:12, 08:22, 08:28, 08:31, 08:54, 08:59, 08:67, 08:70, 08:75, 11:67, 12:01:01-12:15, 12:17-12:21, 12:23-12:38, 12:40-12:41, 12:43-12:56, 12:58, 13:17, 13:116 and 13:175 alleles. Specific PCR fragment of 280 bp in the DRB1*14:113 and the DRB1*04:85 alleles.

Primer mix 36: Specific PCR fragment of 120 bp in the DRB1*14:48, 14:63, 14:67, 14:78, 14:108-14:109, 14:115 and the DRB1*03:13:01-03:13:02, 03:38, 03:58, 03:65, 03:79, 03:88, 11:16, 11:20, 12:58, 13:01:01-13:01:06, 13:01:08-13:02:09, 13:02:11-13:02:12, 13:06, 13:10, 13:15-13:16, 13:27-13:28, 13:31-13:32, 13:34-13:36, 13:39-13:41, 13:51, 13:53, 13:59, 13:61:01-13:61:02, 13:65, 13:67, 13:69, 13:73, 13:77-13:80, 13:85, 13:87, 13:91-13:93, 13:96:01-13:96:02, 13:98-13:99, 13:102-13:105, 13:109-13:110, 13:112-13:113N, 13:117, 13:120-13:121, 13:123-13:128, 13:130-13:131, 13:137N-13:139, 13:141-13:143, 13:145-13:148, 13:153, 13:155-13:157, 13:159-13:160, 13:163, 13:165-13:166, 13:168, 13:170-13:171:02, 13:173, 13:176-13:177, 13:179, 13:181, 13:183, 13:185N-13:187, 13:190-13:191, 13:198 and 13:200N-13:202 and in the DRB3*01:08 alleles. Specific PCR fragment of 155 bp in the DRB1*14:18, 14:33, 14:51, 14:59, 14:95, 14:106, 14:132-14:134 and 14:154 and the DRB1*03:11:01 and 03:97 alleles. Specific PCR fragment of 120 bp and 155 bp in the DRB1*14:64 allele.

Primer mix 38: Specific PCR fragment of 165 bp in the DRB1*14:05:01, 14:05:03-14:05:04, 14:43-14:45, 14:56, 14:91, 14:96, 14:103, 14:127:01-14:127:02 and 14:136 and the DRB1*03:35 alleles. Specific PCR fragment of 165 and 215 bp in the DRB1*14:37 and 14:100 and the DRB1*13:72 alleles.

Primer mix 40: Specific PCR fragment of 210 bp in the DRB1*14:107 and the DRB1*08:40, 13:17, 13:116 and 13:175 alleles. Specific PCR fragment of 250 bp in the DRB1*14:71 allele.

Primer mix 41: Specific PCR fragment of 115 bp in the DRB1*14:91, 14:94, 14:97 and 14:162 and the DRB1*03:04:01-03:04:02, 03:26, 03:33, 03:44, 11:29:01, 11:44, 11:47, 11:49:01-11:50, 11:63:01-11:63:02, 11:85, 11:165, 11:127, 13:60, 13:84 and 13:106 alleles. Specific PCR fragment of 140 bp in the DRB1*14:129 allele. Specific PCR fragment of 165 bp in the DRB1*14:90 allele. Specific PCR fragment of 210 bp in the DRB1*14:163 allele. Specific PCR fragment of 245 bp in the DRB1*14:75 and 14:103 alleles.

Primer mix 43: Specific PCR fragment of 95 bp in the DRB1*14:101 allele. Specific PCR fragment of 200 bp in the DRB1*14:82, 14:95 and 14:132 and the DRB1*03:01:17 alleles.

Primer mix 44: Specific PCR fragment of 215 bp in the DRB1*14:70, 14:83 and 14:155 and the DRB1*15:03:01:01-15:03:02, 15:23, 15:54, 15:57 and 15:94 alleles. Specific PCR fragment of 280 bp in the DRB1*14:113 and the DRB1*04:85 alleles.

Primer mix 45: Specific PCR fragment of 65 bp in the DRB1*14:98 and the DRB1*08:67, 11:27:01, 11:84:01, 11:124, 11:138, 12:22, 13:33:02-13:33:03, 13:61:01, 13:94:02 and 13:96:02 alleles. Specific PCR fragment of 190 bp in the DRB1*14:45 allele. Specific PCR fragment of 225 bp in the DRB1*14:127:01 and the DRB1*03:35 alleles.

Primer mix 46: Specific PCR fragment of 105 bp in the DRB1*14:92N allele. Specific PCR fragment of 140 bp in the DRB1*14:129 and 14:158 and the DRB1*13:95 alleles. Specific PCR fragment of 165 bp in the DRB1*14:88 allele. Specific PCR fragment of 220 bp in the DRB1*14:87 and 14:89 alleles.

4The DRB1*14 primer set cannot separate the DRB1*14:21 and the DRB1*03:76 and DRB1*13:178 alleles. These alleles can be distinguished by the DR low resolution and/or DRB1*03 and DRB1*13 kits.

5The following DRB1*14 alleles can be distinguished by the different sizes of the HLA-specific PCR product:

| Alleles | Primer mix |
| --- | --- |
| DRB1*14:01:02-14:01:04, 14:86, 14:153 | 26 |
| DRB1*14:26, 14:110 | 24 |
| DRB1*14:75, 14:162 | 41 |

The DRB1*14 subtyping kit cannot distinguish the silent mutations in the DRB1*14:01:01-14:01:04 alleles, the DRB1*14:03:01-14:03:02 alleles, the DRB1*14:06:02-14:06:03 alleles, the DRB1*14:12:01-14:12:02 alleles, the DRB1*14:23:01-14:23:04 alleles, the DRB1*14:32:01-14:32:02 alleles, the DRB1*14:38:01-14:38:02 alleles, the DRB1*14:44:01 and 14:44:03 alleles, the DRB1*14:54:01-14:54:03 and 14:54:05 alleles, the DRB1*14:68:01-14:68:02 or  the DRB1*14:126:01-14:126:02 alleles.

‘w’, might be weakly amplified.

‘?’, nucleotide sequence information not available for the primer matching sequence.

Change in revision R01 compared to R00:

- In primer mix 20, the DRB1*08:14 allele is not amplified by the 215 base pair PCR product. This has been corrected in the Specificity Table and in the footnotes to the Interpretation Table.

Change in revision R02 compared to R01:

- Primer mix 29 does not amplify the DRB1*14:137N allele, and primer mixes 28 and 40 do not amplify the DRB1*14:152N allele. This has been corrected in the Specificity and Interpretation Tables.