Gel Documentation Form and Worksheet

DRB1*15 (101.125-24/06,-24u/06u)	Lot No: 83V	Expiry Date: 2016-December-01

Name:__________________

Sample ID:______________

DNA Conc.(ng/ul):_________

Test  Date:_______________

Tested By:_______________

Review Date:_______________

Reviewed By:_______________

Gel Picture

PHOTO DOCUMENT

‘ICB’ Internal Control Band,

‘AmpS’ Amplicon Size

Interpretation:_______________

Failed lanes:    _________

Comments:    ___________________

Notes:

Product sizes are approximate. For detailed information, see the lot-specific Specificity Table and Interpretation Table.

This table is intended as a guide. For interpretation always use the Interpretation Table and/or Specificity Table.

HLA-specific PCR products shorter than 125 base pairs have a lower intensity and are less sharp than longer PCR products.

Primer mix 22 may have a tendency of unspecific amplification.

Primer mixes 19, 25, 26, 27 and 28 have a tendency to giving rise to primer oligomer formation.

Primer mix 32 contains a negative control, which will amplify more than 95% of HLA amplicons as well as the amplicons generated by control primer pairs. PCR product sizes range from 75 to 200 base pairs. The PCR product generated by the control primer pair is 430 base pairs.

1DRB1*15 alleles in bold lettering are listed as confirmed alleles on the IMGT/HLA web page www.ebi.ac.uk/imgt/hla, release 3.16.0, April 2014.

2Alleles that have been deleted from or renamed in the official WHO HLA Nomenclature up to and including the last IMGT/HLA database release can be retrieved from web page http://hla.alleles.org/alleles/deleted.html.

3Primer mix 6: Specific PCR fragment of 150 bp in the DRB1*15:03:01:01-15:03:02, 15:57, 15:78 and 15:94 alleles. Specific PCR fragment of 180 bp in the DRB1*15:14 allele.

Primer mix 8: Specific PCR fragment of 200 bp in the DRB1*15:05, 15:23, 15:25, 15:27, 15:31, 15:34, 15:54, 15:63, 15:66:01-15:66:02, 15:73 and 15:100 alleles. Specific PCR fragment of 245 bp in the DRB1*15:36 allele.

Primer mix 9: Specific PCR fragment of 90 bp in the DRB1*15:06:01-15:06:02, 15:77 and 15:94 alleles. Specific PCR fragment of 215 bp in the DRB1*15:19 and 15:69 alleles.

Primer mix 10: Specific PCR fragment of 170 bp in the DRB1*15:12 allele. Specific PCR fragment of 200 bp in the DRB1*15:04, 15:15 and 15:88 alleles.

Primer mix 11: Specific PCR fragment of 155 bp in the DRB1*15:47 and 15:65 alleles. Specific PCR fragment of 200 bp in the DRB1*15:49 allele.

Primer mix 13: Specific PCR fragment of 110 bp in the DRB1*15:32 allele. Specific PCR fragment of 215 bp in the DRB1*15:10, 15:84 and 15:103 alleles.

Primer mix 16: Specific PCR fragment of 200 bp in the DRB1*15:08 allele. Specific PCR fragment of 260 bp in the DRB1*15:74 allele.

Primer mix 19: Specific PCR fragment of 175 bp in the DRB1*15:30 allele. Specific PCR fragment of 225 bp in the DRB1*15:21, 15:25, 15:37:01-15:37:02, 15:57, 15:100 and 15:104 and the DRB1*16:04 and 16:18 alleles.

Primer mix 20: Specific PCR fragment of 165 bp in the DRB1*15:22 allele. Specific PCR fragment of 200 bp in the DRB1*15:27, 15:34, 15:54 and 15:66:01-15:66:02 alleles.

Primer mix 22: Specific PCR fragment of 165 bp in the DRB1*15:24 allele. Specific PCR fragment of 200 bp in the DRB1*15:28 and 15:40 alleles.

Primer mix 23: Specific PCR fragment of 125 bp in the DRB1*15:55 allele. Specific PCR fragment of 170 bp in the DRB1*15:29 allele. Specific PCR fragment of 220 bp in the DRB1*15:25 allele.

Primer mix 24: Specific PCR fragment of 140 bp in the DRB1*15:61 allele. Specific PCR fragment of 200 bp in the DRB1*15:26, 15:40 and 15:43 alleles.

Primer mix 25: Specific PCR fragment of 70 bp in the DRB1*15:39 allele. Specific PCR fragment of 135 bp in the DRB1*15:61 and 15:67 alleles. Specific PCR fragment of 195 bp in the DRB1*15:33 allele.

Primer mix 26: Specific PCR fragment of 75 bp in the DRB1*15:38 and 15:63 alleles. Specific PCR fragment of 125 bp in the DRB1*15:75 alleles.

Primer mix 27: Specific PCR fragment of 110 bp in the DRB1*15:64 allele. Specific PCR fragment of 135 bp in the DRB1*15:67 allele. Specific PCR fragment of 175 bp in the DRB1*15:14 and 15:42 alleles.

Primer mix 28: Specific PCR fragment of 135 bp in the DRB1*15:16 allele. Specific PCR fragment of 255 bp in the DRB1*15:35 and 15:96 alleles.

Primer mix 30: Specific PCR fragment of 165 bp in the DRB1*15:45 allele. Specific PCR fragment of 220 bp in the DRB1*15:44 allele.

Primer mix 31: Specific PCR fragment of 150 bp in the DRB1*15:68 allele. Specific PCR fragment of 215 bp in the DRB1*15:46 allele.

‘w’, may be weakly amplified.

4The following DRB1*15 alleles can be distinguished by the different sizes of the HLA-specific PCR product:

| Alleles | Primer mix |
| --- | --- |
| DRB1*15:16, 15:35 | 28 |
| DRB1*15:42, 15:64 | 27 |

The DRB1*15 subtyping kit cannot distinguish the following silent mutations: the DRB1*15:01:01:01-15:01:24 alleles, the DRB1*15:02:01-15:02:06 and DRB1*15:02:08-15:02:09 alleles, the DRB1*15:03:01:01-15:03:01:02 alleles, the DRB1*15:06:01-15:06:02 alleles, the DRB1*15:07:01-15:07:02, the DRB1*15:37:01-15:37:02 alleles or the DRB1*15:66:01-15:66:02 alleles.

5This lot of the DRB1*15 subtyping kit cannot distinguish the DRB1*15:24 and 15:28 alleles.

Change in revision R01 compared to R00:

- The DRB1*15:28 allele is amplified by primer mixes 1, 2 and 4. The DRB1*16:12 allele is amplified by primer mixes 5 and 7. Thus, this lot of the DRB1*15 subtyping kit cannot distinguish the DRB1*15:24 and 15:28 alleles. This has been corrected in the Specificity and Interpretation Tables.