Gel Documentation Form and Worksheet

DRB1*15 (101.125-24/06,-24u/06u)	Lot No: 0D1	Expiry Date: 2018-April-01

Name:__________________

Sample ID:______________

DNA Conc.(ng/ul):_________

Test  Date:_______________

Tested By:_______________

Review Date:_______________

Reviewed By:_______________

Interpretation:___________                           Failed lanes: ___________ 	                               Comments:________________

Gel Picture

PHOTO DOCUMENT

‘ICB’ Internal Control Band,

‘AmpS’ Amplicon Size

Notes:

Product sizes are approximate. For detailed information, see the lot-specific Specificity Table and Interpretation Table.

This table is intended as a guide. For interpretation always use the Interpretation Table and/or Specificity Table.

HLA-specific PCR products shorter than 125 base pairs have a lower intensity and are less sharp than longer PCR products.

Primer mix 22 may have a tendency of unspecific amplification.

Primer mixes 19, 25, 26, 27 and 28 have a tendency to giving rise to primer oligomer formation.

Primer mix 32 contains a negative control, which will amplify more than 95% of HLA amplicons as well as the amplicons generated by the control primer pairs matching the human growth hormone gene. HLA-specific PCR product sizes range from 75 to 200 base pairs and the PCR product generated by the HGH positive control primer pair is 430 base pairs.

.

1DRB1*15 alleles in bold lettering are listed as confirmed alleles on the IMGT/HLA web page www.ebi.ac.uk/imgt/hla, release 3.21.1, August 2015.

2Alleles that have been deleted from or renamed in the official WHO HLA Nomenclature up to and including the last IMGT/HLA database release can be retrieved from web page http://hla.alleles.org/alleles/deleted.html.

3Primer mix 6: Specific PCR fragment of 150 bp in the DRB1*15:03:01:01-15:03:02, 15:57, 15:78 and 15:94 alleles. Specific PCR fragment of 180 bp in the DRB1*15:14 allele.

Primer mix 8: Specific PCR fragment of 200 bp in the DRB1*15:05, 15:23, 15:25, 15:27, 15:31, 15:34, 15:54, 15:63, 15:66:01-15:66:02, 15:73, 15:100 and 15:120 alleles. Specific PCR fragment of 245 bp in the DRB1*15:36 allele.

Primer mix 9: Specific PCR fragment of 90 bp in the DRB1*15:06:01-15:06:03, 15:77 and 15:94 alleles. Specific PCR fragment of 215 bp in the DRB1*15:19, 15:69, 15:110 and 15:113N alleles.

Primer mix 10: Specific PCR fragment of 170 bp in the DRB1*15:12 allele. Specific PCR fragment of 200 bp in the DRB1*15:04, 15:15 and 15:88 alleles.

Primer mix 11: Specific PCR fragment of 155 bp in the DRB1*15:47 and 15:65 alleles. Specific PCR fragment of 200 bp in the DRB1*15:49 allele.

Primer mix 13: Specific PCR fragment of 110 bp in the DRB1*15:32 allele. Specific PCR fragment of 215 bp in the DRB1*15:10, 15:84, 15:103, 15:117 and 15:120 alleles.

Primer mix 16: Specific PCR fragment of 110 bp in the DRB1*15:102 allele. Specific PCR fragment of 200 bp in the DRB1*15:08 allele. Specific PCR fragment of 260 bp in the DRB1*15:74 allele.

Primer mix 18: Specific PCR fragment of 160 bp in the DRB1*15:115N allele. Specific PCR fragment of 205 bp in the DRB1*15:20 allele.

Primer mix 19: Specific PCR fragment of 175 bp in the DRB1*15:30 allele. Specific PCR fragment of 225 bp in the DRB1*15:21, 15:25, 15:37:01-15:37:02, 15:57, 15:100 and 15:104 and the DRB1*16:04 and 16:18 alleles.

Primer mix 20: Specific PCR fragment of 165 bp in the DRB1*15:22 allele. Specific PCR fragment of 200 bp in the DRB1*15:27, 15:34, 15:54, 15:66:01-15:66:02, 15:112 and 15:120 alleles.

Primer mix 22: Specific PCR fragment of 165 bp in the DRB1*15:24 and 15:93 alleles. Specific PCR fragment of 200 bp in the DRB1*15:28 and 15:40 alleles.

Primer mix 23: Specific PCR fragment of 125 bp in the DRB1*15:55 allele. Specific PCR fragment of 170 bp in the DRB1*15:29 allele. Specific PCR fragment of 220 bp in the DRB1*15:25 allele.

Primer mix 24: Specific PCR fragment of 140 bp in the DRB1*15:61 allele. Specific PCR fragment of 200 bp in the DRB1*15:26, 15:40 and 15:43 alleles.

Primer mix 25: Specific PCR fragment of 70 bp in the DRB1*15:39 allele. Specific PCR fragment of 135 bp in the DRB1*15:61 and 15:67 alleles. Specific PCR fragment of 195 bp in the DRB1*15:33 and 15:113N alleles.

Primer mix 26: Specific PCR fragment of 75 bp in the DRB1*15:38 and 15:63 alleles. Specific PCR fragment of 125 bp in the DRB1*15:75 alleles.

Primer mix 27: Specific PCR fragment of 110 bp in the DRB1*15:64 allele. Specific PCR fragment of 135 bp in the DRB1*15:67 allele. Specific PCR fragment of 175 bp in the DRB1*15:14, 15:42 and 15:93 alleles.

Primer mix 28: Specific PCR fragment of 135 bp in the DRB1*15:16 and 15:118 alleles. Specific PCR fragment of 255 bp in the DRB1*15:35 and 15:96 and the DRB1*16:34 alleles.

Primer mix 30: Specific PCR fragment of 165 bp in the DRB1*15:45 allele. Specific PCR fragment of 220 bp in the DRB1*15:44 allele.

Primer mix 31: Specific PCR fragment of 150 bp in the DRB1*15:68 allele. Specific PCR fragment of 215 bp in the DRB1*15:46 allele.

4The following DRB1*15 alleles can be distinguished by the different sizes of the HLA-specific PCR product:

| Alleles | Primer mix |
| --- | --- |
| DRB1*15:06:01-15:06:03, 15:110 | 9 |
| DRB1*15:16, 15:35 | 28 |
| DRB1*15:42, 15:64 | 27 |

The DRB1*15 subtyping kit cannot distinguish the following silent mutations: the DRB1*15:01:01:01-15:01:26 alleles, the DRB1*15:02:01-15:02:06, DRB1*15:02:08-15:02:09  and 15:02:11-15:02:13  alleles, the DRB1*15:03:01:01-15:03:02 alleles, the DRB1*15:06:01-15:06:03 alleles, the DRB1*15:07:01-15:07:03, the DRB1*15:37:01-15:37:02 alleles or the DRB1*15:66:01-15:66:02 alleles.

4This lot of the DRB1*15 subtyping kit cannot distinguish the DRB1*15:24 and 15:28 alleles.

5The DRB1*15:70, 15:89 and 15:91 and the DRB1*16:33 and 16:36 alleles give rise to identical amplification patterns with the DRB1*15 high resolution kit. These alleles can be distinguished by the DR low resolution and/or DRB1*16 kits.

‘w’, may be weakly amplified.

Changes in revision R01 compared to R00:

- The DRB1*15:28 allele is amplified by primer mixes 1, 2 and 4. The DRB1*16:12 allele is amplified by primer mixes 5 and 7. Thus, this lot of the DRB1*15 subtyping kit cannot distinguish the DRB1*15:24 and 15:28 alleles. This has been corrected in the Specificity and Interpretation Tables.

- The DRB1*15:70, 15:89 and 15:91 and the DRB1*16:33 and 16:36 alleles give rise to identical amplification patterns with the DRB1*15 high resolution kit. These alleles can be distinguished by the DR low resolution and/or DRB1*16 kits.

Changes in revision R02 compared to R01:

- The DRB1*15:09 allele is amplified by primer mix 1. The DRB1*15:02:07 allele is amplified by primer mix 2. This has been corrected in the Specificity and Interpretation Tables.