Gel Documentation Form and Worksheet

DRB1*16 (101.126-12/12u) 	Lot No: 6D7	Expiry Date: 2018-09-01

Name:__________________

Sample ID:______________

DNA Conc.(ng/ul):_________

Test  Date:_______________

Tested By:_______________

Review Date:_______________

Reviewed By:_______________

Interpretation:___________                          Failed lanes: ___________ 	                            Comments:_________________

Gel Picture

PHOTO DOCUMENT

‘ICB’ Internal Control Band,

‘AmpS’ Amplicon Size

Notes:

Product sizes are approximate. For detailed information, see the lot-specific Specificity Table and Interpretation Table.

This table is intended as a guide. For interpretation always use the Interpretation Table and/or Specificity Table.

HLA-specific PCR products shorter than 125 base pairs have a lower intensity and are less sharp than longer PCR products.

Primer mix 3 has a tendency to giving rise to primer oligomer formation.

Primer mix 16 contains a negative control, which will amplify more than 95% of HLA amplicons as well as the amplicons generated by the control primer pairs matching the human growth hormone gene. HLA-specific PCR product sizes range from 75 to 200 base pairs and the PCR product generated by the HGH positive control primer pair is 430 base pairs.

1DRB1*13 alleles in bold lettering are listed as confirmed alleles on the IMGT/HLA web page www.ebi.ac.uk/imgt/hla, release 3.23.0, January 2016.

2Alleles that have been deleted from or renamed in the official WHO HLA Nomenclature up to and including the last IMGT/HLA database release can be retrieved from web page http://hla.alleles.org/alleles/deleted.html.

3Primer mix 4: Specific PCR fragment of 115 bp in the DRB1*16:30 allele. Specific PCR fragment of 215 bp in the DRB1*16:03 allele.

Primer mix 6: Specific PCR fragment of 200 bp in the DRB1*16:05:01-16:05:02 and 16:07 and the DRB1*15:10 and 15:21 alleles. Specific PCR fragment of 280 bp in the DRB1*16:35 allele.

Primer mix 8: Specific PCR fragment of 110 bp in the DRB1*16:08 allele. Specific PCR fragment of 175 bp in the DRB1*16:14 allele. Specific PCR fragment of 205 bp in the DRB1*16:26 allele.

Primer mix 11: Specific PCR fragment of 170 bp in the DRB1*16:21N allele. Specific PCR fragment of 215 bp in the DRB1*16:11 and 16:25 alleles.

Primer mix 13: Specific PCR fragment of 120 bp in the DRB1*16:19 allele. Specific PCR fragment of 165 bp in the DRB1*16:13N and 16:14 alleles.

Primer mix 14: Specific PCR fragment of 85 bp in the DRB1*16:16 and 16:27 and the DRB1*11:01:03, 11:01:10-11:01:11, 11:04:07, 11:08:03, 11:19:02 and 12:04 and in the DRB5*01:13 alleles. Specific PCR fragment of 110 bp in the DRB1*16:36-16:37 alleles. Specific PCR fragment of 170 bp in the DRB*16:21N allele.

The DRB1*16 subtyping kit cannot distinguish the following silent mutations: the DRB1*16:01:01-16:01:11, DRB1*16:02:01-16:02:06, the DRB1*16:05:01-16:05:02 or the DRB1*16:09:01-16:09:02 alleles.

Change in revision R01 compared to R00:

- The DRB1*16:12 allele is amplified by primer mixes 1 and 2, and is weakly amplified by primer mix 12. The DRB1*15:28 allele is amplified by primer mix 9. This has been corrected in the Specificity and Interpretation Tables.