PHOTO DOCUMENT

Olerup SSP®

Olerup SSP® DRB3

Prod. No:	101.121-24/24u

101.121-04/04u

Lot No:    	94S

Expiry Date:    	2016-April-01

Name:________________Sample ID:_______________

DNA Extract Date:_________ Conc.(ng/ul):_________

Test  Date: _________Review Date:_______________

Tested By: _________Reviewed By:_______________

Interpretation:_________________________________

Specificities and sizes of the PCR products of the 32 primer mixes used for DRB3 SSP typing.

| Primer Mix | Size of spec. PCR product1 | Size of control band2 | Amplified DRB3 alleles3 | Amplified DRB14 alleles |
| --- | --- | --- | --- | --- |
| 15 | 100 bp | 515 bp | *01:01:02:01-01:08, 01:10-01:13, 01:15, 02:05, 03:01:01-03:01:03, 03:03 | 03:42, 03:87, 11:30w, 13:67, 14:46 |
| 25 | 125 bp | 430 bp | *01:01:02:01-01:06, 01:08, 01:10-01:14, 03:01:01-03:01:03, 03:03 | 03:38, 03:79, 04:82w, 04:99w, 08:07w, 08:19w, 08:25w, 08:34w, 08:52w, 12:27w, 13:31w, 13:46w, 13:54w, 13:77w, 13:100w, 13:162w, 14:48w |
| 35 | 95 bp | 430 bp | *01:01:02:01-01:02, 01:04-01:08, 01:10-01:13, 01:15 | 03:42 |
| 4 | 265 bp | 430 bp | *01:02 |  |
| 55,9 | 95 bp, 125 bp | 430 bp | *01:03, 01:10 | 14:46 |
| 6 | 190 bp | 430 bp | *01:04 |  |
| 75,10 | 90 bp, 180 bp | 515 bp | *01:05, 01:07, 01:15 | 03:42, 14:46 |
| 85 | 120 bp | 430 bp | *01:06, 01:08 | 03:42, 14:46 |
| 96 | 165 bp | 430 bp | *01:07, 02:01-02:08, 02:11-02:29N | 14:141 |
| 106 | 185 bp | 515 bp | *01:09, 02:01-02:04, 02:06-02:14, 02:15w, 02:16-02:26, 02:27w, 02:28-02:29N, 03:02 | 08:32w, 12:01:02w-12:01:03w, 12:02:02w, 12:03:02w, 12:16:01w, 12:22w, 14:121w, 14:141, 15:03:01:01w-15:03:02w, 15:23w, 15:54w, 15:57w, 15:78w, 15:94w |
| 117 | 270 bp | 515 bp | *02:01, 02:04, 02:24, 03:01:01-03:02 | 03:42, 03:87 |
| 125,11 | 90 bp, 145 bp | 515 bp | *02:01, 02:04, 02:17, 02:24 | 03:37, 03:80, 11:43, 11:50, 11:115, 12:34, 13:131, 13:150, 14:59, 14:86, 14:96, 15:65 |
| 136 | 270 bp | 515 bp | *01:01:02:01-01:13, 01:15, 02:02:01:01-02:03, 02:05-02:13, 02:15-02:23, 02:25-02:29N, 03:03 | 11:30, 13:67, 14:46, 14:141 |
| 14 | 185 bp | 515 bp | *01:07, 01:09, 02:02:01:01-02:02:05, 02:05-02:13, 02:15-02:19, 02:21-02:23, 02:25-02:29N | 10:01:01w-10:01:04w, 10:03w-10:06w, 14:141 |
| 155,12 | 120 bp, 180 bp, 210 bp | 430 bp | *02:03, 02:16-02:17, 03:01:01-03:03 |  |
| 16 | 150 bp | 430 bp | *01:09, 02:04, 02:19, 02:22 | 03:44 |
| 175,13 | 120 bp, 180 bp | 430 bp | *01:08, 02:06, 02:16, 02:20, 02:23 | 03:42, 03:87, 13:67, 14:46 |
| 185 | 100 bp | 430 bp | *01:09, 02:07, 02:09, 02:21 |  |
| 197,14 | 180 bp, 270 bp | 515 bp | *02:08, 02:14, 02:18, 02:23 | 11:30 |
| 207 | 170 bp | 430 bp | *01:01:02:01-01:06, 01:08-01:13, 01:15, 02:09-02:10, 02:16, 03:01:01-03:03 | 03:42, 03:87, 11:30, 13:67, 14:46 |
| 215,15 | 120 bp, 210 bp | 430 bp | *01:13, 02:11 |  |
| 2216 | 185 bp, 245 bp | 430 bp | *01:11, 02:12 |  |
| 23 | 195 bp | 430 bp | *02:13 |  |
| 24 | 185 bp | 430 bp | *02:09, 02:18-02:19, 02:21, 02:25, 03:01:01-03:03 | 11:30 |
| 2517 | 225 bp, 260 bp | 430 bp | *01:12, 02:26 |  |
| 26 | 235 bp | 430 bp | *01:14 | 03:01:02, 03:02:02, 03:05:03, 03:13:02, 03:17, 03:24, 03:27, 03:35, 03:81, 11:27:01, 11:84:01, 11:124, 11:136, 11:138, 12:22, 13:33:02-13:33:03, 13:61:01, 13:94:02, 13:96:02, 14:38, 14:47, 14:50, 14:98, 14:127:01 |
| 275 | 90 bp | 430 bp | *02:01 |  |
| 28 | 235 bp | 430 bp | *02:27 | 11:30, 13:67, 14:46 |
| 298 | 160 bp | 430 bp | *02:15, 02:27 | 10:01:01w-10:06w, 13:106 |
| 30 | 210 bp | 430 bp | *02:28 |  |
| 315 | 80 bp | 430 bp | *02:19, 02:21, 02:25, 02:29N | 12:34 |
| 328 | 240 bp | 430 bp |  | 11:13:01-11:13:02, 13:08, 14:01:01, 14:01:02?-14:01:03?, 14:04-14:05:01, 14:05:02?-14:05:04?, 14:07:01, 14:07:02?-14:09?, 14:10-14:11, 14:12:01?-14:12:02?, 14:14, 14:15?-14:20?, 14:22?-14:23:03?, 14:24?-14:32:02?, 14:33?-14:45?, 14:47?-14:53?, 14:54:01-14:54:02, 14:55?-14:56?, 14:57, 14:58?-14:65?, 14:67?-14:81?, 14:82, 14:83?-14:127:01?, 14:128?-14:131?, 14:137N, 14:141 |

1Alleles are assigned by the presence of specific PCR product(s). However, the sizes of the specific PCR products may be helpful in the interpretation of DRB3 SSP typings.

When the primers in a primer mix can give rise to HLA-specific PCR products of more than one length this is indicated if the size difference is more than 20 base pairs. Size differences of 20 base pairs or less are not given. For high resolution SSP kits the respective lengths of the HLA-specific PCR product(s) are given for the alleles amplified by these primer mixes.

Nonspecific amplifications, i.e. a ladder or a smear of bands, may sometimes be seen. GC-rich primers have a higher tendency of giving rise to nonspecific amplifications than other primers.

PCR fragments longer than the control bands may sometimes be observed. Such bands should be disregarded and do not influence the interpretation of the SSP typings.

PCR fragments migrating faster than the control bands, but slower than a 400 bp fragment may be seen in some gel read-outs. Such bands can be disregarded and do not influence the interpretation of the SSP typings.

Some primers may give rise to primer oligomer artifacts. Sometimes this phenomenon is an inherit feature of the primer pair(s) of a primer mix. More often it is due to other factors such as too low amount of DNA in the PCR reactions, taking too long time in setting up the PCR reactions, working at elevated room temperature or using thermal cyclers that are not pre-heated.

2The internal positive control primer pairs amplify segments of the human growth hormone gene. The two different control primer pairs give rise to either an internal positive control band of 430 base pairs, for most wells, or a band of 515 base pairs, for some wells.

Well number 1 contains the primer pair giving rise to the longer, 515 bp, internal positive control band in order to help in the correct orientation of the DRB3 subtyping.

In addition, wells number 7, 10 to 14 and 19 contain the primer pair giving rise to the longer, 515 bp, internal positive control band in order to allow kit identification.

In the presence of a specific amplification the intensity of the control band often decreases.

3For several DRB alleles 1st and/or 3th exon(s) and above, as well as intron nucleotide sequences, are not available. In these instances it is not known whether some of the primers of the SSP sets are completely matched with the target sequences or not. We assume that unknown sequences in these regions are conserved within allelic groups and that unknown sequences of codons 87 to 92 are identical with the DRB1*0101 consensus sequence.

4Due to the sharing of sequence motifs between DRB3 and DRB1 alleles, primer mixes 1 to 3, 5, 7 to 14, 16, 17, 19, 20, 24, 26, 28, 29 and 31 to 32 will amplify DRB1 alleles.

5HLA-specific PCR products shorter than 125 base pairs have a lower intensity and are less sharp than longer PCR products.

6Primer mixes 9, 10 and 13 may have tendencies of unspecific amplifications.

7Primer mix 11, 19 and 20 have a tendency to giving rise to primer oligomer formation.

8Primer mixes 29 and 32 may give rise to a lower yield of HLA-specific PCR product than the other DRB3 primer mixes.

9Primer mix 5: Specific PCR fragment of 95 bp in the DRB3*01:03 and the DRB1*14:46 alleles. Specific PCR fragment of 125 bp in the DRB3*01:10 allele.

10Primer mix 7: Specific PCR fragment of 90 bp in the DRB3*01:05 allele. Specific PCR fragment of 180 bp in the DRB3*01:07 and 01:15 and in the DRB1*03:42 and DRB1*14:46 alleles.

11Primer mix 12: Specific PCR fragment of 90 bp in the DRB3*02:17 allele. Specific PCR fragment of 145 bp in the DRB3*02:01, 02:04 and 02:24 and in the DRB1*03:37, DRB1*03:80, DRB1*11:43, DRB1*11:50, DRB1*11:115, DRB1*12:34, DRB1*13:131, DRB1*13:150, DRB1*14:59, DRB1*14:86, DRB1*14:96 and DRB1*15:65 alleles.

12Primer mix 15: Specific PCR fragment of 120 bp DRB3*02:03 and 03:01:01-03:03 alleles. Specific PCR fragment of 180 bp in the DRB3*02:16 allele. Specific PCR fragment of 210 bp in the DRB3*02:17 allele.

13Primer mix 17: Specific PCR fragment of 120 bp in the DRB3*01:08, 02:06 and 02:20 and the DRB1*03:42, DRB1*03:87, DRB1*13:67 and DRB1*14:46 alleles. Specific PCR fragment of 180 bp in the DRB3*02:16 and 02:23 alleles.

14Primer mix 19: Specific PCR fragment of 180 bp in the DRB3*02:08, 02:18 and 02:23 and the DRB1*11:30 alleles. Specific PCR fragment of 270 bp in the DRB3*02:14 allele.

15Primer mix 21: Specific PCR fragment of 120 bp in the DRB3*01:13 allele. Specific PCR fragment of 210 bp in the DRB3*02:11 allele.

16Primer mix 22: Specific PCR fragment of 185 bp in the DRB3*01:11 allele. Specific PCR fragment of 245 bp in the DRB3*02:12 allele.

17Primer mix 25: Specific PCR fragment of 225 bp in the DRB3*02:26 allele. Specific PCR fragment of 260 bp in the DRB3*01:12 allele.

‘w’, might be weakly amplified.

1DRB3*010101 allele has been shown to be identical to DRB3*01:01:02:01

2Primer mix 5: Specific PCR fragment of 95 bp in the DRB3*01:03 and the DRB1*14:46 alleles. Specific PCR fragment of 125 bp in the DRB3*01:10 allele.

Primer mix 7: Specific PCR fragment of 90 bp in the DRB3*01:05 allele. Specific PCR fragment of 180 bp in the DRB3*01:07 and 01:15 and in the DRB1*03:42 and DRB1*14:46 alleles.

Primer mix 12: Specific PCR fragment of 90 bp in the DRB3*02:17 allele. Specific PCR fragment of 145 bp in the DRB3*02:01, 02:04 and 02:24 and in the DRB1*03:37, DRB1*03:80, DRB1*11:43, DRB1*11:50, DRB1*11:115, DRB1*12:34, DRB1*13:131, DRB1*13:150, DRB1*14:59, DRB1*14:86, DRB1*14:96 and DRB1*15:65 alleles.

Primer mix 15: Specific PCR fragment of 120 bp DRB3*02:03 and 03:01:01-03:03 alleles. Specific PCR fragment of 180 bp in the DRB3*02:16 allele. Specific PCR fragment of 210 bp in the DRB3*02:17 allele.

Primer mix 17: Specific PCR fragment of 120 bp in the DRB3*01:08, 02:06 and 02:20 and the DRB1*03:42, DRB1*03:87, DRB1*13:67 and DRB1*14:46 alleles. Specific PCR fragment of 180 bp in the DRB3*02:16 and 02:23 alleles.

Primer mix 19: Specific PCR fragment of 180 bp in the DRB3*02:08, 02:18 and 02:23 and the DRB1*11:30 alleles. Specific PCR fragment of 270 bp in the DRB3*02:14 allele.

Primer mix 21: Specific PCR fragment of 120 bp in the DRB3*01:13 allele. Specific PCR fragment of 210 bp in the DRB3*02:11 allele.

Primer mix 22: Specific PCR fragment of 185 bp in the DRB3*01:11 allele. Specific PCR fragment of 245 bp in the DRB3*02:12 allele.

Primer mix 25: Specific PCR fragment of 225 bp in the DRB3*02:26 allele. Specific PCR fragment of 260 bp in the DRB3*01:12 allele.

‘w’, might be weakly amplified.

Change in revision R01 compared to R00:

- The DRB3*02:15 and DRB3*02:27 and the DRB1*12:01:02-12:01:03, 12:02:02, 12:03:02, 12:16:01, 14:121, 15:03:01:01-15:03:02, 15:23, 15:54, 15:57, 15:78 and 15:94 alleles are weakly amplified by primer mix 10. This has been corrected in the specificity and interpretation tables.