Gel Documentation Form and Worksheet

DRB4 (101.122-24/06, -24u/06u) 	Lot No: 48X	Expiry Date: 2017-April-01

Name:___________________

Sample ID:_______________

DNA Conc.(ng/ul):_________

Test  Date: ______________

Tested By: ______________

Review Date:________________

Reviewed By:________________

Interpretation:__________	                       Failed lanes: ___________                             Comments:________________

Gel Picture

PHOTO DOCUMENT

‘ICB’ Internal Control Band,

‘AmpS’ Amplicon size

Notes:

Product sizes are approximate. For detailed information, see the lot-specific Specificity Table and Interpretation Table.

This table is intended as a guide. For interpretation always use the Interpretation Table and/or Specificity Table.

HLA-specific PCR products shorter than 125 base pairs have a lower intensity and are less sharp than longer PCR products.

Primer mix 5 may have tendencies of unspecific amplifications.

Primer mixes 2 and 9 have a tendency to giving rise to primer oligomer formation.

The DRB1*15:01:01:01-15:112 and the DRB1*16:01:01-16:05:02, 16:07-16:24 alleles might be faintly amplified by primer mix 7.

Primer mix 8 may give rise to a lower yield of HLA-specific PCR product than the other DRB4 primer mixes.

Primer mix 14 contains a negative control, which will amplify more than 95% of HLA amplicons as well as the amplicons generated by the control primer pairs matching the human growth hormone gene. HLA-specific PCR product sizes range from 75 to 200 base pairs and the PCR product generated by the HGH positive control primer pair is 430 base pairs.

1DRB4 alleles listed on the IMGT/HLA web page 2014-July-25, release 3.17.0, www.ebi.ac.uk/imgt/hla.

2Alleles that have been deleted from or renamed in the official WHO HLA Nomenclature up to and including the last IMGT/HLA database release can be retrieved from web page http://hla.alleles.org/alleles/deleted.html.

3The DRB1*15:01:01:01-15:112 and the DRB1*16:01:01-16:05:02, 16:07-16:24 alleles might be faintly amplified by primer mix 7.

The DRB4 subtyping kit cannot distinguish the silent mutation in the DRB4*01:03:01:01, 01:03:01:03-01:03:04 alleles.

‘?’, nucleotide sequence information not available for the primer matching sequence.

Change in revision R01 compared to R00:

  - Primer mix 8 may give rise to a lower yield of HLA-specific PCR product than the other DRB4 primer mixes. A foot note has been added in the Specificity Table.