Gel Documentation Form and Worksheet

DRB5 (101.123-24/06, -24u/06u) 	Lot No: 79Y	Expiry Date: 2018-February-01

Name:___________________

Sample ID:_______________

DNA Conc.(ng/ul):_________

Test  Date: ______________

Tested By: ______________

Review Date:________________

Reviewed By:________________

Interpretation:__________	                       Failed lanes: ___________                             Comments:________________

Gel Picture

PHOTO DOCUMENT

‘ICB’ Internal Control Band,

‘AmpS’ Amplicon size

Notes:

Product sizes are approximate. For detailed information, see the lot-specific Specificity Table and Interpretation Table.

This table is intended as a guide. For interpretation always use the Interpretation Table and/or Specificity Table.

HLA-specific PCR products shorter than 125 base pairs have a lower intensity and are less sharp than longer PCR products.

Primer mix 3 frequently gives rise to an extra band longer than the control band. This band should be disregarded in the interpretation of DRB5 SSP typings.

Primer mix 16 contains a negative control, which will amplify more than 95% of HLA amplicons as well as the amplicons generated by the control primer pairs matching the human growth hormone gene. HLA-specific PCR product sizes range from 75 to 200 base pairs and the PCR product generated by the HGH positive control primer pair is 430 base pairs.

1DRB5 alleles listed on the IMGT/HLA web page 2015-August-11, release 3.21.1, www.ebi.ac.uk/imgt/hla.

2Alleles that have been deleted from or renamed in the official WHO HLA Nomenclature up to and including the last IMGT/HLA database release can be retrieved from web page http://hla.alleles.org/alleles/deleted.html.

3Primer mix 4: Specific PCR fragment of 100 bp in the DRB5*01:01:01-01:01:02, 01:04, 01:06-01:07, 01:09, 01:11 and 01:15 alleles. Specific PCR fragment of 150 bp in the DRB5*02:06 allele.

Primer mix 9: Specific PCR fragment of 175 bp in the DRB5*01:13 allele. Specific PCR fragment of 225 bp in the DRB5*01:04 allele.

Primer mix 10: Specific PCR fragment of 130 bp in the DRB5*01:07 allele. Specific PCR fragment of 160 bp in the DRB5*01:12 and 01:15 alleles.

Primer mix 14: Specific PCR fragment of 110 bp in the DRB5*01:14 allele. Specific PCR fragment of 210 bp in the DRB5*01:09 allele.