Gel Documentation Form and Worksheet

HLA Wipe Test -

Negative Control (102.101-01/01u) 	Lot No: 36V	Expiry Date: 2016-August-01

Name:___________________

Sample ID:_______________

DNA Conc.(ng/ul):_________

Gel Picture

Test  Date: ______________

Tested By: ______________

Review Date:________________

Reviewed By:________________

PHOTO DOCUMENT

Interpretation:_______________

Failed lanes: ___________

Comments___________________

Notes:

For interpretation always use the Product Insert.

In the positive control lane one or several PCR products should be seen. The sizes may range from 75 to 430 bp.

In the negative control lane no PCR product should be seen. Primer oligomer artifacts, approximately 40 to 50 bp in size, may be seen. This does not represent contamination.

Presence of PCR product(s) 75 to 430 bp in size in the sample lanes without Positive Control DNA indicates contamination.

Absence of PCR product in the sample lanes without Positive Control DNA shows that no detectable contamination is present.

HLA-specific PCR product sizes range from 75 to 200 base pairs.

The PCR product generated by the positive control primer pair is 430 base pairs.

1The nucleotide position for HLA class I genes and the codon for HLA class II genes, in the 2nd or 3rd exon, matching the specificity-determining 3'-end of the primer is given. Nucleotide and codonnumbering as on the www.ebi.ac.uk/imgt/hla web site. The sequence of the 3 terminal nucleotides of the primer is given.

2The nucleotide position for HLA class I genes and the codon for HLA class II genes, in the 2nd or 3rd exon or the 2nd intron, matching the specificity-determining 3'-end of the primer is given in the anti-sense direction. Nucleotide and codon numbering as on the www.ebi.ac.uk/imgt/hla web site. The sequence of the 3 terminal nucleotides of the primer is given.