A*01PHOTO DOCUMENT

Olerup SSP AB

Olerup SSPTM HLA-A*01

Prod. No:	101.411-24/06 – including Taq pol.

101.411-24u/06u – without Taq pol.

Lot No:    	X98

Expiry Date:    	2009-June-01

Name:________________Sample ID:_______________

DNA Extract Date:_________ Conc.(ug/ul):_________

Test  Date: _________Review Date:_______________

Tested By: _________Reviewed By:_______________

Interpretation:_________________________________

Specificities and sizes of the PCR products of the 24 primer mixes used for HLA-A*01 SSP typing.

| Primer Mix | Size of spec. PCR product1 | Size of control band2 | Amplified HLA-A*01 alleles | Other amplified HLA-A alleles3 |
| --- | --- | --- | --- | --- |
| 1 | 235 bp | 800 bp | 01010101-0102, 0104N, 0106, 0107, 0109-0111N, 0113, 0115N, 0116N-0118N, 0121-0127N | 0318, 110101-1103, 1105-1125, 1128-1132, 3604 |
| 24 | 145 bp | 1070 bp | 01010101-010104, 0103, 0104N, 0106-0119, 0121-0127N | 3601-3604 |
| 34 | 120 bp | 800 bp | 0102, 0120 |  |
| 4 | 305 bp | 1070 bp | 0103 | 1126, 2632, 3313, 3603, 7410 |
| 55 | 470 bp | 1070 bp | 0104N | 0321N, 1121N, 2307N, 2411N |
| 6 | 210 bp | 1070 bp | 0109 |  |
| 76 | 215 bp | 800 bp | 0106 | 0305, 1124, 1125, 1131, 300101-3003, 3007-3016, 3018-3022, 3103, 3104, 3402-3404, 3407, 3408, 8001 |
| 84 | 110 bp | 1070 bp | 0107, 0123 |  |
| 9 | 235 bp | 1070 bp | 0108, 0127N |  |
| 10 | 155 bp | 800 bp | 0110 | 1114weakly, 8001weakly |
| 114 | 275 bp | 800 bp | 0111N |  |
| 124,7 | 85 bp | 800 bp |  | 3601-3604 |
| 13 | 205 bp | 1070 bp | 0112, 0119, 0121 | 0302, 0307weakly, 0310, 1131weakly, 2451, 3004weakly, 3006weakly, 3009weakly, 3017weakly, 3103weakly, 3104weakly |
| 144 | 120 bp | 1070 bp | 0113, 0117 |  |
| 155 | 235 bp | 1070 bp | 0112, 0114, 0119 | 03010101-0317, 0319-0330, 1104, 1127, 2451, 300101-3004, 3006-3013, 3015-3022, 3103, 3104, 3204, 3402-3404, 3407, 3408, 3601, 3602 |
| 168 | 180, 235 bp | 1070 bp | 01010102N, 0115N |  |
| 17 | 210 bp | 1070 bp | 0116N |  |
| 184 | 135 bp | 1070 bp | 01010101-0104N, 0106, 0108-0112, 0114-0127N | 3601-3604 |
| 19 | 165 bp | 1070 bp | 0118N |  |
| 204,9 | 60, 425 bp | 800 bp | 0110, 0119, 0121, 0126 |  |
| 21 | 255 bp | 1070 bp | 0120 | 0219, 0236, 0237, 0254, 2414 |
| 22 | 600 bp | 1070 bp | 0122N |  |
| 23 | 155 bp | 1070 bp | 0124 |  |
| 245 | 215 bp | 1070 bp | 0112, 0119, 0125 | 0302, 0310, 110101-1107, 1109-1122, 1127-1130, 1132, 2451 |

1Alleles are assigned by the presence of specific PCR product(s). However, the sizes of the specific PCR products may be helpful in the interpretation of HLA-A*01 SSP subtypings.

When the primers in a primer mix can give rise to specific PCR products of more than one length this is indicated if the size difference is 20 bp or more. Size differences shorter than 20 bp are not given. For high resolution SSP kits the length of the specific PCR product(s) of the alleles amplified by these primer mixes are given.

Nonspecific amplifications, i.e. a ladder or a smear of bands, may sometimes be seen. GC-rich primers have a higher tendency of giving rise to nonspecific amplifications than other primers.

PCR fragments longer than the control band may sometimes be observed. Such bands can be disregarded and do not influence the interpretation of the SSP typings.

PCR fragments migrating faster than the control bands, but slower than a 400 bp fragment may  be seen in some gel read-outs. Such bands can be disregarded and do not influence the interpretation of the SSP typings.

2The internal positive control primer pairs amplify segments of the human growth hormone gene. The two different control primer pairs give rise to either an internal positive control band of 1070 base pairs, for most tubes, or a band of 800 base pairs, for some tubes.

Tube number 1 contains the primer pair giving rise to the shorter, 800 bp, internal positive control band in order to help in the correct orientation of the HLA-A*01 subtyping. .

In addition, tubes number 3, 7, 10 to 12 and 20 contain the primer pair giving rise to the shorter, 800 bp, internal positive control band in order to allow kit identification.

In the presence of a specific amplification the intensity of the control band often decreases.

3Due to the sharing of sequence motifs between HLA-A alleles a few non-HLA-A*01 alleles will be amplified by primer mixes 1, 2, 4, 5, 7, 10, 12, 13, 15, 18, 21 and 24.

4Short specific PCR fragments are less intense and not as sharp as longer specific bands.

5Primer mixes 5, 15 and 24 may give rise to non-specific amplifications.

6Primer mix 7 may give rise to primer oligomer formation.

7Primer mix 12 might faintly amplify the A*0227, A*110101-110202, 1104-1107, 1109-1113, 1115-1119 and 1121N-1132 alleles.

8Primer mix 16: Specific PCR fragment of 180 bp in the  A*01010102N allele. Specific PCR fragment of 235 bp in the A*0115N allele.

The amplification patterns of the A*01010102N and A*0115N alleles only differ by the different lengths of the specific PCR products generated by primer mix 16.

9Primer mix 20: Specific PCR fragment of 60 bp in the A*0110, A*0121 and A*0126 alleles. Specific PCR fragment of 425 bp in the A*0119 allele.

1The nucleotide sequence of the A*0105N allele has been shown to be identical to A*0104N.

The nucleotide sequence of the A*0128 allele is not yet retrievable.

The amplification patterns of the A*01010102N and A*0115N alleles only differ by the different lengths of the specific PCR products generated by primer mix 16.

2Primer mix 16: Specific PCR fragment of 180 bp in the  A*01010102N allele. Specific PCR fragment of 235 bp in the A*0115N allele.

Primer mix 20: Specific PCR fragment of 60 bp in the A*0110, A*0121 and A*0126 alleles. Specific PCR fragment of 425 bp in the A*0119 allele.

Changes in revision R01 compared to R00:

- The A*0115N allele will be amplified by primer mix 1. Corrected in the Specificity and Interpretation Tables.

Changes in revision R02 compared to R01:

- Footnote 1 of the Specificity Table has been expanded.