PHOTO DOCUMENT

Olerup SSP®

Olerup SSP® HLA-A*01

Prod. No:	101. 411-24/24u

101.411-06/-06u

Lot No:    	21G

Expiry Date:    	2011-September-01

Name:________________Sample ID:_______________

DNA Extract Date:_________ Conc.(ng/ul):_________

Test  Date: _________Review Date:_______________

Tested By: _________Reviewed By:_______________

Interpretation:_________________________________

Specificities and sizes of the PCR products of the 30 primer mixes used for HLA-A*01 SSP typing.

| Primer Mix | Size of spec. PCR product1 | Size of control band2 | Amplified HLA-A*01 alleles | Other amplified HLA-A alleles3 |
| --- | --- | --- | --- | --- |
| 1 | 235 bp | 800 bp | *01010101-0102, 0104N, 0106, 0107, 0109-0111N, 0113, 0115N-0118N, 0121-0135, 0137 | *0318, 110101-1103, 1105-1125, 1129-1134, 1136-1144, 3604 |
| 24 | 145 bp | 1070 bp | *01010101-010105, 0103, 0104N, 0106-0117, 0118Nw, 0119, 0121-0123, 0124w, 0125-0135, 0137 | *3601-3604 |
| 34 | 120 bp | 800 bp | *0102, 0120 |  |
| 4 | 305 bp | 1070 bp | *0103 | *1126, 2632, 3313, 3603, 7410 |
| 5 | 470 bp | 1070 bp | *0104N | *0321N, 1121N, 2307N, 2411N |
| 6 | 210 bp | 1070 bp | *0109 |  |
| 7 | 215 bp | 800 bp | *0106 | *0305, 0342, 112401-1125, 1131, 1135, 9256, 300101-3003, 3007-3016, 3018-3020, 3022-3027N, 3103, 3104, 3402-3404, 3407, 3408, 8001 |
| 84,7 | 110 bp, 180 bp | 1070 bp | *01010102N, 0107, 0123 |  |
| 9 | 235 bp | 1070 bp | *0108, 0127N |  |
| 108 | 155 bp, 270 bp | 800 bp | *0110, 0129 | *1114w, 3026, 8001w |
| 114,9 | 135 bp, 275 bp | 800 bp | *0111N, 0113, 0128 |  |
| 124,6 | 85 bp | 800 bp |  | *3601-3604 |
| 13 | 205 bp | 1070 bp | *0112, 0119, 0121 | *0302, 0307w, 0310, 0331, 0332, 0342w, 1131w, 1135w, 9256w, 2492, 3004w, 3006w, 3009w, 3017w, 3103w, 3104w |
| 144 | 120 bp | 1070 bp | *0113, 0117 |  |
| 15 | 235 bp | 1070 bp | *0112, 0114, 0119 | *03010101-030105, 030107-0317, 0319-0339, 0341-0347, 0350, 0351, 0355, 1104, 1127, 1135, 9256, 2492, 300101-3004, 3006-3013, 3015-3020, 3022-3027N, 3103, 3104, 3204, 3402-3404, 3407, 3408, 3601, 3602 |
| 165,10 | 180 bp, 235 bp | 1070 bp | *01010102N, 0115N |  |
| 17 | 210 bp | 1070 bp | *0116N |  |
| 184 | 135 bp | 1070 bp | *01010101-0104N, 0106, 0108-0112, 0114-0127N, 0129-0135, 0137 | *3601-3604 |
| 195 | 170 bp | 1070 bp | *0118N, 0130 | *2422 |
| 204,11 | 65 bp, 425 bp | 800 bp | *0110, 0119, 0121, 0126 |  |
| 21 | 255 bp | 1070 bp | *0120 | *0219, 0236, 0237, 0254, 2414, 2493 |
| 22 | 590 bp | 1070 bp | *0122N |  |
| 235,12 | 155 bp, 175 bp | 1070 bp | *0124, 0130 | *2422 |
| 24 | 215 bp | 1070 bp | *0112, 0119, 0125 | *0302, 0310, 0331, 0332, 110101-110103, 110105-1107, 1109-1122, 1127, 1129, 1130, 1132-1134, 1136-1143, 2492 |
| 254 | 90 bp | 1070 bp | *0131N |  |
| 26 | 450 bp | 1070 bp | *0132 |  |
| 27 | 160 bp | 1070 bp | *0133 |  |
| 284,5 | 95 bp | 1070 bp | *0134N | *240203 |
| 29 | 155 bp | 800 bp | *0135 |  |
| 30 | 145 bp | 1070 bp | *0137 |  |

1Alleles are assigned by the presence of specific PCR product(s). However, the sizes of the specific PCR products may be helpful in the interpretation of HLA-A*01 SSP typings.

When the primers in a primer mix can give rise to specific PCR products of more than one length this is indicated if the size difference is 20 base pairs or more. Size differences shorter than 20 base pairs are not given. For high resolution SSP kits the respective lengths of the specific PCR product(s) of the alleles amplified by these primer mixes are given.

Nonspecific amplifications, i.e. a ladder or a smear of bands, may sometimes be seen. GC-rich primers have a higher tendency of giving rise to nonspecific amplifications than other primers.

PCR fragments longer than the control bands may sometimes be observed. Such bands should be disregarded and do not influence the interpretation of the SSP typings.

PCR fragments migrating faster than the control bands, but slower than a 400 bp fragment may be seen in some gel read-outs. Such bands can be disregarded and do not influence the interpretation of the SSP typings.

Some primers may give rise to primer oligomer artifacts. Sometimes this phenomenon is an inherit feature of the primer pair(s) of a primer mix. More often it is due to other factors such as too low amount of DNA in the PCR reactions, taking too long time in setting up the PCR reactions, working at elevated room temperature or using thermal cyclers that are not pre-heated.

2The internal positive control primer pairs amplify segments of the human growth hormone gene. The two different control primer pairs give rise to either an internal positive control band of 1070 base pairs, for most wells, or a band of 800 base pairs, for some wells.

Well number 1 contains the primer pair giving rise to the shorter, 800 bp, internal positive control band in order to help in the correct orientation of the HLA-A*01 subtyping.

In addition, wells number 3, 7, 10 to 12, 20 and 29 contain the primer pair giving rise to the shorter, 800 bp, internal positive control band in order to allow kit identification.

In the presence of a specific amplification the intensity of the control band often decreases.

3Due to the sharing of sequence motifs between HLA-A alleles a few non-HLA-A*01 alleles will be amplified by primer mixes 1, 2, 4, 5, 7, 10, 12, 13, 15, 18, 19, 21, 23,  24 and 28.

4Short specific PCR fragments are less intense and not as sharp as longer specific bands.

5Primer mixes 16, 19, 23 and 28 may give rise to non-specific amplifications.

6Primer mix 12 might faintly amplify the A*0227, A*110101-110202, 1104-1107, 1109-1113, 1115-1119 and 1121N-1132 alleles.

7Primer mix 8: Specific PCR fragment of 110 bp in the A*0107 and 0123 alleles. Specific PCR fragment of 180 bp in the A*01010102N allele.

8Primer mix 10: Specific PCR fragment of 155 bp in the A*0110 and in the A*1114w, 3026, 8001w alleles. Specific PCR fragment of 270 bp in the A*0129 allele.

9Primer mix 11: Specific PCR fragment of 135 bp in the A*0113 and 0128 alleles. Specific PCR fragment of 275 bp in the A*0111N allele.

10Primer mix 16: Specific PCR fragment of 180 bp in the A*01010102N allele. Specific PCR fragment of 235 bp in the A*0115N allele.

11Primer mix 20: Specific PCR fragment of 65 bp in the A*0110, A*0121 and A*0126 alleles. Specific PCR fragment of 425 bp in the A*0119 allele.

12Primer mix 23: Specific PCR fragment of 155 bp in the A*0124 allele. Specific PCR fragment of 175 bp in the A*0130 and *2422 alleles.

‘w’, might be weakly amplified.

1The nucleotide sequence of the A*0105N allele has been shown to be identical to A*0104N.

2Primer mix 8: Specific PCR fragment of 110 bp in the A*0107 and 0123 alleles. Specific PCR fragment of 180 bp in the A*01010102N allele.

Primer mix 10: Specific PCR fragment of 155 bp in the A*0110 and in the A*1114w, 3026 and 8001w alleles. Specific PCR fragment of 270 bp in the A*0129 allele.

Primer mix 11: Specific PCR fragment of 135 bp in the A*0113 and 0128 alleles. Specific PCR fragment of 275 bp in the A*0111N allele.

Primer mix 16: Specific PCR fragment of 180 bp in the A*01010102N allele. Specific PCR fragment of 235 bp in the A*0115N allele.

Primer mix 20: Specific PCR fragment of 65 bp in the A*0110, A*0121 and A*0126 alleles. Specific PCR fragment of 425 bp in the A*0119 allele.

Primer mix 23: Specific PCR fragment of 155 bp in the A*0124 allele. Specific PCR fragment of 175 bp in the A*0130 and *2422 alleles.

‘w’, might be faintly amplified.