A*11PHOTO DOCUMENT

Olerup SSP AB

Olerup SSPTM HLA-A*11

Prod. No:	101.416-12/04 – including Taq pol.

101.416-12u/04u – without Taq pol.

Lot No:    	Y15

Expiry Date:    	2009-August-01

Name:________________Sample ID:_______________

DNA Extract Date:_________ Conc.(ug/ul):_________

Test  Date: _________Review Date:_______________

Tested By: _________Reviewed By:_______________

Interpretation:_________________________________

Specificities and sizes of the PCR products of the 32 primer mixes used for HLA-A*11 SSP typing.

| Primer Mix | Size of spec. PCR product1 | Size of control band2 | Amplified HLA-A*11 alleles3 | Other amplified HLA-A alleles3 |
| --- | --- | --- | --- | --- |
| 14 | 195 bp | 800 bp | 110101-110108, 1103-1113, 111501-111502, 1120-1127, 1129-1132 | 0113, 0117, 0234-023503, 0256, 0262, 0278, 9203, 03010101-0307, 0309-0331, 0333-0335, 0337, 0338, 2419, 2613, 2619, 2633, 29010101-2912, 2914-2917, 3018, 340101-3408, 6601, 6602, 6604, 6606, 680101-68020103, 6806-6814, 6816-6819, 6821-6830, 6832-6835, 6837-6841, 6901 |
| 2 | 270 bp | 1070 bp | 110201-110202, 1114, 1116 |  |
| 3 | 200 bp | 1070 bp | 1103 |  |
| 44 | 235 bp | 1070 bp | 1104, 1127 | 0112, 0114, 0119, 03010101-030105, 0302-0317, 0319-0338, 300101-3004, 3006-3013, 3015-3020, 3022-3024, 3103, 3104, 3204, 3402-3404, 3407, 3408, 3601, 3602 |
| 5 | 180 bp | 800 bp | 1105 |  |
| 67,8 | 185, 550 bp | 1070 bp | 1106, 1118, 1122 | 0238, 9201, 2603, 2606, 2621, 2630 |
| 74,6 | 215 bp | 1070 bp | 1108 | 01010101-0102, 0104N, 0107-0111N, 0113-0118N, 0121-0124, 0126-0130, 0318, 3004, 3006, 3017, 3601, 3602, 3604 |
| 85 | 105 bp | 1070 bp | 1109 |  |
| 97 | 200 bp | 800 bp | 1107 |  |
| 105 | 120 bp | 1070 bp | 1110 | 250101-2506, 260101-2606, 2608-2618, 2620-2629, 2632-2635, 3313, 340101-3408, 6601, 6604-6606, B*0818, B*7301 |
| 11 | 215 bp | 800 bp | 110101-110103, 110104weakly ,110105-1107, 1109-1122, 1127, 1129, 1130, 1132 | 0112, 0119, 0125, 0302, 0310, 0331, 0332 |
| 12 | 235 bp | 1070 bp | 110101-110103, 110104weakly, 110105-1103, 1105-1125, 1129-1132 | 01010101-0102, 0104N, 0106, 0107, 0109-0111N, 0113, 0116N-0118N, 0121-0130, 0318, 3604 |
| 13 | 200 bp | 1070 bp | 1111 | 4301 |
| 145 | 100 bp | 1070 bp | 110101-1111, 1113-1116, 1120-1127, 1129-1132 | 0113, 0117, 2502, 2613, 2619, 2633, 340101-340102 weakly ,3402-3404, 3405weakly, 3406, 3408, 6601, 6604, 6606 |
| 155 | 100 bp | 1070 bp | 1112 | 0234-023503 weakly, 0256, 0262, 0278, 9203, 03010101-0307, 0309-0322, 0323 weakly, 0324-0328, 0331, 0333, 0335, 0337, 0338, 2424, 29010101-2903, 2905-2917, 300101-300102, 3008, 301101-301102, 3014L-3020, 3023, 3024, 6602, 680101-68020103, 6806-6814, 6816-6819, 6821-6823, 6825-6830, 6832-6839, 6841, 6901 |
| 165,7 | 95 bp | 1070 bp | 1113 |  |
| 17 | 200 bp | 1070 bp | 1114 | 0110, 300101-3003, 3007, 3008, 3010-3016, 3018-3020, 3022, 3024, 8001 |
| 18 | 245 bp | 1070 bp | 111501 |  |
| 199 | 175, 220 bp | 1070 bp | 1116, 1123 |  |
| 20 | 235 bp | 1070bp | 1117 | 260101-2602, 2604, 260701-2615, 2617-2619, 2622-2629, 2631-2634, 4301 |
| 215,6 | 100 bp | 1070 bp | 1117, 1119 | 01010101-0104N, 0106, 0108-0112, 0114-0116N, 0118N-0130, 2444weakly, 250101-250102, 2503-2506, 260101-2612, 2614-2618, 2620-2629, 2631, 2632, 2634, 2635, 3103, 3313, 3601-3604, 4301, 6605, 7410, 8001 |
| 22 | 230 bp | 1070 bp | 1106, 1118 | 0205-020604, 0208, 0210, 0214, 0221, 0228, 0241, 0244, 0251, 0254, 0257, 0261, 0272, 0279, 0284, 0291, 0299, 9206, 9208, 9222, 9226, 9227, 2603, 2606, 2621, 2630, 6815 |
| 235 | 80 bp | 800 bp | 1103, 1108, 1120, 1125 | 020301-020302weakly, 0213, 0226, 0238, 9217 weakly |
| 244 | 470 bp | 1070 bp | 1121N | 0104N, 0321N, 2307N, 2411N |
| 25 | 215 bp | 1070 bp | 1124 | 030102, 8001 |
| 26 | 305 bp | 1070 bp | 1126 | 0103, 2632, 3313, 3603, 7410 |
| 27 | 250 bp | 1070 bp | 1127 | 01010101-0102, 0104N, 0106-0119, 0121-0130, 0318, 8001 |
| 28 | 245 bp | 800 bp | 111502 |  |
| 295 | 80 bp | 1070 bp | 1110 | 0255, 0324, 2603, 2606, 2621, 2630, 3301, 330301-3307, 3310-3312, 340101, 3402-3408, 6601-6606, 680101-6809, 6811N, 6812, 6815-6829, 6831-6835, 6838-6841, 6901 |
| 30 | 265 bp | 1070 bp | 1129 |  |
| 31 | 285 bp | 1070 bp | 1130 |  |
| 3210 | 205, 295 | 1070 bp | 1131, 1132 | 0307, 3004weakly, 3006weakly, 3009, 3017weakly, 3103, 3104 |

1Alleles are assigned by the presence of specific PCR product(s). However, the sizes of the specific PCR products may be helpful in the interpretation of HLA-A*11 SSP subtypings.

Nonspecific amplifications, i.e. a ladder or a smear of bands, may sometimes be seen. GC-rich primers have a higher tendency of giving rise to nonspecific amplifications than other primers, e.g. the 5’-primer in primer solution 1.

PCR fragments longer than the control band may sometimes be observed. Such bands can be disregarded and do not influence the interpretation of the SSP typings.

2The internal positive control primer pairs amplify segments of the human growth hormone gene. The two different control primer pairs give rise to either an internal positive control band of 1070 base pairs, for most tubes, or a band of 800 base pairs, for some tubes.

Tube number 1 contains the primer pair giving rise to the shorter, 800 bp, internal positive control band in order to help in the correct orientation of the HLA-A*11 subtyping.

In addition, tubes number 5, 9, 11, 23 and 28 contain the primer pair giving rise to the shorter, 800 bp, internal positive control band in order to allow kit identification.

In the presence of a specific amplification the intensity of the control band often decreases.

3Due to the sharing of sequence motifs between HLA-A alleles some non-HLA-A*11 alleles will be amplified by primer mixes 1, 4, 6, 7 and 10 to 15, 17, 20 to 27, 29 and 32.

4Primer mixes 1, 4, 7 and 24 may give rise to nonspecific amplifications.

5Short specific PCR fragments are less intense and not as sharp as longer specific bands.

6The specific primer pair in primer mixes 7 and 21 may yield less specific PCR product than the other A*11 primer mixes.

7Primer mixes 6, 9 and 16 have a tendency of giving rise to primer oligomer formation.

8Primer mix 6: Specific PCR product of 185 bp in the A*1122 allele. Specific PCR product of 550 bp in the A*1106, 1118 and A*0238, 9201, 2603, 2606, 2621 and 2630 alleles.

9Primer mix 19: Specific PCR product of 175 bp in the A*1116 allele. Specific PCR product of 220 bp in the A*1123 allele.

10Primer mix 32: Specific PCR fragment of 205 bp in the A*1131 and A*0307, 3009, 3103 and 3104 alleles. Specific PCR fragment of 295 bp in the A*1132 allele.

1The A*1128 allele has been renamed to A*111502.

2Primer mix 6: Specific PCR product of 185 bp in the A*1122 allele. Specific PCR product of 550 bp in the A*1106, 1118 and A*0238, 9201, 2603, 2606, 2621 and 2630 alleles.

5Primer mix 19: Specific PCR product of 175 bp in the A*1116 allele. Specific PCR product of 220 bp in the A*1123 allele.

5Primer mix 32: Specific PCR fragment of 205 bp in the A*1131 and A*0307, 3009, 3103 and 3104 alleles. Specific PCR fragment of 295 bp in the A*1132 allele.

‘w’, may be weakly amplified.

Change in revision R01 compared to R00:

- The A*3004, A*3006 and A*3017 alleles may be weakly amplified by primer mix 32.