Gel Documentation Form and Worksheet

HLA-A*11 (101.416-12/04, -12u/04u) 	Lot No: 82V	Expiry Date: 2016-December-01

Name:__________________

Sample ID:______________

DNA Conc.(ng/ul):_________

Test  Date:_______________

Tested By:_______________

Review Date:_______________

Reviewed By:_______________

Gel Picture

PHOTO DOCUMENT

‘ICB’ Internal Control Band,

‘AmpS’ Amplicon Size

Interpretation:_______________

Failed lanes: _______________

Comments: ___________________

Notes:

Product sizes are approximate. For detailed information, see the lot-specific Specificity Table and Interpretation Table.

This table is intended as a guide. For interpretation always use the Interpretation Table and/or Specificity Table.

HLA-specific PCR products shorter than 125 base pairs have a lower intensity and are less sharp than longer PCR products.

Primer mixes 9, 16, 23, 36, 46, 53, 57, 62 and 63 may have tendencies of unspecific amplifications, most pronounced in primer mix 62.

Primer mixes 7, 14, 21, 25 and 55 may give rise to a lower yield of HLA-specific PCR product than the other A*11 primer mixes.

Primer mixes 8, 9, 13, 16, 19, 43, 50, 53 and 60 may have a tendency of giving rise to primer oligomer formation.

Primer mix 31 may give rise to a long unspecific amplification product of about 800 bp. This band should be disregarded when interpreting the A*11 SSP typings.

In primer mix 42 the positive control band may be weaker than for other HLA-A*11 primer mixes.

Primer mix 3 may faintly amplify the A*03:66 and 11:08 alleles.

Primer mix 64 contains a negative control, which will amplify more than 95% of HLA amplicons as well as the amplicons generated by control primer pairs. PCR product sizes range from 75 to 200 base pairs. The PCR product generated by the control primer pair is 430 base pairs.

1HLA-A*11 alleles in bold lettering are listed as confirmed alleles on the on the IMGT/HLA web page www.ebi.ac.uk/imgt/hla, release 3.15.0, January 2014.

2Alleles that have been deleted from or renamed in the official WHO HLA Nomenclature up to and including the last IMGT/HLA database release can be retrieved from web page http://hla.alleles.org/alleles/deleted.html.

3Primer mix 3: Specific PCR product of 180 bp in the A*11:33:01-11:33:02 and the A*01:61, 03:22:01-03:22:02, 03:42, 30:01:01-30:04:02, 30:06-30:20, 30:22-30:27N, 30:29-30:34, 30:36-30:46, 30:48-30:51, 30:53, 30:55-30:71, 30:73N-30:79, 31:03-31:04, 33:49, 34:02:01w-34:02:03w, 34:03, 34:04w, 34:07w-34:10Nw alleles. Specific PCR product of 200 bp in the A*11:03 and 11:175 and the A*03:135 alleles.

Primer mix 5: Specific PCR product of 180 bp in the A*11:05 allele. Specific PCR product of 210 bp in the A*11:110 and the A*02:294, 32:54 and 66:08 alleles.

Primer mix 6: Specific PCR product of 195 bp in the A*11:07 and 11:22 and the A*01:79w alleles. Specific PCR product of 550 bp in the A*11:06 and 11:18 and the A*01:104w, 01:134w, 02:38, 02:101:01, 02:135, 02:154, 02:447, 25:11, 26:03:01-26:03:02, 26:06, 26:21, 26:30, 26:36 and 26:92 alleles.

Primer mix 10: Specific PCR fragment of 120 bp in the A*11:10 and the A*01:51, 25:01:01-25:12N, 25:14-25:24, 26:01:01-26:06, 26:08-26:18, 26:20-26:29, 26:32-26:43:02, 26:45-26:64, 26:66-26:71N, 26:73-26:75, 26:77-26:91, 26:93-26:98, 34:01:01-34:08, 34:10N-34:11, 66:01:01-66:01:02, 66:04-66:11, 66:13-66:15, 66:17-66:19 and 69:02 and in the B*07:102, B*08:18, B*35:178 and B*73:01-73:02 alleles. Specific PCR fragment of 280 bp in the A*11:43 and the A*01:143 and 31:03 alleles. Specific PCR fragment of 120 and 280 bp in the A*26:35 and 33:13 alleles.

Primer mix 15: Specific PCR fragment of 100 bp in the A*11:12 and the A*02:34w-02:35:03w, 02:56:01-02:56:02, 02:62, 02:78, 02:103, 03:01:02, 03:01:06 03:02:01-03:02:03, 03:05:02-03:06, 03:10, 03:18, 03:31, 03:50, 03:65-03:66, 03:69N, 03:73, 03:75-03:76, 03:82, 03:90, 03:95, 03:106, 03:113w, 03:135, 03:150, 03:153, 03:160, 03:167, 03:177, 24:24, 29:01:01:01-29:03, 29:04w, 29:05-29:18, 29:21-29:29, 29:31-29:33, 29:35-29:47, 29:49-29:58, 30:17, 30:52, 30:72, 32:17, 66:02, 66:12, 66:16, 68:01:01:01-68:01:17, 68:01:19-68:02:05, 68:06-68:14, 68:16-68:19, 68:21:01-68:23, 68:25-68:30, 68:32-68:39, 68:41-68:71, 68:73-68:84, 68:86-68:89, 68:91-68:92, 68:94N-68:96, 68:98-68:107, 69:01 and 74:13  alleles.

Specific PCR fragment of 215 bp in the A*11:24:02-11:25, 11:31, 11:35 and 11:158 and the A*01:06, 02:156, 02:338, 03:01:10, 03:08, 03:29-03:30, 03:34, 03:36, 03:41, 03:62-03:63, 03:88-03:89, 03:107-03:108, 03:152, 03:172, 03:176, 30:02:01-30:02:04, 30:02:06-30:03, 30:07 30:09-30:10, 30:12-30:13, 30:22, 30:27N, 30:31-30:34, 30:44-30:45, 30:50-30:51, 30:57, 30:61, 30:64, 30:66-30:70, 30:76N, 31:03-31:04, 32:04, 33:49, 34:02:01, 34:02:03-34:04, 34:07-34:08 and 34:10N alleles. Specific PCR fragment of 100 and 215 bp in the A*03:01:01:01-03:01:01:03, 03:01:03-03:01:05, 03:01:07-03:01:09, 03:01:11-03:11:44, 03:03N-03:05:01, 03:07, 03:09, 03:11N-03:17:02, 03:19-03:28, 03:33, 03:35, 03:37-03:40, 03:42-03:49, 03:51-03:61, 03:64, 03:67-03:68N, 03:70-03:72, 03:74, 03:77-03:81, 03:83-03:87, 03:91N-03:94, 03:96-03:105, 03:109-03:112, 03:114-03:134, 03:136-03:149, 03:151, 03:154-03:159, 03:161N-03:166, 03:168N-03:171, 03:170-03:171, 03:173-03:175, 03:178N-03:182, 30:01:01-30:01:09, 30:08, 30:11:01-30:11:02, 30:14L-30:16, 30:18-30:20, 30:23-30:26, 30:30, 30:35-30:43, 30:48-30:49, 30:53-30:56, 30:58-30:60, 30:62-30:63, 30:65, 30:71, 30:73-30:75, 30:78-30:79 and 34:09  alleles. Both PCR fragments may not always be obtained.

Primer mix 16: Specific PCR fragment of 95 bp in the A*11:13 allele. Specific PCR fragment of 205 bp in the A*11:07, 11:26, 11:54 and 11:117 and the A*02:38, 02:101:01, 02:154, 02:447, 03:18w, 03:135w, 23:10w, 24:10:01-24:10:02, 24:46w, 24:210, 25:10, 31:24 and 33:61 alleles.

Primer mix 19: Specific PCR product of 100 bp in the A*11:134 allele.  Specific PCR product of 175 bp in the A*11:42 and in the B*39:75 and B*40:268 alleles. Specific PCR product of 265 bp in the A*11:46 allele.

Primer mix 20: Specific PCR fragment of 175 bp in the A*11:42 and in the B*39:75 and B*40:268 alleles. Specific PCR fragment of 235 bp in the A*11:17 and 11:40 and the A*01:43, 26:01:01-26:01:29, 26:01:31-26:02:02, 26:04, 26:07:01-26:15, 26:17-26:19, 26:22-26:29, 26:31-26:34, 26:36-26:43:02, 26:45-26:56, 26:58-26:77, 26:79-26:91, 26:93-26:98 and 43:01 alleles.

Primer mix 22: Specific PCR fragment of 150 bp in the A*11:37 and the B*27:87 alleles. Specific PCR fragment of 230 bp in the A*11:06 and 11:18 and A*02:05:01-02:06:04, 02:06:06-02:06:16, 02:08, 02:10, 02:14, 02:21, 02:28, 02:41, 02:44, 02:51, 02:54, 02:57, 02:61, 02:72, 02:79:01-02:79:02, 02:84, 02:91, 02:99, 02:106, 02:108, 02:122, 02:126-02:127, 02:137, 02:142-02:144, 02:154, 02:169-02:170, 02:172, 02:178-02:180, 02:229, 02:232, 02:244, 02:248, 02:259, 02:271, 02:278, 02:286, 02:290, 02:295, 02:300, 02:310, 02:324, 02:328, 02:330, 02:333, 02:337, 02:344, 02:355, 02:358-02:359, 02:373N, 02:376, 02:382, 02:387, 02:398, 02:404-02:405, 02:409, 02:413, 02:415, 02:419-02:421, 02:428, 02:433, 02:438, 02:453-02:454, 02:465, 02:470-02:476N, 26:03:01-26:03:02, 26:06, 26:21, 26:30, 26:78, 26:92 and 68:15 alleles.

Primer mix 24: Specific PCR fragment of 295 bp in the A*11:48 and the A*01:41 alleles. Specific PCR fragment of 470 bp in the A*11:21N and the A*01:04N, 03:21N, 23:07N and 24:11N alleles.

Primer mix 25: Specific PCR fragment of 190 bp in the A*11:135 allele. Specific PCR fragment of 220 bp in the A*11:24:01 and 11:47 and the A*03:01:02, 03:05:02, 30:02:05, 34:02:02 and 80:01:01:01-80:03 alleles.

Primer mix 26: Specific PCR fragment of 305 bp in the A*11:26 and 11:118 and the A*01:03, 26:32, 26:70, 33:13, 36:03, 74:10 and in the C*06:72 alleles. Specific PCR fragment of 370 bp in the A*11:41 and in the C*06:90 and C*07:277alleles.

Primer mix 27: Specific PCR fragment of 210 bp in the A*11:17 and the A*26:62 and 26:72 alleles. Specific PCR fragment of 260 bp in the A*11:27, 11:38-11:39, 11:55 and 11:94 and the A*01:01:01:01-01:01:57, 01:01:59-01:02, 01:04N, 01:06-01:19, 01:21-01:33, 01:35-01:40, 01:42 01:44-01:62, 01:64-01:65, 01:67:01-01:71, 01:74-01:88, 01:90-01:101, 01:103-01:129, 01:131-01:146, 03:18, 03:97, 03:122, 03:135, 03:167, 24:92, 30:75 and 80:01:01:01-80:03 alleles. Specific PCR fragment of 210 and 260 bp in the A*01:43 allele.

Primer mix 28: Specific PCR fragment of 240 bp in the A*11:15:02, 11:49 and 11:170Q alleles. Specific PCR fragment of 280 bp in the  A*26:35 allele.

Primer mix 30: Specific PCR fragment of 200 bp in the A*11:156 allele. Specific PCR fragment of 235 bp in the A*11:45 and the A*66:11 alleles. Specific PCR fragment of 270 bp in the A*11:29 and 11:55 alleles.

Primer mix 31: Specific PCR fragment of 230 bp in the A*11:49 allele. Specific PCR fragment of 285 bp in the A*11:30 and 11:43 and the A*01:101, 01:143, 03:87, 31:03 and 33:13 alleles.

Primer mix 32: Specific PCR fragment of 205 bp in the A*11:31, 11:35 and 11:158 and the A*01:21, 01:126, 02:156, 02:338, 03:07, 03:42, 03:133, 03:171, 30:04:01-30:04:02, 30:06, 30:09, 30:17, 30:29, 30:46, 30:77, 31:03-31:04, 33:49 and 68:103 alleles. Specific PCR fragment of 295 bp in the A*11:32, 11:50Q and 11:147 and the A*01:115, 03:154 and 30:51 alleles.

Primer mix 33: Specific PCR fragment of 110 bp in the A*11:61 allele. Specific PCR fragment of 280 bp in the A*11:74 allele. Specific PCR fragment of 305 bp in the A*11:56 and in the C*07:221 alleles.

Primer mix 34: Specific PCR fragment of 85 bp in the A*11:58 allele. Specific PCR fragment of 180 bp in the A*11:67 and 11:156 alleles. Specific PCR fragment of 265 bp in the A*11:46 allele.

Primer mix 35: Specific PCR fragment of 105 bp in the A*11:62 and the A*01:125 allele. Specific PCR fragment of 290 bp in the A*11:68 allele.

Primer mix 36: Specific PCR fragment of 65 bp in the A*11:65 and in the A*03:174 and in the B*44:36 alleles. Specific PCR fragment of 380 bp in the A*11:64 and the A*31:65 alleles.

Primer mix 37: Specific PCR fragment of 105 bp in the A*11:66 allele. Specific PCR fragment of 290 bp in the A*11:72 allele.

Primer mix 38: Specific PCR fragment of 110 bp in the A*11:75 and 11:105 and the A*66:13 and in the B*07:117 alleles. Specific PCR fragment of 225 bp in the A*11:78N allele.

Primer mix 40: Specific PCR fragment of 90 bp in the A*11:59 allele. Specific PCR fragment of 185 bp in the A*11:57 and 11:158 and the A*02:156, 02:338, 03:171 and 68:103 alleles.

Primer mix 42: Specific PCR fragment of 100 bp in the A*11:134 allele. Specific PCR fragment of 175 bp in the A*11:63 allele. Specific PCR fragment of 560 bp in the A*11:69N and the A*01:56N alleles.

Primer mix 44: Specific PCR fragment of 145 bp in the A*11:76 allele. Specific PCR fragment of 215 bp in the A*11:106 allele.

Primer mix 45: Specific PCR fragment of 210 bp in the A*11:79 allele. Specific PCR fragment of 340 bp in the A*11:129 and 11:163 alleles.

Primer mix 49: Specific PCR fragment of 185 bp in the A*11:16, 11:35, 11:57, 11:73, 11:109N and 11:158 and the A*02:156, 02:338, 03:123:01-03:123:02, 03:171 and 68:103 alleles. Specific PCR fragment of 220 bp in the A*11:23 allele.

Primer mix 50: Specific PCR fragment of 90 bp in the A*11:34 and the A*26:75 alleles. Specific PCR fragment of 210 bp in the A*11:142 allele. Specific PCR fragment of 310 bp in the A*11:86 allele.

Primer mix 52: Specific PCR fragment of 230 bp in the A*11:81 allele. Specific PCR fragment of 545 bp in the A*11:108 and the A*01:45, 02:453, 03:78 and 66:17 alleles.

Primer mix 53: Specific PCR fragment of 155 bp in the A*11:154 and 11:172 and the A*01:37 alleles. Specific PCR fragment of 195 bp in the A*11:100 and 11:175 and the A*01:109 and 03:182 alleles.

Primer mix 54: Specific PCR fragment of 190 bp in the A*11:109N allele. Specific PCR fragment of 265 bp in the A*11:89 allele.

Primer mix 55: Specific PCR fragment of 115 bp in the A*11:102 and 11:128 and the A*24:249 alleles. Specific PCR fragment of 145 bp in the A*11:172 and the A*01:37 alleles. Specific PCR fragment of 235 bp in the A*11:90 and the A*80:01:01:01-80:02 alleles.

Primer mix 56: Specific PCR fragment of 65 bp in the A*11:94 and 11:112 and the A*01:10, 01:21, 01:26 and 03:135 and in the B*15:90w, B*45:05w alleles.

Specific PCR fragment of 230 bp in the A*11:99N allele.

Primer mix 57: Specific PCR fragment of 175 bp in the A*11:173 allele. Specific PCR fragment of 245 bp in the A*11:36 allele.

Primer mix 59: Specific PCR fragment of 165 bp in the A*11:174 allele. Specific PCR fragment of 340 bp in the A*11:163 allele. Specific PCR fragment of 370 bp in the A*11:124 allele.

Primer mix 60: Specific PCR fragment of 105 bp in the A*11:128 and 11:137N alleles. Specific PCR fragment of 265 bp in the A *11:127N allele.

Primer mix 62: Specific PCR fragment of 75 bp in the A*11:08, 11:20 and 11:25 and the A*02:135, 25:01:01-25:05, 25:07, 25:09, 25:11-25:17, 25:19-25:21, 25:23-25:24, 26:01:01-26:01:14, 26:01:16-26:01:20, 26:01:22-26:01:25, 26:01:27-26:02:01, 26:03:01-26:03:02, 26:05-26:08, 26:10, 26:13-26:17, 26:19-26:27, 26:30-26:33, 26:35-26:43:02, 26:45-26:46, 26:48, 26:50-26:51, 26:53-26:72, 26:74, 26:76-26:77, 26:79-26:85, 26:87-26:90, 26:92-26:98, 43:01, 66:01:01, 66:04-66:05, 66:08-66:09, 66:11-66:15, 66:17, 66:19 and 68:61 alleles. Specific PCR fragment of 265 bp in the A*11:26 and 11:117 and the A*02:101:01, 02:154, 24:10:01-24:10:02, 24:210, 31:24 and 33:61 alleles.  Specific PCR fragment of 75 and 215 bp in the A*02:38, 02:447 and 25:10 alleles.

Primer mix 63: Specific PCR fragment of 155 bp in the A*11:154 and 11:171 alleles. Specific PCR fragment of 275 bp in the A*11:120 allele.

‘w’, may be weakly amplified.

4The following HLA-A*11 alleles can be distinguished by the different sizes of the HLA-specific PCR product:

| Alleles | Primer mix | Alleles | Primer mix |
| --- | --- | --- | --- |
| A*11:13, 11:54 | 16 | A*11:79, 11:129 | 45 |
| A*11:36, 11:173 | 57 | A*11:81, 11:108 | 52 |
| A*11:58, 11:67 | 34 | A*11:86, 11:142 | 50 |
| A*11:62, 11:68 | 35 | A*11:120, 11:171 | 63 |
| A*11:63, 11:69N | 42 | A*11:124, 11:74 | 59 |
| A*11:64, 11:65 | 36 | A*11:127N, 11:137N | 60 |
| A*11:66, 11:72 | 37 |  |  |

The HLA-A*11 subtyping kit cannot distinguish the silent mutations in the A*11:01:01-11:01:20, 11:01:22-11:01:43 and 11:01:45-11:01:56 alleles, the A*11:01:21 and 11:01:44 alleles, the A*11:02:01-11:02:06 alleles or the A*11:33:01-11:33:02 alleles.

5This lot of the HLA-A*11 subtyping kit cannot distinguish the A*11:01:01-11:01:20, 11:01:22-11:01:43, 11:01:45-11:01:56, 11:82-11:85, 11:87-11:88, 11:91:01-11:93, 11:95, 11:97, 11:103-11:104, 11:107, 11:114, 11:116, 11:119:01-11:119:02, 11:122-11:123, 11:125, 11:131-11:133, 11:136, 11:138, 11:141, 11:144-11:146, 11:148-11:153:02, 11:155, 11:160, 11:162, 11:164-11:167 and 11:169 alleles and the A*11:126 allele, nor the A*11:02:01-11:02:06, 11:113, 11:140 and 11:176 alleles and the A*11:77 allele.

Change in revision R01 compared to R00:

- Primer mix 3 may faintly amplify the A*03:66 and 11:08 alleles. A footnote has been added in the Specificity Table.

Change in revision R02 compared to R01:

- In primer mix 24 the amplicon size is 470 bp for the A*11:21N and the A*01:04N, 03:21N, 23:07N and 24:11N alleles. This has been corrected in the Specificity and Interpretation Table.

Change in revision R03 compared to R02:

- Primer mix 5 does not amplify the A*03:26 and the A*11:77 and 11:126 alleles. This has been corrected in the Specificity and Interpretation Tables. Thus, this lot of the HLA-A*11 subtyping kit cannot distinguish the A*11:01:01-11:01:20, 11:01:22-11:01:43, 11:01:45-11:01:56, 11:82-11:85, 11:87-11:88, 11:91:01-11:93, 11:95, 11:97, 11:103-11:104, 11:107, 11:114, 11:116, 11:119:01-11:119:02, 11:122-11:123, 11:125, 11:131-11:133, 11:136, 11:138, 11:141, 11:144-11:146, 11:148-11:153:02, 11:155, 11:160, 11:162, 11:164-11:167 and 11:169 alleles and the A*11:126 allele, nor the A*11:02:01-11:02:06, 11:113, 11:140 and 11:176 alleles and the A*11:77 allele.