PHOTO DOCUMENT

Olerup SSP®

Olerup SSP® HLA-A*02

Prod. No:	101.412-24/04 – including Taq pol.

101.412-24u/04u – without Taq pol.

Lot No:    	91E

Expiry Date:    	2010-July-01

Name:________________Sample ID:_______________

DNA Extract Date:_________ Conc.(ug/ul):_________

Test  Date: _________Review Date:_______________

Tested By: _________Reviewed By:_______________

Interpretation:_________________________________

Specificities and sizes of the PCR products of the 91 primer mixes used for HLA-A*02 SSP typing.

| Primer Mix | Size of spec. PCR product1 | Size of control band2 | Amplified HLA-A*02 alleles3 | Other amplified HLA-A alleles4 |
| --- | --- | --- | --- | --- |
| 1 | 360 bp | 800 bp | 02010101-020115, 020117-020606, 0208, 0209, 0212-0214, 0216, 0219-0222, 0224-0232N, 0234, 0236-0238, 0240-0246, 0249-0268, 0270-0277, 0279, 0280, 0282N-0286, 0288N, 0289, 0291-0297, 0299, 9201, 9202, 9204-9207, 9209, 9211, 9213N-9223, 9225N-9227, 9231-9235, 9237-9241 | 0309, 1106, 1118, 2603, 2606, 2621, 2630, 3013, 3016, 3208, 6805, 6815, 6820, 7406, 8001weakly |
| 2 | 230 bp | 1070 bp | 02010101-020102, 020104-020115, 020117-0204, 0207, 0209, 0212, 0213, 0215N-022002, 0222, 0224-0227, 0229-0234, 0236-0240, 0242, 0243N, 0245-0247, 0249, 0250, 0252, 0253N, 0255, 0256, 0258-0260, 0262-0268, 0270, 0271, 0273-0277, 0280, 0282N, 0283N, 0285, 0286, 0288N, 0289, 0292-0297, 9201-9205, 9207, 9209-9211, 9213N-9221, 9223, 9225N, 9230-9235, 9238-9241 | 0309, 7406 |
| 35 | 175 bp | 1070 bp | 02010101-020115, 020117-020302, 0205-0216, 0218, 022001-0222, 0224-0238, 0240-0243N, 0245-0256, 0258-0264, 0266-0278, 0280-0285, 0287-0297, 0299, 9201-9207, 9209, 9211-9234, 9236-9241 | 68020101-680202, 6815, 6818N, 6823, 6827, 6828, 6831, 6834, 6840, 6901 |
| 46,7 | 80 bp | 1070 bp | 02010101-020115, 020118-020119, 020301-0204, 020601-0207, 0209-0213, 0215N-0222, 0224-023501, 023503-0244, 0245weakly, 0246, 0249, 0251-0254, 0256weakly, 0257-0262, 0264-0277, 0278weakly, 0279-0297, 0299, 9201, 9202, 9204-9214, 9216-9221, 9223-9228, 9230-9241 | 030103 weakly, 0323, 260702, 3308, 3309, 6830, 7404 |
| 56 | 125 bp | 1070 bp | 02010101-020115, 020117-020119, 0204, 020601-0207, 0209-0211, 0214-0218, 022001-0221, 0225, 0226, 0228-0236, 0239-0243N, 0245, 0246, 0248, 0251-0253N, 0255-0262, 0264, 0266, 0267, 0268weakly, 0269-0297, 0299, 9201, 9203, 9205-9214, 9216, 9218-9221, 9223-9234, 9238-9241 | 0317weakly, 2301, 2304-2319Q, 241301-241302, 2418weakly, 2424, 6808, 6901 |
| 65,6,8 | 75 bp | 800 bp | 0202-020302, 0205, 0208, 0222, 0247, 0249, 0250, 0263, 9202, 9204, 9215, 9217, 9222, 9236 | 680101-6807, 6810-6825, 6827-6842 |
| 77 | 175 bp | 1070 bp | 0202, 0205, 0208, 0214, 0247, 0263, 9202, 9215 |  |
| 89 | 415, 505 bp | 1070 bp | 0202, 0205, 0214, 0232N, 0247, 0263, 9202, 9215 |  |
| 96 | 105 bp | 1070 bp | 020301, 020302weakly, 0225, 0238, 9217 | 2610 |
| 106,8 | 115 bp | 800 bp | 020301, 020302weakly, 0213, 0226, 0238, 0299, 9217 | 0317, 2418, 2456, 2610, 6842 |
| 115,10 | 225, 335 bp | 1070 bp | 0204, 021701-021702, 0257, 0265, 0289, 9208, 9210 | 2312, 2428, 2430, 2442, 3208, 6805, 6820, 7406 |
| 125,8,11 | 195, 235 bp | 1070 bp | 0205-020606, 0208, 0210, 0214, 0221, 0228, 0241, 0244, 0251, 0254, 0257, 0261, 0272, 0279, 0284, 0285, 0291, 0299, 9206, 9208, 9222, 9226, 9227, 9237 | 1106, 1118, 2603, 2606, 2621, 2630, 6805, 6815, 6820 |
| 136 | 145 bp | 800 bp | 0205, 0208, 0214, 0284 |  |
| 146,7,12 | 95, 170 bp | 1070 bp | 0207, 0215N, 0218, 0291, 9203, 9212, 9230 |  |
| 155,6,13 | 125, 265, 305 bp | 800 bp | 0221, 0287, 0296, 9212, 9229, 9236 |  |
| 16 | 155 bp | 1070 bp | 0209, 0249, 0250, 0273, 0293, 9222 | 1116, 68020101-680202, 6815, 6818N, 6825, 6827, 6828, 6831, 6834, 6840 |
| 175,14 | 205, 360 bp | 1070 bp | 0210, 021701-021702, 0239, 0283N, 9208, 9210 | 2312, 2428, 2430, 2442 |
| 188 | 175 bp | 1070 bp | 0211, 0229, 0269, 9228 |  |
| 196,7 | 125 bp | 1070 bp | 0212, 0213, 0219, 0227, 0237, 0238, 0244, 0254 | 24020101-2405, 2407-2411N, 2414, 2415, 2417, 2419, 2420, 2423, 2425-2464, 2466-2486N, 6809, 6826 |
| 206,7 | 295 bp | 1070 bp | 0249 |  |
| 217 | 220 bp | 1070 bp | 0215N |  |
| 227 | 160 bp | 1070 bp | 0219, 0236, 0237, 0254 | 2301, 2302, 2305-2319Q, 24020101-240215, 2404-2409N, 2411N, 241301-2415, 2417, 2419, 2420, 2423weakly, 2424-2432, 2434-2464, 2466-2474, 2476-2486N, 6826 |
| 235,6,7,15 | 140, 180 bp | 800 bp | 021701-021702, 0231, 9208, 9210 |  |
| 246,7 | 115 bp | 1070 bp | 0227 | 2459 |
| 256 | 145 bp | 1070 bp | 0216, 9231 | 2455weakly |
| 266,8,16 | 125, 165 bp | 800 bp | 0233, 0252 |  |
| 276,17 | 95, 145 bp | 1070 bp | 0210, 0228, 0250, 0252, 0273, 0293, 0295, 9210, 9214, 9217, 9222 | 1116, 3013, 3016, 680101-6811N, 6813-6842 |
| 28 | 235 bp | 800 bp | 0208, 022001-022002, 0255, 0256, 0262, 0278, 9203, 9228 | 2620, 3008, 680302 |
| 296 | 220 bp | 1070 bp | 0245, 0246, 0248, 0256weakly, 0278weakly, 0292, 9203, 9229 weakly | 3008 |
| 307,8 | 160 bp | 800 bp | 0243N, 9204 |  |
| 316,18 | 95, 220 bp | 1070 bp | 0245, 0256, 0278, 0282N, 9203 | 3008 |
| 3219 | 230, 255 bp | 1070 bp | 0246-0248, 0270, 9229 |  |
| 336,7,8 | 325 bp | 1070 bp | 0219, 0236, 0237, 0254 | 6826 |
| 346,20 | 120, 180 bp | 800 bp | 0234-023502, 0256, 0262, 0278, 0288N, 9203 | 300101-300102, 3008, 301101-301102, 3014L-3020, 3023, 3024 |
| 356,21 | 110, 155 bp | 1070 bp | 0240, 0251, 0277, 9230 | 2301, 2302weakly, 2304-2319Q, 2424, 2471 |
| 365,6,22 | 85, 445 bp | 1070 bp | 0224, 0265, 0294N, 9235, 9237 | 0309, 1106, 1118, 2603, 2606, 2621, 2630, 3013, 3016, 3208, 7406, 8001weakly |
| 376,23 | 130, 145 bp | 1070 bp | 0238, 0268, 9201 | 2310weakly, 2410, 2446weakly, 2610 |
| 386,7 | 125 bp | 800 bp | 0241, 0280, 9217 |  |
| 396,7 | 75 bp | 1070 bp | 0218 |  |
| 406,7,8,24 | 90, 210 bp | 1070 bp | 0240, 0251, 0267, 9230 |  |
| 418 | 185 bp | 1070 bp | 0202, 0205, 0208, 0214, 021701-021702, 0247, 0257, 0258, 0263, 0275, 9202, 9208, 9210, 9215 |  |
| 425 | 225 bp | 800 bp | 0234-023503, 0256, 0262, 9203 | 0113, 0117, 03010101-0307, 0309-0311N, 0313-0331, 0333-0335, 0337-0339, 3408 |
| 437,25 | 180, 225 bp | 800 bp | 020301-020302, 0222, 0249, 0271, 9204, 9217, 9236 | 2622 |
| 44 | 155 bp | 800 bp | 0259 |  |
| 456,26 | 105, 185 bp | 1070 bp | 0219, 0239, 0244, 0260, 0279, 0286 | 0120, 2414 |
| 466,27 | 70, 205 bp | 800 bp | 0261, 0266 |  |
| 476,8 | 165 bp | 800 bp | 0263 |  |
| 486 | 110 bp | 1070 bp | 0264, 0272 |  |
| 496 | 145 bp | 1070 bp | 0238, 9201 | 2310 weakly, 2410, 2446 weakly, 2610 |
| 506 | 140 bp | 800 bp | 02010102L |  |
| 51 | 410 bp | 1070 bp | 0265, 0280, 9214, 9217 | 0309, 1106, 1118, 3208, 6805, 6820, 7406, 8001weakly |
| 52 | 185 bp | 800 bp | 0276 | 3022 |
| 53 | 225 bp | 1070 bp | 0214, 021701-021702, 0257, 0258, 9208, 9210 | 2301, 230301-2313, 2315-2319Q, 241301, 2418, 2424, 2907 |
| 54 | 350 bp | 800 bp | 027401-027402 |  |
| 557 | 200 bp | 1070 bp | 0230 |  |
| 56 | 275 bp | 1070 bp | 0253N, 0281, 9224 |  |
| 576 | 105 bp | 1070 bp | 0242 |  |
| 58 | 255 bp | 800 bp | 0211, 023501-023503, 0248, 0269, 0278, 0290, 9228 | 3008, 680302 |
| 596,7 | 145 bp | 800 bp | 0297 |  |
| 60 | 345 bp | 1070 bp | 0250, 0265, 0273, 9222, 9235 | 2603, 2606, 2621, 2630, 3208, 6805, 6815, 6820, 7406 |
| 61 | 185 bp | 1070 bp | 0250, 0273, 9222 | 1116, 680101-6811N, 6813-6842 |
| 62 | 180 bp | 800 bp | 0269 | 680101-6832, 6834-6842 |
| 63 | 160 bp | 800 bp | 9205 |  |
| 646 | 125 bp | 1070 bp | 9206 | 2472 |
| 65 | 185 bp | 1070 bp | 9207 |  |
| 66 | 170 bp | 800 bp | 9209 |  |
| 676 | 120 bp | 800 bp | 9211 |  |
| 68 | 215 bp | 1070 bp | 9213N |  |
| 698 | 170 bp | 1070 bp | 9214 |  |
| 706 | 125 bp | 800 bp | 9215 |  |
| 71 | 260 bp | 800 bp | 9216 |  |
| 725,6 | 95 bp | 1070 bp | 0219, 0244, 9218 | 0317, 2301 weakly, 2302 weakly, 2304-2319Qweakly, 24020101-2411N, 241301-2415, 2417-2420, 2422, 2423, 2424weakly, 2425-2464, 2466-2486N |
| 73 | 200 bp | 1070 bp | 9219 |  |
| 74 | 175 bp | 800 bp | 9220 |  |
| 75 | 205 bp | 1070 bp | 9221 | 6814 |
| 76 | 230 bp | 800 bp | 9222 |  |
| 776 | 85 bp | 1070 bp | 9223 |  |
| 78 | 240 bp | 1070 bp | 9224 |  |
| 79 | 225 bp | 1070 bp | 9225N |  |
| 80 | 230 bp | 1070 bp | 9226 |  |
| 81 | 315 bp | 1070 bp | 9227 |  |
| 826 | 130 bp | 1070 bp | 9231 |  |
| 836 | 100 bp | 800 bp | 9232 |  |
| 84 | 185 bp | 800 bp | 9233 |  |
| 85 | 260 bp | 800 bp | 9234 |  |
| 86 | 200 bp | 800 bp | 9235 |  |
| 87 | 155 b0 | 1070 bp | 9238 |  |
| 88 | 240 bp | 1070 bp | 9239 |  |
| 896 | 115 bp | 1070 bp | 9240 | 3315 |
| 906,8 | 105 bp | 800 bp | 9241 |  |
| 91 | 155 bp | 800 bp | 0250, 0273, 0293, 9222 | 1116, 68020101-680202, 6815, 6818N, 6825, 6827, 6828, 6831, 6834, 6840 |

1Alleles are assigned by the presence of specific PCR product(s). However, the sizes of the specific PCR products may be helpful in the interpretation of HLA-A*02 SSP typings.

When the primers in a primer mix can give rise to specific PCR products of more than one length this is indicated if the size difference is 20 base pairs or more. Size differences shorter than 20 base pairs are not given. For high resolution SSP kits the respective length of the specific PCR product(s) of the alleles amplified by these primer mixes are given.

Nonspecific amplifications, i.e. a ladder or a smear of bands, may sometimes be seen. GC-rich primers have a higher tendency of giving rise to nonspecific amplifications than other primers.

PCR fragments longer than the control bands may sometimes be observed. Such bands should be disregarded and do not influence the interpretation of the SSP typings.

PCR fragments migrating faster than the control bands, but slower than a 400 bp fragment may  be seen in some gel read-outs. Such bands can be disregarded and do not influence the interpretation of the SSP typings.

Some primers may give rise to primer oligomer artifacts. Sometimes this phenomenon is an inherit feature of the primer pair(s) of a primer mix. More often it is due to other factors such as too low amount of DNA in the PCR reactions, taking too long time in setting up the PCR reactions, working at elevated room temperature or using thermal cyclers that are not pre-heated.

2The internal positive control primer pairs amplify segments of the human growth hormone gene. The two different control primer pairs give rise to either an internal positive control band of 1070 base pairs, for most wells, or a band of 800 base pairs, for some wells.

Well number 1 contains the primer pair giving rise to the shorter, 800 bp, internal positive control band in order to help in the correct orientation of the HLA-A*02 subtyping.

In addition, wells number 6, 10, 13, 15, 23, 26, 28, 30, 34, 38, 42, 43, 44, 46, 47, 50, 52, 54, 58, 59, 62, 63, 66, 67, 70, 71, 74, 76, 83, 84, 85, 86, 90 and 91 contain the primer pair giving rise to the shorter, 800 bp, internal positive control band in order to allow kit identification.

In the presence of a specific amplification the intensity of the control band often decreases.

3For several HLA-B alleles 1st and 4th exon nucleotide sequences are not available. In these instances it is not known whether some of the primers of the SSP sets are completely matched with the target sequences or not. We assume that unknown sequences in the 1st and 4th exons are conserved within allelic groups.

4Due to the sharing of sequence motifs between HLA-A alleles non-HLA-A*02 alleles will be amplified by primer mixes 1 to 6, 9 to 12, 16, 17, 19, 22, 24, 25, 27 to 29, 31, 33 to 37, 42, 43, 45, 49, 51 to 53, 58, 60 to 62, 64, 72, 75, 89 and 91.

5The specific primers in primer mixes 3, 6, 11, 12, 15, 17, 23, 36, 42 and 72 may yield less specific PCR products than the other HLA-A*02 primer mixes, most pronounced for primer mixes 3 and 72.

6Short specific PCR fragments are less intense and not as sharp as longer specific bands.

7Primer mixes 4, 7, 14, 19, 20, 21, 22, 23, 24, 30, 33, 38, 39, 40, 43, 55 and 59 have a tendency of giving rise to a primer oligomer artefact, most pronounced for primer mixes 14, 23, 33, 39 and 55.

8Primer mixes 6, 10, 12, 18, 26, 30, 33, 40, 41, 47, 69 and 90 have a tendency of giving rise to nonspecific amplifications.

9Primer mix 8: Specific PCR fragment of 415 bp in the A*0202, 0205, 0214, 0247, 0263, 9202 and 9215 alleles. Specific PCR fragment of 505 bp in the A*0232N allele.

10Primer mix 11: Specific PCR fragment of 225 bp in the A*0289 allele. Specific PCR fragment of 335 bp in the A*0204, 021701-021702, 0257, 0265, 9208, 9210 and the A*2312, 2428, 2430, 2442, 3208, 6805, 6820 and 7406 alleles.

Primer mix 11 may give rise to a long fragment of approx. 600 bp in some HLA-A alleles. This band should not be considered in the interpretatation of HLA-A*02 typings.

11Primer mix 12: Specific PCR fragment of 195 bp in A*0285 allele. Specific PCR fragment of 235 bp in the A*0205 to 020606, 0208, 0210, 0214, 0221, 0228, 0241, 0244, 0251, 0254, 0257, 0261, 0272, 0279, 0284, 0291, 0299, 9206, 9208, 9222, 9226, 9227, 9237 and the A*1106, 1118, 2603, 2606, 2621, 2630, 6805, 6815 and 6820 alleles.

12Primer mix 14: Specific PCR fragment of 95 bp in A*9203 allele. Specific PCR fragment of 170 bp in the A*0207, 0215N, 0218, 0291, 9212 and 9230 alleles.

13Primer mix 15: Specific PCR fragment of 125 bp in the A*0221 allele. Specific PCR fragment of 265 bp in the A*0287, 9212, 9229 and 9236 alleles. Specific PCR fragment of 305 bp in the A*0296 allele.

14Primer mix 17: Specific PCR fragment of 205 bp in the A*0283N allele. Specific PCR fragment of 360 bp in the A*0210, 021701-021702, 0239, 9208, 9210 and the A*2312, 2428, 2430 and 2442 alleles.

15Primer mix 23: Specific PCR fragment of 140 bp in the A*0231 allele. Specific PCR fragment of 180 bp in the A*021701-021702, 9208 and 9210 alleles.

16Primer mix 26: Specific PCR fragment of 125 bp in the A*0233 allele. Specific PCR fragment of 165 bp in the A*0252 allele.

17Primer mix 27: Specific PCR fragments of 95 bp in the A*0228 and the A*3013 and 3016 alleles. Specific PCR fragments of 145 bp in A*0210, 0250, 0252, 0273, 0293, 0295, 9210, 9214, 9217, 9222 and the A*1116, 6801010 to 6811N, 6813 to 6842.

18Primer mix 31: Specific PCR fragment of 95 bp in A*0282N allele. Specific PCR fragments of 220 bp in A*0245, 0256, 0278, 9203 and the A*3008 alleles.

19Primer mix 32: Specific PCR fragment of 230 bp in the A*0246, 0248, 0270 and 9229 alleles. Specific PCR fragment of 255 bp in the A*0247 allele.

20Primer mix 34: Specific PCR fragment of 120 bp in the A*0288N allele. Specific PCR fragment of 180 bp in the A**0234 to 023502, 0256, 0262, 0278, 9203 and the A*300101-300102, 3008, 301101-301102, 3014L to 3020, 3023 and 3024 alleles.

Primer mix 34 may give rise to a long fragment of approx. 600 bp in some HLA-A alleles. This band should not be considered in the interpretatation of HLA-A*02 typings.

21Primer mix 35: Specific PCR fragment of 110 bp in A*0240, 0251, 9230 and the A*2301, 2302weakly, 2304 to 2319Q, 2424 and 2471 alleles. Specific PCR fragment of 155 bp in A*0277 allele.

22Primer mix 36: Specific PCR fragment of 85 bp in A*0294N allele. Specific PCR fragments of 445 bp in the A*0224, 0265, 9235, 9237 and the A*0309, 1106, 1118, 2603, 2606, 2621, 2630, 3013, 3016, 3208, 7406 and 8001weakly alleles.

23Primer mix 37: Specific PCR fragment of 130 bp in the A*0268 allele. Specific PCR fragments of 145 bp in A*0238, 9201 and the A*2310weakly, 2410, 2446weakly and 2610 alleles.

24Primer mix 40: Specific PCR fragment of 90 bp in the A*0267 allele. Specific PCR fragment of 210 bp in the A*0240, 0251 and 9230 alleles.

25Primer mix 43: Specific PCR fragment of 180 bp in the A*0271 allele. Specific PCR fragment of 225 bp in the A*020301-020302, 0222, 0249, 9204, 9217, 9236 and the A*2622 alleles.

26Primer mix 45: Specific PCR fragment of 105 bp in the A*0260 allele. Specific PCR fragment of 185 bp in the A*0219, 0239, 0244, 0279. 0286 and the A*0120, 2414 alleles.

27Primer mix 46: Specific PCR fragment of 70 bp in the A*0266 allele. Specific PCR fragment of 205 bp in the A*0261 allele.

1The sequence of A*020116 has been renamed to A*9234.

The sequence of A*020120 has been shown to be identical to A*020118

The sequence of the A*0223 allele has been shown to be identical to A*0222.

The sequence of the A*0298 allele has been shown to be identical to A*0296.

2Primer mix 8: Specific PCR fragment of 415 bp in the A*0202, 0205, 0214, 0247, 0263, 9202 and 9215 alleles. Specific PCR fragment of 505 bp in the A*0232N allele.

Primer mix 11: Specific PCR fragment of 225 bp in the A*0289 allele. Specific PCR fragment of 335 bp in the A*0204, 021701-021702, 0257, 0265, 9208, 9210 and the A*2312, 2428, 2430, 2442, 3208, 6805, 6820 and 7406 alleles.

Primer mix 11 may give rise to a long fragment of approx. 600 bp in some HLA-A alleles. This band should not be considered in the interpretatation of HLA-A*02 typings.

Primer mix 12: Specific PCR fragment of 195 bp in A*0285 allele. Specific PCR fragment of 235 bp in the A*0205 to 020606, 0208, 0210, 0214, 0221, 0228, 0241, 0244, 0251, 0254, 0257, 0261, 0272, 0279, 0284, 0291, 0299, 9206, 9208, 9222, 9226, 9227, 9237 and the A*1106, 1118, 2603, 2606, 2621, 2630, 6805, 6815 and 6820 alleles.

Primer mix 14: Specific PCR fragment of 95 bp in A*9203 allele. Specific PCR fragment of 170 bp in the A*0207, 0215N, 0218, 0291, 9212 and 9230 alleles.

Primer mix 15: Specific PCR fragment of 125 bp in the A*0221 allele. Specific PCR fragment of 265 bp in the A*0287, 9212, 9229 and 9236 alleles. Specific PCR fragment of 305 bp in the A*0296 allele.

Primer mix 17: Specific PCR fragment of 205 bp in the A*0283N allele. Specific PCR fragment of 360 bp in the A*0210, 021701-021702, 0239, 9208, 9210 and the A*2312, 2428, 2430 and 2442 alleles.

Primer mix 23: Specific PCR fragment of 140 bp in the A*0231 allele. Specific PCR fragment of 180 bp in the A*021701-021702, 9208 and 9210 alleles.

Primer mix 26: Specific PCR fragment of 125 bp in the A*0233 allele. Specific PCR fragment of 165 bp in the A*0252 allele.

Primer mix 27: Specific PCR fragments of 95 bp in the A*0228 and the A*3013 and 3016 alleles. Specific PCR fragments of 145 bp in A*0210, 0250, 0252, 0273, 0293, 0295, 9210, 9214, 9217, 9222 and the A*1116, 6801010 to 6811N, 6813 to 6842.

Primer mix 31: Specific PCR fragment of 95 bp in A*0282N allele. Specific PCR fragments of 220 bp in A*0245, 0256, 0278, 9203 and the A*3008 alleles.

Primer mix 32: Specific PCR fragment of 230 bp in the A*0246, 0248, 0270 and 9229 alleles. Specific PCR fragment of 255 bp in the A*0247 allele.

Primer mix 34: Specific PCR fragment of 120 bp in the A*0288N allele. Specific PCR fragment of 180 bp in the A**0234 to 023502, 0256, 0262, 0278, 9203 and the A*300101-300102, 3008, 301101-301102, 3014L to 3020, 3023 and 3024 alleles.

Primer mix 34 may give rise to a long fragment of approx. 600 bp in some HLA-A alleles. This band should not be considered in the interpretatation of HLA-A*02 typings.

Primer mix 35: Specific PCR fragment of 110 bp in A*0240, 0251, 9230 and the A*2301, 2302weakly, 2304 to 2319Q, 2424 and 2471 alleles. Specific PCR fragment of 155 bp in A*0277 allele.

Primer mix 36: Specific PCR fragment of 85 bp in A*0294N allele. Specific PCR fragments of 445 bp in the A*0224, 0265, 9235, 9237 and the A*0309, 1106, 1118, 2603, 2606, 2621, 2630, 3013, 3016, 3208, 7406 and 8001weakly alleles.

Primer mix 37: Specific PCR fragment of 130 bp in the A*0268 allele. Specific PCR fragments of 145 bp in A*0238, 9201 and the A*2310weakly, 2410, 2446weakly and 2610 alleles.

Primer mix 40: Specific PCR fragment of 90 bp in the A*0267 allele. Specific PCR fragment of 210 bp in the A*0240, 0251 and 9230 alleles.

Primer mix 43: Specific PCR fragment of 180 bp in the A*0271 allele. Specific PCR fragment of 225 bp in the A*020301-020302, 0222, 0249, 9204, 9217, 9236 and the A*2622 alleles.

Primer mix 45: Specific PCR fragment of 105 bp in the A*0260 allele. Specific PCR fragment of 185 bp in the A*0219, 0239, 0244, 0279. 0286 and the A*0120, 2414 alleles.

Primer mix 46: Specific PCR fragment of 70 bp in the A*0266 allele. Specific PCR fragment of 205 bp in the A*0261 allele.

w’, might be weakly amplified.

Change in revision R01 compared to R00:

- Only the A*9227 allele is amplified by primer mix 81.