Gel Documentation Form and Worksheet

HLA-A*02 (101.412-24/04, -24u/04u) 	Lot No: 08Y	Expiry Date: 2017-September-01

Name:__________________

Sample ID:______________

DNA Conc.(ng/ul):_________

Test  Date:_______________

Tested By:_______________

Review Date:_______________

Reviewed By:_______________

Interpretation:___________	Failed lanes: ___________ 	 Comments:_________________

Gel Picture

PHOTO DOCUMENT

‘ICB’ Internal Control Band,

‘AmpS’ Amplicon Size

Notes:

Product sizes are approximate. For detailed information, see the lot-specific Specificity Table and Interpretation Table.

This table is intended as a guide. For interpretation always use the Interpretation Table and/or Specificity Table.

HLA-specific PCR products shorter than 125 base pairs have a lower intensity and are less sharp than longer PCR products.

The specific primers in primer mixes 3, 6, 31, 34, 39 and 55 may give rise to a lower yield of HLA-specific PCR product than the other A*02 primer mixes.

Primer mixes 7, 33, 42, 46, 54, 57, 61, 73, 81, 82, 84, 87, 89 and 94 have a tendency to giving rise to primer oligomer formation.

Primer mixes 5, 11, 13, 14, 15, 17, 26, 27, 33, 40, 41, 42, 46, 54, 59, 60, 61, 71, 75, 79, 86 and 89 may have tendencies of unspecific amplifications, most pronounced in primer mix 5.

Primer mixes 11 and 34 may give rise to a long fragment of approx. 600 bp in some HLA-A alleles. This band should not be considered in the interpretatation of HLA-A*02 typings.

Primer mix 18 may faintly amplify the C*04:01:01:01-04:01:41 alleles.

For some samples primer mix 1 may amplify the A*02:07:01-02:07:03 alleles.

Primer mix 96 contains a negative control, which will amplify more than 95% of HLA amplicons as well as the amplicons generated by the control primer pairs matching the human growth hormone gene. HLA-specific PCR product sizes range from 75 to 200 base pairs and the PCR product generated by the HGH positive control primer pair is 430 base pairs.

1HLA-A*02 alleles in bold lettering are listed as confirmed alleles on the on the IMGT/HLA web page www.ebi.ac.uk/imgt/hla, release 3.19.0, January 2015.

2Alleles that have been deleted from or renamed in the official WHO HLA Nomenclature up to and including the last IMGT/HLA database release can be retrieved from web page http://hla.alleles.org/alleles/deleted.html.

3Primer mix 7: Specific PCR fragment of 170 bp in the A*02:02:01-02:02:02, 02:05:01-02:05:06, 02:08, 02:14, 02:47, 02:63, 02:102, 02:115, 02:154-02:155, 02:172, 02:179, 02:186, 02:209, 02:229, 02:232, 02:286, 02:320, 02:324, 02:337, 02:344, 02:359, 02:373N, 02:376, 02:413, 02:421, 02:433, 02:484, 02:489, 02:492, 02:495-02:496, 02:507, 02:517, 02:531-02:532 02:542 and 02:546 alleles. Specific PCR fragment of 210 bp in the A*02:540N allele.

Primer mix 8: Specific PCR fragment of 415 bp in the A*02:02:01-02:02:02, 02:05:01-02:05:06, 02:14, 02:47, 02:63, 02:102, 02:115, 02:154-02:155, 02:172, 02:179, 02:186, 02:209, 02:229, 02:232, 02:271, 02:286, 02:320, 02:324, 02:337, 02:344, 02:359, 02:373N, 02:376, 02:413, 02:421, 02:433, 02:484, 02:489, 02:492, 02:495-02:496, 02:507, 02:517, 02:531-02:532 and 02:546 alleles. Specific PCR fragment of 505 bp in the A*02:32N allele.

Primer mix 11: Specific PCR fragment of 135 bp in the A*02:506N allele. Specific PCR fragment of 225 bp in the A*02:89 allele. Specific PCR fragment of 350 bp in the A*02:04, 02:17:01-02:17:03, 02:57, 02:65, 02:108, 02:110, 02:152, 02:268, 02:300, 02:303 and 02:334 and the A*23:12, 24:28, 24:30, 24:42, 24:89, 29:19, 29:48, 29:74, 32:08, 33:24, 68:05, 68:20, 74:06 and 74:21 alleles.

Primer mix 12: Specific PCR fragment of 195 bp in A*02:85 allele. Specific PCR fragment of 235 bp in the A*02:05:01-02:06:18, 02:08, 02:10, 02:14, 02:21, 02:28, 02:41, 02:44, 02:51, 02:54, 02:57, 02:61, 02:72, 02:79:01-02:79:02, 02:84, 02:91, 02:99, 02:106, 02:108, 02:122, 02:126-02:127, 02:137, 02:142-02:144, 02:154, 02:169-02:170, 02:172, 02:178-02:180, 02:229, 02:232, 02:244, 02:248, 02:259, 02:271, 02:278, 02:286, 02:290, 02:295, 02:300, 02:310, 02:324, 02:328, 02:330, 02:333, 02:337, 02:344, 02:355, 02:358-02:359, 02:373N, 02:376, 02:382, 02:387, 02:398, 02:404-02:405, 02:409, 02:413, 02:415, 02:419-02:421, 02:428, 02:433, 02:438, 02:453-02:454, 02:465, 02:470-02:476N, 02:484, 02:489, 02:493, 02:495-02:496, 02:506N-02:507, 02:527, 02:532, 02:546 and 02:549-02:550 and the A*11:06, 11:18, 26:03:01-26:03:02, 26:06, 26:21, 26:30, 26:78, 26:92, 68:05, 68:15 and 68:20 alleles.

Primer mix 14: Specific PCR fragment of 95 bp in A*02:91 and 02:322 alleles. Specific PCR fragment of 170 bp in the A*02:07:01-02:07:07, 02:15N, 02:18, 02:103, 02:112, 02:130, 02:191, 02:219, 02:255, 02:261, 02:265, 02:282, 02:319, 02:335, 02:369, 02:403, 02:426, 02:429, 02:432, 02:437, 02:449-02:452, 02:474, 02:477-02:478, 02:513, 02:541 and 02:544 alleles.

Primer mix 15: Specific PCR fragment of 125 bp in the A*02:21 and 02:186 alleles. Specific PCR fragment of 265 bp in the A*02:87, 02:112, 02:129 and 02:136 and the A*23:01:13 and in the B*53:01:10 alleles. Specific PCR fragment of 305 bp in the A*02:96 allele.

Primer mix 16: Specific PCR fragment of 110 bp in the A*02:50, 02:73, 02:93, 02:122, 02:156, 02:172 and 02:279 and the A*11:119:01-11:119:02, 11:209, 23:31, 23:45, 23:55, 24:15, 24:41, 24:51, 24:92, 24:235, 26:10, 32:28, 32:66, 68:02:01:01-68:02:08, 68:15, 68:18N, 68:25, 68:27:01-68:28, 68:31, 68:34, 68:40, 68:44, 68:48-68:49N, 68:51, 68:53-68:54, 68:60-68:62, 68:64, 68:67, 68:74, 68:77-68:78, 68:80-68:82, 68:86, 68:92, 68:97, 68:110, 68:119 and 68:124-68:125 and in the B*07:136:02, B*44:59:02, B*44:136, B*51:136, C*07:204 and C*12:37 alleles. Specific PCR fragment of 155 bp in the A*02:09 and 02:49 alleles.

Primer mix 17: Specific PCR fragment of 205 bp in the A*02:83N allele. Specific PCR fragment of 360 bp in the A*02:10, 02:17:01-02:17:03, 02:39, 02:108, 02:110, 02:148, 02:242, 02:244, 02:268, 02:300, 02:303, 02:398 and 02:453 and the A*23:12, 24:28, 24:30, 24:42 and 24:89 alleles.

Primer mix 19: Specific PCR fragment of 125 bp in the A*02:12-02:13, 02:19, 02:27, 02:37-02:38, 02:44, 02:54, 02:142, 02:271, 02:280, 02:417 and 02:543 and the A*11:119:01-11:119:02, 11:209, 24:02:01:01-24:02:15, 24:02:17-24:02:41, 24:02:43-24:05, 24:07:01-24:11N, 24:14-24:15, 24:17, 24:19-24:20, 24:23, 24:25-24:53, 24:55-24:64, 24:66-24:86N, 24:88-24:90N, 24:92-24:93, 24:95-24:106, 24:108-24:109, 24:111-24:124, 24:126-24:132N, 24:134-24:137, 24:139-24:157, 24:159, 24:161-24:166, 24:168-24:187, 24:189-24:203, 24:205-24:206, 24:209-24:210, 24:212, 24:214-24:226:02, 24:229-24:277, 24:279-24:282, 24:284, 24:286-24:288, 24:290-24:294Q, 33:19, 68:09, 68:26 and 69:03 alleles. Specific PCR fragment of 165 bp in the A*02:283 allele.

Primer mix 20: Specific PCR fragment of 135 bp in the A*02:200 allele. Specific PCR fragment of 170 bp in the A*02:229 allele. Specific PCR fragment of 260 bp in the A*02:198 alleles. Specific PCR fragment of 295 bp in the A*02:49 allele.

Primer mix 21: Specific PCR fragment of 220 bp in the A*02:15N and 02:356N alleles. Specific PCR fragment of 255 bp in the A*02:291 allele.

Primer mix 23: Specific PCR fragment of 140 bp in the A*02:31, 02:161, 02:360 and 02:387 alleles. Specific PCR fragment of 180 bp in the A*02:17:01-02:17:03, 02:108, 02:110, 02:268, 02:300 and 02:303 and the A*24:94, 24:138, 24:188, 24:228 and 24:293 alleles.

Primer mix 24: Specific PCR fragment of 75 bp in the A*02:230 and 02:459 alleles. Specific PCR fragment of 110 bp in the A*02:27, 02:393 and 02:541 and the A*11:119:01-11:119:02, 24:59, 24:190, 24:210, 24:229 and 24:285 and in the C*07:204 alleles. Specific PCR fragment of 160 bp in the A*02:233 and the A*24:219 alleles.

Primer mix 25:. Specific PCR fragment of 135 bp in the A*02:16, 02:131, 02:226N and 02:487 and the A*24:55 and in the B*07:136:02 alleles. Specific PCR fragment of 160 bp in the A*02:283 and 02:468:01N and the A*24:02:70 alleles. Specific PCR fragment of 190 bp in the A*02:384 alleles.

Primer mix 26: Specific PCR fragment of 125 bp in the A*02:33 allele. Specific PCR fragment of 165 bp in the A*02:52 allele. Specific PCR fragment of 260 bp in the A*02:198 allele.

Primer mix 27: Specific PCR fragment of 95 bp in the A*30:13, 30:16, 30:44 and 30:46 alleles. Specific PCR fragments of 140 bp in the A*02:10, 02:50, 02:52, 02:73, 02:93, 02:95, 02:110, 02:114, 02:117, 02:122, 02:156, 02:242, 02:244, 02:279, 02:282, 02:300, 02:304, 02:339, 02:407, 02:409, 02:449, 02:453 and 02:527 and the A*03:123:01-03:123:02, 03:171, 11:16, 11:35, 11:57, 11:73, 11:158, 24:131, 24:138, 24:188, 24:218, 29:51, 29:73, 68:01:01:01-68:11N, 68:13:01-68:48, 68:51-68:116, 68:118-68:119, 68:121-68:125, and 68:127 alleles.  Specific PCR fragment of 95 bp and 540 bp in the A*02:28, 02:155 and 02:185 alleles. Specific PCR fragment of 145 bp and 540 bp in the A*68:126 allele.

Primer mix 29: Specific PCR fragment of 220 bp in the A*02:45-02:46, 02:48, 02:56:01w-02:56:02w, 02:78w, 02:92, 02:103w, 02:129, 02:169w, 02:195w, 02:358, 02:369, 23:01:13, 30:02:14w alleles. Specific PCR fragment of 300 bp in A*02:180 allele.

Primer mix 30: Specific PCR fragment of 130 bp in the A*02:163 allele. Specific PCR fragment of 160 bp in A*02:43N and 02:104 alleles.

Primer mix 31: Specific PCR fragment of 95 bp in A*02:82N and in the A*23:08N alleles. Specific PCR fragments of 220 bp in A*02:45, 02:56:01-02:56:02, 02:78, 02:103, 02:169 and 02:195 alleles.

Primer mix 32: Specific PCR fragment of 205 bp in the A*02:176 allele. Specific PCR fragment of 240 bp in the A*02:46-02:48, 02:70, 02:129 and 02:479 and the A*23:01:13 alleles.

Primer mix 33: Specific PCR fragment of 230 bp in the A*02:165, 02:168, 02:400 and 02:420-02:421 alleles. Specific PCR fragments of 325 bp in A*02:19, 02:36-02:37, 02:54, 02:255 and 02:417 alleles.

Primer mix 34: Specific PCR fragment of 120 bp in the A*02:88N allele. Specific PCR fragment of 170 bp in the A*02:34-02:35:02, 02:56:01-02:56:02, 02:62, 02:78, 02:103 and 02:395N and the A*30:01:01-30:01:10, 30:08, 30:11:01-30:11:02, 30:14L-30:20, 30:23-30:24, 30:26, 30:30-30:31, 30:35-30:43, 30:48-30:49, 30:52-30:56, 30:58-30:60, 30:62-30:63, 30:65, 30:72-30:75, 30:78N-30:79, 30:81-30:83, 30:86-30:87, 30:89, 30:91-30:93, 68:01:11, 68:01:25 and 68:02:07 and in the C*03:82 alleles.

Primer mix 35: Specific PCR fragment of 110 bp in the A*02:40:01-02:40:02, 02:51 and 02:130 and the A*23:01:01-23:01:16, 23:02w, 23:04-23:23, 23:25-23:33, 23:35-23:56, 23:58-23:65, 23:67-23:69, 24:24, 24:71, 31:67-31:68, 32:28, 32:66, 33:32:01 and 68:51w alleles. Specific PCR fragment of 155 bp in A*02:77 allele.

Primer mix 36: Specific PCR fragment of 85 bp in A*02:94N allele. Specific PCR fragments of 445 bp in the A*02:24:01-02:24:02, 02:65, 02:135, 02:137, 02:152, 02:309 and 02:507 and the A*01:104, 01:134, 03:09, 03:89, 03:108, 03:172, 03:198, 11:06, 11:18, 25:11, 26:03:01-26:03:02, 26:06, 26:21, 26:30, 26:36, 26:78, 26:92, 29:19, 29:48, 29:74, 30:13, 30:16, 30:44, 30:46, 32:08, 33:24, 74:06, 74:21 and 80:01:01:01w alleles.

Primer mix 38: Specific PCR fragment of 125 bp in A*02:41, 02:80, 02:117, 02:289:01-02:289:02, 02:304 and 02:454 alleles. Specific PCR fragments of 225 bp in the A*02:351 allele.

Primer mix 39: Specific PCR fragment of 80 bp in the A*02:390 allele. Specific PCR fragment of 170 bp in the A*02:18 allele. Specific PCR fragment of 240 bp in the A*02:153:01-02:153:02, 02:293Q, 02:439N allele. Specific PCR fragment of 265 bp in the A*02:159 alleles. Specific PCR fragment of 300 bp in the A*02:170 and 02:364 alleles.

Primer mix 40: Specific PCR fragment of 100 bp in the A*02:52, 02:67, 02:404 and 02:423 and the A*30:47 allele. Specific PCR fragment of 220 bp in the A*02:40:01-02:40:02, 02:51, 02:130 and 02:500Q and the A*29:22 and 33:22 alleles. Specific PCR fragment of 250 bp in the A*02:153:01-02:153:02 alleles.

Primer mix 43: Specific PCR fragment of 180 bp in the A*02:71 allele. Specific PCR fragment of 225 bp in the A*02:03:01-02:03:08, 02:22:01-02:22:02, 02:49, 02:104, 02:117, 02:136, 02:148, 02:191, 02:230, 02:253, 02:258, 02:264, 02:267, 02:281, 02:315, 02:323, 02:345, 02:355, 02:370, 02:382, 02:402, 02:412, 02:427, 02:431, 02:447, 02:463, 02:466, 02:480, 02:505, 02:529 and 02:544 and the A*26:22, 66:09, 68:83 and 68:105 and in the C*02:74 alleles.

Primer mix 44: Specific PCR fragment of 125 bp in the A*02:203 allele. Specific PCR fragment of 155 bp in the A*02:59 and 02:513 allele. Specific PCR fragment of 200 bp in the A*02:222N and 02:342 alleles.

Primer mix 45: Specific PCR fragment of 105 bp in the A*02:60:01-02:60:02 and 02:254 alleles. Specific PCR fragment of 160 bp in the A*02:391 allele. Specific PCR fragment of 185 bp in the A*02:19, 02:39, 02:44, 02:79:01-02:79:02, 02:86, 02:400, 02:408 and 02:436 and the A*01:20, 01:66, 01:130, 03:95, 24:14 and 24:93 alleles. Specific PCR fragment of 270 bp in the A*02:501N allele.

Primer mix 46: Specific PCR fragment of 70 bp in the A*02:66 allele. Specific PCR fragment of 205 bp in the A*02:61 allele. Specific PCR fragment of 270 bp in the A*02:501N allele.

Primer mix 47: Specific PCR fragment of 165 bp in the A*02:63 allele. Specific PCR fragment of 205 bp in the A*02:144 and 02:205 alleles. Specific PCR fragment of 255 bp in the A*02:35:01-02:35:03, 02:48, 02:78, 02:90 and 02:331 and the A*34:02:04 alleles. Specific PCR fragment of 305 bp in the A*02:207 allele.

Primer mix 54: Specific PCR fragment of 240 bp in the A*02:189-02:190 and 02:438 alleles. Specific PCR fragment of 310 bp in A*02:228 allele. Specific PCR fragment of 350 bp in A*02:74:01-02:74:02 alleles.

Primer mix 55: Specific PCR fragment of 85 bp in the A*02:343 allele. Specific PCR fragment of 160 bp in the A*02:486 allele. Specific PCR fragment of 205 bp in the A*02:01:83, 02:01:105, 02:01:107, 02:13, 02:26, 02:30, 02:40:01-02:40:02, 02:51, 02:99, 02:130, 02:226N, 02:323, 02:393, 02:399, 02:402, 02:541 and 02:547 and the A*03:95, 29:22 and 33:22 and in the C*02:74 allele. Specific PCR fragment of 265 bp in the A*02:313 allele.

Primer mix 56: Specific PCR fragment of 150 bp in the A*02:175 and 02:181 alleles. Specific PCR fragment of 275 bp in A*02:53N, 02:81 and 02:124 alleles.

Primer mix 57: Specific PCR fragment of 105 bp in the A*02:42 and 02:310 alleles. Specific PCR fragment of 145 bp in A*02:160 and 02:175 alleles.

Primer mix 59: Specific PCR fragment of 145 bp in the A*02:97:01-02:97:02 alleles. Specific PCR fragment of 190 bp in A*02:305N allele.

Primer mix 63: Specific PCR fragment of 95 bp in the A*02:259 and 02:524 and the A*03:51, 23:60, 30:37 and 32:46 alleles. Specific PCR fragment of 155 bp in A*02:105 and 02:301N alleles. Specific PCR fragment of 210 bp in the A*02:490N, 02:516N and 02:540N and the A*31:60N alleles.

Primer mix 64: Specific PCR fragment of 125 bp in the A*02:106 and 02:145 and the A*24:72 alleles. Specific PCR fragment of 180 bp in the A*02:164, 02:221 and 02:392 and the A*01:44, 01:129, 03:44:01, 11:196, 11:201, 23:41, 24:245, 24:286, 29:15 and 31:78 alleles. Specific PCR fragment of 260 bp in the A*02:187 allele.

Primer mix 65: Specific PCR fragment of 150 bp in the A*02:160, 02:251, 02:391 and 02:486 alleles. Specific PCR fragment of 185 bp in A*02:107 allele. Specific PCR fragment of 250 bp in the A*02:202, 02:437, 02:440Q and 02:500Q alleles.

Primer mix 66: Specific PCR fragment of 170 bp in the A*02:109 and 02:434 alleles. Specific PCR fragment of 200 bp in the A*02:30 and 02:547 alleles.

Primer mix 67: Specific PCR fragment of 100 bp in the A*02:91, 02:177 and 02:322 alleles. Specific PCR fragment of 135 bp in the A*02:111, 02:407 and 02:449 alleles. Specific PCR fragment of 180 bp in A*02:330 allele. Specific PCR fragment of 300 bp in A*02:350N allele.

Primer mix 68: Specific PCR fragment of 210 bp in the A*02:113:01N-02:113:02N and 02:321N alleles. Specific PCR fragment of 255 bp in the A*02:158 and 02:184 alleles.

Primer mix 69: Specific PCR fragment of 170 bp in the A*02:114, 02:246, 02:279 and 02:527 alleles. Specific PCR fragment of 225 bp in A*02:260 allele. Specific PCR fragment of 335 bp in A*02:166 allele.

Primer mix 70: Specific PCR fragment of 125 bp in the A*02:115 allele. Specific PCR fragment of 180 bp in the A*02:133, 02:367 and 02:487 alleles. Specific PCR fragment of 285 bp in A*02:53N, 02:192, 02:269 and 02:433 alleles.

Primer mix 71: Specific PCR fragment of 130 bp in the A*02:196, 02:465 and 02:553 alleles. Specific PCR fragment of 260 bp in the A*02:116 allele.

Primer mix 72: Specific PCR fragment of 110 bp in the A*02:183 allele. Specific PCR fragment of 230 bp in the A*02:189 allele. Specific PCR fragment of 260 bp in the A*02:19, 02:44, 02:118, 02:135, 02:149, 02:152, 02:190, 02:309, 02:402, 02:408, 02:417, 02:436 and 02:438 alleles.

Primer mix 73: Specific PCR fragment of 80 bp in the A*02:263 allele. Specific PCR fragment of 120 bp in the A*02:380, 02:553, and the A*03:52 and 31:19 alleles. Specific PCR fragment of 200 bp in the A*02:119 allele. Specific PCR fragment of 250 bp in A*02:158 allele.

Primer mix 74: Specific PCR fragment of 175 bp in the A*02:120 allele. Specific PCR fragment of 250 bp in A*02:187 and 02:223N alleles.

Primer mix 75: Specific PCR fragment of 100 bp in the A*02:373N and the A*68:49N alleles. Specific PCR fragment of 165 bp in the A*02:166 allele. Specific PCR fragment of 200 bp in the A*02:121, 02:384, 02:425 and 02:517 and the A*23:47, 24:234, 68:14 and 68:81 alleles.

Primer mix 76: Specific PCR fragment of 115 bp in the A*02:68 allele.  Specific PCR fragment of 190 bp in the A*02:342 and 02:392 and the A*24:245 alleles. Specific PCR fragment of 225 bp in the A*02:50, 02:122, 02:143 and 02:225N alleles.

Primer mix 77: Specific PCR fragment of 80 bp in the A*02:123, 02:295 and 02:344 alleles. Specific PCR fragment of 115 bp in the A*02:162 and 02:525N alleles.

Primer mix 78: Specific PCR fragment of 80 bp in the A*02:01:14Q and 02:193 alleles. Specific PCR fragment of 130 bp in the A*02:213 and 02:495 alleles. Specific PCR fragment of 240 bp in the A*02:124 allele.

Primer mix 79: Specific PCR fragment of 110 bp in the A*02:476N and 02:525N alleles. Specific PCR fragment of 200 bp in the A*02:227N allele. Specific PCR fragment of 225 bp in the A*02:125N, 02:217:02 and 02:419 alleles. Specific PCR fragment of 270 bp in A*02:53N, 02:184, 02:192 and 02:433 alleles.

Primer mix 80: Specific PCR fragment of 85 bp in the A*02:01:14Q and 02:214 allele. Specific PCR fragment of 135 bp in the A*02:194 allele. Specific PCR fragment of 230 bp in A*02:126 allele.

Primer mix 81: Specific PCR fragment of 110 bp in the A*02:183 allele. Specific PCR fragment of 235 bp in A*02:165, 02:400 and 02:420-02:421 alleles. Specific PCR fragment of 310 bp in A*02:127, 02:167, 02:299 and 02:477 alleles.

Primer mix 82: Specific PCR fragment of 130 bp in the A*02:131 allele. Specific PCR fragment of 225 bp in the A*02:481 allele. Specific PCR fragment of 255 bp in the A*02:291 allele. Specific PCR fragment of 295 bp in the A*02:199 allele. Specific PCR fragment of 390 bp in the A*02:514N allele.

Primer mix 83: Specific PCR fragment of 100 bp in the A*02:132 allele.  Specific PCR fragment of 125 bp in the A*02:215, 02:429 and 02:467 alleles. Specific PCR fragment of 240 bp in the A*02:237, 02:440Q and 02:500Q and the A*03:95 alleles. Specific PCR fragment of 265 bp in the A*02:313 allele.

Primer mix 84: Specific PCR fragment of 180 bp in the A*02:133, 02:164 and 02:487 and the A*01:44 and 03:44:01 alleles. Specific PCR fragment of 205 bp in the A*02:315 allele. Specific PCR fragment of 250 bp in the A*02:250N, 02:348 and 02:394 alleles.

Primer mix 85: Specific PCR fragment of 170 bp in the A*02:314N, 02:376 and 02:542 and the A*03:197N and 32:48N alleles. Specific PCR fragment of 225 bp in the A*02:481 allele. Specific PCR fragment of 260 bp in the A*02:134 allele.

Primer mix 86: Specific PCR fragment of 180 bp in the A*02:135, 02:309 and 02:454 alleles. Specific PCR fragment of 255 bp in the A*02:174 allele. Specific PCR fragment of 310 bp in the A*02:228 allele.

Primer mix 87: Specific PCR fragment of 110 bp in the A*02:380 and the A*03:52 and 31:19 alleles. Specific PCR fragment of 150 bp in the A*02:138 and 02:181 alleles. Specific PCR fragment of 210 bp in the A*02:284N allele. Specific PCR fragment of 260 bp in the A*02:394 allele.

Primer mix 88: Specific PCR fragment of 135 bp in the A*02:188 and 02:235 and in the B*15:67, B*15:343 B*35:110, C*07:386, C*12:94 and C*14:48 alleles. Specific PCR fragment of 250 bp in the A*02:139 and 02:366N allele.

Primer mix 89: Specific PCR fragment of 120 bp in the A*02:140 and 02:182 and the A*24:133, 26:99, 31:48 and 33:15 alleles. Specific PCR fragment of 155 bp in the A*02:324, 02:426 and 02:468:01N-02:468:02N and the A*24:02:70 alleles. Specific PCR fragment of 200 bp in the A*02:227N allele.

Primer mix 90: Specific PCR fragment of 100 bp in the A*02:72, 02:206, 02:275 and 02:377 alleles. Specific PCR fragment of 130 bp in the A*02:161 allele. Specific PCR fragment of 190 bp in the A*02:141 allele.

Primer mix 92: Specific PCR fragment of 180 bp in the A*02:173 and 02:496 alleles. Specific PCR fragment of 260 bp in the A*02:146 and 02:366N allele.

Primer mix 93: Specific PCR fragment of 130 bp in the A*02:163 allele. Specific PCR fragment of 255 bp in the A*02:147, 02:339 and 02:348 and the A*03:170, 23:52, 24:73 and 24:157 and in the B*15:173, B*18:63 and B*39:90 alleles. Specific PCR fragment of 295 bp in the A*02:157 and 02:473 alleles.

Primer mix 94: Specific PCR fragment of 110 bp in the A*02:325 and 02:377 alleles. Specific PCR fragment of 150 bp in the A*02:360 alleles. Specific PCR fragment of 210 bp in the A*02:150 allele. Specific PCR fragment of 360 bp in the A*02:197, 02:478 and 02:494 alleles.

4The following HLA-A*02 alleles can be distinguished by the different sizes of the HLA-specific PCR product:

| Alleles | Primer mix | Alleles | Primer mix |
| --- | --- | --- | --- |
| A*02:01:83, 02:01:105, 02:01:107, 02:343, 02:399 | 55 | A*02:139, 02:235 | 88 |
| A*02:28, 02:409 | 27 | A*02:141, 02:275 | 90 |
| A*02:60:01-02:60:02, 02:254, 02:501N | 45 | A*02:145, 02:221 | 64 |
| A*02:97:01-02:97:02, 02:305N | 59 | A*02:150, 02:197, 02:325 | 94 |
| A*02:107, 02:202, 02:251 | 65 | A*02:159, 02:293Q, 02:364, 02:390 | 39 |
| A*02:111, 02:350N | 67 | A*02:180, 02:358 | 29 |
| A*02:116, 02:196 | 71 | A*02:193, 02:213 | 78 |
| A*02:119, 02:263 | 73 | A*02:233, 02:459 | 24 |
| A*02:120, 02:223N | 74 | A*02:269, 02:367 | 70 |
| A*02:132, 02:215, 02:237, 02:467 | 83 | A*02:301N, 02:524 | 63 |
| A*02:134, 02:314N | 85 | A*02:419, 02:476N | 79 |
| A*02:138, 02:284N | 87 |  |  |

The HLA-A*02 subtyping kit cannot distinguish the silent mutations in the A*02:01:01:01, 02:01:01:03-02:01:02, 02:01:04-02:01:13, 02:01:15, 02:01:18-02:01:19, 02:01:21-02:01:51, 02:01:53-02:01:62, 02:01:64-02:01:73, 02:01:75-02:01:81, 02:01:84-02:01:86, 02:01:89-02:01:90, 02:01:92-02:01:100, 02:01:102-02:01:104, 02:01:108-02:01:112 and 02:01:114-02:01:115 alleles, the A*02:01:03, 02:01:101 and 02:01:106 alleles, the A*02:01:17, 02:01:52, 02:01:63, 02:01:74 and 02:01:113 alleles, the A*02:01:83, 02:01:105 and 02:01:107 alleles, the A*02:01:87 and 02:01:91 alleles, the A*02:02:01-02:02:02 alleles, the A*02:03:01 and 02:03:03-02:03:08 alleles, the A*02:05:01-02:05:06 alleles, the A*02:06:01-02:06:11 and 02:06:13-02:06:18 alleles, the A*02:07:01-02:07:07 alleles, the A*02:11:01, 02:11:03-02:11:07 alleles, the A*02:17:01-02:17:03 alleles, the 02:20:01-02:20:02 alleles, the A*02:22:01-02:22:02 alleles, the A*02:24:01-02:24:02 alleles, the A*02:40:01-02:40:02 alleles, the A*02:60:01-02:60:02 alleles, the A*02:74:01-02:74:02 alleles, the A*02:76:01-02:76:02 alleles, the A*02:79:01-02:79:02 alleles, the A*02:97:01-02:97:02 alleles, the A*02:101:01-02:101:02 and 02:01:106 alleles, the A*02:113:01N-02:113:02N alleles, the A*02:153:01-02:153:02 alleles, the A*02:171:01-02:171:02 alleles, the A*02:243:01-02:243:02 alleles and the A*02:289:01-02:289:02 alleles.

’w’, might be weakly amplified.

Change in revision R01 compared to R00:

- Primer mix 26 may have tendencies of unspecific amplifications. A foot note has been added in the Specificity Table.

Change in revision R02 compared to R01:

- Primer mix 2 amplifies the A*02:394 allele. This has been corrected in the Specificity and Interpretation Tables.