Gel Documentation Form and Worksheet

HLA-A*23	Lot No: 59V	Expiry Date: 2016-October-01

(101.421-06/06u)

Name:__________________

Sample ID:______________

DNA Conc.(ng/ul):_________

Test  Date:_______________

Tested By:_______________

Review Date:_______________

Reviewed By:_______________

Gel Picture

PHOTO DOCUMENT

‘ICB’ Internal Control Band,

‘AmpS’ Amplicon Size

Interpretation:_______________

Failed lanes:    _________

Comments:    ___________________

Notes:

Product sizes are approximate. For detailed information, see the lot-specific Specificity Table and Interpretation Table.

This table is intended as a guide. For interpretation always use the Interpretation Table and/or Specificity Table.

HLA-specific PCR products shorter than 125 base pairs have a lower intensity and are less sharp than longer PCR products.

Primer mixes 1, 22 and 27 may give rise to a lower yield of HLA-specific PCR product than the other A*23 primer mixes.

Primer mix 8 and 23 may have tendencies of unspecific amplifications.

Primer mix 32 contains a negative control, which will amplify more than 95% of HLA amplicons as well as the amplicons generated by control primer pairs. PCR product sizes range from 75 to 200 base pairs. The PCR product generated by the control primer pair is 430 base pairs.

1HLA-A*23 alleles in bold lettering are listed as confirmed alleles on the on the IMGT/HLA web page www.ebi.ac.uk/imgt/hla, release 3.15.0, January 2014.

2Alleles that have been deleted from or renamed in the official WHO HLA Nomenclature up to and including the last IMGT/HLA database release can be retrieved from web page http://hla.alleles.org/alleles/deleted.html.

3Primer mix 3: Specific PCR fragment of 125 bp in the A*23:03:01-23:03:02 and the A*11:139, 24:21:01, 24:208, 29:07, 29:49, 31:29 and in the B*18:27 alleles. Specific PCR fragment of 270 bp in the A*23:25 allele.

Primer mix 4: Specific PCR fragment of 90 bp in the A*23:18 and the A*24:267 alleles. Specific PCR fragment of 170 bp in the A*23:58 allele. Specific PCR fragment of 200 bp in the A*23:28 and the A*24:77 alleles.

Primer mix 7: Specific PCR fragment of 95 bp in the A*23:08N and the A*02:82N alleles. Specific PCR fragment of 145 bp in the A*23:39 and the A*30:22 alleles. Specific PCR fragment of 205 bp in the A*23:22 allele.

Primer mix 8: Specific PCR fragment of 140 bp in the A*23:26 and 23:39 and the A*30:22 allele. Specific PCR fragment of 170 bp in the A*23:48 allele. Specific PCR fragment of 215 bp in the A*23:09 and the A*01:02, 01:20 and 24:129 alleles.

Primer mix 10: Specific PCR fragment of 135 bp in the A*23:23 and in the B*18:27 alleles. Specific PCR fragment of 235 bp in the A*23:10 and 23:43 and the A*11:139w, 24:10:01w-24:10:02w, 24:46, 24:210w alleles.

Primer mix 11: Specific PCR fragment of 200 bp in the A*23:11N allele. Specific PCR fragment of 270 bp in the A*23:32 allele.

Primer mix 13: Specific PCR fragment of 90 bp in the A*23:30 allele. Specific PCR fragment of 210 bp in the A*23:02, 23:24 and the A*24:06, 24:87, 24:138, 24:167 alleles.

Primer mix 15: Specific PCR fragment of 210 bp in the A*23:14:01 and in the A*24:13:02 and the B*18:27 alleles. Specific PCR fragment of 290 bp in the A*23:47 and the A*24:234 alleles.

Primer mix 16: Specific PCR fragment of 175 bp in the A*23:14:01-23:14:02 and the A*02:17:01w-02:17:02w,

24:02:16, 24:06, 24:13:01-24:13:02, 24:18, 24:22, 24:54, 24:87, 24:91, 24:107, 24:133, 24:167, 24:207 and 24:227 alleles. Specific PCR fragment of 205 bp in the A*24:05, 24:24, 24:130, 24:168, 24:194, 24:199, 26:16 and 68:45 alleles. Specific PCR fragment of 175 and 205 bp in the A*11:139, 24:02:01:01-24:02:15, 24:02.17-24:04, 24:07-24:11N, 24:17, 24:19-24:21:02, 24:23, 24:25-24:50, 24:55-24:56, 24:58-24:63, 24:66-24:86N, 24:88-24:90N, 24:93, 24:95-24:106, 24:108-24:113, 24:115-24:129, 24:131-24:132N, 24:134-24:137, 24:139-24:166, 24:169-24:187, 24:189-24:193, 24:195-24:198, 24:200-24:206,  24:208-24:210, 24:212-24:221, 24:223-24:226:02, 24:229-24:270 and 33:19 alleles. Both fragments may not always be visible.

Primer mix 17: Specific PCR fragment of 125 bp in the A*23:33 allele. Specific PCR fragment of 225 bp in the A*23:13, and the A*03:72, 11:88, 24:07, 24:19, 24:24, 24:131, 29:37, 29:56, 30:01:01-30:01:09, 30:11:01-30:11:02, 30:14L-30:20, 30:23-30:26, 30:30-30:31, 30:35-30:43, 30:48-30:49, 30:52-30:54, 30:56, 30:58-30:60, 30:62-30:63, 30:65, 30:72-30:75, 30:78N, 68:45 alleles.

Primer mix 19: Specific PCR fragment of 115 bp in the A*23:15 and 23:49 and the A*30:06 alleles. Specific PCR fragment of 195 bp in the A*23:46 and the A*24:66 and 30:75 alleles. Specific PCR fragment of 260 bp in the A*23:27 and the A*24:255 alleles.

Primer mix 20: Specific PCR fragment of 130 bp in the A*23:29 and in the A* 24:128 alleles. Specific PCR fragment of 195 bp in the A*23:46 and the A*24:66 and 30:75 alleles.  Specific PCR fragment of 230 bp in the A*23:16 allele. Specific PCR fragment of 270 bp in the A*23:32 allele.

Primer mix 22: Specific PCR fragment of 90 bp in the A*23:31, 23:45 and 23:53 and the A*11:139, 24:17, 24:41, 24:62, 24:106, 24:208, 29:07, 29:49 and 31:29 alleles. Specific PCR fragment of 290 bp in the A*23:19Q allele.

Primer mix 23: Specific PCR fragment of 80 bp in the A*23:45 and the A*02:41, 02:80, 02:117, 02:289, 02:304, 02:454, 24:62, 26:10, 31:67-31:68, 32:28 and 33:32:01 alleles. Specific PCR fragment of 170 bp in the A*23:20 allele.

Primer mix 24: Specific PCR fragment of 105 bp in the A*23:49 and the A*30:06 alleles. Specific PCR fragment of 180 bp in the A*23:21 allele. Specific PCR fragment of 240 bp in the A*23:40 allele.

Primer mix 25: Specific PCR fragment of 95 bp in the A*23:41 and the A*02:221, 29:15 and 31:78 alleles. Specific PCR fragment of 205 bp in the A*23:42 allele.

Primer mix 27: : Specific PCR fragment of 195 bp in the A*23:57 and the A*02:17:01-02:17:03, 02:108, 02:110, 02:268, 02:300, 02:303, 24:13:01, 24:94, 24:188, 24:207 and 24:228 alleles. Specific PCR fragment of 205 bp in the A*23:34 allele. Specific PCR fragment of 285 bp in the A*23:35 allele.

Primer mix 29: Specific PCR fragment of 170 bp in the A*23:48 allele.  Specific PCR fragment of 200 bp in the A*23:37:01-23:37:02 alleles.  Specific PCR fragment of 240 bp in the A*23:40 allele. Specific PCR fragment of 290 bp in the A*23:47 and the A*24:234 alleles.

Primer mix 30: Specific PCR fragment of 110 bp in the A*23:56 allele. Specific PCR fragment of 110 bp in the A*23:38N and the A*24:61 allele.

‘w’, may be weakly amplified.

‘?’, nucleotide sequence information not available for the primer matching sequence.

4The following HLA-A*23 alleles can be distinguished by the different sizes of the HLA-specific PCR product:

| Alleles | Primer mix | Alleles | Primer mix |
| --- | --- | --- | --- |
| A*23:08N, 23:22 | 7 | A*23:16, 23:29 | 20 |
| A*23:09, 23:26 | 8 | A*23:18, 23:28 | 4 |
| A*23:10, 23:23 | 10 | A*23:19Q, 23:31, 23:53 | 22 |
| A*23:13, 23:33 | 17 | A*23:41, 23:42 | 25 |
| A*23:15, 23:27 | 19 |

The HLA-A*23 subtyping kit cannot distinguish the silent mutations in the A*23:01:01-23:01:13 alleles, the A*23:03:01-23:03:02 alleles and the A*23:37:01-23:37:02 alleles.