Gel Documentation Form and Worksheet

HLA-A\*23 Lot No: 0G9 Expiry Date: 2020-09-01

(101.421-06/06u)

Name:\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Sample ID:\_\_\_\_\_\_\_\_\_\_\_\_\_\_

DNA Conc.(ng/ul):\_\_\_\_\_\_\_\_\_

Test Date:\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Tested By:\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Review Date:\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Reviewed By:\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

*Interpretation:\_\_\_\_\_\_\_\_\_\_\_ Failed lanes*: \_\_\_\_\_\_\_\_\_\_\_\_ *Comments:\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_*

**Gel Picture**

|  |
| --- |
| PHOTO DOCUMENT |



‘ICB’ Internal Control Band,

‘AmpS’ Amplicon Size

**Notes:**

Product sizes are approximate. For detailed information, see the lot-specific Specificity Table and Interpretation Table.

This table is intended as a guide. For interpretation always use the Interpretation Table and/or Specificity Table.

HLA-specific PCR products shorter than 125 base pairs have a lower intensity and are less sharp than longer PCR products.

Primer mixes 6, 20, 22 and 27 may give rise to a lower yield of HLA-specific PCR product than the other A\*23 primer mixes.

Primer mixes 8 and 14 may have tendencies of unspecific amplifications.

Primer mix 19 has a tendency to giving rise to primer oligomer formation.

Primer mix 36 contains a negative control, which will amplify more than 95% of HLA amplicons as well as the amplicons generated by the control primer pairs matching the human growth hormone gene. HLA-specific PCR product sizes range from 75 to 200 base pairs and the PCR product generated by the HGH positive control primer pair is 430 base pairs.













**1**HLA-A\*23 alleles in bold lettering are listed as confirmed alleles on the on the IMGT/HLA web page [www.ebi.ac.uk/imgt/hla](http://www.ebi.ac.uk/imgt/hla), release 3.30.0, October 2017.

**2**Alleles that have been deleted from or renamed in the official WHO HLA Nomenclature up to and including the last IMGT/HLA database release can be retrieved from web page <http://hla.alleles.org/alleles/deleted.html>.

**3**The following HLA-A\*23 primer mixes have two or more product sizes:

|  |  |  |  |
| --- | --- | --- | --- |
| Primer Mix | Size of spec. PCR product | Amplified HLA-A\*23 alleles | Other amplified HLA Class I alleles |
|  **3** | 125 bp 270 bp | \*23:03:01-23:03:02, 23:70, 23:83\*23:25 | \*11:139, 24:21:01, 24:21:03, 24:208, 29:07, 29:49, 31:29, **B\*18:27**\*24:313:02 |
|  **7** | 95 bp145 bp 205 bp | \*23:08N\*23:39\*23:22 | \*02:82N\*30:22, 30:104 |
|  **8** | 140 bp 170 bp 215 bp | \*23:26, 23:39\*23:48\*23:09 | \*30:22, 30:104\*01:02, 01:20, 01:188, 01:190, 24:129 |
| **10** | 135 bp 240 bp | \*23:23\*23:10, 23:43 | **B\*18:27****\***11:139w, 24:10:01w-24:10:02w, 24:46, 24:210w, 24:300w, 24:340w |
| **11** | 200 bp270 bp | \*23:11N\*23:32 |  |
| **13** | 90 bp 210 bp | \*23:30\*23:02, 23:24, 23:66 | \*02:680, 24:06, 24:87, 24:138, 24:167, 24:285, 24:289, 24:339, 24:381 |
| **14** | 85 bp190 bp245 bp | \*23:53, 23:70\*23:68\*23:04, 23:83 | \*11:139, 24:17, 24:41, 24:208, 29:07, 29:49\*02:17:01-02:17:04, 02:108, 02:110, 02:268, 02:300, 02:303, 02:617, 02:657, 02:680, 11:139, 24:03:01:01-24:03:04, 24:10:01-24:10:02, 24:18, 24:22, 24:33, 24:94, 24:125, 24:138, 24:167, 24:204, 24:207:01-24:207:02, 24:210, 24:289, 24:299-24:300, 24:315, 24:339-24:340, 24:374, 24:387, 29:07, 29:49, 31:29, **B\*18:27** |
| **15** | 210 bp 290 bp | \*23:01:16, 23:14:01\*23:47 | \*24:13:02, 24:207:02, 24:315, **B\*18:27**\*24:234, 24:339, 24:347:02 |
| **16** | 175 bp 205 bp | \*23:14:01-23:14:02 | \*02:17:01w-02:17:04w, 11:139, 24:02:01:01-24:04, 24:06-24:11N, 24:13:01-24:13:02, 24:17-24:23, 24:25-24:50, 24:54-24:56, 24:58-24:63, 24:66-24:91, 24:93, 24:95-24:113, 24:115-24:129, 24:131-24:137, 24:139-24:167, 24:169-24:187, 24:189-24:193, 24:195-24:198, 24:200-24:210, 24:212-24:221, 24:223-24:227, 24:229-24:290, 24:292, 24:294Q-24:295, 24:297-24:303N, 24:305-24:315, 24:317-24:318, 24:320-24:323N, 24:325-24:341, 24:343, 24:345-24:389N, 33:19\*11:139, 24:02:01:01-24:02:15, 24:02:17-24:05:02, 24:07:01-24:11N, 24:17, 24:19-24:21:03, 24:23-24:50, 24:55-24:56, 24:58-24:63, 24:66-24:86N, 24:88-24:90:02N, 24:93, 24:95-24:106, 24:108-24:113, 24:115-24:132N, 24:134-24:137, 24:139-24:166, 24:168-24:187, 24:189-24:206, 24:208-24:210, 24:212-24:221, 24:223-24:226:02, 24:229-24:284, 24:286-24:288, 24:290, 24:292-24:295, 24:297-24:298, 24:300-24:303N, 24:305-24:314, 24:317-24:323N, 24:325-24:326, 24:328-24:338, 24:340-24:354, 24:356-24:380, 24:382-24:389N, 26:16, 33:19, 33:119, 68:45, 68:117 |
| **17** | 125 bp 225 bp | \*23:33\*23:13 | \*24:386, 30:102\*03:72, 11:88, 24:07:01-24:07:02, 24:19, 24:24, 24:131, 24:288, 24:290, 24:294Q, 24:339, 24:347:01-24:347:02, 24:387, 29:37, 29:56, 30:01:01-30:01:11, 30:11:01-30:11:02, 30:14L-30:20, 30:23-30:26, 30:30-30:31, 30:35-30:43, 30:48-30:49, 30:52-30:54, 30:56, 30:58-30:60, 30:62-30:63, 30:65, 30:72-30:75, 30:78N, 30:81-30:83, 30:86-30:89, 30:91-30:98, 30:102, 30:104, 30:106, 30:109-30:116, 30:118, 30:120, 68:45, 68:117 |
| **19** | 120 bp195 bp  | \*23:15\*23:46 | \*24:66, 24:308, 30:75 |
| **20** | 130 bp195 bp 230 bp270 bp | \*23:29\*23:46\*23:16\*23:32 | \*24:128\*24:66, 24:308, 30:75\*24:297 |
| **22** | 90 bp 290 bp | \*23:31, 23:45, 23:53, 23:70\*23:19N | \*11:139, 24:17, 24:41, 24:62, 24:106, 24:208, 24:330, 29:07, 29:49, 31:29 |
| **23** | 80 bp 170 bp | \*23:45\*23:20, 23:58 | \*02:41, 02:80, 02:117, 02:289:01, 02:304, 02:454, 24:62, 26:10, 31:67-31:68, 32:28, 32:66, 33:32:01 |
| **24** | 105 bp 180 bp 240 bp | \*23:49\*23:21\*23:40 | \*30:06\*24:302 |
| **25** | 95 bp 205 bp | \*23:41\*23:42 | \*02:221, 29:15, 31:78 |

|  |  |  |  |
| --- | --- | --- | --- |
| 27 | 85 bp200 bp285 bp | \*23:53, 23:70\*23:34, 23:57\*23:35 | \*11:139, 24:17, 24:41, 24:208, 29:07, 29:49\*02:17:01-02:17:04, 02:108, 02:110, 02:268, 02:300, 02:303, 02:617, 02:657, 24:13:01, 24:94, 24:188, 24:207:01, 24:228 |
| **29** | 170 bp200 bp 240 bp290 bp | \*23:48\*23:37:01-23:37:02\*23:40\*23:47 | \*24:273\*24:302\*24:234, 24:339, 24:347:02 |
| **30** | 110 bp245 bp | \*23:56\*23:38N | \*24:61 |
| **34** | 90 bp170 bp | \*23:18\*23:58 | \*24:267 |
| **35** | 105 bp260 bp | \*23:49\*23:27 | \*30:06\*24:255 |

**4**The following HLA-A\*23 alleles can be distinguished by the different sizes of the HLA-specific PCR product:

|  |  |  |  |
| --- | --- | --- | --- |
| **Alleles** | **Primer mix** | **Alleles** | **Primer mix** |
| A\*23:08N, 23:22 | 7 | A\*23:13, 23:33 | 17 |
| A\*23:09, 23:26 | 8 | A\*23:16, 23:29 | 20 |
| A\*23:10, 23:23 | 10 | A\*23:41, 23:42 | 25 |

‘w’, may be weakly amplified.

‘?’, nucleotide sequence information not available for the primer matching sequence.