PHOTO DOCUMENT

Olerup SSP®

Olerup SSP® HLA-A*24

Prod. No:	101.422-24/24u

101.422-03/03u

Lot No:    	78M

Expiry Date:    	2014-April-01

Name:________________Sample ID:_______________

DNA Extract Date:_________ Conc.(ng/ul):_________

Test  Date: _________Review Date:_______________

Tested By: _________Reviewed By:_______________

Interpretation:_________________________________

Specificities and sizes of the PCR products of the 93 primer mixes used for HLA-A*24 SSP typing.

| Primer Mix | Size of spec. PCR product1 | Size of control band2 | Amplified HLA-A*24 alleles3 | Other amplified HLA Class I alleles4 |
| --- | --- | --- | --- | --- |
| 18 | 210 bp | 800 bp | *24:02:01:01-24:02:12, 24:02:13w, 24:02:14-24:11N, 24:13:01-24:15, 24:17-24:32, 24:34-24:64, 24:66-24:75, 24:77-24:144 | *23:01:01-23:26, 33:19, 80:01w-80:02w |
| 2 | 245 bp | 1070 bp | *24:03:01-24:03:02, 24:10, 24:18, 24:22, 24:33, 24:94, 24:125, 24:138 | *02:17:01-02:17:02, 02:108, 02:110, 23:04, 29:07, 31:29, B*18:27 |
| 3 | 210 bp | 800 bp | *24:02:01:01-24:05, 24:07-24:11N, 24:17, 24:19-24:21:02, 24:23, 24:25-24:50, 24:55-24:56, 24:58-24:63, 24:66-24:86N, 24:88-24:90N, 24:93, 24:95-24:106, 24:108-24:113, 24:115-24:132N, 24:134-24:137, 24:139-24:144 | *33:19 |
| 46 | 220 bp | 1070 bp | *24:06, 24:13:01, 24:18, 24:22, 24:24, 24:94, 24:138 | *02:17:01-02:17:02, 02:108, 02:110, 23:01:01-23:13, 23:15-23:26, 29:07, 31:29 |
| 5 | 175 bp | 1070 bp | *24:02:01:01-24:04, 24:06-24:11N, 24:13:01-24:13:02, 24:17-24:23, 24:25-24:50, 24:54-24:56, 24:58-24:63, 24:66-24:91, 24:93, 24:95-24:113, 24:115-24:129, 24:131-24:137, 24:139-24:144 | *02:17:01w-02:17:02w, 23:14, 33:19 |
| 66 | 175 bp | 1070 bp | *24:05, 24:24 | *23:01:01-23:13, 23:15-23:26, 29:07, 31:29, B*18:27 |
| 7 | 335 bp | 1070 bp | *24:02:01:01-24:03:02, 24:05-24:11N, 24:13:01-24:13:02, 24:17-24:18, 24:20-24:27, 24:29-24:43, 24:45N-24:50, 24:52, 24:54-24:56, 24:58-24:64, 24:66-24:88, 24:90N-24:91, 24:93-24:108, 24:110-24:117, 24:119-24:128, 24:130-24:144 | *23:01:01-23:26 |
| 85 | 75 bp | 1070 bp | *24:04, 24:109 |  |
| 9 | 225 bp | 800 bp | *24:07, 24:19, 24:24, 24:112, 24:131 | *03:72, 23:13, 30:01:01-30:01:03, 30:11:01-30:11:02, 30:14L-30:20, 30:23-30:26, 30:30-30:31, 30:35-30:41, 68:45 |
| 10 | 370 bp | 1070 bp | *24:02:01:01-24:02:04, 24:02:06-24:06, 24:08-24:11N, 24:13:01-24:13:02, 24:17-24:18, 24:20-24:23, 24:25-24:50, 24:52, 24:54-24:56, 24:58-24:64, 24:66-24:91, 24:93-24:107, 24:109-24:111, 24:113-24:117, 24:119-24:130, 24:132N-24:144 | *02:10, 02:17:01-02:17:02, 02:39, 02:108, 02:110, 02:148, 02:242, 02:244, 23:01:01-23:12, 23:14-23:21, 23:23-23:26, 31:29, 33:19 |
| 118,9 | 200 bp, 245 bp | 1070 bp | *24:08, 24:42, 24:61, 24:89 | *02:76, 30:22 |
| 12 | 235 bp | 1070 bp | *24:25 | *23:05 |
| 13 | 160 bp | 1070 bp | *24:02:01:01-24:02:36, 24:04-24:09N, 24:11N, 24:13:01-24:15, 24:17, 24:19-24:20, 24:23-24:32, 24:34-24:64, 24:66-24:74, 24:76-24:93, 24:95-24:109, 24:111-24:124, 24:126-24:137, 24:139-24:144 | *02:19, 02:36-02:37, 02:54, 02:255, 23:01:01-23:02, 23:05-23:26, 33:19, 68:26 |
| 145 | 105 bp | 1070 bp | *24:09N |  |
| 155,10 | 105 bp, 385 bp | 800 bp | *24:14-24:15, 24:19, 24:44, 24:51, 24:53, 24:57, 24:92, 24:100, 24:109 | *02:46, 02:48, 02:70, 02:129, 03:30, 30:07, 31:08, 32:05, 33:21 |
| 165 | 85 bp | 1070 bp | *24:17, 24:41 | *29:07 |
| 17 | 230 bp | 1070 bp | *24:10, 24:46 | *23:10 |
| 18 | 275 bp | 1070 bp | *24:02:01:02L |  |
| 198 | 195 bp | 1070 bp | *24:02:01:01-24:02:09, 24:02:11-24:11N, 24:13:01-24:15, 24:17-24:32, 24:34-24:64, 24:66-24:144 | *23:01:01-23:26, 33:19 |
| 207,8 | 470 bp | 1070 bp | *24:11N | *01:04N, 03:21N, 11:21N, 23:07N |
| 21 | 155 bp | 800 bp | *24:31 |  |
| 225 | 125 bp | 800 bp | *24:27 |  |
| 23 | 190 bp | 800 bp | *24:28, 24:30, 24:42, 24:89 | *02:01:09, 02:06:07, 02:50, 02:122, 03:09, 11:06, 11:18, 23:12, 25:11, 26:03:01-26:03:02, 26:06, 26:21, 26:30, 29:19, 32:08, 33:24, 68:05, 68:15, 68:20, 74:06 |
| 24 | 240 bp | 800 bp | *24:19, 24:28, 24:44, 24:89 | *02:76, 03:72, 30:01:01-30:01:03, 30:11:01-30:11:02, 30:13-30:20, 30:23-30:24, 30:26, 30:30-30:31, 30:35-30:41, 68:45 |
| 25 | 220 bp | 1070 bp | *24:13:01-24:13:02, 24:18, 24:24, 24:56, 24:94 | *02:17:01-02:17:02, 02:108, 02:110, 23:01:01-23:01:02, 23:03:01-23:26, 29:07, 31:29, B*18:27 |
| 265,11 | 90 bp, 220 bp | 800 bp | *24:22, 24:96 |  |
| 275,8,12 | 80 bp, 370 bp | 800 bp | *24:14, 24:32 | *02:46, 02:48, 02:70, 02:129, 32:05 |
| 28 | 155 bp | 800 bp | *24:35 |  |
| 29 | 210 bp | 800 bp | *24:08, 24:29, 24:42, 24:89 | *02:76, 30:22 |
| 305,13 | 125 bp, 200 bp | 800 bp | *24:21:01-24:21:02, 24:59 | *23:03:01-23:03:02, 29:07, 31:29, B*18:27 |
| 3114 | 155 bp, 235 bp | 800 bp | *24:04, 24:37, 24:109, 24:119, 24:129 | *01:02, 01:20, 26:16 |
| 32 | 225 bp | 1070 bp | *24:15, 24:41, 24:51, 24:92 | *01:01:01:01-01:04N, 01:06-01:33, 01:01:38L, 01:35-01:37, 01:39-01:41, 01:43-01:66, 11:27, 11:38-11:39, 26:29, 26:49, 32:13, 66:10, B*07:64w, B*15:12w, 15:19w |
| 335 | 100 bp | 1070 bp | *24:39, 24:139 |  |
| 34 | 195 bp | 800 bp | *24:36N |  |
| 357 | 200 bp | 800 bp | *24:45N, 24:88 |  |
| 365,8 | 115 bp | 1070 bp | *24:47, 24:124 | *31:07, 31:10 |
| 37 | 210 bp | 1070 bp | *24:48N, 24:54 |  |
| 3815 | 145 bp, 170 bp, 230 bp | 800 bp | *24:49, 24:126, 24:137 |  |
| 39 | 210 bp | 800 bp | *24:50 | *02:129 |
| 40 | 225 bp | 1070 bp | *24:08, 24:20, 24:88 |  |
| 417,16 | 200 bp, 240 bp | 1070 bp | *24:26, 24:62, 24:118, 24:132N | *01:39, 26:29, 26:49, 31:05, 32:13, 33:10, 66:10 |
| 42 | 200 bp | 1070 bp | *24:24, 24:67 | *26:16, 68:45 |
| 43 | 160 bp | 800 bp | *24:43 |  |
| 44 | 250 bp | 800 bp | *24:51, 24:57, 24:92, 24:120 | *01:01:01:01-01:04N, 01:06-01:19, 01:21-01:33, 01:01:38L, 01:35-01:65, 03:18, 11:27, 11:38-11:39, 26:29, 26:49, 29:03, 31:05, 32:13, 33:10, 66:10, 68:26, 80:01-80:02 |
| 4517 | 200 bp, 245 bp | 1070 bp | *24:14, 24:52, 24:113, 24:132N | *01:20, 01:66, 02:19, 02:36-02:37, 02:54, 02:255, 26:29, 26:49, 66:10, B*07:64, B*15:12, B*15:19 |
| 465,6 | 110 bp | 1070 bp | *24:15, 24:41, 24:51, 24:92 | *02:50, 02:73, 02:93, 02:122, 02:156, 02:172, 26:10, 68:02:01:01-68:02:04, 68:15, 68:18N, 68:25, 68:27-68:28, 68:31, 68:34, 68:40, 68:44, 68:48-68:49N, 68:51, 68:53-68:54, C*12:37 |
| 4718 | 200 bp, 410 bp | 800 bp | *24:18, 24:26, 24:56, 24:123 | *03:30, 30:07, 31:08, 32:05 |
| 486 | 195 bp | 1070 bp | *24:24, 24:71 | *23:01:01-23:23, 23:25-23:26, 29:07, 31:29, B*18:27 |
| 4919 | 215 bp, 245 bp | 1070 bp | *24:23, 24:91 |  |
| 50 | 235 bp | 800 bp | *24:34 |  |
| 5120 | 165 bp, 215 bp | 800 bp | *24:38, 24:140 |  |
| 528 | 240 bp | 800 bp | *24:40N |  |
| 53 | 230 bp | 1070 bp | *24:55 |  |
| 548 | 165 bp | 1070 bp | *24:58 |  |
| 55 | 240 bp | 1070 bp | *24:60N |  |
| 56 | 270 bp | 1070 bp | *24:63 |  |
| 57 | 135 bp | 1070 bp | *24:64 | C*12:37 |
| 58 | 195 bp | 1070 bp | *24:66 |  |
| 5921 | 230 bp, 255 bp, 285 bp | 1070 bp | *24:68, 24:127, 24:143 |  |
| 60 | 275 bp | 800 bp | *24:69 |  |
| 615,22 | 105 bp, 280 bp | 800 bp | *24:70, 24:127, 24:141 |  |
| 625 | 125 bp | 800 bp | *24:72 | *02:106, 02:145 |
| 63 | 135 bp | 1070 bp | *24:73 | B*18:38 |
| 645,8,23 | 115 bp, 170 bp | 1070 bp | *24:74, 24:124 | *31:07, 31:10 |
| 655,24 | 80 bp, 235 bp | 1070 bp | *24:75, 24:90N | *02:88N |
| 66 | 200 bp | 800 bp | *24:77 |  |
| 67 | 230 bp | 1070 bp | *24:79 |  |
| 6825 | 230 bp, 285 bp | 800 bp | *24:78, 24:141, 24:143 |  |
| 695 | 105 bp | 1070 bp | *24:80 |  |
| 705,26 | 110 bp, 250 bp | 1070 bp | *24:81, 24:134 |  |
| 7127 | 130 bp, 260 bp | 800 bp | *24:82, 24:128 | *29:13, 31:07-31:08, 31:10 |
| 725 | 120 bp | 1070 bp | *24:83N |  |
| 735,28 | 100 bp, 170 bp | 1070 bp | *24:84N, 24:131, 24:138 | *02:17:01-02:17:02, 02:108, 02:110 |
| 74 | 200 bp | 1070 bp | *24:85 |  |
| 75 | 290 bp | 1070 bp | *24:86N |  |
| 768,29 | 170 bp, 260 bp | 1070 bp | *24:76, 24:98 |  |
| 7730 | 145 bp, 210 bp | 800 bp | *24:06, 24:87, 24:122, 24:138 | *23:02 |
| 78 | 140 bp | 800 bp | *24:57, 24:92, 24:120 | *02:50, 02:73, 02:122, 02:156, 02:245, 03:17, 26:10, 68:01:01:01-68:43, 68:45-68:54 |
| 79 | 250 bp | 1070 bp | *24:14, 24:93, 24:114 | *01:20, 01:66, 02:19, 02:36-02:37, 02:54, 02:255 |
| 8031 | 165 bp, 220 bp | 1070 bp | *24:95, 24:140 |  |
| 815,32 | 100 bp, 215 bp | 1070 bp | *24:97, 24:133, 24:139 |  |
| 8233 | 185 bp, 225 bp | 1070 bp | *24:99, 24:125, 24:130 |  |
| 8334 | 135 bp, 275 bp | 800 bp | *24:101, 24:111 |  |
| 845,35 | 95 bp, 210 bp, 290 bp | 1070 bp | *24:102-24:103, 24:107 |  |
| 8536 | 145 bp, 210 bp | 1070 bp | *24:104, 24:117 | *03:30, 32:05 |
| 8637 | 190 bp, 255 bp | 1070 bp | *24:105, 24:121 |  |
| 875,6,38 | 90 bp, 120 bp, 195 bp | 1070 bp | *24:17, 24:41, 24:62, 24:106, 24:110, 24:136 | *29:07, 31:29 |
| 88 | 170 bp | 1070 bp | *24:116, 24:137 |  |
| 895,39 | 75 bp, 270 bp | 1070 bp | *24:07, 24:108, 24:112, 24:131 | *23:13 |
| 905 | 95 bp | 800 bp | *24:115 |  |
| 91 | 215 bp | 1070 bp | *24:135 | *32:13, B*07:64, B*15:12, B*15:19 |
| 92 | 190 bp | 1070 bp | *24:144 |  |
| 93 | 270 bp | 1070 bp | *24:112 |  |

1Alleles are assigned by the presence of specific PCR product(s). However, the sizes of the specific PCR products may be helpful in the interpretation of HLA-A*24 SSP typings.

When the primers in a primer mix can give rise to specific PCR products of more than one length this is indicated if the size difference is 20 base pairs or more. Size differences shorter than 20 base pairs are not given. For high resolution SSP kits the respective lengths of the specific PCR product(s) of the alleles amplified by these primer mixes are given.

Nonspecific amplifications, i.e. a ladder or a smear of bands, may sometimes be seen. GC-rich primers have a higher tendency of giving rise to nonspecific amplifications than other primers.

PCR fragments longer than the control bands may sometimes be observed. Such bands should be disregarded and do not influence the interpretation of the SSP typings.

PCR fragments migrating faster than the control bands, but slower than a 400 bp fragment may be seen in some gel read-outs. Such bands can be disregarded and do not influence the interpretation of the SSP typings.

Some primers may give rise to primer oligomer artifacts. Sometimes this phenomenon is an inherit feature of the primer pair(s) of a primer mix. More often it is due to other factors such as too low amount of DNA in the PCR reactions, taking too long time in setting up the PCR reactions, working at elevated room temperature or using thermal cyclers that are not pre-heated.

2The internal positive control primer pairs amplify segments of the human growth hormone gene. The two different control primer pairs give rise to either an internal positive control band of 1070 base pairs, for most wells, or a band of 800 base pairs, for some wells.

Well number 1 contains the primer pair giving rise to the shorter, 800 bp, internal positive control band in order to help in the correct orientation of the HLA-A*24 subtyping.

In addition, wells number 3, 9, 15, 21 to 24, 26 to 31, 34, 35, 38, 39, 43, 44, 47, 50 to 52, 60 to 62, 66, 68, 71, 77, 78, 83 and 90 contain the primer pair giving rise to the shorter, 800 bp, internal positive control band in order to allow kit identification.

In the presence of a specific amplification the intensity of the control band often decreases.

3The A*24:37 and 24:119 alleles can be distinguished by the different sizes of the specific PCR products generated by primer mix 31.

The A*24:49 and 24:126 alleles can be distinguished by the different sizes of the specific PCR products generated by primer mix 38.

The A*24:81 and 24:134 alleles can be distinguished by the different sizes of the specific PCR products generated by primer mix 70.

The A*24:82 and 24:128 alleles can be distinguished by the different sizes of the specific PCR products generated by primer mix 71.

The A*24:101 and 24:111 alleles can be distinguished by the different sizes of the specific PCR products generated by primer mix 83.

The A*24:102 and 24:103 alleles can be distinguished by the different sizes of the specific PCR products generated by primer mix 84.

The A*24:104 and 24:117 alleles can be distinguished by the different sizes of the specific PCR products generated by primer mix 85.

The A*24:105 and 24:121 alleles can be distinguished by the different sizes of the specific PCR products generated by primer mix 86.

The A*24:106 and 24:136 alleles can be distinguished by the different sizes of the specific PCR products generated by primer mix 87.

4Due to the sharing of sequence motifs between HLA-A alleles some non-HLA-A*24 alleles will be amplified by primer mixes 1 to 7, 9 to 13, 15 to 17, 19, 20, 23 to 25, 27, 29 to 32, 36, 39, 41, 42, 44 to 48, 62, 64, 65, 71, 73, 77 to 79, 85, 87, 89 and 91. In addition, the B*07:64, B*15:12 and B*15:19 alleles will be amplified by primer mixes 32, 45 and 91, the B*18:27 allele will be amplified by mixes 2, 6, 25, 30 and 48, the B*18:38 allele will be amplified by primer mix 63 and the C*12:37 allele will be amplified by primer mixes 46 and 57.

We assume that unknown 4th exon A*23 and A*24 nucleotide sequences are conserved within the A*23/A*24 allele group.

5Short specific PCR fragments are less intense and not as sharp as longer specific bands.

6Primer mixes 4, 6, 46, 48 and 87 may yield less specific PCR products than the other A*24 primer mixes.

7Primer mixes 20, 35 and 41 may give rise to a primer oligomer artefact.

8Primer mixes 1, 11, 19, 20, 27, 36, 52, 54, 64 and 76 may give rise to nonspecific amplifications.

9Primer mix 11: Specific PCR fragment of 200 bp in the A* 24:08, 24:42 and 24:89 and in the A*02:76 and 30:22 alleles. Specific PCR fragment of 245 bp in the A*24:61 allele.

10Primer mix 15: Specific PCR fragment of 105 bp in the A* *24:19, 24:44, 24:100 and 24:109

alleles. Specific PCR fragment of 385 bp in the A* 24:14-24:15, 24:51, 24:53, 24:57 and 24:92 and in the A*02:46, 02:48, 02:70, 02:129, 03:30, 30:07, 31:08, 32:05 and 33:21 alleles.

11Primer mix 26: Specific PCR fragment of 90 bp in the A*24:96 allele. Specific PCR fragment of  220 bp in the A*24:22 allele.

12Primer mix 27: Specific PCR fragment of 80 bp in the A*24:32 and A*32:05 alleles. Specific PCR fragment of 370 bp in the A*24:14 and in the A*02:46, 02:48, 02:70 and 02:129 alleles.

13Primer mix 30: Specific PCR fragment of 125 bp in the A*24:21:01-24:21:02 and in the A*23:03:01-23:03:02, 29:07 and 31:29 and in the B*18:27 alleles. Specific PCR fragment of 200 bp in the A*24:59 allele.

14Primer mix 31: Specific PCR fragment of 155 bp in the A*24:37 allele. Specific PCR fragment of 235 bp in the A*24:04, 24:109, 24:119 and 24:129 and in the A*01:02, 01:20 and 26:16 alleles.

15Primer mix 38: Specific PCR fragment of 145 bp in the A*24:49 allele. Specific PCR fragment of 170 bp in the A*24:137 allele. Specific PCR fragment of 230 bp in the A*24:126 allele.

16Primer mix 41: Specific PCR fragment of 200 bp in the A*24:26 and 24:62 and in the A*01:39, 26:29, 26:49, 31:05, 32:13, 33:10 and 66:10 alleles. Specific PCR fragment of 240 bp in the A*24:118 and 24:132N alleles.

17Primer mix 45: Specific PCR fragment of 200 bp in the A*24:113 allele. Specific PCR fragment of 245 bp in the A*24:14, 24:52 and 24:132N and in the A*01:20, 01:66, 02:19, 02:36-02:37, 02:54, 02:255, 26:29, 26:49 and 66:10 and in the B*07:64, B*15:12 and B*15:19 alleles.

18Primer mix 47: Specific PCR fragment of 200 bp in the A*24:18, 24:56 and 24:123 alleles. Specific PCR fragment of 410 bp in the A*24:26 and in the A*03:30, 30:07, 31:08 and 32:05 alleles.

19Primer mix 49: Specific PCR fragment of 215 bp in the A*24:91 allele. Specific PCR fragment of 245 bp in the A*24:23 allele.

20Primer mix 51: Specific PCR fragment of 165 bp in the A*24:140 allele. Specific PCR fragment of 215 bp in the A*24:38 allele.

21Primer mix 59: Specific PCR fragment of 230 bp in the A*24:143 allele. Specific PCR fragment of 255 bp in the A*24:68 allele. Specific PCR fragment of 285 bp in the A*24:127 allele.

22Primer mix 61: Specific PCR fragment of 105 bp in the A*24:70 allele. Specific PCR fragment of 280 bp in the A*24:127 and 24:141 alleles.

23Primer mix 64: Specific PCR fragment of 115 bp in the A*24:124 and in the A*31:07 and 31:10 alleles. Specific PCR fragment of 170 bp in the A*24:74 allele.

24Primer mix 65: Specific PCR fragment of 80 bp in the A*24:75 allele. Specific PCR fragment of 235 bp in the A*24:90N and the A*02:88N alleles.

25Primer mix 68: Specific PCR fragment of 230 bp in the A*24:143 allele. Specific PCR fragment of 285 bp in the A*24:78 and 24:141 alleles.

26Primer mix 70: Specific PCR fragment of 110 bp in the A*24:134 allele. Specific PCR fragment of 250 bp in the A*24:81 allele.

27Primer mix 71: Specific PCR fragment of 130 bp in the A*24:128 allele. Specific PCR fragment of 260 bp in the A*24:82 and in the A*29:13, 31:07-31:08 and 31:10 alleles.

28Primer mix 73: Specific PCR fragment of 100 bp in the A*24:84N allele. Specific PCR fragment of 170 bp in the A*24:131 and 24:138 and in the A*02:17:01-02:17:02, 02:108 and 02:110 alleles.

29Primer mix 76: Specific PCR fragment of 170 bp in the A*24:76 allele. Specific PCR fragment of 260 bp in the A*24:98 allele.

30Primer mix 77: Specific PCR fragment of 145 bp in the A*24:122 allele. Specific PCR fragment of 210 bp in the A*24:06, 24:87 and 24:138 and in the A*23:02 alleles.

31Primer mix 80: Specific PCR fragment of 165 bp in the A*24:140 allele. Specific PCR fragment of 220 bp in the A*24:95 allele.

32Primer mix 81: Specific PCR fragment of 100 bp in the A*24:139 allele. Specific PCR fragment of 215 bp in the A*24:97 and 24:133 alleles.

33Primer mix 82: Specific PCR fragment of 185 bp in the A*24:99 and 24:130 alleles. Specific PCR fragment of 225 bp in the A*24:125 allele.

34Primer mix 83: Specific PCR fragment of 135 bp in the A*24:111 allele. Specific PCR fragment of 275 bp in the A*24:101 allele.

35Primer mix 84: Specific PCR fragment of 95 bp in the A*24:103 allele. Specific PCR fragment of 210 bp in the A*24:107 allele. Specific PCR fragment of 290 bp in the A*24:102 allele.

36Primer mix 85: Specific PCR fragment of 145 bp in the A*24:117 allele. Specific PCR fragment of 210 bp in the A*24:104 and in the A*03:30 and 32:05 alleles.

37Primer mix 86: Specific PCR fragment of 190 bp in the A*24:121 allele. Specific PCR fragment of 255 bp in the A*24:105 allele.

38Primer mix 87: Specific PCR fragment of 90 bp in the A*24:17, 24:41, 24:62 and 24:106 and in the A*29:07 and 31:29 alleles. Specific PCR fragment of 120 bp in the A*24:110 allele. Specific PCR fragment of 195 bp in the A*24:136 alleles.

39Primer mix 89: Specific PCR fragment of 75 bp in the A*24:07, 24:108 and 24:131 and in the A* 23:13 alleles. Specific PCR fragment of 270 bp in the A*24:112 allele.

‘w’, might be weakly amplified.

1The sequence of the A*2401 has been shown to be in error.

The sequence of the A*2412 allele has been shown to be identical to A*24:08.

The A*2416 allele has been renamed to A*31:08.

The A*2465 allele has been renamed to A*24:13:02.

2The A*24:37 and 24:119 alleles can be distinguished by the different sizes of the specific PCR products generated by primer mix 31.

The A*24:49 and 24:126 alleles can be distinguished by the different sizes of the specific PCR products generated by primer mix 38.

The A*24:81 and 24:134 alleles can be distinguished by the different sizes of the specific PCR products generated by primer mix 70.

The A*24:82 and 24:128 alleles can be distinguished by the different sizes of the specific PCR products generated by primer mix 71.

The A*24:101 and 24:111 alleles can be distinguished by the different sizes of the specific PCR products generated by primer mix 83.

The A*24:102 and 24:103 alleles can be distinguished by the different sizes of the specific PCR products generated by primer mix 84.

The A*24:104 and 24:117 alleles can be distinguished by the different sizes of the specific PCR products generated by primer mix 85.

The A*24:105 and 24:121 alleles can be distinguished by the different sizes of the specific PCR products generated by primer mix 86.

The A*24:106 and 24:136 alleles can be distinguished by the different sizes of the specific PCR products generated by primer mix 87.

3Primer mix 11: Specific PCR fragment of 200 bp in the A* 24:08, 24:42 and 24:89 and in the A*02:76 and 30:22 alleles. Specific PCR fragment of 245 bp in the A*24:61 allele.

Primer mix 15: Specific PCR fragment of 105 bp in the A* *24:19, 24:44, 24:100 and 24:109 alleles. Specific PCR fragment of 385 bp in the A* 24:14-24:15, 24:51, 24:53, 24:57 and 24:92 and in the A*02:46, 02:48, 02:70, 02:129, 03:30, 30:07, 31:08, 32:05 and 33:21 alleles.

Primer mix 26: Specific PCR fragment of 90 bp in the A*24:96 allele. Specific PCR fragment of  220 bp in the A*24:22 allele.

Primer mix 27: Specific PCR fragment of 80 bp in the A*24:32 and A*32:05 alleles. Specific PCR fragment of 370 bp in the A*24:14 and in the A*02:46, 02:48, 02:70 and 02:129 alleles.

Primer mix 30: Specific PCR fragment of 125 bp in the A*24:21:01-24:21:02 and in the A*23:03:01-23:03:02, 29:07 and 31:29 and in the B*18:27 alleles. Specific PCR fragment of 200 bp in the A*24:59 allele.

Primer mix 31: Specific PCR fragment of 155 bp in the A*24:37 allele. Specific PCR fragment of 235 bp in the A*24:04, 24:109, 24:119 and 24:129 and in the A*01:02, 01:20 and 26:16 alleles.

Primer mix 38: Specific PCR fragment of 145 bp in the A*24:49 allele. Specific PCR fragment of 170 bp in the A*24:137 allele. Specific PCR fragment of 230 bp in the A*24:126 allele.

Primer mix 41: Specific PCR fragment of 200 bp in the A*24:26 and 24:62 and in the A*01:39, 26:29, 26:49, 31:05, 32:13, 33:10 and 66:10 alleles. Specific PCR fragment of 240 bp in the A*24:118 and 24:132N alleles.

Primer mix 45: Specific PCR fragment of 200 bp in the A*24:113 allele. Specific PCR fragment of 245 bp in the A*24:14, 24:52 and 24:132N and in the A*01:20, 01:66, 02:19, 02:36-02:37, 02:54, 02:255, 26:29, 26:49 and 66:10 and in the B*07:64, B*15:12 and B*15:19 alleles.

Primer mix 47: Specific PCR fragment of 200 bp in the A*24:18, 24:56 and 24:123 alleles. Specific PCR fragment of 410 bp in the A*24:26 and in the A*03:30, 30:07, 31:08 and 32:05 alleles.

Primer mix 49: Specific PCR fragment of 215 bp in the A*24:91 allele. Specific PCR fragment of 245 bp in the A*24:23 allele.

Primer mix 51: Specific PCR fragment of 165 bp in the A*24:140 allele. Specific PCR fragment of 215 bp in the A*24:38 allele.

Primer mix 59: Specific PCR fragment of 230 bp in the A*24:143 allele. Specific PCR fragment of 255 bp in the A*24:68 allele. Specific PCR fragment of 285 bp in the A*24:127 allele.

Primer mix 61: Specific PCR fragment of 105 bp in the A*24:70 allele. Specific PCR fragment of 280 bp in the A*24:127 and 24:141 alleles.

Primer mix 64: Specific PCR fragment of 115 bp in the A*24:124 and in the A*31:07 and 31:10 alleles. Specific PCR fragment of 170 bp in the A*24:74 allele.

Primer mix 65: Specific PCR fragment of 80 bp in the A*24:75 allele. Specific PCR fragment of 235 bp in the A*24:90N and the A*02:88N alleles.

Primer mix 68: Specific PCR fragment of 230 bp in the A*24:143 allele. Specific PCR fragment of 285 bp in the A*24:78 and 24:141 alleles.

Primer mix 70: Specific PCR fragment of 110 bp in the A*24:134 allele. Specific PCR fragment of 250 bp in the A*24:81 allele.

Primer mix 71: Specific PCR fragment of 130 bp in the A*24:128 allele. Specific PCR fragment of 260 bp in the A*24:82 and in the A*29:13, 31:07-31:08 and 31:10 alleles.

Primer mix 73: Specific PCR fragment of 100 bp in the A*24:84N allele. Specific PCR fragment of 170 bp in the A*24:131 and 24:138 and in the A*02:17:01-02:17:02, 02:108 and 02:110 alleles.

Primer mix 76: Specific PCR fragment of 170 bp in the A*24:76 allele. Specific PCR fragment of 260 bp in the A*24:98 allele.

Primer mix 77: Specific PCR fragment of 145 bp in the A*24:122 allele. Specific PCR fragment of 210 bp in the A*24:06, 24:87 and 24:138 and in the A*23:02 alleles.

Primer mix 80: Specific PCR fragment of 165 bp in the A*24:140 allele. Specific PCR fragment of 220 bp in the A*24:95 allele.

Primer mix 81: Specific PCR fragment of 100 bp in the A*24:139 allele. Specific PCR fragment of 215 bp in the A*24:97 and 24:133 alleles.

Primer mix 82: Specific PCR fragment of 185 bp in the A*24:99 and 24:130 alleles. Specific PCR fragment of 225 bp in the A*24:125 allele.

Primer mix 83: Specific PCR fragment of 135 bp in the A*24:111 allele. Specific PCR fragment of 275 bp in the A*24:101 allele.

Primer mix 84: Specific PCR fragment of 95 bp in the A*24:103 allele. Specific PCR fragment of 210 bp in the A*24:107 allele. Specific PCR fragment of 290 bp in the A*24:102 allele.

Primer mix 85: Specific PCR fragment of 145 bp in the A*24:117 allele. Specific PCR fragment of 210 bp in the A*24:104 and in the A*03:30 and 32:05 alleles.

Primer mix 86: Specific PCR fragment of 190 bp in the A*24:121 allele. Specific PCR fragment of 255 bp in the A*24:105 allele.

Primer mix 87: Specific PCR fragment of 90 bp in the A*24:17, 24:41, 24:62 and 24:106 and in the A*29:07 and 31:29 alleles. Specific PCR fragment of 120 bp in the A*24:110 allele. Specific PCR fragment of 195 bp in the A*24:136 alleles.

Primer mix 89: Specific PCR fragment of 75 bp in the A*24:07, 24:108 and 24:131 and in the A* 23:13 alleles. Specific PCR fragment of 270 bp in the A*24:112 allele.

4Modified sequence as of allele database 3.7.0: A*24:142 corrected at positions 124-5. As a consequence, the A*24:142 allele is not amplified by primer mixes 35 and 80.

‘w’, might be weakly amplified.

Change in revision R01 compared to R00:

- Modified sequence as of allele database 3.7.0: A*24:142 corrected at positions 124-5.  As a consequence, the A*24:142 allele is not amplified by primer mixes 35 and 80.