Gel Documentation Form and Worksheet

HLA-A*26 (101.424-12/12u) 	Lot No: 74Y	Expiry Date: 2018-February-01

Name:__________________

Sample ID:______________

DNA Conc.(ng/ul):_________

Test  Date:_______________

Tested By:_______________

Review Date:_______________

Reviewed By:_______________

Interpretation:___________	Failed lanes: ___________ 	 Comments:_________________

Gel Picture

PHOTO DOCUMENT

‘ICB’ Internal Control Band,

‘AmpS’ Amplicon Size

Notes:

Product sizes are approximate. For detailed information, see the lot-specific Specificity Table and Interpretation Table.

This table is intended as a guide. For interpretation always use the Interpretation Table and/or Specificity Table.

HLA-specific PCR products shorter than 125 base pairs have a lower intensity and are less sharp than longer PCR products.

Primer mixes 1, 18 and 39 have a tendency to giving rise to primer oligomer formation.

Primer mixes 4, 17, 20, 22, 26 and 33 may have tendencies of unspecific amplifications.

Primer mixes 7 and 25 may give rise to a lower yield of HLA-specific PCR product than the other A*26 primer mixes.

In primer mix 4 the positive control band may be weaker than for other HLA-A*26 primer mixes.

Primer mix 48 contains a negative control, which will amplify more than 95% of HLA amplicons as well as the amplicons generated by the control primer pairs matching the human growth hormone gene. HLA-specific PCR product sizes range from 75 to 200 base pairs and the PCR product generated by the HGH positive control primer pair is 430 base pairs.

1HLA-A*26 alleles in bold lettering are listed as confirmed alleles on the on the IMGT/HLA web page www.ebi.ac.uk/imgt/hla, release 3.20.0, April 2015.

2Alleles that have been deleted from or renamed in the official WHO HLA Nomenclature up to and including the last IMGT/HLA database release can be retrieved from web page http://hla.alleles.org/alleles/deleted.html.

3Primer mix 9: Specific PCR fragment of 145 bp in the A*26:12 and 26:18 and in the A*02:309, 02:454, 25:28, 25:30, 31:03-31:04, 34:06 and 66:06 alleles. Specific PCR fragment of 190 bp in the A*26:29 and 26:49 and in the A*01:01:56 and 66:10 alleles.

Primer mix 10: Specific PCR fragment of 85 bp in the A*26:07:01-26:07:02 and in the 01:83:01-01:83:02 alleles. Specific PCR fragment of 260 bp in the A*26:20 and in the A*01:01:13 alleles. Specific PCR fragments of 85 and 260 bp in the A*02:146 allele.

Primer mix 12: Specific PCR fragment of 140 bp in the A*26:14, 26:18, 26:28, 26:52 and 26:73 and in the A*03:01:19, 25:09, 31:03-31:04, 34:03, 34:06 and 66:22 alleles. Specific PCR fragment of 240 bp in the A*26:16 and in the A*01:02, 01:20, 24:04, 24:109, 24:129, 29:37, 29:56, 30:57 and 30:90 alleles.

Primer mix 13: Specific PCR fragment of 110 bp in the A*26:45 and 26:106 alleles. Specific PCR fragment of 255 bp in the A*26:17 allele.

Primer mix 17: Specific PCR fragment of 105 bp in the A*26:74 allele. Specific PCR fragment of 175 bp in the A*26:09 and 26:91 and the A*02:309, 02:454, 03:01:19, 25:06, 31:03-31:04, 34:01:01-34:09 and 34:12 alleles.

Primer mix 18: Specific PCR fragment of 125 bp in the A*26:31 and the A*01:60 and in the C*06:71 alleles. Specific PCR fragment of 205 bp in the A*26:21 allele.

Primer mix 19: Specific PCR fragment of 190 bp in the A*26:40 allele. Specific PCR fragment of 245 bp in the A*26:22 and the A*01:20w, 01:66w, 01:130w, 02:38, 02:101:01, 02:447, 02:543 and 66:09 alleles.

Primer mix 20: Specific PCR fragment of 60 bp in the A*26:27 allele. Specific PCR fragment of 210 bp in the A*26:23 and the 11:185 alleles

Primer mix 21: Specific PCR fragment of 115 bp in the A*26:24 and 26:99 and the C*02:140, 02:241, 31:48, 33:15 and 33:31 alleles. Specific PCR fragment of 135 bp in the A*26:82 allele. Specific PCR fragment of 205 bp in the A*26:41 allele.

Primer mix 22: Specific PCR fragment of 100 bp in the A*26:25N allele. Specific PCR fragment of 170 bp in the A*26:98 allele. Specific PCR fragment of 220 bp in the A*26:38 and in the C*06:75 allele.

Primer mix 23: Specific PCR fragment of 130 bp in the A*26:56 and 26:82 alleles. Specific PCR fragment of 165 bp in the A*26:26 allele.

Primer mix 26: Specific PCR fragment of 150 bp in the A*26:42 allele. Specific PCR fragment of 175 bp in the A*26:01:21, 26:34 and 26:73 and the A*66:01:02           alleles.

Primer mix 27: Specific PCR fragment of 125 bp in the A*26:76 allele. Specific PCR fragment of 275 bp in the A*26:35 allele.

Primer mix 30: Specific PCR fragment of 120 bp in the A*26:15, 26:29, 26:56 and 26:99 and the A*02:140, 11:91:01, 31:48 and 33:15 and in the B*35:108:01, B*53:26 and C*12:91 alleles. Specific PCR fragment of 235 bp in the A*26:33 allele.

Primer mix 32: Specific PCR fragment of 90 bp in the A*26:61 allele. Specific PCR fragment of 155 bp in the A*26:43:01 and the A*02:309, 02:454, 03:01:19, 25:19:01-25:19:02, 25:30, 31:03-31:04, 34:02:01, 34:02:03-34:04, 34:06-34:09 and 66:06 alleles.

Primer mix 33: Specific PCR fragment of 105 bp in the A*26:46 allele. Specific PCR fragment of 170 bp in the A*26:98 allele. Specific PCR fragment of 200 bp in the A*26:53 allele.

Primer mix 34: Specific PCR fragment of 135 bp in the A*26:47 and the A*25:08 and 66:18 alleles. Specific PCR fragment of 190 bp in the A*26:29 and 26:49 and the A*01:01:56 and 66:10 alleles.

Primer mix 35: Specific PCR fragment of 110 bp in the A*26:48 and 26:69 and the A*34:01:01-34:01:02, 34:05 and 34:11-34:12 alleles. Specific PCR fragment of 245 bp in the A*26:59 allele.

Primer mix 36: Specific PCR fragment of 125 bp in the A*26:54 and the A*02:454 and 25:05 alleles. Specific PCR fragment of 215 bp in the A*26:55 allele.

Primer mix 37: Specific PCR fragment of 245 bp in the A*26:50 allele. Specific PCR fragment of 410 bp in the A*26:64 and the A*68:89 allele.

Primer mix 38: Specific PCR fragment of 90 bp in the A*26:75 and the A*11:34 alleles. Specific PCR fragment of 190 bp in the A*26:51 and the A*01:168 alleles.

Primer mix 39: Specific PCR fragment of 220 bp in the A*26:63 and the A*24:181 alleles. Specific PCR fragment of 410 bp in the A*26:62, 26:64 and 26:72 and the A*23:09, 24:129 and 68:89 alleles.

Primer mix 43: Specific PCR fragment of 90 bp in the A*26:107N allele. Specific PCR fragment of 175 bp in the A*26:103 and the A*25:18 alleles.

4The A*26:28 and A*26:52 alleles will give rise to identical amplification patterns with the HLA-A*26 subtyping kit.

5The following HLA-A*26 alleles can be distinguished by the different sizes of the HLA-specific PCR product:

| Alleles | Primer mix | Alleles | Primer mix |
| --- | --- | --- | --- |
| A*26:17, 26:106 | 13 | A*26:46, 26:53 | 33 |
| A*26:23, 26:27 | 20 | A*26:51, 26:75 | 38 |
| A*26:24, 26:41 | 21 | A*26:54, 26:55 | 36 |
| A*26:25N, 26:38 | 22 | A*26:59, 26:69 | 35 |
| A*26:43:01, 26:61 | 32 | A*26:62, 26:63 | 39 |

The HLA-A*26 subtyping kit cannot distinguish the following silent mutations: A*26:01:01-26:01:20 and 26:01:22-26:01:38 alleles, the A*26:02:01-26:02:02 alleles or the A*26:07:01-26:07:02 alleles.

‘w’, may be weakly amplified.