Gel Documentation Form and Worksheet

HLA-A*29 (101.428-12/12u) 	Lot No: 66X	Expiry Date: 2017-July-01

Name:__________________

Sample ID:______________

DNA Conc.(ng/ul):_________

Test  Date:_______________

Tested By:_______________

Review Date:_______________

Reviewed By:_______________

Interpretation:___________                          Failed lanes: ____________                         Comments:________________

Gel Picture

PHOTO DOCUMENT

‘ICB’ Internal Control Band,

‘AmpS’ Amplicon Size

Notes:

Product sizes are approximate. For detailed information, see the lot-specific Specificity Table and Interpretation Table.

This table is intended as a guide. For interpretation always use the Interpretation Table and/or Specificity Table.

HLA-specific PCR products shorter than 125 base pairs have a lower intensity and are less sharp than longer PCR products.

Primer mixes 9, 12, 13, 16 and 20 may have tendencies of unspecific amplifications.

Primer mixes 10 and 19 have a tendency to giving rise to primer oligomer formation.

Primer mix 13 may give rise to a lower yield of HLA-specific PCR product than the other A*29 primer mixes.

Primer mix 24 contains a negative control, which will amplify more than 95% of HLA amplicons as well as the amplicons generated by the control primer pairs matching the human growth hormone gene. HLA-specific PCR product sizes range from 75 to 200 base pairs and the PCR product generated by the HGH positive control primer pair is 430 base pairs.

1HLA-A*29 alleles in bold lettering are listed as confirmed alleles on the on the IMGT/HLA web page www.ebi.ac.uk/imgt/hla, release 3.18.0, October 2014.

2Alleles that have been deleted from or renamed in the official WHO HLA Nomenclature up to and including the last IMGT/HLA database release can be retrieved from web page http://hla.alleles.org/alleles/deleted.html.

3Primer mix 4: Specific PCR fragment of 120 bp in the A*29:35 allele. Specific PCR fragment of 165 bp in the A*29:03 and 29:33 and the A*23:03:01, 24:208, 31:05, 32:13 and 33:10 alleles.

Primer mix 5: Specific PCR fragment of 130 bp in the A*29:04 allele. Specific PCR fragment of 185 bp in the A*29:23 allele.

Primer mix 6: Specific PCR fragment of 105 bp in the A*29:19 allele. Specific PCR fragment of 130 bp in the A*29:05, 29:33 and 29:40 and the A*11:01:28, 24:208, 31:24, 32:02, 32:22 and 33:59 alleles.

Primer mix 7: Specific PCR fragment of 105 bp in the A*29:19, 29:20 and 29:34 alleles. Specific PCR fragment of 210 bp in the A*29:06 and the A*31:51 and 32:12 alleles.

Primer mix 8: Specific PCR fragment of 85 bp in the A*29:07 and 29:49 and the A*11:139, 23:53, 24:17, 24:41 and 24:208 alleles. Specific PCR fragment of 160 bp in the A*29:46 allele.

Primer mix 9: Specific PCR fragment of 80 bp in the A*29:16 and in the A*01:157 and 03:27 alleles. Specific PCR fragment of 170 bp in the A*29:08N allele.

Primer mix 10: Specific PCR fragment of 90 bp in the A*29:09, 29:33, 29:51 and 29:73 and the A*02:24:02, 02:507, 03:01:18, 11:01:28, 24:208, 31:24, 32:33:01 and 33:34 alleles. Specific PCR fragment of 165 bp in the A*29:17 and 29:43 alleles.

Specific PCR fragment of 215 bp in the A*29:54 allele.

Primer mix 11: Specific PCR fragment of 110 bp in the A*29:14 and 29:35 alleles. Specific PCR fragment of 190 bp in the A*29:10 and 29:23 and in the C*08:01:15 alleles.

Primer mix 13: Specific PCR fragment of 90 bp in the A*29:11, 29:51 and 29:73 and the A*02:24:02 and 02:507 alleles. Specific PCR fragment of 165 bp in the A*29:12 and the A*31:16 and 33:58 alleles. Specific PCR fragment of 260 bp in the A*29:55 allele.

Primer mix 16: Specific PCR fragment of 95 bp in the A*29:15 and the A*02:221, 23:41 and 31:78 alleles. Specific PCR fragment of 160 bp in the A*29:21 and 29:43 alleles. Specific PCR fragment of 190 bp in the A*29:53 allele.

Primer mix 17: Specific PCR fragment of 130 bp in the A*29:24 and 29:40 alleles. Specific PCR fragment of 190 bp in the A*29:27 and 29:53 alleles. Specific PCR fragment of 215 bp in the A*29:54 allele.

Primer mix 18: Specific PCR fragment of 225 bp in the A*29:37 and 29:56 and the A*32:07 alleles. Specific PCR fragment of 260 bp in the A*29:36 allele.

Primer mix 19: Specific PCR fragment of 160 bp in the A*29:25 alleles. Specific PCR fragment of 260 bp in the A*29:55 allele.  Specific PCR fragment of 505 bp in the A*29:26 allele.

Primer mix 22: Specific PCR fragment of 115 bp in the A*29:29 and the A*01:148, 11:128, 26:85 and 68:58 alleles. Specific PCR fragment of 260 bp in the A*29:13 and the A*24:82, 31:07-31:08, 31:10 and 32:42 alleles.

4The following HLA-A*29 alleles can be distinguished by the different sizes of the HLA-specific PCR product:

| Alleles | Primer mix |
| --- | --- |
| A*29:06, 29:34 | 7 |
| A*29:07, 29:46 | 8 |

The HLA-A*29 subtyping kit cannot distinguish following silent mutations: the A*29:01:01:01 and 29:01:02-29:01:06 alleles and the A*29:02:01:01-29:02:03 and 29:02:05-29:02:14 alleles.