Gel Documentation Form and Worksheet

HLA-A*29 (101.428-12/12u) 	Lot No: 7D7	Expiry Date: 2018-11-01

Name:__________________

Sample ID:______________

DNA Conc.(ng/ul):_________

Test Date:_______________

Tested By:_______________

Review Date:_______________

Reviewed By:_______________

Interpretation:___________                          Failed lanes: ____________                         Comments:________________

Gel Picture

PHOTO DOCUMENT

‘ICB’ Internal Control Band,

‘AmpS’ Amplicon Size

Notes:

Product sizes are approximate. For detailed information, see the lot-specific Specificity Table and Interpretation Table.

This table is intended as a guide. For interpretation always use the Interpretation Table and/or Specificity Table.

HLA-specific PCR products shorter than 125 base pairs have a lower intensity and are less sharp than longer PCR products.

Primer mixes 9, 12, 13, 16 and 20 may have tendencies of unspecific amplifications.

Primer mixes 10, 19 and 24 have a tendency to giving rise to primer oligomer formation.

Primer mix 13 may give rise to a lower yield of HLA-specific PCR product than the other A*29 primer mixes.

Primer mix 24 contains a negative control, which will amplify more than 95% of HLA amplicons as well as the amplicons generated by the control primer pairs matching the human growth hormone gene. HLA-specific PCR product sizes range from 75 to 200 base pairs and the PCR product generated by the HGH positive control primer pair is 430 base pairs.

1HLA-A*29 alleles in bold lettering are listed as confirmed alleles on the on the IMGT/HLA web page www.ebi.ac.uk/imgt/hla, release 3.23.0, January 2016.

2Alleles that have been deleted from or renamed in the official WHO HLA Nomenclature up to and including the last IMGT/HLA database release can be retrieved from web page http://hla.alleles.org/alleles/deleted.html.

3Primer mix 4: Specific PCR fragment of 110 bp in the A*29:35, 29:51, 29:69 and 29:73 and the A*02:24:02 and 02:507 alleles. Specific PCR fragment of 165 bp in the A*29:03 and 29:33 and the A*23:03:01, 24:21:03, 24:208, 31:05, 32:13 and 33:10 alleles.

Primer mix 5: Specific PCR fragment of 130 bp in the A*29:04 allele. Specific PCR fragment of 185 bp in the A*29:23 allele.

Primer mix 6: Specific PCR fragment of 105 bp in the A*29:19 allele. Specific PCR fragment of 130 bp in the A*29:05, 29:33, 29:40 and 29:77 and the A*11:01:28, 24:21:03, 24:208, 31:24, 32:02, 32:22, 33:59 and 33:102 alleles.

Primer mix 7: Specific PCR fragment of 105 bp in the A*29:19, 29:20 and 29:34 alleles. Specific PCR fragment of 210 bp in the A*29:06 and the A*31:51, 32:12 and 74:26 and in the B*15:17:03 and B*55:02:10 alleles.

Primer mix 8: Specific PCR fragment of 85 bp in the A*29:07 and 29:49 and the A*11:139, 23:53, 24:17, 24:41 and 24:208 alleles. Specific PCR fragment of 160 bp in the A*29:46 allele.

Primer mix 9: Specific PCR fragment of 80 bp in the A*29:16 and the A*01:157, 03:27 and 11:233 alleles. Specific PCR fragment of 170 bp in the A*29:08N allele.

Primer mix 10: Specific PCR fragment of 90 bp in the A*29:09, 29:33, 29:51 and 29:73 and the A*02:24:02, 02:507, 03:01:18, 11:01:28, 24:21:03, 24:208, 31:24, 32:33:01 and 33:34 alleles. Specific PCR fragment of 165 bp in the A*29:17 and 29:43 alleles. Specific PCR fragment of 215 bp in the A*29:54 allele.

Primer mix 11: Specific PCR fragment of 110 bp in the A*29:14 and 29:35 alleles. Specific PCR fragment of 190 bp in the A*29:10 and 29:23 and in the C*08:01:15 alleles.

Primer mix 12: Specific PCR fragment of 80 bp in the A*29:02:04, 29:18 and 29:48 and the A*03:01:39, 32:01:01-32:01:07, 32:01:09-32:01:17, 32:01:19-32:03, 32:05-32:55:02, 32:57-32:69, 32:71, 32:73-32:84, 68:01:28, 74:01:01-74:13 and 74:15-74:27 alleles. Specific PCR fragment of 145 bp in the A*29:78N allele.

Primer mix 13: Specific PCR fragment of 90 bp in the A*29:11, 29:51 and 29:73 and the A*02:24:02 and 02:507 alleles. Specific PCR fragment of 165 bp in the A*29:12 and the A*31:16 and 33:58 alleles. Specific PCR fragment of 260 bp in the A*29:55 allele.

Primer mix 16: Specific PCR fragment of 95 bp in the A*29:15 and the A*02:221, 23:41 and 31:78 alleles. Specific PCR fragment of 160 bp in the A*29:21 and 29:43 alleles. Specific PCR fragment of 190 bp in the A*29:53 allele.

Primer mix 17: Specific PCR fragment of 100 bp in the A*29:51, 29:69 and 29:73 and the A*02:24:02 and 02:507 alleles. Specific PCR fragment of 130 bp in the A*29:24 and 29:40 alleles. Specific PCR fragment of 190 bp in the A*29:27 and 29:53 alleles. Specific PCR fragment of 215 bp in the A*29:54 allele.

Primer mix 18: Specific PCR fragment of 225 bp in the A*29:37 and 29:56 and the A*32:07 alleles. Specific PCR fragment of 260 bp in the A*29:36 allele.

Primer mix 19: Specific PCR fragment of 160 bp in the A*29:25 allele. Specific PCR fragment of 260 bp in the A*29:55 allele.  Specific PCR fragment of 505 bp in the A*29:26 allele.

Primer mix 22: Specific PCR fragment of 115 bp in the A*29:29 and the A*01:148, 11:128, 26:85 and 68:58 alleles. Specific PCR fragment of 260 bp in the A*29:13 and the A*24:82, 31:07-31:08, 31:10 and 32:42 alleles.

4The following HLA-A*29 alleles can be distinguished by the different sizes of the HLA-specific PCR product:

| Alleles | Primer mix |
| --- | --- |
| A*29:06, 29:34 | 7 |
| A*29:07, 29:46 | 8 |

The HLA-A*29 subtyping kit cannot distinguish following silent mutations: the A*29:01:01:01, 29:01:02-29:01:06 and 29:01:08-29:01:09 alleles and the A*29:02:01:01-29:02:03 and 29:02:05-29:02:17 alleles.