PHOTO DOCUMENT

Olerup SSP®

Olerup SSP® HLA-A*03

Prod. No:	101.413-24/24u

101.413-04/04u

Lot No:    	05K

Expiry Date:    	2012-May-01

Name:________________Sample ID:_______________

DNA Extract Date:_________ Conc.(ng/ul):_________

Test  Date: _________Review Date:_______________

Tested By: _________Reviewed By:_______________

Interpretation:_________________________________

Specificities and sizes of the PCR products of the 48 primer mixes used for HLA-A*03 SSP typing.

| Primer Mix | Size of spec. PCR product1 | Size of control band2 | Amplified HLA-A*03 alleles3 | Other amplified HLA-A alleles4 |
| --- | --- | --- | --- | --- |
| 1 | 235 bp | 800 bp | *03:01:01:01-03:04, 03:06-03:09, 03:11N-03:17, 03:19-03:39, 03:41, 03:43-03:74, 03:76 | *32:04, 36:02 |
| 26 | 225 bp | 1070 bp | *03:01:01:01-03:01:11, 03:01:12w, 03:01:13-03:07, 03:09-03:11N, 03:13-03:31, 03:33-03:35, 03:37-03:40, 03:42-03:56, 03:58, 03:60-03:71, 03:73-03:76 | *01:13, 02:34w-02:35:03w, 02:56:01w-02:56:02w, 02:62w, 02:103w, 34:08, 74:13 |
| 36 | 205 bp | 1070 bp | *03:01:01:01-03:01:13, 03:01:15-03:01:17, 03:03N-03:06, 03:08-03:09, 03:11N-03:17, 03:19-03:30, 03:33-03:41, 03:43-03:53, 03:55-03:63, 03:67-03:72, 03:74 | *11:25, 32:04, 34:02-34:04, 34:07-34:08 |
| 4 | 215 bp | 800 bp | *03:02, 03:10, 03:31-03:32, 03:65, 03:69N, 03:73, 03:76 | *01:12, 01:19, 01:25, 11:01:01-11:07, 11:09-11:22, 11:27, 11:29-11:30, 11:32-11:34, 11:36-11:43, 11:45-11:49, 11:51-11:59, 24:51, 24:92 |
| 5 | 185 bp | 800 bp | *03:03N |  |
| 6 | 275 bp | 1070 bp | *03:04 |  |
| 7 | 225 bp | 1070 bp | *03:06, 03:69N |  |
| 8 | 240 bp | 1070 bp | *03:01:01:01-03:01:07, 03:01:09-03:11N, 03:13-03:40, 03:42-03:56, 03:58-03:76 | *01:13, 01:28, 02:01:01:01-02:01:15, 02:01:17-02:01:19, 02:01:21-02:04, 02:07, 02:09, 02:11-02:13, 02:15N-02:20:02, 02:22:01-02:22:02, 02:24-02:27, 02:29-02:40, 02:42-02:43N, 02:45-02:50, 02:52-02:53N, 02:55-02:56:02, 02:58-02:60, 02:62-02:71, 02:73-02:77, 02:80, 02:82N-02:83N, 02:85-02:86, 02:88N-02:90, 02:92-02:97:02, 02:101-02:105, 02:107, 02:109-02:111, 02:113N-02:121, 02:123, 02:125N, 02:128, 02:130-02:135, 02:138-02:141, 02:145, 02:147-02:153, 02:155-02:168, 02:171:01-02:171:02, 02:173-02:177, 02:181-02:183, 02:185-02:199, 11:43, 24:19, 24:28, 24:44, 24:89, 29:19, 30:01:01-30:01:03, 30:11:01-30:11:02, 30:13-30:20, 30:23-30:24, 30:26, 30:30-30:31, 30:35-30:37, 31:01:02-31:01:05, 31:01:07-31:06, 31:09, 31:11-31:31, 33:01:01-33:01:03, 33:03:01-33:12, 33:14-33:16, 33:18-33:29, 34:08, 68:29, 68:45, 74:01-74:09, 74:11-74:14N, 80:02 |
| 9 | 230 bp | 1070 bp | *03:05, 03:10, 03:42, 03:72 | *02:156, 11:04, 11:35, 24:19, 30:01:01-30:04, 30:06-30:20, 30:22-30:27N, 30:29-30:37, 31:03-31:04, 34:02-34:04, 34:07-34:08, 36:01, 36:05, 68:45 |
| 105,8 | 65 bp, 205 bp | 800 bp | *03:02, 03:07, 03:10, 03:31-03:32, 03:42, 03:60, 03:73, 03:76 | *01:12, 01:19, 01:21, 02:156, 11:31, 11:35, 24:92, 30:04, 30:06, 30:09, 30:17, 30:29, 31:03-31:04 |
| 11 | 225 bp | 800 bp | *03:08, 03:32, 03:41 | *01:01:01:01-01:01:14, 01:03-01:04N, 01:06, 01:08-01:12, 01:14-01:16N, 01:18N-01:19, 01:21-01:42, 01:44-01:55, 02:48, 02:81, 02:90, 02:124, 02:146, 25:03, 26:20, 32:01:01-32:02, 32:03w, 32:04-32:06, 32:08w, 32:09-32:16, 32:18-32:22, 36:01-36:05, 74:01-74:04, 74:08-74:12N, 74:14N, 80:01w, 80:02 |
| 12 | 190 bp | 1070 bp | *03:09 | *02:01:09, 02:06:07, 02:50, 02:122, 11:06, 11:18, 24:28, 24:89, 26:03:01-26:03:02, 26:06, 26:21, 26:30, 29:19, 33:24, 68:05, 68:15, 68:20, 74:06 |
| 13 | 145 bp | 800 bp | *03:01:01:02N |  |
| 145,9 | 105 bp, 235 bp | 1070 bp | *03:11N, 03:59 |  |
| 15 | 225 bp | 1070 bp | *03:12 | *02:78, 11:01:01-11:02:01, 11:02:02w, 11:02:03-11:05, 11:06w, 11:07-11:16, 11:20-11:27, 11:29-11:39, 11:41-11:42, 11:44, 11:46, 11:48-11:59, 30:08, 34:01:01-34:07, 66:01-66:02, 66:04, 66:06-66:10, 66:12-66:13, 68:01:01-68:02:04, 68:06-68:14, 68:16-68:19, 68:21-68:28, 68:30, 68:32-68:35, 68:37-68:44, 68:47-68:49N, 69:01 |
| 16 | 275 bp | 1070 bp | *03:14 |  |
| 176,7 | 215 bp | 800 bp | *03:01:01:01-03:01:17, 03:03N-03:09, 03:11N-03:17, 03:19-03:30, 03:33-03:49, 03:51-03:64, 03:67-03:68N, 03:70-03:72, 03:74 | *01:06, 02:156, 11:24:01-11:25, 11:31, 11:35, 30:01:01-30:03, 30:07-30:16, 30:18-30:20, 30:22-30:27N, 30:30-30:37, 31:03-31:04, 32:04, 34:02-34:04, 34:07-34:08, 80:01-80:02 |
| 185,10 | 135 bp, 210 bp | 1070 bp | *03:13, 03:50, 03:64, 03:66 | *11:08, 11:44, 30:04, 30:06, 30:17, 30:29, 36:02 |
| 19 | 230 bp | 1070 bp | *03:15, 03:19 |  |
| 205,11 | 60 bp, 175 bp | 1070 bp | *03:16, 03:61 |  |
| 215,12 | 130 bp, 195 bp | 1070 bp | *03:17, 03:74 | *02:156, 24:51, 24:92 |
| 22 | 250 bp | 1070 bp | *03:18 | *01:01:01:01-01:02, 01:04N, 01:06-01:19, 01:21-01:55, 11:27, 11:38-11:39, 24:51, 24:92, 80:01-80:02 |
| 235,13 | 95 bp, 185 bp, 210 bp, 240 bp | 1070 bp | *03:19, 03:22, 03:56, 03:75 | *24:18, 36:02 |
| 24 | 470 bp | 1070 bp | *03:21N | *01:04N, 11:21N, 23:07N, 24:11N |
| 25 | 155 bp | 1070 bp | *03:23 | *02:01:09, 02:06:07, 02:35:03, 02:50, 02:122, 24:08, 24:42, 24:89, 26:07:01-26:07:02, 33:08, 74:04 |
| 26 | 200 bp | 1070 bp | *03:24 | *01:51, 02:55, 25:03, 26:20, 32:15, 34:08 |
| 275,14 | 95 bp, 145 bp | 1070 bp | *03:25, 03:71 |  |
| 2815 | 170 bp, 495 bp | 1070 bp | *03:26, 03:41, 03:63 | *36:02 |
| 295 | 100 bp | 1070 bp | *03:01:01:01-03:07, 03:09-03:28, 03:30-03:31, 03:33, 03:35, 03:37-03:40, 03:42-03:61, 03:64-03:76 | *02:34-02:35:03, 02:56:01-02:56:02, 02:62, 02:78, 02:103, 11:12, 23:13, 24:07, 24:24, 29:01:01:01-29:18, 29:21-29:22, 30:01:01-30:01:03, 30:08, 30:11:01-30:11:02, 30:14L-30:20, 30:23-30:26, 30:30, 30:35-30:37, 32:17, 66:02, 66:12, 68:01:01-68:02:04, 68:06-68:14, 68:16-68:19, 68:21-68:30, 68:32-68:39, 68:41-68:49N, 69:01, 74:13 |
| 305,16 | 130 bp, 210 bp | 1070 bp | *03:27, 03:49 |  |
| 31 | 220 bp | 800 bp | *03:28, 03:56 | *36:02 |
| 3217 | 150 bp, 220 bp | 1070 bp | *03:29, 03:67 |  |
| 3318 | 210 bp, 285 bp | 1070 bp | *03:30, 03:62 | *32:05 |
| 345,19 | 125 bp, 160 bp | 1070 bp | *03:31, 03:58 |  |
| 3520 | 235 bp, 275 bp | 1070 bp | *03:32, 03:55 | *31:21, 74:07 |
| 3621 | 160 bp, 210 bp | 1070 bp | *03:33, 03:70 |  |
| 375,22 | 95 bp, 225 bp | 1070 bp | *03:34, 03:48 |  |
| 3823 | 165 bp, 250 bp | 800 bp | *03:35, 03:73 |  |
| 3924 | 200 bp, 235 bp | 1070 bp | *03:36N, 03:45 |  |
| 40 | 240 bp | 1070 bp | *03:37 |  |
| 4125 | 185 bp, 275 bp | 1070 bp | *03:38, 03:68N |  |
| 42 | 220 bp | 800 bp | *03:39 |  |
| 4326 | 150 bp, 260 bp | 1070 bp | *03:20, 03:47, 03:76 |  |
| 4427 | 165 bp, 240 bp | 1070 bp | *03:40, 03:51 |  |
| 45 | 150 bp | 1070 bp | *03:43 |  |
| 465,28 | 115 bp, 190 bp | 1070 bp | *03:44, 03:52-03:53 | *02:164, 30:30, 31:19, C*07:35 |
| 47 | 240 bp | 1070 bp | *03:41, 03:57 | *01:01:01:01-01:01:03, 01:01:05-01:01:12, 01:01:14, 01:03-01:04N, 01:06, 01:08-01:12, 01:14-01:19, 01:21-01:23, 01:25-01:27N, 01:29-01:42, 01:44-01:55, 36:01-36:05, 74:10, 80:01 |
| 485,29 | 70 bp, 110 bp, 145 bp | 1070 bp | *03:46, 03:52, 03:54 | *31:19, C*07:86 |

1Alleles are assigned by the presence of specific PCR product(s). However, the sizes of the specific PCR products may be helpful in the interpretation of HLA-A*03 SSP typings.

When the primers in a primer mix can give rise to specific PCR products of more than one length this is indicated if the size difference is 20 base pairs or more. Size differences shorter than 20 base pairs are not given. For high resolution SSP kits the respective lengths of the specific PCR product(s) of the alleles amplified by these primer mixes are given.

Nonspecific amplifications, i.e. a ladder or a smear of bands, may sometimes be seen. GC-rich primers have a higher tendency of giving rise to nonspecific amplifications than other primers.

PCR fragments longer than the control bands may sometimes be observed. Such bands should be disregarded and do not influence the interpretation of the SSP typings.

PCR fragments migrating faster than the control bands, but slower than a 400 bp fragment may  be seen in some gel read-outs. Such bands can be disregarded and do not influence the interpretation of the SSP typings.

Some primers may give rise to primer oligomer artifacts. Sometimes this phenomenon is an inherit feature of the primer pair(s) of a primer mix. More often it is due to other factors such as too low amount of DNA in the PCR reactions, taking too long time in setting up the PCR reactions, working at elevated room temperature or using thermal cyclers that are not pre-heated.

2The internal positive control primer pairs amplify segments of the human growth hormone gene. The two different control primer pairs give rise to either an internal positive control band of 1070 base pairs, for most wells, or a band of 800 base pairs, for some wells.

Well number 1 contains the primer pair giving rise to the shorter, 800 bp, internal positive control band in order to help in the correct orientation of the HLA-A*03 subtyping.

In addition, wells number 4, 5, 10, 11, 13, 17, 31, 38 and 42 contain the primer pair giving rise to the shorter, 800 bp, internal positive control band in order to allow kit identification.

In the presence of a specific amplification the intensity of the control band often decreases.

3The A*03:16 and A*03:61 alleles can be distinguished by the different sizes of the specific PCR products generated by primer mix 20.

The A*03:17 and A*03:74 alleles can be distinguished by the different sizes of the specific PCR products generated by primer mix 21.

The A*03:20, and A*03:47 alleles can be distinguished by the different sizes of the specific PCR products generated by primer mix 43.

The A*03:25 and A*03:71 alleles can be distinguished by the different sizes of the specific PCR products generated by primer mix 27.

The A*03:27 and A*03:49 alleles can be distinguished by the different sizes of the specific PCR products generated by primer mix 30.

The A*03:33 and A*03:70 alleles can be distinguished by the different sizes of the specific PCR products generated by primer mix 36.

The A*03:38 and A*03:68N alleles can be distinguished by the different sizes of the specific PCR products generated by primer mix 41.

The A*03:44 and A*03:53 alleles can be distinguished by the different sizes of the specific PCR products generated by primer mix 46.

4Due to the sharing of sequence motifs between HLA-A alleles non-HLA-A*03 alleles will be amplified by primer mixes 1 to 4, 8 to 12, 15, 17, 18, 21 to 26, 28, 29, 31, 33, 35 and 46 to 48. In addition, the C*07:35 allele is amplified by primer mix 46 and the C*07:86 allele is amplified by primer mix 48.

5Short specific PCR fragments are less intense and not as sharp as longer specific bands.

6Primer mix 2, 3 and 17 may give a lower yield of specific PCR product than the other A*03 primer mixes.

7Primer mix 17 may give rise to nonspecific amplifications.

8Primer mix 10: Specific PCR fragment of 65 bp in A*03:60 allele. Specific PCR fragment of 205 bp in the A*03:02, 03:07, 03:10, 03:31-03:32, 03:42, 03:73 and A*03:76 and in the A*01:12, 01:19, 01:21, 02:156, 11:31, 11:35, 24:92, 30:04, 30:06, 30:09, 30:17, 30:29 and 31:03-31:04 alleles.

9Primer mix 14: Specific PCR fragment of 105 bp in the A*03:11N allele. Specific PCR fragment of 235 bp in the A*03:59 allele.

10Primer mix 18: Specific PCR fragment of 135 bp in the A*03:13 allele. Specific PCR fragment of 210 bp in the A* 03:50, 03:64 and 03:66 and the A*11:08, 11:44, 30:04, 30:06, 30:17, 30:29 and 36:02 alleles.

11Primer mix 20: Specific PCR fragment of 60 bp in the A*03:61 allele. Specific PCR fragment of 175 bp in the A*03:16 allele.

12Primer mix 21: Specific PCR fragment of 130 bp in the A*03:17 and the A*02:156, 24:51 and 24:92 alleles. Specific PCR fragment of 195 bp in the A*03:74 allele.

13Primer mix 23: Specific PCR fragment of 95 bp in the A*03:22 allele. Specific PCR fragment of 185 bp in the A*03:19 and in the A*24:18 alleles. Specific PCR fragment of 210 bp in the A* 03:56 and in the A*36:02 alleles. Specific PCR fragment of 240 bp in the A*03:75 and in the A*24:18 alleles.

14Primer mix 27: Specific PCR fragment of 95 bp in the A*03:71 allele. Specific PCR fragment of 145 bp in the A*03:25 allele.

15Primer mix 28: Specific PCR fragment of 170 bp in the A*03:26 allele. Specific PCR fragment of 495 bp in the A*03:41 and 03:63 and in the A*36:02 alleles.

16Primer mix 30: Specific PCR fragment of 130 bp in the A*03:27 allele. Specific PCR fragment of 210 bp in the A*03:49 allele.

17Primer mix 32: Specific PCR fragment of 150 bp in the A*03:67 allele. Specific PCR fragment of 220 bp in the A*03:29 allele.

18Primer mix 33: Specific PCR fragment of 210 bp in the A*03:30 and the A*32:05 alleles. Specific PCR fragment of 285 bp in the A*03:62 allele.

19Primer mix 34: Specific PCR fragment of 125 bp in the A*03:58 allele. Specific PCR fragment of 160 bp in the A*03:31 allele.

20Primer mix 35: Specific PCR fragment of 235 bp in the A*03:32 and the A*31:21 and 74:07 alleles. Specific PCR fragment of 275 bp in the A*03:55 allele.

21Primer mix 36: Specific PCR fragment of 160 bp in the A*03:33 allele. Specific PCR fragment of 210 bp in the A* 03:70 allele.

22Primer mix 37: Specific PCR fragment of 95 bp in the A*03:48 allele. Specific PCR fragment of 225 bp in the A* 03:34 allele.

23Primer mix 38: Specific PCR fragment of 165 bp in the A*03:35 allele. Specific PCR fragment of 250 bp in the A*03:73 allele.

24Primer mix 39: Specific PCR fragment of 200 bp in the A* 03:36N allele. Specific PCR fragment of 235 bp in the A*03:45 allele.

25Primer mix 41: Specific PCR fragment of 185 bp in the A* 03:38 allele. Specific PCR fragment of 275 bp in the A*03:68N allele.

26Primer mix 43: Specific PCR fragment of 150 bp in the A*03:20 allele. Specific PCR fragment of 260 bp in the A*03:47 and 03:76 alleles.

27Primer mix 44: Specific PCR fragment of 165 bp in the A*03:51 allele. Specific PCR fragment of 240 bp in the A*03:40 allele.

28Primer mix 46: Specific PCR fragment of 115 bp in A*03:44 and 03:52 and the A*02:164 and 31:19 alleles. Specific PCR fragment of 190 bp in A*03:53 and the A*30:30 and in the C*07:35 alleles.

29Primer mix 48: Specific PCR fragment of 70 bp in the A*03:54 allele. Specific PCR fragment of 110 bp in the A*03:52 and the A*31:19 alleles. Specific PCR fragment of 145 bp in the A*03:46 and in the C*07:86 alleles.

‘w’, may be weakly amplified.

1The A*03:16 and A*03:61 alleles can be distinguished by the different sizes of the specific PCR products generated by primer mix 20.

The A*03:17 and A*03:74 alleles can be distinguished by the different sizes of the specific PCR products generated by primer mix 21.

The A*03:20, and A*03:47 alleles can be distinguished by the different sizes of the specific PCR products generated by primer mix 43.

The A*03:25 and A*03:71 alleles can be distinguished by the different sizes of the specific PCR products generated by primer mix 27.

The A*03:27 and A*03:49 alleles can be distinguished by the different sizes of the specific PCR products generated by primer mix 30.

The A*03:33 and A*03:70 alleles can be distinguished by the different sizes of the specific PCR products generated by primer mix 36.

The A*03:38 and A*03:68N alleles can be distinguished by the different sizes of the specific PCR products generated by primer mix 41.

The A*03:44 and A*03:53 alleles can be distinguished by the different sizes of the specific PCR products generated by primer mix 46.

2Primer mix 10: Specific PCR fragment of 65 bp in A*03:60 allele. Specific PCR fragment of 205 bp in the A*03:02, 03:07, 03:10, 03:31-03:32, 03:42, 03:73 and A*03:76 and in the A*01:12, 01:19, 01:21, 02:156, 11:31, 11:35, 24:92, 30:04, 30:06, 30:09, 30:17, 30:29 and 31:03-31:04 alleles.

Primer mix 14: Specific PCR fragment of 105 bp in the A*03:11N allele. Specific PCR fragment of 235 bp in the A*03:59 allele.

Primer mix 18: Specific PCR fragment of 135 bp in the A*03:13 allele. Specific PCR fragment of 210 bp in the A* 03:50, 03:64 and 03:66 and the A*11:08, 11:44, 30:04, 30:06, 30:17, 30:29 and 36:02 alleles.

Primer mix 20: Specific PCR fragment of 60 bp in the A*03:61 allele. Specific PCR fragment of 175 bp in the A*03:16 allele.

Primer mix 21: Specific PCR fragment of 130 bp in the A*03:17 and the A*02:156, 24:51 and 24:92 alleles. Specific PCR fragment of 195 bp in the A*03:74 allele.

Primer mix 23: Specific PCR fragment of 95 bp in the A*03:22 allele. Specific PCR fragment of 185 bp in the A*03:19 and in the A*24:18 alleles. Specific PCR fragment of 210 bp in the A* 03:56 and in the A*36:02 alleles. Specific PCR fragment of 240 bp in the A*03:75 and in the A*24:18 alleles.

Primer mix 27: Specific PCR fragment of 95 bp in the A*03:71 allele. Specific PCR fragment of 145 bp in the A*03:25 allele.

Primer mix 28: Specific PCR fragment of 170 bp in the A*03:26 allele. Specific PCR fragment of 495 bp in the A*03:41 and 03:63 and in the A*36:02 alleles.

Primer mix 30: Specific PCR fragment of 130 bp in the A*03:27 allele. Specific PCR fragment of 210 bp in the A*03:49 allele.

Primer mix 32: Specific PCR fragment of 150 bp in the A*03:67 allele. Specific PCR fragment of 220 bp in the A*03:29 allele.

Primer mix 33: Specific PCR fragment of 210 bp in the A*03:30 and the A*32:05 alleles. Specific PCR fragment of 285 bp in the A*03:62 allele.

Primer mix 34: Specific PCR fragment of 125 bp in the A*03:58 allele. Specific PCR fragment of 160 bp in the A*03:31 allele.

Primer mix 35: Specific PCR fragment of 235 bp in the A*03:32 and the A*31:21 and 74:07 alleles. Specific PCR fragment of 275 bp in the A*03:55 allele.

Primer mix 36: Specific PCR fragment of 160 bp in the A*03:33 allele. Specific PCR fragment of 210 bp in the A* 03:70 allele.

Primer mix 37: Specific PCR fragment of 95 bp in the A*03:48 allele. Specific PCR fragment of 225 bp in the A* 03:34 allele.

Primer mix 38: Specific PCR fragment of 165 bp in the A*03:35 allele. Specific PCR fragment of 250 bp in the A*03:73 allele.

Primer mix 39: Specific PCR fragment of 200 bp in the A* 03:36N allele. Specific PCR fragment of 235 bp in the A*03:45 allele.

Primer mix 41: Specific PCR fragment of 185 bp in the A* 03:38 allele. Specific PCR fragment of 275 bp in the A*03:68N allele.

Primer mix 43: Specific PCR fragment of 150 bp in the A*03:20 allele. Specific PCR fragment of 260 bp in the A*03:47 and 03:76 alleles.

Primer mix 44: Specific PCR fragment of 165 bp in the A*03:51 allele. Specific PCR fragment of 240 bp in the A*03:40 allele.

Primer mix 46: Specific PCR fragment of 115 bp in A*03:44 and 03:52 and the A*02:164 and 31:19 alleles. Specific PCR fragment of 190 bp in A*03:53 and the A*30:30 and in the C*07:35 alleles.

Primer mix 48: Specific PCR fragment of 70 bp in the A*03:54 allele. Specific PCR fragment of 110 bp in the A*03:52 and the A*31:19 alleles. Specific PCR fragment of 145 bp in the A*03:46 and in the C*07:86 alleles.

‘w’, may be weakly amplified.